| ARMS ID 1270009 | OWNER/COMPANY Florida Power and Light Company (FPL) |  | SITE NAME Sanford Plant |
| --- | --- | --- | --- |
| TITLE V |  | SYNTHETIC MINOR (Emissions limited to > 80% and < 100% of major source thresholds) | DATE OF THIS FCE: 08 /16 / 13 Full review ON-SITE ASSESSMENT INS2-8-16-13 OFF-SITE ASSESSMENT (Explain reason for Off-Site in ‘Comments’) |
| TITLE V MEGA-SITE* |  | OTHER: | DATE OF PREVIOUS FCE: 9/13/2011 |

*Facility with a large number of complex emissions units.  It is more reasonable to evaluate a Title V Mega-Site once every 3 years instead of once every 2 years.

Review of All Required Reports

| PERIODIC REPORTS |  | COMMENTS |
| --- | --- | --- |
| DONE N/A | Annual Operating | 3/26/13 uploaded via EAOR and reviewed by Cadedra Hodge on 6/06/13. |
| DONE N/A | Annual Statement of Compliance – Title V | Received 2/2813- Marked A |
| DONE N/A | Title V Semi-Annual Monitoring | Received on 7/31/13. Reviewed 8/12/13. The report consisted of Unit 3, Units 4A-4D, and Units 5A-5D. Also received July 1 through December 30 of 2012, recieved 2/22/2013. |
| DONE N/A | Semi-Annual Compliance | Info covered in SOC and SAM reports. |
| DONE N/A | Quarterly Compliance | Submitted as required. No exceedances or issues. |
| DONE N/A | Stack Test | Conducted June 4-6, 2013 with no issues or exceedance. Sumbitted 7/19/13. VE was tested concurrently. |
| DONE N/A | Visible Emissions Test | VE was tested concurrently with annual stack testing, will all values noted as ZERO. |
| DONE N/A | Other: | There are no indications that the facility did not or was unable to comply with any of the permit conditions; therefore, immediate reporting required by Rule 62-4.130, Florida Administrative Code, is not applicable. |

| CONTINUOUS EMISSION MONITOR REPORTS |  | COMMENTS |
| --- | --- | --- |
| DONE N/A | Quarterly excess emissions | Submitted July 10, 2013, April 15, 2013 with no issues. |
| DONE N/A | Semi-annual | Facility is not required to report, as they are under construction phase. |
| DONE N/A | RATA | RATA was submitted and confirmed in compliance July 9, 2013 |
| DONE N/A | CGA | Completed with RATA |
| DONE N/A | Other : |  |
| DONE N/A | Other : |  |

Observations and Records Review

| OBSERVATIONS AND RECORDS |  | COMMENTS |
| --- | --- | --- |
| DONE N/A | Visible emission observation(s) | The test was conducted in conjunction with Stack Test on June 1, 2013. |
| DONE N/A | Review of facility records and logs | Done at time of inspection on 8/16/13. |
| DONE N/A | Assessment of process parameters (feed rates, process rates, raw material compositions, etc.) | Done at time of inspection on 8/16/13. |
| DONE N/A | Assessment of control equipment performance parameters (water flow rates, pressure drops, temperatures, ESP power levels, etc.) | Done at time of inspection on 8/16/13. |
| DONE N/A | Stack test observation(s) | Stack test was conducted but not observed by DEP |
| DONE N/A | Other : |  |
| DONE N/A | Other : |  |

Inspection reports

(Compliance Monitoring Reports)

| DATE OF INSPECTION | DATE OF INSPECTION REPORT | Full/ Partial (F or P) | Investigative (Yes or No) | Location of Inspection Report required Elements: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Facility Info | Applicable requirements | list of EUs | Enforcement History | Compliance Activities | Findings & Recommendations |
| 8/16/13 | 8/16/13 | F |  | EASIIR/ ARMS/ APDS | EASIIR/ARMS/ APDS | EASIIR/ ARMS/ APDS | EASIIR/ARMS/ ACES | EASIIR/ARMS/ ACES | EASIIR/ARMS/ ACES |
|  |  |  |  | Paper Files | Paper Files | Paper Files | Paper Files | Paper Files | Paper Files |
|  |  |  |  | EASIIR/ ARMS/ APDS | EASIIR/ARMS/ APDS | EASIIR/ ARMS/ APDS | EASIIR/ARMS/ ACES | EASIIR/ARMS/ ACES | EASIIR/ARMS/ ACES |
|  |  |  |  | Paper Files | Paper Files | Paper Files | Paper Files | Paper Files | Paper Files |
|  |  |  |  | EASIIR/ ARMS/ APDS | EASIIR/ARMS/ APDS | EASIIR/ ARMS/ APDS | EASIIR/ARMS/ ACES | EASIIR/ARMS/ ACES | EASIIR/ARMS/ ACES |
|  |  |  |  | Paper Files | Paper Files | Paper Files | Paper Files | Paper Files | Paper Files |

In-house tools with electronic report generation features: 	ARMS (Air Resource Management System) database; and

EASIIR (Electronic Access System for Inspection Information Retrieval)

Internet-accessible information:  	ACES (Air Compliance and Enforcement Search); and

APDS (Air Permit Documents Search)

Comments

The facility was in compliance and up to date with all records. No inconsistencies or issues discovered at time of review.

Prepared by:	Aaron Watkins		Date: 	9-16-13

Reviewed by:	Sirena Davila, Patrick Farris, Wanda Parker-Garvin	Date:	9-16-13