FULL COMPLIANCE EVALUATION (FCE) CHECKLIST

	ARMS ID
1270009
	OWNER/COMPANY
Florida Power and Light Company (FPL)
	SITE NAME
Sanford Plant

	|X| TITLE V
	|_| SYNTHETIC MINOR 
(Emissions limited to > 80% and < 100% of major source thresholds)
	DATE OF THIS FCE:       08     /16   / 13  Full review                                     
[bookmark: Check1]     |X| ON-SITE ASSESSMENT INS2-8-16-13 
     |_| OFF-SITE ASSESSMENT 
       (Explain reason for Off-Site in ‘Comments’)

	|_| TITLE V MEGA-SITE*
	|_| OTHER:
	
DATE OF PREVIOUS FCE:      9/13/2011
        


*Facility with a large number of complex emissions units.  It is more reasonable to evaluate a Title V Mega-Site once every 3 years instead of once every 2 years.

REVIEW OF ALL REQUIRED REPORTS

	PERIODIC REPORTS
	COMMENTS

	|X| DONE   |_| N/A
	Annual Operating 
	3/26/13 uploaded via EAOR and reviewed by Cadedra Hodge on 6/06/13.

	|X| DONE   |_| N/A
	Annual Statement of Compliance – Title V
	Received 2/2813- Marked A

	|X| DONE   |_| N/A
	Title V Semi-Annual Monitoring
	Received on 7/31/13. Reviewed 8/12/13. The report consisted of Unit 3, Units 4A-4D, and Units 5A-5D.  Also received July 1 through December 30 of 2012, recieved 2/22/2013.

	|_| DONE   |X| N/A
	Semi-Annual Compliance
	Info covered in SOC and SAM reports.

	|X| DONE   |_| N/A
	Quarterly Compliance
	Submitted as required.  No exceedances or issues.

	|X| DONE   |_| N/A
	Stack Test
	Conducted June 4-6, 2013 with no issues or exceedance.  Sumbitted 7/19/13.  VE was tested concurrently.

	|X| DONE   |_| N/A
	Visible Emissions Test
	VE was tested concurrently with annual stack testing, will all values noted as ZERO.

	|_| DONE   |X| N/A
	Other:
	There are no indications that the facility did
not or was unable to comply with any of the
permit conditions; therefore, immediate
reporting required by Rule 62-4.130, Florida
Administrative Code, is not applicable.



	CONTINUOUS EMISSION MONITOR REPORTS
	COMMENTS

	|X| DONE   |_| N/A
	Quarterly excess emissions
	Submitted July 10, 2013, April 15, 2013 with no issues.

	|X| DONE   |_| N/A
	Semi-annual
	 Facility is not required to report, as they are under construction phase.

	|X| DONE   |_| N/A
	RATA
	RATA was submitted and confirmed in compliance July 9, 2013

	|X| DONE   |_| N/A
	CGA
	Completed with RATA

	|_| DONE   |_| N/A
	Other :
	

	|_| DONE   |_| N/A
	Other : 
	



OBSERVATIONS AND RECORDS REVIEW 

	OBSERVATIONS AND RECORDS
	COMMENTS

	|X| DONE   |_| N/A
	Visible emission observation(s)
	The test was conducted in conjunction with Stack Test on June 1, 2013.

	|X| DONE   |_| N/A
	Review of facility records and logs
	Done at time of inspection on 8/16/13.

	|X| DONE   |_| N/A
	Assessment of process parameters (feed rates, process rates, raw material compositions, etc.)  
	Done at time of inspection on 8/16/13.

	|X| DONE   |_| N/A
	Assessment of control equipment performance parameters
(water flow rates, pressure drops, temperatures, ESP power levels, etc.)
	Done at time of inspection on 8/16/13.

	|_| DONE   |X| N/A
	Stack test observation(s)
	Stack test was conducted but not observed by DEP

	|_| DONE   |_| N/A
	Other : 
	

	|_| DONE   |_| N/A
	Other : 
	 


INSPECTION REPORTS
            (COMPLIANCE MONITORING REPORTS)

	
DATE OF INSPECTION
	
DATE OF INSPECTION REPORT
	
FULL/ PARTIAL
(F OR P)
	
INVESTIGATIVE
(YES OR NO)
	LOCATION OF INSPECTION REPORT REQUIRED ELEMENTS:

	
	
	
	
	
FACILITY INFO 
	
APPLICABLE  REQUIREMENTS
	
LIST OF EUS
	
ENFORCEMENT HISTORY
	
COMPLIANCE ACTIVITIES
	
FINDINGS & RECOMMENDATIONS

	8/16/13
	8/16/13
	F
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ACES
	|X|
EASIIR/ARMS/
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	|X|
Paper Files
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	|X|
Paper Files
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Paper Files
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ACES
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Paper Files
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Paper Files
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Paper Files
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Paper Files



    In-house tools with electronic report generation features: 	ARMS (Air Resource Management System) database; and
						EASIIR (Electronic Access System for Inspection Information Retrieval)

                                            Internet-accessible information:  	ACES (Air Compliance and Enforcement Search); and
						APDS (Air Permit Documents Search) 
			
COMMENTS

	The facility was in compliance and up to date with all records.  No inconsistencies or issues discovered at time of review.


















Prepared by:	Aaron Watkins		Date: 	9-16-13	

Reviewed by:	Sirena Davila, Patrick Farris, Wanda Parker-Garvin	Date:	9-16-13
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