Banana River Lagoon (BRL) Basin Management Action Plan (BMAP)

Best Management Practice (BMP) Efficiencies

	Standard Best Management Practices (BMPs)
	TP % Reduction
	TN % Reduction
	Data Source

	Retention BMPs (includes basins, exfiltration trenches, etc.)
	Based on percent reduction from appropriate table in Appendix F using project’s percent directly

connected impervious area (DCIA), non-DCIA curve number (CN), and rainfall zone
	Based on percent reduction from appropriate table in Appendix F using project’s percent DCIA, non-DCIA CN, and rainfall zone
	Appendix F Draft Stormwater Treatment Applicant’s Handbook (Florida Department of Environmental Protection) 

	Wet detention ponds
	Reduction from Figure 13.2 given the project’s residence time
	Reduction from Figure 13.3 given the project’s residence time
	Figures 13.2 and 13.3 in Draft Stormwater Treatment Applicant’s Handbook

	BMP treatment trains using a combination of BMPs
	Use BMP Treatment Train (TT) equation:
BMP TT Efficiency = Eff1 +((1-Eff1)*Eff2)
	Use BMP Treatment Train (TT) equation:

BMP TT Efficiency = Eff1 +((1-Eff1)*Eff2)
	Draft Stormwater Treatment Applicant’s Handbook

	Dry detention
	10
	10
	Harper, H. & D. Baker. 2007.  Evaluation of Current Stormwater Design Criteria within the State of Florida.

	Baffle box
	2.3
	0.5
	Final Report Contract S0236 Effectiveness of Baffle Boxes

	Nutrient baffle box (2nd generation)
	15.5
	19.05
	Final Report Contract S0236 Effectiveness of Baffle Boxes

	Catch basin inserts/inlet filters
	Evaluated on a case-by case basis
	Evaluated on a case-by case basis
	Case-by-case

	Grass swales with swale blocks or raised culverts
	Use retention BMPs above
	Use retention BMPs above
	Draft Stormwater Treatment Applicant’s Handbook

	Grass swales without swale blocks or raised culverts
	50% of value for grass swales with swale blocks or raised culverts
	50% of value for grass swales with swale blocks or raised culverts
	Draft Stormwater Treatment Applicant’s Handbook

	Alum injection
	90
	50
	Evaluation of Harper data


Note: The Draft Stormwater Treatment Applicant’s Handbook is located at: http://www.dep.state.fl.us/water/wetlands/erp/rules/stormwater/docs/ah_rule_draft_031710.pdf 
	Provisional BMPs
	TP % Reduction
	TN % Reduction
	Data Source

	Street sweeping
	Determine pounds of materials removed and multiply by values to be provided by the Florida Stormwater Association (FSA) University of Florida (UF) municipal separate storm sewer system (MS4) BMP project
	Determine pounds of materials removed and multiply by values to be provided by FSA UF MS4 BMP project
	Final Report of FSA UF MS4 BMP Project

	Stormceptor 
	13
	2
	Final Report Contract S0095 Sanford Stormceptor project

	Continuous deflective separation (CDS) units
	10
	Not applicable
	Final Report Contract WM793 Broadway Outfall Project

	Public education
	1-6, depending on extent of program
	1-6, depending on extent of program
	Evaluation of Center for Watershed Protection (CWP). 2002. Watershed Treatment Model Version 3.1. See separate calculation spreadsheet.
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