Tributaries Technical Working Group-Lower St Johns

Summary of Action Items
May 15, 2008
1. Bring to Melissa Long the issue of package plant discharges to MS4 conveyances in impaired WBIDs and whether those permits will be renewed, as requested by Alan Obaigbena , FDOT.  (Pat O’Connor)  Develop a map for Melissa that shows where the package plants are located in relation to the impaired (by fecal coliforms) WBIDs to assist her. (Marcy Policastro, Tiffany Busby, Amy Tracy)

2. Investigate whether the WWTP effluent discharge locations are already mapped in GIS and the ending permit dates noted. (Amy Tracy)  Send Errol Bos and Amy Tracy the text file that describes the lat/longs of the effluent discharge locations and the ending permit date. (Pat O’Connor)  Associate effluent discharge locations (from Pat and/or Amy) and permit date metadata with the COJ GIS database. (Errol Bos)

3. Send out an e-mail to the group checking to see if June 11th or 12th is a better date for the Management Tracking and Integration meeting.  Plan a pre-teleconference to develop an agenda. (Tiffany Busby)

4. Follow up with Danny Turner, WSEA, regarding their updated septic tank GIS layer at the end of the month.  Share any revised data with Amy Tracy.  (Errol Bos)

5. Follow up with JEA on Berrywood Lane cleanout once vegetation treatment is complete. (Betsy Deuerling)  Prod JEA staff as needed to proceed with the clean out.  (Brian Hancher)

6. Consider an effort to better identify sewer areas served by private (non-JEA) collection systems once the revised WSEA GIS information is available.  (All/future meeting topic)

7. Post the California soil study on transport of fecal coliforms onto the FTP site (document provided by Brian Hancher). (Amy Tracy)

8. Check on the logistics/costs of monitoring for caffeine in tributary monitoring. (Amy Tracy/Fred Calder)
9. Send out the list of action items to the Technical Working Group quickly, to aid in follow-up.  (Tiffany Busby)

10. Provide some description of improvements to the Miller Creek WBID wastewater infrastructure for inclusion on the Tech Report/BMAP.  (Brian Hancher)

11. Provide an update on the enforcement/corrective actions on the private lift station that was failing in the Miller Creek WBID. (Betsy Deuerling)
12. Send the proposed new septic tank failure area list to Amy Tracy. (Dana Morton) Follow up with Scott Turner on the GIS shapefile for the revised failure areas, once available, and share the shapefile with Errol Bos.  (Amy Tracy)

13. Provide a future meeting update on FDEP efforts to coordinate clean marina issues in the LSJ area. (Amy Tracy)

14. E-mail out to the responsible parties (those with BMAP projects) a revised list of WBIDs for the July project collection deadline. (Marcy Policastro)

15. Add to the next TAT agenda a discussion about whether additional assessment efforts are needed in Deer Creek. (Betsy Deuerling)  Add to the next TAT agenda a discussion about the sites/potential sources in Fishing Creek. (Betsy Deuerling)
