Supporting info below provided by Elke Ursin, FDOH on June 30, 2015. This info was supplied via email with the documents posted on the ftp site in the same location as this document.

- Background information on different technologies:

The Florida Onsite Sewage Nitrogen Reduction Strategies Study Final Report (hereafter referred to as the Report) is a very good summary document about this topic.  The Section “Range of Treatment” on pages 56 -59 provide a summary on the technologies currently being used, various technologies proposed, and recommended technologies that were the focus of the nitrogen removal strategies study.  The general treatment and disposal steps, overall nitrogen removal efficiencies, and current permitting practices are also briefly discussed in this section.  I include a summary table (Table 08 from the Report) into this email for you to get some feeling about the information being discussed.

Table 08. Estimated Overall TN Reduction for Several Treatment Options

| Type of System | Stage 1 (Nitrification) | Stage 2 (Denitrification) | Dispersal | Pre-treatment nitrogen reduction | Pre-treatment reduction assumed for planning purposes | Post-dispersal nitrogen reduction | Soil nitrogen reduction assumed | Overall treatment effectiveness estimate | Current permitting |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Legacy systems with insufficient separation to water table | n/a | n/a |  | 0 | 0 | Less than baseline | 0% | 0% | Out of compliance with current rules |
| Conventional septic tank soil treatment unit (STU) | n/a | n/a |  | 0 | 0 | Baseline (0-60%) | 30% | 30% | Conventional system construction permit |
| STU with additional layers | integrated | integrated | integrated | 0 | 0 | Assume 40% beyond conventional (table 6-3) | 70% | 70% | Conflicts with effective soil depth requirements in some settings, possible water table separation |
| NSF-40 Aerobic Treatment Unit (ATU) | yes | n/a |  | 20-50% | 30% | Baseline | 21% | 51% | ATU |
| Subset of ATUs with established nitrogen reduction/NSF 245 | yes | n/a (recirculation) |  | 40-70% | 50% | Baseline | 15% | 65% | Performance Based Treatment System (PBTS) or ATU |
| Intermittent Sand Filter | yes | n/a |  | 0-40% | 20% | Baseline | 24% | 44% | Legacy system |
| Recirculating media filter | yes | n/a |  | 40-65% | 50% | Baseline | 15% | 65% | Performance Based Treatment System (PBTS)/ATU innovative |
| Florida two-stage | yes | yes |  | 90+% | 90% | Baseline | 3% | 93% | TBD (PBTS) |
| Denitrification media filter | required | yes |  | 90+% | 90% | Baseline | 3% | 93% | TBD(innovative or PBTS) |

For a more comprehensive review on OSTDS nitrogen removal technologies, you may want to refer to the Literature Review of Nitrogen Reduction Technologies for Onsite Sewage Treatment Systems, and Classification, Ranking and Prioritization of Technologies.  These documents are part of the DOH’s nitrogen reduction strategy studies.

- A list of technologies that would be worthwhile to discuss with the committee members:

Again, the Florida Onsite Sewage Nitrogen Reduction Strategies Study Final Report is a very good summary on this topic.  You can refer to the Onsite Sewage Treatment and Disposal Systems section from Page 17 to Page 19 to get some ideas on the Aerobic Treatment Unit (ATU) and Performance Based Treatment System (PBTS) that have been used in some Florida counties and a set of “passive” nitrogen removal technologies recommended based on the nitrogen removal strategy studies.  Pages 26 through 45, in a rather detailed manner, describe the selection of these passive technologies, pilot studies conducted in the Gulf Coast Research and Education Center of University of Florida, prototype testing at seven actual home sites in Wakulla, Wekiva, and South Florida areas, general nitrogen removal efficiency at these home sites, and the life cycle cost analyses conducted for these technologies.  I also included two tables into this email for you to see the general nitrogen removal efficiencies and costs of these systems based on the nitrogen removal studies:

Table 04.  Overall Performance of Prototype Passive Nitrogen Reduction Systems

| System | Stage 1 Operation | Mean TN Removal Efficiency |
| --- | --- | --- |
| Home Site 1 (BHS-5) | Single pass | 97% |
|  | Recirculation to top of Stage 1 media | 98% |
| Home Site 2 (BHS-2) | Recirculation to tank | 93% |
|  | Recirculation to top of Stage 1 media | 97% |
| Home Site 3 (BHS-4) | Recirculation to tank | 89% |
| Home Site 4 (BHS-6) | Single pass | 81% |
| Home Site 5 (BHS-1) | Recirculation to tank | 91% |
| Home Site 6 (BHS-3) | Drip single pass | 96% |
| Home Site 7 (BHS-7) | In-ground low pressure distribution | 65%* |

* TN-averages are STE=55 mg/L; Stage 1=29 mg/L; Pool=3 mg/L; Perimeter =20 mg/L.  The perimeter gives ~64% reduction, the stage 1 by itself 47%. Figuring out what that means is difficult due to the small sample size that we plan to overcome with more systems.

Table 09.  Comparison of Passive Nitrogen Removal System Life Cycle Cost Assessment for Recommended Nitrogen Removal System.

| Nitrogen Removal Level | System | Present Worth |  |  |  |  | Lbs/year nitrogen removed | $ PW/lb. nitrogen removed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Construction | Engineering design and permit | Operation and maintenance | Compliance | Total Lifecycle cost |  |  |
| Low (25-30%) | Conventional: primary treatment + soil treatment unit | $4,025.00 | $580.00 | $937.90 | $0.00 | $5,542.90 | 8.1 | 22.8 |
| Medium (50-70%) | Conventional + In-tank PNRS stage 1 + R tank | $13,604.07 | $1,660.00 | $8,766.39 | $3,807.40 | $27,837.86 | 18.9 | 49.07 |
|  | Conventional +PNRS in-ground stage 1 underlain by stage 2 | $15,333.85 | $1,660.00 | $8,214.22 | $3,807.40 | $29,015.47 | 18.9 | 51.15 |
| High (85-95%) | Conventional + PNRS in-tank stage 1 + PNRS in-tank stage 2 | $18,968.67 | $1,660.00 | $9,503.98 | $3,807.40 | $33,940.05 | 25.7 | 44.09 |
|  | Conventional + PNRS in-ground stage 1&2a + PNRS in-tank stage 2b | $19,477.44 | $1,660.00 | 8896.75% | $3,807.40 | $33,841.59 | 25.7 | 43.96 |

For detailed discussion regarding these recommended technologies, you can refer to the Evaluation of Full Scale Prototype Passive Nitrogen Reduction Systems (PNRS) and Recommendations for Future Implementation.

Roeder and Ursin published a paper on Florida Water Resources Journal in 2013, describing the results from a project funded through USEPA 319 Grant to investigate the performance of advanced OSTDSs in the State of Florida.  Advanced systems referred to aerobic treatment units and performance based treatment systems. In terms of the tables above, it include both NSF-40 certified systems (ATUs) and a subset of ATUs with established nitrogen reduction capability. This study completed an inventory of the advanced systems in Florida, surveyed various user groups, conducted site assessments of the operational status of randomly selected systems, and collected water quality samples of selected systems to determine the influent and effluent concentrations of cBOD5, TSS, TKN, NOx, TN, and TP.  I attached the paper to this email (0713_FWRJ_tech1).  This paper provides some background information on the distribution of the advanced systems in the State, their performance status and public perspectives, and their general efficiencies on removal of various pollutants from the domestic wastewater.

FDEP, contracting the Department of Earth, Ocean and Atmospheric Science of the Florida State University, conducted a study that compared the nitrogen removal efficiencies of conventional septic tanks and performance based treatment systems (PBTS) in a one-year study starting from June of 2008.  The results from this study was published by FDEP in 2010 in a report titled Wakulla County Septic Tank Study – Phase II Report on Performance Based Treatment Systems.  Results from this study showed that the PBTSs installed in Wakulla County generally can achieve a nitrogen removal rate of about 50%, which was significantly higher than the 10% nitrogen removal rate of the conventional septic tanks.  I attached the report to this email (Phase II Report on WakullaPBTS_Dec 16 2010).

A more general overview over issues related to the management of onsite systems is provided by EPA’s voluntary guidelines on the management of onsite systems (EPA_onsite_management_guidelines). The guidelines refer to the concept of a responsible management entity or a utility managing onsite systems.

The City of Tallahassee, Leon and Wakulla counties funded a study by Lombardo Associates that discusses management options, both from a treatment technology perspective and from a management perspective. http://cms.leoncountyfl.gov/Portals/0/Documents/OnsiteSewageMgt.pdf

Assistance Project for Wakulla County OSTDS and Decentralized Wastewater Systems Management Program – Phase III Final Draft Report:  I attached the report to this email (Final Draft OSTDS Wakulla Report 06-30-2011). This study included a survey of Wakulla County residents about management options for onsite systems and nitrogen-reducing systems.

Alachua County has been working on similar issues. A report by an advisory committee established there is: Septic Tank Alternatives – A Report to the Alachua County Board of County Commissioners Prepared by the Environmental Protection Advisory Committee:  The report discusses various alternatives to conventional septic systems in nitrogen removal, cost benefits, and regulatory and management options on these alternative systems.

- Various studies that maybe meaningful for the advisory committee:

- Fate of Effluent-Borne Contaminants beneath Septic Tank Drainfields Overlying a Karst Aquifer:  This paper describes the monitoring of three septic systems, in particular effluent under and near to the drainfields tanks in the Woodville Karst Plain.  I also attached the paper to this email (Fate of Effluent-Borne Contaminants under Drainfields)

- A Multitracer Approach for Assessing the Susceptibility of Groundwater Contamination in the Woodville Karst Plain, Northern Florida:  I attached the paper to this email (A Mulitracer Approach for Woodville Karst Plain_Katz). This study estimated water ages or average residence times based on several tracers. Tracer studies since then have shown that some transport pathways, such as from the spray field, are much faster as indicated by tracer arrival times.

- Nitrate-N Movement in Groundwater from the Land Application of Treated Municipal Wastewater and Other Sources in the Wakulla Springs Springshed, Leon and Wakulla Counties Florida, 1966-2018:  This is an USGS study quantifying the nitrogen load contributions from different sources (including the land application of the treated wastewater) in the Wakulla Springs springshed.  It included calibration of a groundwater flow and transport model. The document provides the background information on relative load distribution when land application of treated wastewater was still a major player in the basin, which can provide the advisory committee with some historic perspective.  I attached the report to this email (Nitrate-N Movement in Wakulla Springs Springshed).

- Identification of Nitrogen Sources and Transformations within Karst Springs Using Isotope Tracers of Nitrogen:  I attached two papers to this email (Identification of Nitrogen Sources in Karst Springs and 758 Heffernan bg….) Both observed isotope ratios for nitrate and discuss how such observations can be used to assess sources of nitrogen and transformation processes in groundwater.

- A Letter from Gerald Briggs (DOH) to Richard Deadman (DCA) regarding the costs of installing nitrogen reduction technology relative to conventional systems:  I attached the letter to this email (WakullaTreatmentCostDeadman_022106). By now dated, it includes results from a survey of cost estimates for installations.

- A Range of Cost-Effective Strategies for Reducing Nitrogen Contributions from Onsite Sewage Treatment and Disposal Systems. This discussion of options was part of a study of onsite systems and nitrogen issues in the Wekiva Study area north of Orlando.

- All project reports and data for the DOH Nitrogen Reduction studies can be found from here:  http://www.floridahealth.gov/environmental-health/onsite-sewage/research/nitrogen-reduction.html

More paper and studies can be provided to FDEP depending on the discussions among advisory committee members.  Please feel free to let us know if you have any questions about the information that we provided.

Thanks!

Elke Ursin, PMP, CPM, Environmental Manager

Phone: 850-245-4444 * 2708