Orange Creek Basin Monitoring Strategy Group
1:30 PM, August 31, 2006

Thomas Center B, Room 201, Gainesville
AGENDA
1:30 – 1:45  
Introductions
1:45 – 2:15 
Review Draft Monitoring Strategy
2:15 – 3:00
Ambient Monitoring: Sites, Parameters, and Frequency
· Tracking ambient water quality trends

· Site locations
· QA/QC
· Flow data 

3:00 – 3:15
Performance-Based Monitoring
· Responsible parties
· Projects
· Use of performance-based data
3:15 – 3:30
Break

3:30 – 3:45
Ancillary Data

· Ancillary data needed to facilitate data analyses
· Responsible parties
3:45 – 4:15 
Data Storage and Distribution

· STORET

· Non-STORET (e.g. performance-based and ancillary) data storage
· Non-STORET data distribution
4:15 – 4:30
Wrap-Up

· Update for the Basin Working Group
· Next steps

Remaining Issues
· Data evaluation and analyses

· Anticipated resource responses

· BMAP integration: to adopt or not adopt
	Waterbody/

WBID
	Parameter
	TMDL Baseline Loading1
	TMDL
	Percent Reduction

Needed

	
	
	
	
	

	Newnans Lake2
	
	(lbs/year)
	(lbs/year)
	

	2705B

2705B
	TN
	315,510
	85,470
	74

	
	TP
	25,732
	10,924
	59

	Orange Lake2
	
	
	
	

	2749A
	TP
	27,889
	15,262
	45

	Lake Wauberg
	
	
	
	

	2741

2741
	TN
	4,064
	2,062.4
	51

	
	TP
	748
	374
	50

	Alachua Sink
	
	
	
	

	2720A
	TN
	462,550
	256,322
	45

	Hatchett Creek
	
	(lbs/day)
	(lbs/day)
	

	2688
	Iron
	52
	35.91
	30.8

	
	
	(counts/day)
	(counts/day)
	

	
	Total Coliform
	1.40E + 12
	5.93E + 11
	62.2

	
	
	6,349/100ml
	2,400/100ml
	

	Hogtown Creek
	
	
	
	

	2698
	Fecal Coliform
	1.7E + 11
	8.11E + 10
	51

	
	
	1,633/100ml
	800/100ml
	

	Tumblin Creek
	
	
	
	

	2718A
	Fecal Coliform
	3,077/100ml
	800/100ml
	74

	
	Total Coliform
	26,667/100ml
	2,400/100ml 
	91

	SW Branch
	
	
	
	

	2711
	Fecal Coliform
	2,667/100ml
	800/100ml
	70


Note:  This is a fact finding meeting of the Monitoring Strategy Group. The full Orange Creek Basin Working Group is responsible for making decisions based upon information gathered.

