Driftwood Estates (2/29-3/1/16)



2/29/16
Due to tides and time constraints Lake 5 Discharge (30.41222,-86.32099) and Lake 13 Discharge (30.41172,-86.30543) were reconned and photos taken.  Lake 9 Discharge (30.41826,-86.30836) was witness from the boat and resembled Lake 5 Discharge, pipe in very shallow water, but was too far to photograph. 
Lake 5 discharge and Lake 9 Discharge will be very tide dependent.  At one hour after high tide the water levels were 1-2 ft. within a hundred feet of the discharge pipe.  Lake 13 Discharge was in 4-5 ft of water.
3/1/16
Rick Abad and Michael King met with Mr. Jim Hopson and he confirmed the outfalls and identified 2 other outfalls. Unidentified East Outfall (30.40982,-86.30752) and Unidentified West Outfall (30.41772,-86.31639). We identified all stormwater outfalls on the road after the ponds and before they went into the bay.  Each would be very easy to sample at the road level and some level of coordination would be needed for Lake 5 and Lake 13 outfalls if we wanted to sample at point of entry in the Bay as they are on private property. 
Mr. Hopson also addressed an erosion concern at the FDEP Jurisdictional area north of Shipwreck Rd. This was causing issues with a couple empty lots but it was unclear whether this effected the Bay water quality.

[bookmark: _GoBack]Sampling by foot at the point of entry to the bay would be the preferred method and logistically the least complicated. Please see all attached photos and let’s discuss a plan of action.  Thanks.  
