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PBDE
· SGS-AXYS tested for 8 PBDE compounds, all of which were from the DEP priority list.

· 8 PBDE compounds from the DEP priority list were detected in samples from all sites.
· All detections from SPMD samples and 92% of detections from Grab samples were qualified due to lab or field blank detections.  

· All DEP priority compounds detected were found using both sampling methods (SPMD and Grab).  

	Sampling Method
	# DEP Priority Compounds Detected in Pilot Study
	Total # Compounds
Detected in Pilot Study

	SPMD & Grab
	8
	8

	SPMD Only
	0
	0

	Grab Only
	0
	0

	Total
	8
	8



· [bookmark: _GoBack]8 DEP priority compounds were detected at all sites (N = 4) using a single sampling method.  

In table below, yellow highlighting indicates compound detected at all site (N=4) using the specified sampling method.  Percentage in parentheses represents portion of data qualified due to blank detections.  V indicates data qualified due to detection in lab blank.  G indicates date qualified due to detection in field blank. Dark gray indicates compound was not detected at any sites using the specified sampling method.

	Compound
	SPMD # Sites with Detects
	Grab # Sites with Detects

	2,2',3,3',4,4',5,5',6,6'-DeBDE
	4 (100% VG**)
	4 (100% G)

	2,2',3,4,4',5',6-HpBDE
	4 (100% G)
	3 (100% G)

	2,2',4,4',5,5'-HxBDE
	4 (100% G)
	2

	2,2',4,4',5,6'-HxBDE
	4 (100% G)
	3 (100% G)

	2,2',4,4',5-PeBDE
	4 (100% G)
	4 (100% VG)

	2,2',4,4',6-PeBDE
	4 (100% G)
	4 (100% VG)

	2,2',4,4'-TeBDE
	4 (100% G)
	4 (100% VG)

	2,4,4'-TriBDE
	4 (100% G)
	2 (100% G**)


**Presence uncertain due to high analyte concentration in blanks. (Blank value > 90% of sample value for all sites with detections.)
