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PFC
· SGS-AXYS tested for 13 PFC compounds.
· Of those 13 compounds, 10 were from DEP priority list.  (77% of the PFC compounds that SGS-AXYS tested for are on DEP Priority List.) There were 3 additional compounds on DEP priority list that SGS-AXYS did not test for.

· 10 PFC  compounds were detected in samples from at least one pilot study site.  Of those, 8 were on DEP priority list.  
· No data were qualified due to lab or field blank detections.  

· All of the DEP priority compounds detected were found in POCIS samples.  5 of the 8 DEP priority compounds detected were also detected in Grab samples.  

	Sampling Method
	# DEP Priority Compounds Detected in Pilot Study
	Total # Compounds
Detected in Pilot Study

	POCIS & Grab
	5
	5

	POCIS Only
	3
	3

	Grab Only
	0
	2

	Total
	8
	10





· 3 DEP priority compounds were detected at all sites (N = 4) using a single sampling method.  

In table below, yellow highlighting indicates compound detected at all site (N=4) using the specified sampling method.  Percentage in parentheses represents portion of data qualified due to blank detections.  V indicates data qualified due to detection in lab blank.  G indicates date qualified due to detection in field blank. Dark gray indicates compound was not detected at any sites using the specified sampling method.

	Compound 
(* = DEP Priority)
	Acronym
	POCIS # Sites with Detects
	Grab # Sites with Detects

	Perfluorobutanoate
	PFBA
	 
	2

	Perfluorobutanesulfonic acid*
	PFBS*
	1
	1

	Perfluorodecanoic acid*
	PFDA*
	2
	 

	Perfluoroheptanoic acid*
	PFHpA*
	4
	2

	Perfluorohexanoic acid*
	PFHxA*
	1
	2

	Perfluorohexanesulfonic acid*
	PFHxS*
	3
	 

	Perfluorononanoic acid*
	PFNA*
	2
	 

	Perfluorooctanoic acid*
	PFOA*
	4
	2

	Perfluorooctanesulfonic acid*
	PFOS*
	4
	1

	Perfluoropentanoate
	PFPeA
	 
	2



