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Alicia Wilson
Florida Dept of Environmental Protection



Prep Date:   02 May 2014  2ug Dibenz[a,h]Anthracene-d14 + 10ug Anthracene-d10/Fluoranthened10        (pg 241B)  

Anthracene-d10
Chem Service
Lot 289400 [2000ug/mL]
50uL  50mL UHP triolein (Feb 2014)

Fluoranthene-d10
Chem Service
Lot 812200  [2000ug/mL]
50uL  50mL UHP triolein (Feb 2014)

Dibenz[a,h]Anthracene-d14
Cambridge Isotope Lab
{200ug/mL]  Lot SCJL008
0.500mL  50mL UHP Triolein (Feb 2014)



MICROPIPETTOR CALIBRATION
Date:   28 April 2014
Average:  0.915g  RSD:  0.081%  n=10





