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[bookmark: _Toc15372150]Executive Summary


The Florida Department of Environmental Protection (DEP) performed a study to evaluate sampling techniques and technologies, analytical methods, and toxicological assays to studyof emerging contaminants (EC) in Florida’s fresh waters. The study ustilized varying types of sample collection devices and analytical methods, using applying a small-scale study design. Seventy-five surface water trend Trend Network monitoring sites were sampled monthly during 2012 and 2015 by the Division of Environmental Assessment & and Restoration (DEAR) for wastewater tracers, including sucralose. Four of these river sites sites—in the Apalachicola, Withlacoochee, Ochlockonee, and Alafia Rivers—were selected for this study based on the sucralose results. The sites chosen were the Apalachicola, Withlacoochee, Ochlockonee, and Alafia Rivers.

Polar Organic organic Compound compound Integrative integrative Samplers samplers (POCIS) and Semisemi-Permeable permeable Membrane membrane Devices devices (SPMD) were deployed at each river site in March 2017. One-time whole water grab samples were taken when these devices were retrieved 30- to 35 days later. SGS AXYS Laboratories and Florida Department of Environmental Protection (the FDEP) Laboratory conducted chemical analyses. These analyses focused on 6 categories of emerging contaminantsEC: pesticides, pharmaceuticals and personal care products,  (PPCPs) perfluorinated compounds (PFCs), polybrominated diphenyl ethers (PBDEs), alkylphenols, and hormones. Biological evaluations were conducted by tThe University of Florida (UF) and the United StatesU.S. Geological Survey (USGS) conducted biological evaluations. POCIS and SPMD extracts and whole water samples from each site were screened using in Vitro vitro receptor assays.
Outcomes
Sampling and chemical analyses for emerging contaminants (EC) are sensitive processes, . This is in part due tobecause of the low laboratory detection limits, commonly less than 10 nanograms per liter, used to determine the presence of these compounds. Because of this, chemical analyses are accompanied by lengthy quality control (QC) reports that must be carefully reviewed for determination ofto determine data usability. 
For the passive sampling devices, time-weighted averages of analyte concentrations are sufficient for determining biological exposure rates. To determine time-weighted average concentrations for passive sampling devices, the sampling rates (uptake rate of compound onto passive sampling material adjusted for flow dynamics) of individual compounds should be determined. Furthermore, performance reference compounds (PRCs) should be deployed with the passive samplers so that site site-specific uptake distributions can be determined for individual compounds.
For test protocols that measure estrogenicity and androgenicity, the high level of color in Florida waters caused interference in detections. An increased understanding of site-specific sampling rates for estrogenic and androgenic compounds and further refinement of the laboratory methods used for the determination of estrogenicity and androgenicity are recommended for future studies.
Future studies of ECs in Florida’s waterbodies should focus on waterbodies directly impacted affected by known sources of ECs these substances (e.g., river segments continually impacted by wastewater overflows). This approach would reduce the burden of collecting and processing data burden by focusing on known contaminant sources. 

[bookmark: _Toc12446712][bookmark: _Toc15372151]1.0 Introduction

[bookmark: _Hlk9233238]In 2008, a Florida Department of Environmental Protection (FDEP) internal workgroup assessed the efficacy of sample collection techniques to determine the bioavailability and occurrence of categories of compounds, commonly referred to as emerging contaminants (EC). These substances, which have been detected in low concentrations in surface waters throughout the U.S. and abroad, include chemicals found in pharmaceuticals and personal care products, flame retardants, pesticides and their degradates, fragrances and flavorants, detergent degradates, plasticizers, solvents, and polycyclic aromatic hydrocarbons (Kolpin et al., 2002; Pal et al., 2010). Several of these compounds are known mutagens and endocrine disruptors; however, most of them are unregulated (Chemical Abstracts Service [CAS], 2013). 
The FDEP workgroup reconvened in January 2013 to evaluate how it could respond to the growing problem. The 2013 FDEP workgroupIt recommended that carrying out a study be conducted to investigate the likely causes of biological effects by employing screening assays to detect ecological effects, such as estrogenic activity, occurring in Florida’s waters.
 By 2016, the workgroup had developed a study design that was deployed in March 2017. Site selection for the study was based on the detection frequency of a known wastewater tracer compound (sucralose) coming based on from monthly sampling done conducted at 78 statewide surface water trend Trend network Network sites conducted in 2012 and 2015. The main objective of the study was to evaluate novel sampling techniques and technologies, analytical methods, and toxicological assays for the study of emerging contaminantsEC in Florida rivers. The study ustilized varying types of sample collection devices and analytical methods to address the objective, using applying a small-scale study design. A wide range of compounds were evaluated because of the ubiquitous nature of EC. 
[bookmark: _Toc12446713][bookmark: _Toc15372152]1.1 Historical contextContext
Monitoring for chemical tracers in the environment is a powerful tool for characterizing anthropogenic pollutants and identifying potential pollutant sources (i.e., point and non-point sources). The compound sSucralose (trade name Splenda) is an effective compound to use as a tracer . The characteristics that make sucralose useful as a tracer include itsbecause it is present presence in domestic wastewater discharge at detectable levels, no natural occurrencedoes not occur naturally, has low toxicity, is highly solubleility in water, is ineffectively metabolizedation and removedal by wastewater treatment processes, and its persistsence in the environment (Labare and Alexander 1993; Oppenheimer et al. 2011; Soh et al. 2011; Tollefsen et al. 2012). FDEP's monitoring of sucralose has helped to identify sites for intensive study and to track contaminant migration routes in surface water and groundwater.
To better understand the extent of Florida’s freshwater resources potentially affected by emerging contaminantsEC, FDEP's Division of Environmental Assessment and Restoration (DEAR) began to collect and analyze samples for wastewater tracers and imidacloprid in its status Status and trend Trend monitoring Monitoring networks Networks (FDEP 2015). DEAR sampled statewide for sucralose in both monitoring networks in 2012 (Seal et al. 2016), and for sucralose, the pharmaceuticals acetaminophen, carbamazepine, and primidone, and the neonicotinoid pesticide imidacloprid in both monitoring networks in 2015 (Silvanima et al. 2018). All of these compounds are hydrophilic and therefore may be highly mobile in the freshwater environment (Bonmatin et al. 2015; Jenner and Smithson 1989; Wishart et al. 2006).
Sucralose was commonly detected at ultra-trace levels, with a laboratory method detection limit (MDL) of 0.01 micrograms per liter (µg/L), in the Sstatus and trend Trend networks Networks in 2012 and 2015. Sucralose was found in all freshwater resources monitored: rivers, streams, canals, lakes, and both unconfined and confined aquifers. Statewide status Status network Network sucralose detection frequencies for combined water resources were 43.3 % (2012) and 55.3 % (2015), respectively. Status network Network sampling in 2015 provided statewide ultra-trace detection frequencies of 16.5 % for the occurrence of any of the pharmaceuticals, and of 39.4 % for imidacloprid. Of the water resources sampled, rivers consistently produced the highest detection frequencies. Statewide monthly trend Trend network Network sampling of 75 rivers, streams, and canals, provided revealed sucralose detection frequencies of 77.3 % (2012) and 86.7 % (2015) at the sites sampled. Twenty-eight of these sites had detection frequencies greater than 80 % for the combined 24-month period. 


[bookmark: _Toc12446714][bookmark: _Toc15372153]2.0 Study Design

[bookmark: _Toc12446715][bookmark: _Toc15372154]2.1 Site Selection
Of the 75 trend stations sampled (Figure 1), the 4 containing the most frequent sucralose detections, as determined by using only values greater than the method detection and practical quantification limits of FDEP’s instrumentation, were selected for thi[image: ]s study.


[bookmark: _Toc15372191]Figure 1.  Surface Water water Trend Trend Network sSites Selected selected for study
[bookmark: _Toc12446716][bookmark: _Toc15372155]2.2 Site Characterization
The 4 sites chosen for the study are were rivers, each with at least a 15-year history of regular monthly sampling by DEPepartment staff for a suite of standard water quality analytes (e.g., nutrients, major ions). Three of the rivers, —the Apalachicola, the Withlacoochee and the Ochlockonee, —flow into Florida from Georgia over the Atlantic Coastal Plain province.  The watersheds of the Ochlockonee and Withlacoochee Rivers each have significant amounts of agricultural and silvicultural activity. The Apalachicola River, formed by the confluence of the Flint and the Chattahoochee Rivers near Albany, Georgia, drains much of the that state of Georgia.  It is used for sanitary waste disposal by millions of people in many cities, including metropolitan Atlanta, Griffin, Columbus, and Bainbridge. The Chattahoochee River has three federally maintained water control structures (dams) upstream, which slow flow and pool the river. This provides an opportunity for sedimentation to occur before the water is released further farther downstream. The fourth site is located on the Alafia River, which flows west into Tampa Bay from the center of the Florida peninsula, with its headwaters near the City of Lakeland.
[bookmark: _Toc12446717][bookmark: _Toc15372156]2.3 Sampling Techniques
The greatest number of EC detections are is expected when using a combination of sampling methods, such as polar organic chemical integrative samplers (POCIS), semipermeable membrane devices (SPMD), and whole water grab samples (Alvarez, 2010). The passive samplers (POCIS and SPMD) are used for long-term deployment (30 – to 35 days), while the grab sample technique is used to capture a discrete snapshot in time. There are soSome types of chemicals are found in both sampling devices. However, the SPMD is selected for neutral organic chemicals, such as polybrominated diphenyl ethers (PBDEs), and the POCIS is selected for more water-soluble organic chemicals, such as hormones (Alvarez, 2010).
 For this study, POCIS, SPMD, and grab samples were ustilized at each site. Three POCIS and three SMPD contained in one large canister (Figure 2) were deployed at each river site for the study in March 2017. Grab samples were collected when the devices were retrieved 30- to 35 days later. A field blank for each sampling method (POCIS, SPMD, and grab) was collected at the Apalachicola River site.  
[bookmark: _Toc15372157]2.4 EC Categories
Many of the compounds evaluated as part of this study are suspected of causing endocrine disruption in both aquatic and terrestrial invertebrate and vertebrate species (Blazer et al. 2011 and 2013, Guy et al. 2009; Letcher et al. 2010; Oetken et al. 2004; Vos et al. 2000). EC are categorized based on their manufacturing or commercial use. Each category of EC compounds tends to have similar exposure routes, aquatic life effects, and chemical characteristics (Table 1).



[image: ] 
[bookmark: _Toc15372192]Figure 2. Diagram of the Polar Organic Chemical Integrative Samplers (POCIS) and POCIS holder, Semipermeable Membrane Device (SPMD) and SPMD holder, and a large canister to contain the passive samplers.  
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[bookmark: _Toc15372193]Table 1. General categories of EC (adapted from Dellinger et al. 2011)
	Category
	Primary Routes of 
Potential Human Exposure
	Aquatic Life Effects
	Polarity /
Water Solubility

	Pesticides
	Dermal contact; ingestion (e.g., contaminated food or water); inhalation (e.g., breathing vapors, dust, or spray particles); ocular exposure
	Toxic, potential endocrine disruptor (ED)
	Most are polar and have high solubility

	Pharmaceuticals and Personal Care Products (PPCPs)
	Ingestion (e.g., oral medications); inhalation (e.g., aerosol hair products, perfumes); dermal contact (e.g., topical medications, deodorants, lotions)
	ED
	Most are polar and have high solubility

	Synthetic Hormones
	Ingestion (e.g., contaminated food or water, oral medications); inhalation (e.g., dust and particulates); dermal contact
	ED
	Polar / high solubility

	Perfluorinated Compounds (PFCs)
	Ingestion (e.g., contaminated food or water, breast milk); hand-to-mouth from surfaces that contain PFCs
	Bioaccumulative, ED
	Polar / high solubility

	Polybrominated Diphenyl Ethers (PBDEs)
	Ingestion (e.g., contaminated food, water, breast milk); inhalation; dermal contact
	Toxic, Bioaccumulativebioaccumulative, ED, Carcinogeniccarcinogenic
	Nonpolar/
l / low solubility

	Alkylphenols
	Ingestion (contaminated food or water); contact with some personal care products and detergents; inhalation (primarily indoor air, dusts)
	ED
	Range of polarities / 
generally low solubility




Table 1. General Categories of EC (Adapted from Dellinger et al., 2011).
[bookmark: _Toc12446719][bookmark: _Toc15372158]2.5 Overview of Laboratory Analysis
[bookmark: _Toc15372159]2.5.1 Chemical 
The group of laboratory analyses performed was determined based on the type of sampling device (Table 2). Not all analytes were analyzed for each sample type. The analytes were targeted based on the range of organic contaminants most appropriate for each sampling device . The SGS AXYS Laboratories and the FDEP Laboratory conducted the analyses. 
[bookmark: _Toc15372160]2.5.2 Biological 
Several emerging contaminantsEC, such as pesticides and hormones, are known to be estrogenic and androgenic in rivers, meaning that they , such as pesticides and hormones. Estrogenicity and androgenicity in rivers can cause reproductive changes in fish and wildlife (U.S. Geological Survey [USGS], 2019). ECs may also cause genotoxic effects (DNA damage) to aquatic life.  Biological response tests were used to measure endocrine activity in cell lines exposed to samples. The biological screening was conducted by University of Florida (UF) and United States Geological Survey (USGS conducted the biological screening\). POCIS dialysis, SPMD extracts, and whole water from each site were screened using the in Vitro vitro receptor assays detailed listed in Table 3 below. 
[bookmark: _Toc12446720][bookmark: _Toc15372161]3.0 Results
Table 2
 lists tThe chemistry results for the study are presented by the EC categoryies and by analytical laboratory (Table 2). Qualitative results are used so that comparisons can be made between sampling types (See see the discussion in Section 4.0). All compound categories were detected at all sites in at least one sampling type. Table 3 lists tThe biology results are presented by laboratory and test type (Table 3). Appendix B lists dDetected analytes are referenced in Appendix B. 
[bookmark: _Toc12446721]3.1 Pesticides – SGS AXYS Lab
Analysis was performed on all samples for 76 pesticide compounds; 42 of which were detected at 1 or more stations, in at least 1 sample type (SPMD, POCIS, or grab samples).  Forty-one of the 42 compounds detected were found using a combination of SPMD and grab samples.  Thirty-one compounds were detected at all stations (N = 4).  Detections for 18 compounds were qualified due to lab or field blank detections. 












[bookmark: _Hlk9258641]
[bookmark: _Toc15372194]Table 2. Number of Compounds compounds Analyzed analyzed in Each each Categorycategory.
* The  FDEP Llab used a reduced analyte list for some sampling devices. POCIS samples were not analyzed for 29 pesticide compounds.  SPMD samples were not analyzed for 1 pesticide compound. 
**SPMD samples were not analyzed for PPCPs by the SGS AXYS Llab.
N/A = Not applicable
	Category
	Sampling Devices Used
	Number of Compounds Analyzed by SGS AXYS Llab
	Number of Compounds Analyzed by FDEP lLab

	Pesticides
	POCIS, SPMD, & and Grab
	76
	88*

	Pharmaceuticals and Personal Care Products (PPCPs)
	POCIS, SPMD,**, & and Grab
	127
	4

	Hormones
	POCIS and & Grab
	17
	N/A

	Perfluorinated Compounds (PFCs)
	POCIS and& Grab
	13
	N/A

	Polybrominated Diphenyl Ethers (PBDEs)
	SPMD and & Grab
	8
	N/A

	Alkylphenols
	SPMD and & Grab
	4
	N/A





[bookmark: _Toc15372195]Table 3. Assay Categories categories with aAssay Name name and Entity entity that Conducted conducting Assayassay.
	Assay Category
	Assay Name
	Entity that conducted Conducting assayAssay

	Receptor Binding Assay
	Estrogen and androgen receptor binding by fluorescence polarization
	UF

	Receptor Transactivation Assay
	Estrogen and androgen transactivation assay by using both agonist and antagonist modes
	UF

	Receptor Binding Assay
	Bioluminescent yeast estrogen and androgen screens (BLYES and BLYAS)
	USGS

	Genotoxicity Assay
	SOS Chromotest
	USGS




[bookmark: _Toc15372162]3.1 Pesticides – SGS AXYS Lab
Analysis was performed on all samples for 76 pesticide compounds, 42 of which were detected at 1 or more stations, in at least 1 sample type (SPMD, POCIS, or grab samples). Of the 42 compounds detected, 41 were found using a combination of SPMD and grab samples. Thirty-one compounds were detected at all stations (N = 4). Detections for 18 compounds were qualified because of lab or field blank detections.

[bookmark: _Toc12446722][bookmark: _Toc15372163]3.2 Pharmaceuticals and Personal Care Products (PPCPss) – SGS AXYS Lab

Analysis was performed on POCIS and grab samples for 127 PPCP compounds; 39 were detected at 1 or more stations, in at least 1 sample type.  Of the 39 compounds detected, 31 compounds were found in POCIS samples and 24 compounds were found in grab samples.  Seven compounds were detected at all stations (N = 4).  Detections for 3 compounds were qualified due tobecause of lab or field blank detections.

[bookmark: _Toc12446723][bookmark: _Toc15372164]3.3 Hormones – SGS AXYS Lab

Analysis was performed on POCIS and grab samples for 17 hormone compounds; 5 compounds were detected at one 1 or more stations, in at least one 1 sample type.  All compounds detected were found in the POCIS samples, and 2 of the compounds detected were found only in grab samples.  One compound was detected at all stations (N = 4).  All grab sample detections were qualified because of due to lab or field blank detections, but no data from POCIS samples were qualified due tofor this reason.  

[bookmark: _Toc12446724][bookmark: _Toc15372165]3.4 Perfluorinated Compounds (PFC) – SGS AXYS Lab

Analysis was performed on POCIS and grab samples for 13 PFC compounds; 10 compounds were detected at one 1 or more stations, in at least one 1 sample type.  Eight of the compounds detected were found in the POCIS samples, and seven 7 of the compounds detected were found in grab samples.  Three compounds were detected at all stations (N = 4).  No PFC data were qualified due tobecause of lab or field blank detections.

[bookmark: _Toc12446725][bookmark: _Toc15372166]3.5 Polybrominated Diphenyl Ethers (PBDEs) – SGS AXYS Lab

Analysis was performed on SPMD and grab samples for 8 PBDE compounds, all of which were detected by both sampling types at one 1 or more sites. For SPMD, all compounds were found at all sites, whereas while 4 of the 8 were detected at all sites for grab. All SPMD detections and 92 % of grab detections were qualified due tobecause of lab or field blank detections.

[bookmark: _Toc12446726][bookmark: _Toc15372167]3.6 Alkylphenols – SGS AXYS Llab

Analysis was performed on SPMD and grab samples for 4 alkylphenol compounds; 2 compounds were detected at all sites (N=4), in at least one 1 sample type.  Both compounds detected were found in the SPMD samples, but only one 1 was found in the grab samples.  All alkylphenol data were qualified because of due to lab or field blank detections.

[bookmark: _Toc12446727][bookmark: _Toc15372168]3.7 Pesticides and PPCPs - – FDEP Llab

Grab samples were analyzed for all 92 compounds (88 pesticides and 4 PPCPs), SPMDs were analyzed for 91 compounds (87 pesticides and 4 PPCPs), and POCIS were analyzed for 63 compounds (59 pesticides and 4 PPCPs).  Thirty-two compounds (29 pesticides and 3 PPCPs) were detected at one 1 or more stations, in at least one 1 sample type. Fourteen compounds were detected at all stations (N = 4).  No data from this laboratory were qualified because of due to lab or field blank detections.



[bookmark: _Toc12446728][bookmark: _Toc15372169]3.8 UFniversity of Florida Results 

The University of FloridaUF conducted bioanalytical assays (receptor binding and transactivation) on whole water grab samples and extracts from the SPMD and POCIS samplers. For the receptor binding assays, interference from background fluorescence was an issue when analyzing the whole water grab and POCIS extract samples. This interference from background fluorescence was likely due tobecause of the naturally high Total total Organic organic Carbon carbon (TOC) and humic acids in the water present at the study sites. These high levels of background fluorescence preclude any conclusions from being drawn concerning the presence or absence of estrogenic or androgenic compounds in POCIS and grab samples.
 However, background fluorescence did not cause notable interference in the interpretation of the binding assay results for the SPMD extracts. For these SPMD  extracts, on a qualitative basis, there was a positive indication of estrogen receptor and androgen receptor binding chemicals at each of the study sites. The transactivation assays also yielded variable results due tobecause of interference.  Further The further analysis of additional river sites and the use of additional sample clean-up steps for dark- water rivers are needed before conclusions about the presence or absence and effects of estrogenic or androgenic compounds can be drawn with confidence.

[bookmark: _Toc12446729][bookmark: _Toc15372170]3.9 USGS Results

USGS used the SOS Chromotest to test each of the sample types (POCIS, SPMD, grab) at each river site and on a field blank. All sites were negative for genotoxicity in all sample types, except at the Alafia River site, where the POCIS and SPMD samples tested positive. 

USGS also tested samples at all sites and from all sample types using the BLYES and BLYAS. The grab samples from the Alafia, Apalachicola, and Withlacoochee River sites were found to be estrogenic. POCIS samples were found to be estrogenic at all sites, while SPMD samples were not estrogenic at any site. No androgenic activity was found  in any sample type nor at any site.
[bookmark: _Toc12446730][bookmark: _Toc15372171]4.0 Lessons Learned and Recommendations

[bookmark: _Hlk6470774]Sampling and chemical analyses for ECs is a sensitive process, as evidenced; this is evident by the frequent detections in quality controlQC samples (field and lab blanks). Chemical analyses are accompanied by lengthy QC reports which that must be carefully reviewed when determining the use of the data. . Selecting sampling and analysis methods based on the goals and objectives of the study would reduce the data burden of collecting and processing data in future studies. 
Comparison A comparison of the concentrations obtained using the three sampling techniques was not possible because of the difference in measurement units between the passive devices and grab samples. This was due, in part, because sampling rates for these compounds were not determined. Alvarez (2010) defines sampling rate as the rate in liters per day (L/d) of water extracted by the passive sampler per day (L/d). Water flow, temperature, and the buildup of biofilm on the sampler surfaces can affect sampling rates.
 Deploying passive samplers containing media spiked with performance reference compounds (PRCs) at the sample sites is one means to address these environmental variables.  PRCs are is a chemicals added to the sampler during fabrication. By measuring the amount of PRCs losts during deployment in the field, adjustments to the sampling rates of targeted chemicals can be made to reflect the site-specific sampling rates (Alvarez, 2010).  
Choosing analytes with known site-specific sampling rates would allow for the determination of time-weighted average concentrations. This would provide the measurement unit conversion necessary for concentration comparisons between samples taken from the three sampling methods and therefore provide additional information on ambient concentrations. For the passive sampling devices, time-weighted averages of analyte concentration are sufficient for determining biological exposure rates. 
For test protocols that measure estrogenicity and androgenicity, the high level of color in Florida waters caused interference in detections. An increased understanding of site-specific sampling rates for estrogenic and androgenic compounds and further refinement of the laboratory methods used for the determination of estrogenicity and androgenicity are recommended for future studies.
Future studies of EC in Florida’s waterbodies should focus on waterbodies directly impacted affected by known EC sources of EC (e.g., river segments continually impacted by wastewater overflows). This will allow FDEP to tailor the analyte list and sampling methods for known compounds. Additional studies should be used to determine the waterbodies for EC sampling (e.g., waterbodies those known to have water quality impairments due tobecause of biological metrics for which no known pollutant is identified).
 To study bioaccumulative effects and address concerns related to public health, a fish and sediment study could provide information on the persistence of EC. These studiesSuch a study could pair whole grab samples with biological community (e.g., fish, invertebrates) monitoring to provide information on the current state of the ecosystem and insight on into what concentrations affect a targeted community. Finally, periodic statewide sample surveys for indicators of EC should be conducted so that we can track the extent of waters impacted by these compounds can be tracked.  
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[bookmark: _Toc15372175]Pesticide Compounds Analyzed by SGS AXYS Lab.

DRAFT Exploratory Study of Emerging Contaminants in Rivers, July 2019
· 
· 2,4'-DDD
· 2,4'-DDE
· 2,4'-DDT
· 4,4'-DDD
· 4,4'-DDE
· 4,4'-DDT
· Alachlor
· Aldrin
· alpha-Endosulphan
· Ametryn
· Atrazine
· Azinphos-Methyl
· beta-Endosulphan
· Butralin
· Butylate
· Captan
· Chlordane, alpha (cis)
· Chlordane, gamma (trans)
· Chlordane, oxy-
· Chlorothalonil
· Chlorpyriphos
· Chlorpyriphos-Methyl
· Chlorpyriphos-Oxon
· Cyanazine
· Cypermethrin
· Dacthal
· Desethylatrazine
· Diazinon
· Diazinon-Oxon
· Dieldrin
· Dimethenamid
· Dimethoate
· Disulfoton
· Disulfoton Sulfone
· Endosulphan Sulphate
· Endrin
· Endrin Ketone
· Ethalfluralin
· Ethion
· Fenitrothion
· Flufenacet
· Flutriafol
· Fonofos
· HCH, alpha
· HCH, beta
· HCH, delta
· HCH, gamma
· Heptachlor
· Heptachlor Epoxide
· Hexachlorobenzene
· Hexazinone
· Linuron
· Malathion
· Methoprene
· Methoxychlor
· Metolachlor
· Metribuzin
· Mirex
· Nonachlor, cis-
· Nonachlor, trans-
· Octachlorostyrene
· Parathion-Ethyl
· Parathion-Methyl
· Pendimethalin
· Permethrin
· Perthane
· Phorate
· Phosmet
· Pirimiphos-Methyl
· Quintozene
· Simazine
· Tebuconazol
· Tecnazene
· Terbufos
· Triallate
· Trifluralin



[bookmark: _Toc15372176]PPCP Compounds Analyzed by SGS AXYS Lab.
· 
· 1,7-Dimethylxanthine
· 10-hydroxy-amitriptyline
· 2-Hydroxy-ibuprofen
· Acetaminophen
· Albuterol
· Alprazolam
· Amitriptyline
· Amlodipine
· Amphetamine
· Amsacrine
· Atenolol
· Atorvastatin
· Azathioprine
· Azithromycin
· Benzoylecgonine
· Benztropine
· Betamethasone
· Bisphenol A
· Busulfan
· Caffeine
· Carbadox
· Carbamazepine
· Cefotaxime
· Cimetidine
· Ciprofloxacin
· Citalopram
· Clarithromycin
· Clinafloxacin
· Clonidine
· Clotrimazole
· Cloxacillin
· Cocaine
· Codeine
· Colchicine
· Cotinine
· Cyclophosphamide
· Daunorubicin
· DEET
· Dehydronifedipine
· Desmethyl-diltiazem
· Diatrizoic acid
· Diazepam
· Digoxigenin
· Digoxin
· Diltiazem
· Diphenhydramine
· Doxorubicin
· Drospirenone
· Enalapril
· Enrofloxacin
· Erythromycin-H2O
· Etoposide
· Flumequine
· Fluocinonide
· Fluoxetine
· Fluticasone propionate
· Furosemide
· Gemfibrozil
· Glipizide
· Glyburide
· Hydrochloro-thiazide
· Hydrocodone
· Hydrocortisone
· Ibuprofen
· Iopamidol
· Lincomycin
· Lomefloxacin
· Medroxy-progesterone Acetate
· Melphalan
· Meprobamate
· Metformin
· Methyl-prednisolone
· Metoprolol
· Metronidazole
· Miconazole
· Moxifloxacin
· Naproxen
· Norfloxacin
· Norfluoxetine
· Norgestimate
· Norverapamil
· Ofloxacin
· Ormetoprim
· Oxacillin
· Oxazepam
· Oxolinic Acid
· Oxycodone
· Paroxetine
· Penicillin G
· Penicillin V
· Prednisolone
· Prednisone
· Promethazine
· Propoxyphene
· Propranolol
· Ranitidine
· Rosuvastatin
· Roxithromycin
· Sarafloxacin
· Sertraline
· Simvastatin
· Sulfachloro-pyridazine
· Sulfadiazine
· Sulfadimethoxine
· Sulfamerazine
· Sulfamethazine
· Sulfamethizole
· Sulfamethoxazole
· Sulfanilamide
· Sulfathiazole
· Tamoxifen
· Teniposide
· Theophylline
· Thiabendazole
· Trenbolone
· Trenbolone acetate
· Triamterene
· Triclocarban
· Triclosan
· Trimethoprim
· Tylosin
· Valsartan
· Venlafaxine
· Verapamil
· Virginiamycin M1
· Warfarin
· Zidovudine




[bookmark: _Toc15372177]Hormone Compounds Analyzed by SGS AXYS Lab
· 
· 17 alpha-Dihydroequilin
· 17 alpha-Estradiol
· 17 alpha-Ethinyl-Estradiol
· 17 beta-Estradiol
· Allyl Trenbolone
· Androstenedione
· Androsterone
· Desogestrel
· Equilenin
· Equilin
· Estriol
· Estrone
· Mestranol
· Norethindrone
· Norgestrel
· Progesterone
· Testosterone



[bookmark: _Toc15372178]PFC Compounds Analyzed by SGS AXYS Lab

· Pentafluorobenzoic acid (PFBA)
· Perfluorobutanesulfonic acid (PFBS)
· Perfluorodecanoic acid (PFDA)
· Perfluorododecanoic acid (PFDoA)
· Perfluoroheptanoic acid (PFHpA)
· Perfluorohexanoic acid (PFHxA)
· Perfluorohexanesulfonic acid (PFHxS)
· Perfluorononanoic acid (PFNA)
· Perfluorooctanoic acid (PFOA)
· Perfluorooctanesulfonic acid (PFOS)
· Perfluorooctanesulfonamide (PFOSA)
· Perfluoro-n-pentanoic acid (PFPeA)
· Perfluoroundecanoic acid (PFUnA)



[bookmark: _Toc15372179]PBDE Compounds Analyzed by SGS AXYS Lab
· 2,2',3,3',4,4',5,5',6,6'-DeBDE
· 2,2',3,4,4',5',6-HpBDE
· 2,2',4,4',5,5'-HxBDE
· 2,2',4,4',5,6'-HxBDE
· 2,2',4,4',5-PeBDE
· 2,2',4,4',6-PeBDE
· 2,2',4,4'-TeBDE
· 2,4,4'-TriBDE

[bookmark: _Toc15372180]Alkylphenol Compounds Analyzed by SGS AXYS Lab
· 4-n-Octylphenol
· 4-Nonylphenol diethoxylates
· 4-Nonylphenol monoethoxylates
· 4-Nonylphenols



[bookmark: _Toc15372181]Pesticide Compounds Analyzed by FDEP Lab

· 2,4-D
· 3-Hydroxycarbofuran
· Acetochlor
· Alachlor
· Aldicarb
· Aldicarb Sulfone
· Aldicarb Sulfoxide
· Aldrin
· Alpha-BHC
· Alpha-Chlordane
· Ametryn
· Atrazine
· Atrazine Desethyl
· Azinphos Methyl
· Bentazon
· Beta-BHC
· Bromacil
· Butylate
· Carbaryl
· Carbofuran
· Carbophenothion
· Chlordane
· Chlorothalonil
· Chlorpyrifos Ethyl
· Chlorpyrifos Methyl
· Cyanazine
· Cypermethrin
· DDD-p,p'
· DDE-p,p'
· DDT-p,p'
· 
Delta-BHC
· Demeton
· Diazinon
· Dicofol
· Dieldrin
· Disulfoton
· Diuron
· Endosulfan I
· Endosulfan II
· Endosulfan Sulfate
· Endrin
· Endrin Aldehyde
· Endrin Ketone
· EPTC
· Ethion
· Ethoprop
· Fenamiphos
· Fenuron
· Fipronil
· Fipronil Sulfide
· Fipronil Sulfone
· Fluridone
· Fonofos
· Gamma-BHC
· Gamma-Chlordane
· Glyphosate*
· Heptachlor
· Heptachlor Epoxide
· Hexazinone
· Imidacloprid
· 
Linuron
· Malathion
· MCPP
· Metalaxyl
· Methiocarb
· Methomyl
· Methoxychlor
· Metolachlor
· Metribuzin
· Mevinphos
· Mirex
· Molinate
· Norflurazon
· Oxamyl
· Parathion Ethyl
· Parathion Methyl
· Pendimethalin
· Permethrin
· Phorate
· Prometon
· Prometryn
· Propoxur
· Simazine
· Terbufos
· Terbuthylazine
· Toxaphene
· Triclopyr
· Trifluralin

[bookmark: _Toc15372182]PPCP Compounds Analyzed by FDEP Llab
· Acetaminophen
· Carbamazepine
· Primidone
· Sucralose
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[bookmark: _Toc15372184]SGS AXYS Laboratory - – Pesticides
V = Data qualified due tobecause of lab blank detection. (Blank value > 10 % of sample value.)
G = Data qualified because of due to field blank detection. (Blank value > 10 % of sample value.)
** = Presence uncertain due to high analyte concentration in blanks. (Blank value > 90% of sample value for all sites with detections.)
* Light yellow shading and asterisk are used to highlight compounds detected at all sites (N = 4). 
** Dark blue shading and double asterisk are used to highlight compounds not detected at any sites, for each sample type.
§ = Presence uncertain because of high analyte concentration in blanks. (Blank value > 90 % of sample value for all sites with detections.)
	Compound
	SPMD # Sites
with Detects
	POCIS # Sites with Detects
	Grab # Sites with Detects
	
	Compound 

	SPMD # Sites with Detects
	POCIS # Sites with Detects
	Grab # Sites with Detects

	2,4'-DDD
	4*
	0**
	0**
	
	Endrin Ketone
	2
	0**
	1 (100% G**)§

	4,4'-DDD
	4*
	0**
	0**
	
	Ethalfluralin
	3
	0**
	0**

	2,4'-DDE
	3*
	0**
	0**
	
	Flufenacet
	1
	0**
	0**

	4,4'-DDE
	4*
	0**
	1
	
	Flutriafol
	0**
	1
	1 (100% G)

	4,4'-DDT
	4*
	0**
	0**
	
	HCH, alpha
	4*
	2
	1

	Alachlor
	1
	1
	1 (100% VG)
	
	HCH, beta
	4*
	3
	3

	Aldrin
	4 (75% V)*
	1
	2
	
	HCH, delta
	2
	1
	0**

	Ametryn
	0**
	1
	0**
	
	HCH, gamma
	4 (100% G)*
	3
	1

	Atrazine
	2
	4*
	4*
	
	Heptachlor
	4 (100% G)*
	4 (100% G)*
	0**

	Chlordane, alpha (cis)
	4*
	2
	0**
	
	Heptachlor Epoxide
	4 (50% V)*
	4 (100% G)*
	3 (100% VG)

	Chlordane, gamma (trans)
	4 (75% G)*
	4 (100% G)
	3 (100% V)
	
	Hexachlorobenzene
	4 (100% G)*
	4 (100% VG)*
	4 (100% VG)*

	Chlordane, oxy-
	4 (100% VG)*
	0**
	2 (100% V)
	
	Hexazinone
	0**
	1
	2

	Chlorpyriphos
	4
	0**
	1
	
	Metolachlor
	4 (100% G)*
	4
	4 (25% V)*

	Desethylatrazine
	0**
	4*
	4*
	
	Mirex
	4 (100% VG)*
	1
	3

	Diazinon
	1
	1
	0**
	
	Nonachlor, cis-
	4 (25% G)*
	0**
	1 (100% G)

	Dieldrin
	4*
	4*
	4*
	
	Nonachlor, trans-
	4
	4
	2

	Dimethenamid
	1
	3
	3
	
	Pendimethalin
	4
	0**
	0**

	Endosulphan, alpha
	4 (100% VG**)§
	4 (100% VG**)§*
	4 (100% VG)*
	
	Quintozene
	3 (100% G**)§
	3 (100% G**)§
	0**

	Endosulphan, beta
	4 (100% VG)*
	3 (100% VG**)§
	4 (100% VG**)§*
	
	Simazine
	0**
	4*
	4*

	Endosulphan Sulphate
	4*
	4*
	3
	
	Tebuconazol
	3 (100% G)
	4*
	4*

	Endrin
	4 (75% V, 100% G)*
	0**
	2 (100% V**)§
	
	Trifluralin
	4*
	1
	0**





[bookmark: _Toc15372185]SGS AXYS Laboratory - – Pharmaceuticals and Personal Care Products (PPCPs)
V = Data qualified due tobecause of lab blank detection. (Blank value > 10 % of sample value.)
G = Data qualified because of due to field blank detection. (Blank value > 10 % of sample value.)
* ** = Presence uncertain due to high analyte concentration in blanks. (Blank value > 90% of sample value for all sites with detections.)
Light yellow shading and asterisk are used to highlight compounds detected at all sites (N = 4). 
** Dark blue shading and double asterisk are used to highlight compounds not detected at any sites, for each sample type.
§ = Presence uncertain because of high analyte concentration in blanks. (Blank value > 90 % of sample value for all sites with detections.)
Shading is used to highlight compounds detected at all sites (N = 4) (light yellow) and compounds not detected at any sites (dark blue), for each sample type.
Analytical lists: APOS / APOSX / APOSY = acid Acid extraction, positive electrospray ionization; ANEG = acid Acid extraction, negative electrospray ionization;  BPOS = base Base extraction, positive electrospray ionization
	Compound
	List
	POCIS # Sites with Detects
	Grab # Sites with Detects
	
	Compound
	List
	POCIS # Sites with Detects
	Grab # Sites with Detects

	Alprazolam
	APOSX
	4*
	0**
	
	Gemfibrozil
	ANEG
	3
	0**

	Amitriptyline
	APOSX
	2
	4*
	
	Hydrochlorothiazide
	ANEG
	1
	0**

	Amphetamine
	BPOS
	4 (100% VG**)§*
	4 (100% VG)*
	
	Hydrocodone
	BPOS
	3
	0**

	Atenolol
	BPOS
	2
	3
	
	Iopamidol
	APOSY
	0**
	3

	Azithromycin
	APOS
	1
	0**
	
	Meprobamate
	APOSX
	0**
	2

	Caffeine
	APOS
	0**
	2
	
	Metformin
	BPOS
	0**
	3 (100% G)

	Carbamazepine
	APOS
	4*
	3
	
	Metoprolol
	APOSX
	3
	0**

	Clarithromycin
	APOS
	1
	0**
	
	Naproxen
	ANEG
	3
	3

	Cocaine
	APOSX
	3
	2
	
	Oxolinic Acid
	APOS
	1
	1

	Colchicine
	APOSY
	0**
	2
	
	Oxycodone
	BPOS
	3
	0**

	Cotinine
	BPOS
	0**
	2
	
	Propoxyphene
	APOSX
	1
	0**

	DEET
	APOSX
	4*
	4 (50% VG)*
	
	Sertraline
	APOSX
	1
	1

	Dehydronifedipine
	APOS
	1
	1
	
	Sulfadimethoxine
	APOS
	1
	0**

	Desmethyldiltiazem
	APOSX
	2
	0**
	
	Sulfamethazine
	APOS
	1
	0**

	Diatrizoic acid
	APOSY
	0**
	2
	
	Sulfamethoxazole
	APOS
	4*
	4*

	Diazepam
	APOSX
	1
	0**
	
	Triamterene
	BPOS
	3
	1

	Diltiazem
	APOS
	2
	1
	
	Trimethoprim
	APOS
	3
	0**

	Diphenhydramine
	APOS
	1
	1
	
	Valsartan
	APOSX
	2
	1

	Erythromycin-H2O
	APOS
	4*
	0**
	
	Venlafaxine
	APOSY
	3
	2

	Furosemide
	ANEG
	0**
	1
	
	




[bookmark: _Toc15372186]SGS AXYS Laboratory - – Hormones
V = Data qualified due tobecause of lab blank detection. (Blank value > 10 % of sample value.)
G = Data qualified due tobecause of field blank detection. (Blank value > 10 % of sample value.)
* Light yellow shading and asterisk are used to highlight compounds detected at all sites (N = 4). 
** Dark blue shading and double asterisk are used to highlight compounds not detected at any sites, for each sample type.
	Compound
	POCIS # Sites with Detects
	Grab # Sites with Detects

	Allyl Trenbolone
	2
	0**

	Androstenedione
	3
	0**

	Androsterone
	2
	2 (100% G)

	Mestranol
	2
	4 (100% VG)*

	Testosterone
	1
	0**



[bookmark: _Toc15372187]SGS AXYS Laboratory - – Perfluorinated Compounds (PFCs)
* ShadingLight yellow shading and asterisk are is used to highlight compounds detected at all sites (N = 4) (light yellow). 
** Dark blue shading and double asterisk are used to highlight and compounds not detected at any sites (dark blue), for each sample type.
	Compound
	Acronym
	POCIS # Sites with Detects
	Grab # Sites with Detects

	Perfluorobutanoate
	PFBA
	0**
	2

	Perfluorobutanesulfonic acid
	PFBS
	1
	1

	Perfluorodecanoic acid
	PFDA
	2
	0**

	Perfluoroheptanoic acid
	PFHpA
	4*
	2

	Perfluorohexanoic acid
	PFHxA
	1
	2

	Perfluorohexanesulfonic acid
	PFHxS
	3
	0**

	Perfluorononanoic acid
	PFNA
	2
	0**

	Perfluorooctanoic acid
	PFOA
	4*
	2

	Perfluorooctanesulfonic acid
	PFOS
	4*
	1

	Perfluoropentanoate
	PFPeA
	0**
	2




[bookmark: _Toc15372188]SGS AXYS Laboratory - – Polybrominated Diphenyl Ethers (PBDEs)
V = Data qualified due tobecause of lab blank detection. (Blank value > 10 % of sample value.)
G = Data qualified due tobecause of field blank detection. (Blank value > 10 % of sample value.)
* ** = Presence uncertain due to high analyte concentration in blanks. (Blank value > 90% of sample value for all sites with detections.)
Shading Light yellow shading is and asterisk are used to highlight compounds detected at all sites (N = 4) (light yellow) for each sample type.
§ = Presence uncertain because of high analyte concentration in blanks. (Blank value > 90 % of sample value for all sites with detections.)
	Compound
	SPMD # Sites with Detects
	Grab # Sites with Detects

	2,2',3,3',4,4',5,5',6,6'-DeBDE
	4 (100% VG**)§
	4 (100% G)*

	2,2',3,4,4',5',6-HpBDE
	4 (100% G)*
	3 (100% G)

	2,2',4,4',5,5'-HxBDE
	4 (100% G)*
	2

	2,2',4,4',5,6'-HxBDE
	4 (100% G)*
	3 (100% G)

	2,2',4,4',5-PeBDE
	4 (100% G)*
	4 (100% VG)*

	2,2',4,4',6-PeBDE
	4 (100% G)*
	4 (100% VG)*

	2,2',4,4'-TeBDE
	4 (100% G)*
	4 (100% VG)*

	2,4,4'-TriBDE
	4 (100% G)*
	2 (100% G**)§




[bookmark: _Toc15372189]SGS AXYS Laboratory - – Alkylphenols
V = Data qualified due tobecause of lab blank detection. (Blank value > 10 % of sample value.)
G = Data qualified due tobecause of field blank detection. (Blank value > 10 % of sample value.)
* Light yellow shading and asterisk are used to highlight compounds detected at all sites (N = 4). 
** Dark blue shading and double asterisk are used to highlight compounds not detected at any sites, for each sample type.
	Compound
	SPMD # Sites
with Detects
	Grab # Sites with Detects

	4-Nonylphenol diethoxylates
	4 (100% G)*
	0**

	4-Nonylphenols
	4 (100% G, 25% V)*
	4 (100% VG)*





[bookmark: _Toc15372190]FDEP Laboratory – Pesticides & and Pharmaceuticals and Personal Care Products (PPCPss)
N/A = Analysis not performed for corresponding sample type.
* Light yellow shading and asterisk are used to highlight compounds detected at all sites (N = 4).
** Dark blue shading and double asterisk are used to highlight compounds not detected at any sites, for each sample type.
	Compound
	SPMD # Sites with Detects
	POCIS # Sites with Detects
	Grab # Sites with Detects
	
	Compound

	SPMD # Sites with Detects
	POCIS # Sites with Detects
	Grab # Sites with Detects

	2,4-D
	0**
	2
	3
	
	Fipronil
	0**
	1
	3

	Acetaminophen
	0**
	0 **
	2
	
	Fipronil Sulfide
	0**
	0**
	1

	Acetochlor
	0**
	3
	3
	
	Fipronil Sulfone
	0**
	0**
	4*

	Ametryn
	0**
	0**
	1
	
	Fluridone
	0**
	3
	3

	Atrazine
	0**
	4*
	4*
	
	Diuron
	0**
	4*
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