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ESOC Pilot Sub-Group
Meeting Minutes
September 7, 2018
	Present:	Jay Silvanima, Tom Seal, Kristen Sapp, Kaitlyn Sutton, Jade Burtchett, Stephanie Sunderman, Alicia Hogue

	Next meeting:	September 14, 2018, 10:30 – 11:30 am, Room 272


Announcements
No announcements
Discussion
First order was a review of the meeting notes. We discussed which items needed follow up with UF researchers. We will discuss the conclusions in the next meeting. We will conclude the follow up questions from the discussion and conclusions sections during the next meeting. 
Follow up questions:

Quality Assurance
· We have a question from the QA section on page 6 about the sample “must be stabilized over at least 2 dilution…” The concern is that in the results section on page 9, the authors state that the SPMD has 2 dilutions, but there is no mention of the dilutions for grab or POCIS.
Results
· There was a discussion about the results for the estrogen binding assays shown on figure 2, page 8. There was a question as to why there was no activity in the QA/QC SMPD test sample, but there was activity found in the QA/QC test samples of grab and POCIS. The thought was that the SPMD does not take up hormones/mimics, but then that would not explain the estrogen mimicry of the pesticides. The difference in background fluorescence may also account for the difference in the QA/QC blank results between SPMD vs the other two sample types. Could you please confirm our interpretation or provide a correct interpretation for these results?
Results – ER transactivation assay
· There is a question about interpreting the estrogen receptor assay results shown in figure 7 on page 12. The question is, what amount of change (i.e. is there a threshold?) is required between dilutions for results to indicate presence of anti-agonists and agonists in the water/extract sample being tested?
Results – Androgen receptor transactivation

· Considerable anti-androgenicity in extracts from Apalachicola. (What does this mean?)
· On page 19, the authors describe that the “calculated values from the various dilutions, when possible, were averaged. 
· Questions were raised by group members. 
· What does “when possible” mean?
· Question (in response to above question): Is it correct that the calculated values from all dilutions are averaged, except those that are below the detection limit (or below the quantification limit)? 

Discussion
· Reason for interference in the binding assay.
· Expected to be higher than the for the transactivation assay.
· “Other organic constituents were also captured from the water, such as humic substances…”
· Reason for interference in the transactivation assay.
· “Humic acids could…interfere…at higher concentrations tested for the water grab samples.”
· Samples tested were about 10X more dilute. (Is this a reason for interference or less interference than binding assay?)
· Higher androgenicity in the grab field collection method type.
· Could be due to field blank contamination from the grab field collection method type.
· Pros/cons for using POCIS/SPMD v. Grab
· “Hard to estimate advantage of using POCIS and SPMD compared to grab samples since concentration factors are unknown.”
· POCIS and SPMD seemed to include interference materials at the highest concentration tested, but removed quickly with increased dilutions of the extract.
· Conclusion on biological effects 
· “Acute toxicity is not expected from the concentrations found; however chronic exposure could be an issue for some fish species.”


