Appendix f—Analyte List With Storet Codes

	Analytes
Abbreviated*
	STORETID 
Number
	Analyte
	Units
	 Description

	Bicarb
	29801
	Bicarbonate
	Mg/L
	ALKALINITY,WATR,DISS.,FIX END PT,LAB,AS CACO3,MG/L

	Color
	81
	Color
	PT-CO
	COLOR,APPARENT(UNFILTERED SAMPLE) PLAT-COB UNITS

	Cond(field)
	94
	Specific Conductance, Field
	MICRO
MHO
	SPECIFIC CONDUCTANCE,FIELD (UMHOS/CM @ 25C)

	D-Alk
	4255
	Dissolved Alkalinity
	mg/L
	BICARBONATE ALKALINITY(CAC03),DISSOLVED,WATER

	D-Ca
	915
	Dissolved Calcium 
	mg/L
	CALCIUM, DISSOLVED (MG/L AS CA)

	D-Cl
	941
	Dissolved Chloride
	mg/L
	CHLORIDE, DISSOLVED IN WATER

	D-F
	950
	Dissolved Fluoride
	mg/L
	FLUORIDE, DISSOLVED (MG/L AS F)

	D-Fe
	1046
	Dissolved Iron
	μg/L
	IRON, DISSOLVED (UG/L AS FE)

	D-K
	935
	Dissolved Potassium
	mg/L
	POTASSIUM, DISSOLVED (MG/L AS K)

	D-Mg
	925
	Dissolved Magnesium
	mg/L
	MAGNESIUM, DISSOLVED (MG/L AS MG)

	D-Mn
	1056
	Dissolved Manganese 
	μg/L
	MANGANESE, DISSOLVED (UG/L AS MN)

	D-Na
	930
	Dissolved Sodium
	mg/L
	SODIUM, DISSOLVED (MG/L AS NA)

	D-NH3
	608
	Dissolved Ammonia 
	mg/L
	NITROGEN, AMMONIA, DISSOLVED (MG/L AS N)

	D-NO3
	618
	Dissolved Nitrate
	mg/L
	NITRATE NITROGEN, DISSOLVED (MG/L AS N)

	D-NO3(N)
	620
	Dissolved Nitrate, Nitrogen
	mg/L
	NITRATE NITROGEN, TOTAL (MG/L AS N)

	D-NO3NO2
	631
	Dissolved Nitrate Nitrite
	mg/L
	NITRITE PLUS NITRATE, DISS. 1 DET. (MG/L AS N)

	DO
	299
	Dissolved Oxygen
	mg/L
	OXYGEN ,DISSOLVED, ANALYSIS BY PROBE


*Light gray indicates common rock and saline-related indicators while dark gray shows common nutrient analytes.

	Complete Analyte Descriptions continued

	Analytes
Abbreviated
	STORET ID 
Number
	Analyte
	Units
	 Description

	DOC
	681
	Dissolved Organic Carbon
	mg/L
	CARBON, DISSOLVED ORGANIC (MG/L AS C)

	D-P
	666
	Dissolved Phosphorus
	mg/L
	PHOSPHORUS, DISSOLVED (MG/L AS P)

	D-PO4
	671
	Dissolved Phosphate
	mg/L
	PHOSPHORUS, DISSOLVED ORTHOPHOSPHATE (MG/L AS P)

	D-SO4
	946
	Dissolved Sulfate
	mg/L
	SULFATE, DISSOLVED (MG/L AS SO4)

	D-Sr
	1080
	Dissolved Strontium 
	μg/L
	STRONTIUM, DISSOLVED (UG/L AS SR)

	DtoH2O
	72109
	Depth to Ground Water
	FR MPFT
	DEPTH TO WATER LEVEL FROM A MEASURING POINT (FEET)

	Entero
	31649
	Enterococci Bacteria
	NO/100ML
	ENTEROCOCCI- ME-MF

	Fcol
	31616
	Fecal Coliforms
	NO/100ML
	FECAL COLIFORM,MEMBR FILTER,M-FC BROTH,44.5 C

	Flow (cfs)
	60
	Mean Daily Flow 
	cfs
	FLOW, STREAM, MEAN DAILY
CUBIC FEET PER SECOND (CFS)

	pH
	406
	pH
	SU
	PH, FIELD, STANDARD UNITS 

	Resid
	530
	Residuals
	mg/L
	RESIDUE, TOTAL NONFILTRABLE (MG/L)

	SCL
	95
	Specific Conductivity
	MICRO
MHO
	SPECIFIC CONDUCTANCE (UMHOS/CM @ 25C)

	T-Alk
	411
	Total Alkanity
	mg/L
	ALKALINITY, TOTAL (MG/L AS CACO3

	T-Ca
	916
	Total Calcium
	mg/L
	CALCIUM, TOTAL (MG/L AS CA)

	T-Cl
	940
	Total Chloride
	mg/L
	CHLORIDE,TOTAL IN WATER

	TDS
	70300
	Total Dissolved Solids
	mg/L
	RESIDUE,TOTAL FILTRABLE (DRIED AT 180C),MG/L

	Temp
	10
	Temperature 
	˚C
	TEMPERATURE, WATER (DEGREES CENTIGRADE)

	T-F
	951
	Total Fluoride
	mg/L
	FLUORIDE, TOTAL (MG/L AS F)

	T-K
	937
	Total Potassium
	mg/L
	POTASSIUM, TOTAL MG/L AS  K)


*Light gray indicates common rock and saline-related indicators while dark gray shows common nutrient analytes.

	Complete Analyte Descriptions continued

	Analytes
Abbreviated
	STORET

ID 
Number
	Analyte
	Units
	 Description

	TKN
	623
	Total Kjeldahl Nitrogen
	mg/L
	NITROGEN, KJELDAHL, DISSOLVED (MG/L AS N)

	T-Mg
	927
	Total Magnesium
	mg/L
	MAGNESIUM, TOTAL (MG/L AS MG)

	T-Na
	929
	Total Sodium
	mg/L
	SODIUM, TOTAL (MG/L AS NA)

	T-NO3
	615
	Total Nitrate 
	mg/L
	NITRITE NITROGEN, TOTAL (MG/L AS N)

	T-NO3NO2
	630
	Total Nitrate Nitrite
	mg/L
	NITRITE PLUS NITRATE, TOTAL 1 DET. (MG/L AS N)

	TOC
	680
	Total Organic Carbon
	mg/L
	CARBON, TOTAL ORGANIC (MG/L AS C)

	T-P
	665
	Total Phosphorus
	mg/L 
	PHOSPHORUS, TOTAL (MG/L AS P)

	T-PO4
	650
	Total Phosphate
	mg/L
	PHOSPHATE, TOTAL (MG/L AS PO4)

	T-SO4
	945
	Total Sulfate
	mg/L
	SULFATE, TOTAL (MG/L AS SO4)

	T-Sr
	1082
	Total Strontium
	μg/L
	STRONTIUM, TOTAL (UG/L AS SR)

	Turb
	76
	Turbidity (Hatch Meter)
	HACH FTU
	TURBIDITY,HACH TURBIDIMETER (FORMAZIN TURB UNIT)

	Turb(field)
	82078
	Field Sampling of Turbidity 
	NTU
	TURBIDITY,FIELD NEPHELOMETRIC TURBIDITY UNITS,NTU

	WL
	82545
	Water Level (from sea level)
	ft
	WATER LEVEL RELATIVE TO MEAN SEA LEVEL (FEET)


*Light gray indicates common rock and saline-related indicators while dark gray shows common nutrient analytes.
