Appendix I—Descriptive  Statistics 

	South Florida Water Management District Wells
	

	Descriptive Statistics for 2793
	Dates: June, 1986 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	163
	24.2
	25.5
	26.0
	26.6
	28.5

	1046
	D-Fe
	microg/l
	22
	303.0
	1500.0
	1700.0
	1975.0
	3100.0

	1056
	D-Mn
	microg/l
	7
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	25
	204.0
	240.0
	250.0
	265.0
	275.0

	299
	DO
	mg/l
	110
	0.2
	0.3
	0.4
	0.4
	0.8

	31616
	Fcol
	#/100 ml
	9
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	9
	*
	*
	*
	*
	*

	406
	pH
	ph units
	154
	6.3
	6.8
	6.9
	6.9
	7.1

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	9
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	19
	0.7
	0.9
	1.0
	1.1
	1.2

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	9
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	30
	0.0
	0.0
	0.0
	0.0
	0.2

	666
	D-P
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	0.0

	671
	D-PO4
	mg/l
	16
	0.0
	0.0
	0.0
	0.0
	0.0

	680
	TOC
	mg/l
	19
	8.7
	11.0
	12.0
	16.3
	31.0

	70300
	TDS
	mg/l
	20
	375.0
	398.0
	469.5
	481.3
	514.0

	72109
	DtoH2O
	Ft
	136
	1.0
	2.0
	2.2
	2.6
	3.9

	76
	Turb
	Turb units
	13
	3.1
	3.7
	4.0
	4.3
	12.0

	81
	Color
	Pt-Co
	10
	80.0
	85.0
	100.0
	100.0
	120.0

	82078
	Turb(field)
	Turb units
	16
	0.0
	0.0
	0.1
	0.3
	0.6

	915
	D-Ca
	mg/l
	27
	93.0
	112.0
	120.0
	120.0
	134.0

	925
	D-Mg
	mg/l
	32
	2.0
	2.6
	2.7
	2.9
	3.4

	930
	D-Na
	mg/l
	27
	14.4
	17.0
	18.0
	19.7
	26.5

	935
	D-K
	mg/l
	27
	0.6
	0.8
	1.0
	1.3
	3.1

	94
	Cond(field)
	micromhos/cm
	157
	7.2
	580.0
	640.0
	685.0
	756.0

	941
	D-Cl
	mg/l
	30
	25.0
	31.0
	34.5
	35.0
	51.0

	946
	D-SO4
	mg/l
	30
	30.0
	35.0
	42.5
	56.8
	63.0

	950
	D-F
	mg/l
	27
	0.2
	0.2
	0.2
	0.2
	0.4

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2872
	Dates: June, 1985 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	118
	21.0
	24.3
	24.6
	25.0
	27.6

	1046
	D-Fe
	microg/l
	28
	3.0
	127.5
	195.0
	262.5
	400.0

	1056
	D-Mn
	microg/l
	0
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	0
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	0
	*
	*
	*
	*
	*

	31616
	Fcol
	#/100 ml
	0
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	0
	*
	*
	*
	*
	*

	406
	pH
	ph units
	0
	*
	*
	*
	*
	*

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	0
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	30
	0.0
	0.1
	0.1
	262.5
	400.0

	618
	D-NO3
	mg/l
	11
	0.0
	0.0
	0.0
	0.0
	0.4

	620
	D-NO3(N)
	mg/l
	0
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	0
	*
	*
	*
	*
	*

	666
	D-P
	mg/l
	0
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	26
	0.0
	0.0
	0.0
	0.0
	0.0

	680
	TOC
	mg/l
	20
	2.5
	3.0
	3.2
	3.7
	27.0

	70300
	TDS
	mg/l
	0
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	0
	*
	*
	*
	*
	*

	76
	Turb
	Turb units
	0
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	0
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	0
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	0
	*
	*
	*
	*
	*

	925
	D-Mg
	mg/l
	40
	2.4
	2.9
	3.1
	3.3
	4.0

	930
	D-Na
	mg/l
	0
	*
	*
	*
	*
	*

	935
	D-K
	mg/l
	0
	*
	*
	*
	*
	*

	94
	Cond(field)
	micromhos/cm
	118
	410.0
	571.0
	592.0
	608.8
	923.0

	941
	D-Cl
	mg/l
	0
	*
	*
	*
	*
	*

	946
	D-SO4
	mg/l
	0
	*
	*
	*
	*
	*

	950
	D-F
	mg/l
	0
	*
	*
	*
	*
	*

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2873
	Dates: October, 1991 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	61
	23.5
	24.7
	24.9
	25.7
	28.3

	1046
	D-Fe
	microg/l
	4
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	2
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	8
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	13
	0.0
	0.2
	0.3
	0.4
	1.7

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	3
	*
	*
	*
	*
	*

	406
	pH
	ph units
	61
	6.4
	7.2
	7.3
	7.4
	7.7

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	7
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	8
	*
	*
	*
	*
	*

	666
	D-P
	mg/l
	8
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	6
	*
	*
	*
	*
	*

	680
	TOC
	mg/l
	6
	*
	*
	*
	*
	*

	70300
	TDS
	mg/l
	4
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	61
	4.2
	7.4
	8.5
	9.4
	10.9

	76
	Turb
	Turb units
	8
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	5
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	8
	*
	*
	*
	*
	*

	925
	D-Mg
	mg/l
	8
	*
	*
	*
	*
	*

	930
	D-Na
	mg/l
	8
	*
	*
	*
	*
	*

	935
	D-K
	mg/l
	8
	*
	*
	*
	*
	*

	94
	Cond(field)
	micromhos/cm
	61
	0.0
	0.0
	0.0
	0.7
	8.2

	941
	D-Cl
	mg/l
	8
	*
	*
	*
	*
	*

	946
	D-SO4
	mg/l
	8
	*
	*
	*
	*
	*

	950
	D-F
	mg/l
	8
	*
	*
	*
	*
	*

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 3108
	Dates: June, 1985 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	25
	24.6
	25.6
	25.7
	26.1
	27.6

	1046
	D-Fe
	microg/l
	7
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	3
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	5
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	10
	0.0
	0.1
	0.2
	0.5
	6.0

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	10
	6.9
	7.2
	7.3
	7.3
	7.4

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	4
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	5
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	5
	*
	*
	*
	*
	*

	666
	D-P
	mg/l
	6
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	10
	0.0
	0.0
	0.0
	0.1
	0.1

	680
	TOC
	mg/l
	8
	*
	*
	*
	*
	*

	70300
	TDS
	mg/l
	9
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	23
	6.5
	8.2
	9.8
	11.3
	16.3

	76
	Turb
	Turb units
	6
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	8
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	8
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	6
	*
	*
	*
	*
	*

	925
	D-Mg
	mg/l
	11
	74.2
	76.9
	80.4
	83.3
	85.5

	930
	D-Na
	mg/l
	6
	*
	*
	*
	*
	*

	935
	D-K
	mg/l
	6
	*
	*
	*
	*
	*

	94
	Cond(field)
	micromhos/cm
	25
	2950.0
	3117.0
	3220.0
	3320.0
	3972.0

	941
	D-Cl
	mg/l
	6
	*
	*
	*
	*
	*

	946
	D-SO4
	mg/l
	6
	*
	*
	*
	*
	*

	950
	D-F
	mg/l
	6
	*
	*
	*
	*
	*

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 3109
	Dates: April, 1985 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	51
	23.4
	24.5
	25.2
	26.3
	28.8

	1046
	D-Fe
	microg/l
	6
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	3
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	13
	266.0
	287.0
	290.0
	298.0
	305.0

	299
	DO
	mg/l
	47
	0.1
	0.1
	0.2
	0.4
	1.8

	31616
	Fcol
	#/100 ml
	12
	1.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	12
	1.0
	1.0
	1.0
	1.0
	1.0

	406
	pH
	ph units
	47
	6.3
	6.6
	6.7
	6.8
	6.9

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	12
	4.0
	4.8
	6.0
	9.8
	14.0

	608
	D-NH3
	mg/l
	14
	0.2
	0.3
	0.5
	0.5
	0.6

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	4
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	14
	0.0
	0.0
	0.0
	0.0
	0.0

	666
	D-P
	mg/l
	14
	0.0
	0.0
	0.1
	0.1
	0.1

	671
	D-PO4
	mg/l
	17
	0.0
	0.0
	0.0
	0.1
	0.1

	680
	TOC
	mg/l
	15
	21.0
	23.0
	24.0
	26.0
	100.0

	70300
	TDS
	mg/l
	16
	397.0
	418.8
	432.0
	460.0
	508.0

	72109
	DtoH2O
	Ft
	47
	3.4
	5.7
	6.5
	7.3
	9.4

	76
	Turb
	Turb units
	14
	2.3
	4.0
	4.9
	7.6
	40.0

	81
	Color
	Pt-Co
	13
	75.0
	120.0
	150.0
	200.0
	300.0

	82078
	Turb(field)
	Turb units
	15
	0.0
	0.0
	1.7
	3.2
	4.2

	915
	D-Ca
	mg/l
	14
	99.1
	108.0
	110.0
	111.0
	120.0

	925
	D-Mg
	mg/l
	14
	10.0
	10.8
	10.9
	11.1
	12.0

	930
	D-Na
	mg/l
	18
	15.6
	17.7
	18.7
	20.0
	21.9

	935
	D-K
	mg/l
	14
	1.4
	1.5
	1.6
	1.6
	1.7

	94
	Cond(field)
	micromhos/cm
	51
	0.0
	626.0
	651.0
	698.0
	856.0

	941
	D-Cl
	mg/l
	14
	21.0
	35.8
	42.0
	43.8
	48.0

	946
	D-SO4
	mg/l
	14
	0.2
	2.1
	3.0
	4.8
	5.5

	950
	D-F
	mg/l
	14
	0.2
	0.2
	0.2
	0.2
	0.2

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 3398
	Dates: January, 1997 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	46
	24.7
	25.3
	25.6
	26.0
	26.2

	1046
	D-Fe
	microg/l
	1
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	1
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	299
	DO
	mg/l
	46
	0.1
	0.2
	0.3
	0.4
	3.5

	31616
	Fcol
	#/100 ml
	9
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	9
	*
	*
	*
	*
	*

	406
	pH
	ph units
	46
	6.8
	7.2
	7.3
	7.3
	7.5

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	9
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	10
	0.2
	0.2
	0.2
	0.3
	0.3

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	10
	0.0
	0.0
	0.0
	0.0
	0.0

	666
	D-P
	mg/l
	10
	0.3
	0.3
	0.3
	0.3
	0.3

	671
	D-PO4
	mg/l
	10
	0.3
	0.3
	0.3
	0.3
	0.3

	680
	TOC
	mg/l
	10
	9.4
	9.9
	10.0
	10.8
	11.0

	70300
	TDS
	mg/l
	9
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	46
	6.6
	8.0
	8.3
	8.4
	9.1

	76
	Turb
	Turb units
	10
	0.2
	0.2
	0.3
	0.3
	11.0

	81
	Color
	Pt-Co
	9
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	15
	0.0
	0.0
	0.2
	0.4
	18.7

	915
	D-Ca
	mg/l
	10
	62.5
	66.9
	67.2
	68.1
	72.5

	925
	D-Mg
	mg/l
	10
	3.4
	3.5
	3.6
	3.8
	3.9

	930
	D-Na
	mg/l
	10
	21.5
	22.5
	23.0
	23.2
	25.2

	935
	D-K
	mg/l
	10
	2.3
	2.8
	2.9
	3.1
	3.5

	94
	Cond(field)
	micromhos/cm
	46
	292.0
	453.0
	462.0
	472.8
	519.0

	941
	D-Cl
	mg/l
	10
	34.0
	34.3
	35.0
	37.8
	38.0

	946
	D-SO4
	mg/l
	10
	5.0
	5.6
	6.2
	7.3
	11.0

	950
	D-F
	mg/l
	10
	0.1
	0.2
	0.2
	0.2
	0.2

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 3433
	Dates: July, 1985 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	38
	23.2
	24.4
	24.5
	24.7
	25.3

	1046
	D-Fe
	microg/l
	12
	3.0
	42.5
	50.0
	50.0
	70.0

	1056
	D-Mn
	microg/l
	7
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	7
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	18
	0.0
	0.1
	0.1
	0.2
	4.2

	31616
	Fcol
	#/100 ml
	5
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	29
	6.8
	7.9
	8.2
	8.2
	8.4

	4255
	D-Alk
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	16
	0.1
	0.1
	0.2
	0.2
	0.2

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	8
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	7
	*
	*
	*
	*
	*

	666
	D-P
	mg/l
	7
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	15
	0.0
	0.0
	0.0
	0.0
	0.0

	680
	TOC
	mg/l
	9
	*
	*
	*
	*
	*

	70300
	TDS
	mg/l
	13
	79.0
	90.0
	97.0
	103.0
	137.9

	72109
	DtoH2O
	Ft
	17
	-12.7
	0.0
	0.0
	0.0
	0.0

	76
	Turb
	Turb units
	7
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	6
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	5
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	7
	*
	*
	*
	*
	*

	925
	D-Mg
	mg/l
	16
	6.5
	6.7
	6.8
	6.9
	9.0

	930
	D-Na
	mg/l
	7
	*
	*
	*
	*
	*

	935
	D-K
	mg/l
	7
	*
	*
	*
	*
	*

	94
	Cond(field)
	micromhos/cm
	38
	140.0
	165.0
	168.0
	169.0
	176.0

	941
	D-Cl
	mg/l
	7
	*
	*
	*
	*
	*

	946
	D-SO4
	mg/l
	7
	*
	*
	*
	*
	*

	950
	D-F
	mg/l
	7
	*
	*
	*
	*
	*

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 3490
	Dates: March, 1999 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	45
	22.6
	22.8
	22.9
	23.0
	23.3

	1046
	D-Fe
	microg/l
	1
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	0
	NA
	NA
	NA
	NA
	NA

	29801
	Bicarb
	mg/l
	13
	1.0
	2.0
	2.0
	2.0
	3.1

	299
	DO
	mg/l
	45
	0.0
	0.2
	0.3
	0.4
	3.4

	31616
	Fcol
	#/100 ml
	12
	1.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	12
	1.0
	1.0
	1.0
	2.3
	10.0

	406
	pH
	ph units
	45
	4.0
	4.7
	4.8
	4.8
	4.9

	4255
	D-Alk
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	530
	Resid
	mg/l
	12
	4.0
	4.0
	4.0
	4.0
	5.0

	608
	D-NH3
	mg/l
	13
	0.0
	0.0
	0.0
	0.0
	0.1

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	13
	0.0
	0.0
	0.0
	0.0
	0.0

	666
	D-P
	mg/l
	13
	0.0
	0.0
	0.0
	0.0
	0.0

	671
	D-PO4
	mg/l
	13
	0.0
	0.0
	0.0
	0.0
	0.0

	680
	TOC
	mg/l
	13
	1.0
	1.5
	2.1
	3.9
	6.9

	70300
	TDS
	mg/l
	12
	28.0
	36.8
	39.0
	42.8
	60.0

	72109
	DtoH2O
	Ft
	45
	4.4
	6.0
	7.6
	9.5
	11.5

	76
	Turb
	Turb units
	13
	0.1
	0.1
	0.1
	0.1
	19.0

	81
	Color
	Pt-Co
	13
	5.0
	5.0
	5.0
	15.0
	75.0

	82078
	Turb(field)
	Turb units
	14
	0.0
	0.0
	0.0
	0.0
	0.2

	915
	D-Ca
	mg/l
	13
	0.1
	0.1
	0.1
	0.1
	0.3

	925
	D-Mg
	mg/l
	13
	0.9
	0.9
	1.0
	1.0
	1.1

	930
	D-Na
	mg/l
	13
	8.5
	8.7
	8.9
	9.0
	10.0

	935
	D-K
	mg/l
	13
	0.2
	0.2
	0.2
	0.3
	0.4

	94
	Cond(field)
	micromhos/cm
	45
	57.0
	62.0
	66.0
	67.0
	670.0

	941
	D-Cl
	mg/l
	13
	14.0
	15.0
	15.0
	15.0
	17.0

	946
	D-SO4
	mg/l
	13
	0.2
	0.2
	0.2
	0.2
	0.4

	950
	D-F
	mg/l
	13
	0.1
	0.1
	0.1
	0.1
	0.1

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 6490
	Dates: December, 1985 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	154
	22.5
	25.3
	25.6
	25.9
	26.9

	1046
	D-Fe
	microg/l
	19
	3.0
	5.0
	8.0
	12.5
	50.0

	1056
	D-Mn
	microg/l
	2
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	26
	210.0
	216.3
	220.0
	222.3
	234.0

	299
	DO
	mg/l
	138
	0.0
	0.3
	0.4
	0.7
	1.9

	31616
	Fcol
	#/100 ml
	10
	1.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	9
	*
	*
	*
	*
	*

	406
	pH
	ph units
	154
	6.6
	7.0
	7.0
	7.1
	8.4

	4255
	D-Alk
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	530
	Resid
	mg/l
	9
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	13
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	1
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	29
	0.9
	1.4
	2.3
	3.2
	4.6

	666
	D-P
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	0.1

	671
	D-PO4
	mg/l
	11
	0.0
	0.0
	0.0
	0.0
	0.0

	680
	TOC
	mg/l
	13
	1.0
	1.8
	2.0
	2.1
	58.0

	70300
	TDS
	mg/l
	13
	312.0
	313.0
	323.5
	332.8
	351.0

	72109
	DtoH2O
	Ft
	156
	2.8
	7.0
	7.5
	7.9
	9.3

	76
	Turb
	Turb units
	13
	0.1
	0.1
	0.1
	2.0
	42.0

	81
	Color
	Pt-Co
	11
	5.0
	5.0
	5.0
	5.0
	15.0

	82078
	Turb(field)
	Turb units
	16
	0.0
	0.0
	0.1
	0.3
	0.5

	915
	D-Ca
	mg/l
	28
	70.0
	89.3
	92.0
	94.1
	110.0

	925
	D-Mg
	mg/l
	28
	2.9
	4.0
	4.6
	5.1
	6.1

	930
	D-Na
	mg/l
	28
	14.0
	17.9
	22.5
	26.0
	31.0

	935
	D-K
	mg/l
	28
	2.5
	3.6
	4.8
	6.0
	7.3

	94
	Cond(field)
	micromhos/cm
	154
	461.0
	557.5
	575.0
	589.0
	684.0

	941
	D-Cl
	mg/l
	29
	24.0
	26.0
	35.0
	42.0
	49.0

	946
	D-SO4
	mg/l
	29
	18.0
	21.0
	26.0
	29.0
	37.0

	950
	D-F
	mg/l
	28
	0.1
	0.1
	0.1
	0.1
	0.2

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Northwest Florida Water Management District
	

	Descriptive Statistics for 67
	Dates: November, 1987 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	124
	13.0
	20.3
	21.5
	22.7
	24.5

	1046
	D-Fe
	microg/l
	21
	3.0
	5.0
	6.0
	10.0
	202.0

	1056
	D-Mn
	microg/l
	9
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	19
	103.0
	126.0
	130.0
	131.0
	153.0

	299
	DO
	mg/l
	106
	0.0
	2.4
	3.3
	4..4
	7.7

	31616
	Fcol
	#/100 ml
	6
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	6
	*
	*
	*
	*
	*

	406
	pH
	ph units
	125
	5.9
	7.5
	1.0
	1.8
	60.0

	4255
	D-Alk
	mg/l
	2
	*
	*
	*
	*
	*

	530
	Resid
	mg/l
	6
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	8
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	6
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	2
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	27
	0.5
	0.8
	0.9
	1.0
	1.2

	666
	D-P
	mg/l
	8
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	14
	0.0
	0.0
	0.0
	0.0
	0.1

	680
	TOC
	mg/l
	16
	0.1
	1.0
	2.2
	7.8
	35.6

	70300
	TDS
	mg/l
	14
	130.0
	160.3
	164.5
	170.3
	182.0

	72109
	DtoH2O
	Ft
	13
	0.0
	0.0
	0.0
	0.0
	0.0

	76
	Turb
	Turb units
	9
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	6
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	10
	0.0
	0.0
	0.0
	0.2
	0.4

	915
	D-Ca
	mg/l
	27
	37.0
	40.0
	40.8
	42.0
	43.0

	925
	D-Mg
	mg/l
	27
	7.9
	9.1
	9.4
	10.0
	11.0

	930
	D-Na
	mg/l
	27
	4.0
	4.9
	5.0
	5.2
	6.0

	935
	D-K
	mg/l
	27
	0.1
	0.5
	0.5
	0.8
	1.0

	94
	Cond(field)
	micromhos/cm
	124
	177.0
	273.5
	301.0
	310.0
	395.0

	941
	D-Cl
	mg/l
	27
	6.8
	7.4
	7.7
	7.9
	8.5

	946
	D-SO4
	mg/l
	27
	8.5
	10.0
	11.0
	11.0
	12.0

	950
	D-F
	mg/l
	27
	0.1
	0.1
	0.2
	0.2
	0.3

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 91
	Dates: August, 1986 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	170
	18.5
	20.5
	21.0
	21.4
	22.5

	1046
	D-Fe
	microg/l
	28
	3.0
	8.8
	16.1
	30.7
	130.0

	1056
	D-Mn
	microg/l
	13
	1.0
	1.2
	2.5
	5.1
	16.0

	29801
	Bicarb
	mg/l
	28
	110.0
	121.8
	138.0
	146.5
	160.0

	299
	DO
	mg/l
	148
	0.0
	2.0
	3.6
	5.8
	8.3

	31616
	Fcol
	#/100 ml
	13
	1.0
	1.0
	2.0
	4.0
	30.0

	31649
	Entero
	#/100 ml
	12
	1.0
	1.0
	2.5
	11.0
	92.0

	406
	pH
	ph units
	169
	2.7
	7.0
	7.2
	7.4
	7.8

	4255
	D-Alk
	mg/l
	4
	120.0
	123.9
	140.6
	156.9
	160.0

	530
	Resid
	mg/l
	12
	4.0
	4.0
	4.0
	4.0
	5.0

	608
	D-NH3
	mg/l
	18
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	8
	0.1
	0.1
	0.6
	1.1
	1.2

	620
	D-NO3(N)
	mg/l
	3
	0.1
	0.1
	0.2
	1.8
	3.4

	631
	D-NO3NO2
	mg/l
	40
	0.0
	0.0
	0.1
	0.3
	1.1

	666
	D-P
	mg/l
	14
	0.0
	0.0
	0.0
	0.0
	0.0

	671
	D-PO4
	mg/l
	24
	0.0
	0.0
	0.0
	0.0
	0.1

	680
	TOC
	mg/l
	23
	1.0
	1.1
	2.0
	4.2
	16.2

	70300
	TDS
	mg/l
	24
	16.0
	140.0
	153.0
	170.3
	189.0

	72109
	DtoH2O
	Ft
	44
	-18.8
	16.9
	18.9
	20.0
	22.3

	76
	Turb
	Turb units
	15
	0.2
	0.2
	0.3
	0.7
	1.0

	81
	Color
	Pt-Co
	12
	5.0
	5.0
	12.5
	15.0
	15.0

	82078
	Turb(field)
	Turb units
	10
	0.0
	0.0
	0.0
	0.4
	2.2

	915
	D-Ca
	mg/l
	40
	40.9
	46.3
	49.6
	55.4
	62.0

	925
	D-Mg
	mg/l
	40
	1.4
	2.2
	3.0
	4.3
	5.5

	930
	D-Na
	mg/l
	40
	1.7
	2.7
	3.0
	3.2
	4.4

	935
	D-K
	mg/l
	40
	0.0
	0.3
	0.4
	0.5
	1.0

	94
	Cond(field)
	micromhos/cm
	170
	180.0
	249.8
	274.5
	298.0
	401.0

	941
	D-Cl
	mg/l
	42
	3.0
	4.7
	5.1
	5.5
	6.9

	946
	D-SO4
	mg/l
	41
	2.1
	3.6
	4.3
	5.0
	6.4

	950
	D-F
	mg/l
	40
	0.0
	0.1
	0.1
	0.1
	0.5

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 129
	Dates: April, 1986 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	101
	20.0
	22.0
	22.3
	22.5
	27.4

	1046
	D-Fe
	microg/l
	28
	1200.0
	1300.0
	1300.0
	1400.0
	1700.0

	1056
	D-Mn
	microg/l
	10
	17.0
	18.8
	21.5
	22.3
	24.9

	29801
	Bicarb
	mg/l
	20
	16.0
	17.0
	18.0
	18.3
	20.4

	299
	DO
	mg/l
	66
	0.0
	0.2
	0.3
	0.5
	2.4

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	2
	*
	*
	*
	*
	*

	406
	pH
	ph units
	101
	4.9
	5.5
	5.6
	5.6
	6.4

	4255
	D-Alk
	mg/l
	2
	*
	*
	*
	*
	*

	530
	Resid
	mg/l
	2
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	7
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	8
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	4
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	31
	0.0
	0.0
	0.0
	0.0
	0.2

	666
	D-P
	mg/l
	5
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	0.1

	680
	TOC
	mg/l
	12
	2.3
	3.0
	5.6
	7.9
	12.2

	70300
	TDS
	mg/l
	14
	33.0
	55.5
	61.0
	64.8
	110.0

	72109
	DtoH2O
	Ft
	16
	-15.5
	17.5
	18.5
	19.6
	22.5

	76
	Turb
	Turb units
	6
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	3
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	3
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	30
	2.6
	2.7
	2.9
	3.2
	5.0

	925
	D-Mg
	mg/l
	30
	1.3
	1.4
	1.5
	1.5
	2.2

	930
	D-Na
	mg/l
	30
	3.4
	6.1
	6.3
	6.4
	6.7

	935
	D-K
	mg/l
	30
	1.4
	2.0
	2.1
	2.3
	2.5

	94
	Cond(field)
	micromhos/cm
	101
	52.0
	70.0
	71.0
	72.0
	760.0

	941
	D-Cl
	mg/l
	73
	6.4
	8.7
	8.9
	9.0
	9.8

	946
	D-SO4
	mg/l
	73
	0.2
	0.2
	0.2
	1.0
	5.0

	950
	D-F
	mg/l
	30
	0.0
	0.1
	0.1
	0.1
	0.2

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 131
	Dates: April, 1986 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	131
	18.9
	21.3
	21.5
	21.8
	23.1

	1046
	D-Fe
	microg/l
	27
	57.6
	474.0
	500.0
	520.0
	573.0

	1056
	D-Mn
	microg/l
	10
	1.9
	2.9
	3.0
	8.3
	11.2

	29801
	Bicarb
	mg/l
	23
	0.9
	1.0
	1.0
	1.0
	3.3

	299
	DO
	mg/l
	97
	0.0
	0.2
	0.3
	0.4
	3.1

	31616
	Fcol
	#/100 ml
	8
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	6
	*
	*
	*
	*
	*

	406
	pH
	ph units
	131
	3.4
	4.5
	4.7
	4.8
	5.5

	4255
	D-Alk
	mg/l
	2
	*
	*
	*
	*
	*

	530
	Resid
	mg/l
	6
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	11
	0.0
	0.0
	0.1
	0.1
	0.1

	618
	D-NO3
	mg/l
	8
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	4
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	34
	0.0
	0.0
	0.0
	0.0
	0.2

	666
	D-P
	mg/l
	9
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	16
	0.0
	0.0
	0.0
	0.0
	0.0

	680
	TOC
	mg/l
	16
	1.0
	1.4
	2.2
	5.6
	12.0

	70300
	TDS
	mg/l
	18
	12.0
	24.5
	27.0
	30.0
	56.0

	72109
	DtoH2O
	Ft
	44
	-8.1
	8.5
	8.8
	9.4
	11.7

	76
	Turb
	Turb units
	10
	0.1
	0.1
	0.1
	2.0
	12.0

	81
	Color
	Pt-Co
	7
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	10
	0.0
	0.0
	0.0
	0.1
	0.2

	915
	D-Ca
	mg/l
	33
	0.1
	0.4
	0.5
	0.7
	2.2

	925
	D-Mg
	mg/l
	33
	0.3
	0.6
	0.7
	0.8
	0.9

	930
	D-Na
	mg/l
	33
	2.2
	3.2
	3.4
	3.5
	4.2

	935
	D-K
	mg/l
	33
	0.1
	0.2
	0.2
	0.3
	4.2

	94
	Cond(field)
	micromhos/cm
	131
	22.1
	39.0
	41.0
	48.0
	810.0

	941
	D-Cl
	mg/l
	36
	4.9
	5.3
	5.9
	6.1
	8.9

	946
	D-SO4
	mg/l
	36
	1.7
	2.4
	2.8
	3.2
	5.4

	950
	D-F
	mg/l
	33
	0.0
	0.1
	0.1
	0.1
	0.2

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 243
	Dates: June, 1986 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	19
	20.9
	22.2
	22.3
	22.4
	1418.0

	1046
	D-Fe
	microg/l
	3
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	1
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	6
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	18
	0.0
	0.1
	0.1
	0.1
	2.3

	31616
	Fcol
	#/100 ml
	5
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	19
	7.5
	7.8
	7.9
	8.0
	8.1

	4255
	D-Alk
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	5
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	1
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	6
	*
	*
	*
	*
	*

	666
	D-P
	mg/l
	7
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	5
	*
	*
	*
	*
	*

	680
	TOC
	mg/l
	7
	*
	*
	*
	*
	*

	70300
	TDS
	mg/l
	5
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	1
	*
	*
	*
	*
	*

	76
	Turb
	Turb units
	6
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	3
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	7
	*
	*
	*
	*
	*

	925
	D-Mg
	mg/l
	7
	*
	*
	*
	*
	*

	930
	D-Na
	mg/l
	7
	*
	*
	*
	*
	*

	935
	D-K
	mg/l
	7
	*
	*
	*
	*
	*

	94
	Cond(field)
	micromhos/cm
	19
	212.0
	241.0
	243.0
	244.5
	431.0

	941
	D-Cl
	mg/l
	6
	*
	*
	*
	*
	*

	946
	D-SO4
	mg/l
	6
	*
	*
	*
	*
	*

	950
	D-F
	mg/l
	6
	*
	*
	*
	*
	*

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 245
	Dates: June, 1986 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	50
	0.0
	18.6
	20.1
	21.4
	23.9

	1046
	D-Fe
	microg/l
	3
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	1
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	16
	0.5
	0.8
	1.0
	2.0
	3.4

	299
	DO
	mg/l
	49
	0.3
	3.9
	4.6
	5.1
	7.4

	31616
	Fcol
	#/100 ml
	15
	0.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	14
	1.0
	1.0
	1.0
	1.0
	1.0

	406
	pH
	ph units
	50
	3.4
	4.7
	4.8
	4.9
	6.9

	4255
	D-Alk
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	530
	Resid
	mg/l
	14
	4.0
	4.0
	4.0
	4.0
	5.0

	608
	D-NH3
	mg/l
	15
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	1
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	16
	0.0
	0.4
	0.4
	0.4
	0.5

	666
	D-P
	mg/l
	17
	0.0
	0.0
	0.0
	0.0
	0.0

	671
	D-PO4
	mg/l
	15
	0.0
	0.0
	0.0
	0.0
	0.0

	680
	TOC
	mg/l
	17
	1.0
	1.0
	1.0
	1.0
	12.9

	70300
	TDS
	mg/l
	15
	15.0
	15.0
	15.0
	18.5
	130.0

	72109
	DtoH2O
	Ft
	43
	4.8
	7.0
	8.7
	11.7
	20.6

	76
	Turb
	Turb units
	16
	0.1
	0.1
	0.1
	0.2
	1100.0

	81
	Color
	Pt-Co
	15
	5.0
	5.0
	5.0
	5.0
	1500.0

	82078
	Turb(field)
	Turb units
	10
	0.0
	0.0
	0.0
	0.2
	0.3

	915
	D-Ca
	mg/l
	17
	0.1
	0.3
	0.4
	0.9
	1.5

	925
	D-Mg
	mg/l
	17
	0.0
	0.4
	0.4
	0.4
	0.5

	930
	D-Na
	mg/l
	17
	0.1
	1.5
	1.6
	1.7
	1.8

	935
	D-K
	mg/l
	17
	0.1
	0.1
	0.2
	0.2
	0.4

	94
	Cond(field)
	micromhos/cm
	50
	16.0
	18.3
	21.0
	22.0
	42.0

	941
	D-Cl
	mg/l
	16
	0.2
	2.3
	2.4
	2.5
	12.0

	946
	D-SO4
	mg/l
	16
	0.2
	0.4
	0.4
	0.7
	1.7

	950
	D-F
	mg/l
	16
	0.0
	0.0
	0.0
	0.1
	0.1

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 312
	Dates: November, 1986 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	141
	18.4
	20.6
	20.8
	21.0
	23.4

	1046
	D-Fe
	microg/l
	25
	70.0
	280.0
	302.0
	331.0
	454.0

	1056
	D-Mn
	microg/l
	11
	8.7
	11.6
	12.0
	18.7
	34.0

	29801
	Bicarb
	mg/l
	19
	75.0
	90.0
	92.0
	96.0
	100.0

	299
	DO
	mg/l
	88
	0.0
	0.2
	0.3
	0.4
	1.4

	31616
	Fcol
	#/100 ml
	6
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	5
	*
	*
	*
	*
	*

	406
	pH
	ph units
	141
	1.0
	1.0
	1.0
	1.8
	18.0

	4255
	D-Alk
	mg/l
	2
	*
	*
	*
	*
	*

	530
	Resid
	mg/l
	5
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	10
	0.0
	0.0
	 
	0.0
	0.1

	618
	D-NO3
	mg/l
	8
	*
	*
	 
	*
	*

	620
	D-NO3(N)
	mg/l
	3
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	31
	0.0
	0.0
	0.0
	0.0
	0.1

	666
	D-P
	mg/l
	7
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	15
	0.0
	0.0
	0.0
	0.0
	0.1

	680
	TOC
	mg/l
	14
	1.0
	1.3
	2.4
	3.8
	18.5

	70300
	TDS
	mg/l
	16
	20.0
	90.0
	96.0
	106.0
	160.0

	72109
	DtoH2O
	Ft
	16
	-4.1
	12.5
	16.6
	18.9
	21.1

	76
	Turb
	Turb units
	8
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	3
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	30
	26.3
	29.9
	31.0
	32.0
	34.5

	925
	D-Mg
	mg/l
	30
	2.9
	3.2
	3.3
	3.5
	4.0

	930
	D-Na
	mg/l
	30
	1.0
	1.5
	1.5
	1.6
	2.5

	935
	D-K
	mg/l
	30
	0.1
	0.2
	0.2
	0.5
	1.0

	94
	Cond(field)
	micromhos/cm
	141
	139.0
	170.0
	178.0
	186.0
	410.0

	941
	D-Cl
	mg/l
	33
	1.6
	2.3
	2.5
	2.6
	5.0

	946
	D-SO4
	mg/l
	33
	0.7
	0.8
	0.9
	1.2
	8.1

	950
	D-F
	mg/l
	29
	0.0
	0.1
	0.1
	0.1
	0.2

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 313
	Dates: November, 1986 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	130
	18.0
	19.7
	20.5
	21.3
	23.1

	1046
	D-Fe
	microg/l
	18
	1600.0
	2608.8
	4750.0
	7250.0
	10300.0

	1056
	D-Mn
	microg/l
	9
	12.0
	18.5
	21.3
	28.0
	55.0

	29801
	Bicarb
	mg/l
	26
	4.0
	7.6
	9.1
	13.0
	29.7

	299
	DO
	mg/l
	97
	0.0
	0.2
	0.3
	0.5
	3.9

	31616
	Fcol
	#/100 ml
	16
	0.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	15
	1.0
	1.0
	1.0
	1.0
	1.0

	406
	pH
	ph units
	130
	4.7
	5.6
	5.7
	5.9
	6.5

	4255
	D-Alk
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	530
	Resid
	mg/l
	15
	4.0
	4.0
	4.0
	4.0
	4.0

	608
	D-NH3
	mg/l
	20
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	7
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	3
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	34
	0.0
	0.0
	0.1
	0.1
	0.4

	666
	D-P
	mg/l
	17
	0.0
	0.0
	0.0
	0.0
	0.0

	671
	D-PO4
	mg/l
	23
	0.0
	0.0
	0.0
	0.0
	0.0

	680
	TOC
	mg/l
	22
	1.0
	1.1
	1.3
	1.9
	14.6

	70300
	TDS
	mg/l
	25
	12.0
	22.0
	28.0
	35.0
	96.0

	72109
	DtoH2O
	Ft
	43
	-4.5
	8.2
	11.2
	12.7
	14.4

	76
	Turb
	Turb units
	17
	0.6
	1.4
	2.3
	4.8
	310.0

	81
	Color
	Pt-Co
	15
	5.0
	5.0
	5.0
	5.0
	10.0

	82078
	Turb(field)
	Turb units
	10
	0.0
	0.0
	0.0
	0.3
	1.0

	915
	D-Ca
	mg/l
	33
	2.2
	3.0
	3.6
	4.2
	7.0

	925
	D-Mg
	mg/l
	33
	0.2
	0.2
	0.3
	0.3
	0.8

	930
	D-Na
	mg/l
	33
	0.9
	1.4
	1.5
	1.8
	3.1

	935
	D-K
	mg/l
	33
	0.1
	0.2
	0.2
	0.3
	0.5

	94
	Cond(field)
	micromhos/cm
	130
	30.0
	48.0
	56.0
	67.5
	305.0

	941
	D-Cl
	mg/l
	36
	2.0
	3.0
	3.4
	3.8
	7.1

	946
	D-SO4
	mg/l
	36
	1.4
	2.2
	2.7
	3.4
	4.9

	950
	D-F
	mg/l
	33
	0.0
	0.1
	0.1
	0.1
	0.1

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Southwest Florida Water Management District 
	

	Descriptive Statistics for 615
	Dates: January, 2000 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	16
	26.7
	27.3
	27.5
	27.6
	28.0

	1046
	D-Fe
	microg/l
	2
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	1
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	6
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	15
	 
	 
	 
	 
	 

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	16
	 
	 
	 
	 
	 

	4255
	D-Alk
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	6
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	6
	*
	*
	*
	*
	*

	666
	D-P
	mg/l
	6
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	5
	*
	*
	*
	*
	*

	680
	TOC
	mg/l
	5
	*
	*
	*
	*
	*

	70300
	TDS
	mg/l
	4
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	0
	NA
	NA
	NA
	NA
	NA

	76
	Turb
	Turb units
	6
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	9
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	6
	*
	*
	*
	*
	*

	925
	D-Mg
	mg/l
	6
	*
	*
	*
	*
	*

	930
	D-Na
	mg/l
	6
	*
	*
	*
	*
	*

	935
	D-K
	mg/l
	6
	*
	*
	*
	*
	*

	94
	Cond(field)
	micromhos/cm
	16
	1101.0
	1132.8
	1140.0
	1144.0
	1161.0

	941
	D-Cl
	mg/l
	6
	*
	*
	*
	*
	*

	946
	D-SO4
	mg/l
	6
	*
	*
	*
	*
	*

	950
	D-F
	mg/l
	6
	*
	*
	*
	*
	*

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 707
	Dates: October, 1985 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	135
	25.6
	29.0
	29.9
	30.1
	31.5

	1046
	D-Fe
	microg/l
	27
	3.0
	22.5
	39.0
	68.0
	260.0

	1056
	D-Mn
	microg/l
	11
	1.0
	1.0
	1.9
	10.0
	25.0

	29801
	Bicarb
	mg/l
	22
	130.0
	136.0
	138.5
	140.0
	142.0

	299
	DO
	mg/l
	29
	0.0
	0.1
	0.1
	0.1
	1.0

	31616
	Fcol
	#/100 ml
	5
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	137
	6.7
	7.4
	7.4
	7.5
	8.0

	4255
	D-Alk
	mg/l
	9
	*
	*
	*
	*
	*

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	10
	0.3
	0.3
	0.3
	0.3
	0.3

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	34
	0.0
	0.0
	0.0
	0.0
	0.3

	666
	D-P
	mg/l
	8
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	13
	0.0
	0.0
	0.0
	0.1
	0.2

	680
	TOC
	mg/l
	13
	1.0
	1.0
	1.5
	1.8
	28.0

	70300
	TDS
	mg/l
	12
	746.0
	764.3
	778.5
	801.3
	845.0

	72109
	DtoH2O
	Ft
	136
	29.9
	36.8
	41.4
	48.2
	63.2

	76
	Turb
	Turb units
	9
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	12
	0.1
	0.3
	0.6
	1.3
	10.8

	915
	D-Ca
	mg/l
	31
	94.0
	107.0
	110.0
	110.5
	145.0

	925
	D-Mg
	mg/l
	31
	50.0
	58.7
	61.0
	63.2
	66.0

	930
	D-Na
	mg/l
	31
	11.0
	11.9
	12.0
	12.2
	16.1

	935
	D-K
	mg/l
	31
	2.3
	3.4
	3.6
	3.8
	4.9

	94
	Cond(field)
	micromhos/cm
	138
	818.0
	1018.0
	1034.0
	1047.0
	1095.0

	941
	D-Cl
	mg/l
	34
	2.0
	15.0
	16.0
	16.0
	21.0

	946
	D-SO4
	mg/l
	34
	150.0
	400.0
	420.0
	430.0
	470.0

	950
	D-F
	mg/l
	31
	0.9
	1.0
	1.0
	1.1
	1.6

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 736
	Dates: December, 1987 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	171
	22.0
	24.0
	25.0
	26.0
	27.9

	1046
	D-Fe
	microg/l
	28
	1570.0
	2300.0
	2950.0
	3480.0
	5490.0

	1056
	D-Mn
	microg/l
	12
	3.9
	4.0
	6.5
	10.0
	20.0

	29801
	Bicarb
	mg/l
	30
	29.0
	48.8
	75.5
	104.5
	155.0

	299
	DO
	mg/l
	70
	0.0
	0.2
	0.2
	0.3
	3.4

	31616
	Fcol
	#/100 ml
	13
	1.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	13
	1.0
	1.0
	1.0
	1.0
	1.0

	406
	pH
	ph units
	170
	5.2
	5.8
	5.9
	6.1
	9.4

	4255
	D-Alk
	mg/l
	10
	34.0
	56.3
	57.5
	69.8
	132.0

	530
	Resid
	mg/l
	14
	4.0
	4.0
	4.0
	4.0
	245.4

	608
	D-NH3
	mg/l
	15
	0.1
	0.1
	0.1
	0.1
	0.2

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	40
	0.0
	0.0
	0.0
	0.1
	0.4

	666
	D-P
	mg/l
	16
	0.1
	0.1
	0.2
	0.2
	0.2

	671
	D-PO4
	mg/l
	23
	0.1
	0.1
	0.2
	0.2
	0.2

	680
	TOC
	mg/l
	22
	4.1
	5.6
	7.3
	8.4
	19.5

	70300
	TDS
	mg/l
	21
	73.0
	103.0
	135.0
	152.0
	204.0

	72109
	DtoH2O
	Ft
	170
	3.5
	5.6
	6.7
	8.0
	10.4

	76
	Turb
	Turb units
	123
	0.3
	0.7
	1.0
	1.5
	43.0

	81
	Color
	Pt-Co
	14
	5.0
	5.0
	5.0
	10.0
	15.0

	82078
	Turb(field)
	Turb units
	42
	0.6
	0.7
	1.2
	1.8
	7.2

	915
	D-Ca
	mg/l
	41
	4.4
	19.7
	30.0
	44.0
	64.0

	925
	D-Mg
	mg/l
	41
	1.0
	2.5
	3.2
	3.7
	5.0

	930
	D-Na
	mg/l
	41
	3.4
	4.0
	4.4
	5.6
	8.0

	935
	D-K
	mg/l
	41
	0.5
	0.8
	1.0
	1.2
	2.5

	94
	Cond(field)
	micromhos/cm
	171
	28.0
	163.7
	209.0
	269.5
	900.0

	941
	D-Cl
	mg/l
	40
	4.8
	7.3
	8.5
	13.3
	17.0

	946
	D-SO4
	mg/l
	40
	1.1
	7.6
	15.0
	20.0
	29.3

	950
	D-F
	mg/l
	40
	0.1
	0.1
	0.1
	0.2
	1.6

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 737
	Dates: December, 1987 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	143
	22.0
	24.0
	24.6
	25.0
	26.5

	1046
	D-Fe
	microg/l
	28
	479.0
	762.5
	815.0
	900.0
	1000.0

	1056
	D-Mn
	microg/l
	11
	14.0
	29.0
	32.0
	48.5
	100.0

	29801
	Bicarb
	mg/l
	23
	1.0
	4.5
	5.0
	5.6
	6.9

	299
	DO
	mg/l
	43
	0.0
	0.1
	0.1
	0.2
	2.4

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	142
	4.6
	5.2
	5.2
	5.3
	5.7

	4255
	D-Alk
	mg/l
	9
	*
	*
	*
	*
	*

	530
	Resid
	mg/l
	5
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	9
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	34
	0.0
	0.0
	0.0
	0.0
	0.6

	666
	D-P
	mg/l
	7
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	13
	0.1
	0.1
	0.1
	0.2
	0.2

	680
	TOC
	mg/l
	13
	1.0
	1.0
	1.4
	1.6
	3.0

	70300
	TDS
	mg/l
	12
	23.0
	29.0
	37.0
	42.0
	65.0

	72109
	DtoH2O
	Ft
	142
	3.8
	5.4
	6.4
	7.7
	9.1

	76
	Turb
	Turb units
	8
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	17
	0.4
	0.7
	0.8
	1.0
	18.3

	915
	D-Ca
	mg/l
	32
	0.6
	0.9
	0.9
	1.4
	4.0

	925
	D-Mg
	mg/l
	32
	0.5
	0.5
	0.5
	0.6
	3.0

	930
	D-Na
	mg/l
	32
	3.6
	4.1
	4.1
	4.2
	7.9

	935
	D-K
	mg/l
	32
	1.0
	1.3
	1.3
	1.5
	1.7

	94
	Cond(field)
	micromhos/cm
	142
	30.6
	39.7
	40.0
	41.0
	131.0

	941
	D-Cl
	mg/l
	34
	5.0
	6.0
	6.4
	6.6
	7.3

	946
	D-SO4
	mg/l
	34
	0.2
	0.4
	0.5
	0.9
	5.4

	950
	D-F
	mg/l
	32
	0.0
	0.1
	0.1
	0.1
	0.2

	
	
	
	
	
	
	
	
	

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	
	


	Descriptive Statistics for 775
	Dates: September, 1985 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	18
	23.8
	24.2
	24.8
	25.1
	27.0

	1046
	D-Fe
	microg/l
	3
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	1
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	6
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	14
	0.1
	0.3
	0.4
	3.8
	6.0

	31616
	Fcol
	#/100 ml
	3
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	3
	*
	*
	*
	*
	*

	406
	pH
	ph units
	17
	6.9
	7.1
	7.1
	7.2
	7.4

	4255
	D-Alk
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	530
	Resid
	mg/l
	3
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	5
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	6
	*
	*
	*
	*
	*

	666
	D-P
	mg/l
	6
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	4
	*
	*
	*
	*
	*

	680
	TOC
	mg/l
	5
	*
	*
	*
	*
	*

	70300
	TDS
	mg/l
	4
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	16
	0.0
	4.0
	5.2
	7.1
	9.1

	76
	Turb
	Turb units
	6
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	4
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	8
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	6
	*
	*
	*
	*
	*

	925
	D-Mg
	mg/l
	6
	*
	*
	*
	*
	*

	930
	D-Na
	mg/l
	6
	*
	*
	*
	*
	*

	935
	D-K
	mg/l
	6
	*
	*
	*
	*
	*

	94
	Cond(field)
	micromhos/cm
	18
	852.0
	871.8
	878.0
	884.0
	3150.0

	941
	D-Cl
	mg/l
	6
	*
	*
	*
	*
	*

	946
	D-SO4
	mg/l
	6
	*
	*
	*
	*
	*

	950
	D-F
	mg/l
	6
	*
	*
	*
	*
	*

	
	
	
	
	
	
	
	
	

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	
	


	Descriptive Statistics for 996
	Dates: February, 1989 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	174
	20.6
	23.1
	24.7
	26.0
	29.2

	1046
	D-Fe
	microg/l
	27
	126.0
	230.0
	290.0
	351.0
	590.0

	1056
	D-Mn
	microg/l
	12
	1.0
	2.0
	3.0
	10.0
	10.0

	29801
	Bicarb
	mg/l
	27
	1.0
	1.8
	2.8
	4.3
	11.0

	299
	DO
	mg/l
	77
	0.0
	0.2
	0.4
	0.6
	5.5

	31616
	Fcol
	#/100 ml
	10
	1.0
	1.0
	1.0
	1.0
	2.0

	31649
	Entero
	#/100 ml
	10
	1.0
	1.0
	1.0
	1.0
	4.0

	406
	pH
	ph units
	174
	4.1
	4.9
	5.0
	5.2
	7.4

	4255
	D-Alk
	mg/l
	11
	4.2
	5.5
	6.1
	10.0
	15.0

	530
	Resid
	mg/l
	11
	4.0
	4.0
	4.0
	4.0
	6.0

	608
	D-NH3
	mg/l
	18
	0.0
	0.1
	0.1
	0.1
	0.3

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	41
	0.0
	0.0
	0.1
	0.1
	5.7

	666
	D-P
	mg/l
	13
	0.0
	0.0
	0.0
	0.0
	0.0

	671
	D-PO4
	mg/l
	22
	0.0
	0.0
	0.0
	0.0
	0.1

	680
	TOC
	mg/l
	22
	1.9
	2.4
	2.9
	4.6
	6.4

	70300
	TDS
	mg/l
	19
	27.0
	46.0
	51.0
	61.0
	96.0

	72109
	DtoH2O
	Ft
	174
	4.7
	7.1
	8.0
	8.5
	11.8

	76
	Turb
	Turb units
	15
	0.7
	1.1
	1.7
	3.3
	19.0

	81
	Color
	Pt-Co
	12
	5.0
	8.8
	15.0
	22.5
	100.0

	82078
	Turb(field)
	Turb units
	38
	0.3
	2.7
	4.5
	7.4
	27.0

	915
	D-Ca
	mg/l
	38
	1.7
	2.5
	3.0
	3.6
	12.7

	925
	D-Mg
	mg/l
	38
	1.5
	1.8
	2.4
	2.9
	3.5

	930
	D-Na
	mg/l
	38
	3.1
	3.9
	4.3
	5.0
	5.4

	935
	D-K
	mg/l
	38
	0.0
	0.6
	1.0
	1.4
	2.0

	94
	Cond(field)
	micromhos/cm
	173
	51.8
	66.0
	74.0
	82.0
	792.0

	941
	D-Cl
	mg/l
	41
	3.3
	4.2
	5.0
	5.8
	6.9

	946
	D-SO4
	mg/l
	41
	12.0
	14.0
	16.0
	18.0
	25.0

	950
	D-F
	mg/l
	38
	0.1
	0.1
	0.1
	0.1
	0.5

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 997
	Dates: February, 1989 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	144
	23.3
	24.0
	24.8
	25.1
	26.0

	1046
	D-Fe
	microg/l
	28
	0.3
	699.0
	750.0
	771.3
	890.0

	1056
	D-Mn
	microg/l
	11
	3.0
	10.0
	13.0
	14.5
	21.0

	29801
	Bicarb
	mg/l
	20
	168.0
	179.3
	180.0
	187.0
	222.0

	299
	DO
	mg/l
	46
	0.0
	0.1
	0.1
	0.2
	4.7

	31616
	Fcol
	#/100 ml
	3
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	3
	*
	*
	*
	*
	*

	406
	pH
	ph units
	141
	6.2
	7.2
	7.2
	7.3
	8.6

	4255
	D-Alk
	mg/l
	10
	110.0
	179.3
	183.0
	190.0
	200.0

	530
	Resid
	mg/l
	3
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	10
	0.0
	0.1
	0.1
	0.1
	0.1

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	34
	0.0
	0.0
	0.0
	0.0
	0.1

	666
	D-P
	mg/l
	5
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	14
	0.0
	0.0
	0.0
	0.1
	0.1

	680
	TOC
	mg/l
	14
	0.3
	1.0
	1.5
	2.0
	4.6

	70300
	TDS
	mg/l
	11
	204.0
	218.5
	222.0
	227.0
	232.0

	72109
	DtoH2O
	Ft
	141
	5.8
	8.2
	8.9
	9.4
	11.1

	76
	Turb
	Turb units
	7
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	4
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	13
	0.2
	0.2
	0.5
	1.0
	1.1

	915
	D-Ca
	mg/l
	31
	56.0
	67.0
	70.0
	73.5
	79.0

	925
	D-Mg
	mg/l
	31
	0.1
	2.5
	2.8
	2.9
	7.7

	930
	D-Na
	mg/l
	31
	5.6
	6.1
	6.3
	6.5
	16.5

	935
	D-K
	mg/l
	31
	0.4
	0.5
	0.7
	0.9
	1.6

	94
	Cond(field)
	micromhos/cm
	142
	24.7
	372.5
	381.0
	384.0
	405.0

	941
	D-Cl
	mg/l
	34
	9.1
	11.0
	11.0
	12.0
	13.0

	946
	D-SO4
	mg/l
	34
	1.8
	2.7
	3.2
	5.0
	7.6

	950
	D-F
	mg/l
	30
	0.1
	0.1
	0.1
	0.2
	0.8

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1087
	Dates: September, 1985 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	172
	18.5
	22.5
	23.0
	23.6
	25.5

	1046
	D-Fe
	microg/l
	26
	1300.0
	1700.0
	1780.0
	1800.0
	2000.0

	1056
	D-Mn
	microg/l
	11
	10.0
	21.0
	22.0
	23.5
	40.0

	29801
	Bicarb
	mg/l
	26
	295.0
	300.0
	300.0
	301.0
	314.0

	299
	DO
	mg/l
	75
	0.0
	0.1
	0.1
	0.2
	2.2

	31616
	Fcol
	#/100 ml
	10
	0.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	9
	*
	*
	*
	*
	*

	406
	pH
	ph units
	171
	6.0
	6.8
	6.9
	6.9
	7.9

	4255
	D-Alk
	mg/l
	9
	*
	*
	*
	*
	*

	530
	Resid
	mg/l
	9
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	14
	0.2
	0.2
	0.2
	0.3
	0.3

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	38
	0.0
	0.0
	0.0
	0.0
	0.3

	666
	D-P
	mg/l
	11
	0.1
	0.2
	0.2
	0.2
	0.2

	671
	D-PO4
	mg/l
	18
	0.1
	0.2
	0.2
	0.2
	0.2

	680
	TOC
	mg/l
	18
	2.5
	5.1
	5.4
	6.0
	31.2

	70300
	TDS
	mg/l
	17
	294.0
	327.0
	330.0
	335.0
	340.0

	72109
	DtoH2O
	Ft
	171
	1.9
	3.3
	4.5
	6.0
	10.3

	76
	Turb
	Turb units
	12
	15.0
	16.0
	16.5
	19.8
	35.0

	81
	Color
	Pt-Co
	9
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	36
	0.2
	0.3
	0.4
	0.8
	7.3

	915
	D-Ca
	mg/l
	35
	100.0
	116.0
	120.0
	120.0
	220.0

	925
	D-Mg
	mg/l
	35
	2.3
	2.4
	2.4
	2.5
	4.0

	930
	D-Na
	mg/l
	35
	5.9
	7.2
	7.3
	7.5
	7.8

	935
	D-K
	mg/l
	35
	0.4
	0.4
	0.4
	0.6
	1.0

	94
	Cond(field)
	micromhos/cm
	172
	436.8
	587.8
	591.0
	597.0
	663.0

	941
	D-Cl
	mg/l
	38
	10.0
	12.0
	12.0
	12.6
	14.0

	946
	D-SO4
	mg/l
	38
	0.2
	0.2
	0.2
	0.2
	6.4

	950
	D-F
	mg/l
	35
	0.1
	0.1
	0.1
	0.1
	0.4

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1100
	Dates: July, 1988 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	66
	22.4
	24.0
	24.8
	25.7
	29.0

	1046
	D-Fe
	microg/l
	6
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	6
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	11
	56.0
	58.0
	62.0
	65.5
	110.0

	299
	DO
	mg/l
	46
	0.9
	3.3
	3.8
	4.3
	6.2

	31616
	Fcol
	#/100 ml
	9
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	9
	*
	*
	*
	*
	*

	406
	pH
	ph units
	65
	7.0
	7.7
	7.8
	7.9
	8.1

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	10
	4.0
	4.0
	4.0
	4.0
	11.1

	608
	D-NH3
	mg/l
	11
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	17
	0.0
	0.0
	0.1
	0.1
	0.2

	666
	D-P
	mg/l
	11
	0.0
	0.0
	0.0
	0.0
	0.0

	671
	D-PO4
	mg/l
	16
	0.0
	0.0
	0.0
	0.0
	0.1

	680
	TOC
	mg/l
	17
	1.0
	1.0
	1.0
	1.2
	2.8

	70300
	TDS
	mg/l
	16
	80.0
	93.0
	100.0
	141.0
	512.0

	72109
	DtoH2O
	Ft
	65
	33.9
	37.6
	41.0
	43.0
	46.3

	76
	Turb
	Turb units
	11
	0.2
	0.3
	0.8
	1.6
	78.0

	81
	Color
	Pt-Co
	9
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	35
	0.1
	1.1
	2.8
	5.0
	352.0

	915
	D-Ca
	mg/l
	17
	25.1
	27.1
	28.1
	40.0
	57.0

	925
	D-Mg
	mg/l
	17
	1.1
	1.1
	1.1
	1.4
	2.1

	930
	D-Na
	mg/l
	17
	2.9
	3.0
	3.2
	3.7
	4.7

	935
	D-K
	mg/l
	17
	0.2
	0.5
	0.8
	0.8
	1.0

	94
	Cond(field)
	micromhos/cm
	66
	147.0
	191.0
	200.0
	219.0
	321.0

	941
	D-Cl
	mg/l
	17
	1.6
	1.9
	2.4
	5.0
	7.0

	946
	D-SO4
	mg/l
	17
	15.0
	16.0
	17.0
	31.0
	41.0

	950
	D-F
	mg/l
	17
	0.1
	0.1
	0.1
	0.1
	0.3

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 7934
	Dates: November, 1999 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	44
	22.6
	23.8
	25.5
	26.7
	28.3

	1046
	D-Fe
	microg/l
	0
	NA
	NA
	NA
	NA
	NA

	1056
	D-Mn
	microg/l
	0
	NA
	NA
	NA
	NA
	NA

	29801
	Bicarb
	mg/l
	11
	0.7
	1.0
	1.2
	1.7
	1.7

	299
	DO
	mg/l
	42
	0.0
	0.1
	0.1
	0.2
	1.4

	31616
	Fcol
	#/100 ml
	12
	1.0
	1.0
	1.0
	1.0
	104.0

	31649
	Entero
	#/100 ml
	12
	1.0
	1.0
	1.0
	1.0
	4.0

	406
	pH
	ph units
	44
	4.3
	4.5
	4.6
	4.7
	4.9

	4255
	D-Alk
	mg/l
	12
	4.0
	4.0
	4.0
	4.0
	4.0

	530
	Resid
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	608
	D-NH3
	mg/l
	12
	0.2
	0.2
	0.3
	0.3
	0.3

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	0.0

	666
	D-P
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	0.0

	671
	D-PO4
	mg/l
	11
	0.0
	0.0
	0.0
	0.0
	0.0

	680
	TOC
	mg/l
	11
	9.3
	10.0
	11.0
	11.5
	13.0

	70300
	TDS
	mg/l
	12
	26.0
	41.8
	45.5
	54.0
	57.0

	72109
	DtoH2O
	Ft
	44
	4.4
	7.0
	7.7
	9.3
	11.3

	76
	Turb
	Turb units
	12
	1.2
	1.3
	1.4
	1.9
	3.8

	81
	Color
	Pt-Co
	12
	20.0
	30.0
	40.0
	50.0
	60.0

	82078
	Turb(field)
	Turb units
	35
	0.7
	1.1
	1.5
	2.3
	52.8

	915
	D-Ca
	mg/l
	12
	2.7
	3.1
	3.1
	3.5
	4.4

	925
	D-Mg
	mg/l
	12
	1.3
	1.5
	1.7
	1.7
	2.2

	930
	D-Na
	mg/l
	12
	3.0
	3.2
	3.5
	3.6
	3.8

	935
	D-K
	mg/l
	12
	0.7
	0.7
	0.8
	1.0
	1.2

	94
	Cond(field)
	micromhos/cm
	44
	46.0
	65.5
	70.0
	75.0
	102.0

	941
	D-Cl
	mg/l
	11
	5.1
	5.5
	5.7
	6.3
	7.2

	946
	D-SO4
	mg/l
	11
	7.5
	9.4
	11.0
	12.0
	18.0

	950
	D-F
	mg/l
	10
	0.0
	0.0
	0.0
	0.0
	0.1

	
	
	
	
	
	
	
	
	

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	
	


	Descriptive Statistics for 7935
	Dates: January, 2000 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	14
	24.7
	25.0
	25.4
	25.8
	26.7

	1046
	D-Fe
	microg/l
	0
	NA
	NA
	NA
	NA
	NA

	1056
	D-Mn
	microg/l
	0
	NA
	NA
	NA
	NA
	NA

	29801
	Bicarb
	mg/l
	4
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	13
	0.0
	0.1
	0.1
	0.1
	0.3

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	14
	7.3
	7.3
	7.4
	7.4
	8.3

	4255
	D-Alk
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	4
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	4
	*
	*
	*
	*
	*

	666
	D-P
	mg/l
	4
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	4
	*
	*
	*
	*
	*

	680
	TOC
	mg/l
	4
	*
	*
	*
	*
	*

	70300
	TDS
	mg/l
	4
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	14
	0.0
	0.0
	0.0
	0.0
	0.0

	76
	Turb
	Turb units
	4
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	4
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	10
	0.3
	0.6
	0.8
	1.3
	17.3

	915
	D-Ca
	mg/l
	4
	*
	*
	*
	*
	*

	925
	D-Mg
	mg/l
	4
	*
	*
	*
	*
	*

	930
	D-Na
	mg/l
	4
	*
	*
	*
	*
	*

	935
	D-K
	mg/l
	4
	*
	*
	*
	*
	*

	94
	Cond(field)
	micromhos/cm
	4
	*
	*
	*
	*
	*

	941
	D-Cl
	mg/l
	4
	*
	*
	*
	*
	*

	946
	D-SO4
	mg/l
	4
	*
	*
	*
	*
	*

	950
	D-F
	mg/l
	4
	*
	*
	*
	*
	*

	
	
	
	
	
	
	
	
	

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	
	


	Suwannee River Water Management District
	
	
	

	Descriptive Statistics for 1943
	Dates: March, 1986 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	108
	18.5
	20.9
	22.5
	23.8
	25.4

	1046
	D-Fe
	microg/l
	26
	0.0
	3.0
	3.5
	10.0
	50.0

	1056
	D-Mn
	microg/l
	12
	0.0
	1.0
	1.0
	10.0
	10.0

	29801
	Bicarb
	mg/l
	28
	178.0
	215.8
	224.5
	238.3
	254.0

	299
	DO
	mg/l
	45
	2.6
	4.4
	5.6
	6.5
	7.9

	31616
	Fcol
	#/100 ml
	13
	0.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	12
	1.0
	1.0
	1.0
	1.0
	1.0

	406
	pH
	ph units
	106
	6.4
	6.9
	7.0
	7.1
	7.3

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	12
	4.0
	4.0
	4.0
	4.0
	4.0

	608
	D-NH3
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	5
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	2
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	32
	0.0
	0.0
	0.0
	0.0
	0.1

	666
	D-P
	mg/l
	14
	0.0
	0.0
	0.0
	0.0
	0.1

	671
	D-PO4
	mg/l
	22
	0.0
	0.0
	0.0
	0.0
	0.1

	680
	TOC
	mg/l
	24
	1.0
	1.0
	1.0
	1.2
	5.8

	70300
	TDS
	mg/l
	20
	210.0
	254.8
	268.5
	282.0
	350.0

	72109
	DtoH2O
	Ft
	87
	1.3
	4.5
	5.8
	6.6
	14.3

	76
	Turb
	Turb units
	17
	0.1
	0.1
	0.2
	0.3
	2.7

	81
	Color
	Pt-Co
	12
	5.0
	5.0
	5.0
	5.0
	5.0

	82078
	Turb(field)
	Turb units
	12
	0.1
	0.2
	0.4
	0.6
	2.0

	915
	D-Ca
	mg/l
	38
	71.5
	89.0
	92.0
	95.9
	102.0

	925
	D-Mg
	mg/l
	38
	0.9
	1.2
	1.2
	1.3
	1.5

	930
	D-Na
	mg/l
	38
	6.1
	7.4
	8.5
	9.6
	11.1

	935
	D-K
	mg/l
	38
	0.0
	0.1
	0.1
	0.7
	2.6

	94
	Cond(field)
	micromhos/cm
	108
	345.0
	436.3
	460.0
	482.3
	536.0

	941
	D-Cl
	mg/l
	38
	8.8
	11.3
	14.5
	15.0
	19.0

	946
	D-SO4
	mg/l
	37
	6.3
	9.3
	10.0
	11.0
	15.0

	950
	D-F
	mg/l
	37
	0.1
	0.1
	0.1
	0.2
	1.1

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2003
	Dates: October, 1987 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	106
	20.4
	23.1
	23.4
	23.8
	24.7

	1046
	D-Fe
	microg/l
	25
	0.0
	3.0
	6.0
	10.0
	50.0

	1056
	D-Mn
	microg/l
	10
	0.0
	1.0
	1.0
	8.0
	10.0

	29801
	Bicarb
	mg/l
	28
	80.0
	166.0
	180.0
	182.0
	190.0

	299
	DO
	mg/l
	45
	0.4
	1.0
	2.3
	5.9
	7.3

	31616
	Fcol
	#/100 ml
	13
	0.0
	1.0
	1.0
	30.0
	2000.0

	31649
	Entero
	#/100 ml
	12
	1.0
	1.0
	1.0
	50.5
	60.0

	406
	pH
	ph units
	104
	6.5
	7.0
	7.2
	7.3
	7.6

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	12
	4.0
	4.0
	4.0
	6.3
	47.0

	608
	D-NH3
	mg/l
	15
	0.0
	0.0
	0.0
	0.1
	0.3

	618
	D-NO3
	mg/l
	4
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	2
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	32
	0.1
	1.8
	2.8
	3.2
	3.9

	666
	D-P
	mg/l
	15
	0.1
	0.1
	0.1
	0.1
	0.2

	671
	D-PO4
	mg/l
	21
	0.0
	0.1
	0.1
	0.1
	0.2

	680
	TOC
	mg/l
	23
	1.0
	1.0
	1.2
	2.0
	41.0

	70300
	TDS
	mg/l
	19
	95.0
	162.5
	193.0
	205.5
	228.0

	72109
	DtoH2O
	Ft
	84
	39.9
	45.2
	47.1
	51.6
	54.0

	76
	Turb
	Turb units
	18
	0.4
	0.9
	2.8
	5.5
	150.0

	81
	Color
	Pt-Co
	13
	5.0
	5.0
	5.0
	5.0
	10.0

	82078
	Turb(field)
	Turb units
	12
	0.4
	2.0
	5.3
	16.3
	33.5

	915
	D-Ca
	mg/l
	37
	28.8
	65.0
	74.0
	76.9
	80.1

	925
	D-Mg
	mg/l
	37
	0.6
	0.9
	1.0
	1.1
	1.3

	930
	D-Na
	mg/l
	37
	0.5
	2.5
	3.0
	3.0
	3.5

	935
	D-K
	mg/l
	37
	0.1
	0.1
	0.4
	1.0
	4.5

	94
	Cond(field)
	micromhos/cm
	106
	166.0
	330.3
	351.5
	371.0
	415.0

	941
	D-Cl
	mg/l
	37
	1.2
	2.9
	3.3
	4.0
	13.0

	946
	D-SO4
	mg/l
	36
	0.7
	2.5
	3.1
	4.3
	6.3

	950
	D-F
	mg/l
	36
	0.1
	0.1
	0.1
	0.2
	0.5

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2193
	Dates: June, 1989 to August, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	122
	21.1
	21.8
	21.9
	22.1
	23.1

	1046
	D-Fe
	microg/l
	24
	1.3
	1200.0
	1200.0
	1200.0
	1300.0

	1056
	D-Mn
	microg/l
	8
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	17
	160.0
	163.0
	167.0
	170.0
	170.0

	299
	DO
	mg/l
	57
	0.1
	0.2
	0.4
	0.5
	1.9

	31616
	Fcol
	#/100 ml
	0
	NA
	NA
	NA
	NA
	NA

	31649
	Entero
	#/100 ml
	0
	NA
	NA
	NA
	NA
	NA

	406
	pH
	ph units
	121
	6.2
	6.9
	7.0
	7.1
	639.0

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	608
	D-NH3
	mg/l
	5
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	4
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	1
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	21
	0.0
	0.0
	0.0
	0.0
	0.1

	666
	D-P
	mg/l
	3
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	8
	*
	*
	*
	*
	*

	680
	TOC
	mg/l
	9
	*
	*
	*
	*
	*

	70300
	TDS
	mg/l
	8
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	55
	19.2
	28.4
	29.5
	32.4
	139.9

	76
	Turb
	Turb units
	4
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	1
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	0
	NA
	NA
	NA
	NA
	NA

	915
	D-Ca
	mg/l
	24
	31.0
	34.0
	36.0
	37.0
	37.4

	925
	D-Mg
	mg/l
	24
	15.0
	18.0
	18.0
	19.0
	19.2

	930
	D-Na
	mg/l
	24
	4.0
	4.3
	4.5
	4.5
	4.7

	935
	D-K
	mg/l
	24
	1.0
	1.1
	1.2
	1.3
	1.6

	94
	Cond(field)
	micromhos/cm
	122
	29.0
	325.0
	334.0
	335.0
	365.0

	941
	D-Cl
	mg/l
	25
	1.2
	7.0
	7.3
	7.7
	8.5

	946
	D-SO4
	mg/l
	25
	0.2
	0.2
	0.2
	4.3
	17.0

	950
	D-F
	mg/l
	23
	0.2
	0.2
	0.2
	0.2
	0.4

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2259
	Dates: March, 1986 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	129
	21.1
	22.2
	22.5
	22.8
	32.1

	1046
	D-Fe
	microg/l
	126
	0.0
	3.0
	5.0
	10.0
	50.0

	1056
	D-Mn
	microg/l
	8
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	23
	165.0
	170.0
	177.0
	180.0
	185.0

	299
	DO
	mg/l
	60
	2.9
	3.5
	3.7
	4.2
	45.8

	31616
	Fcol
	#/100 ml
	6
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	5
	*
	*
	*
	*
	*

	406
	pH
	ph units
	127
	6.1
	7.1
	7.2
	7.2
	7.7

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	5
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	4
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	2
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	30
	0.4
	0.5
	0.6
	0.7
	0.8

	666
	D-P
	mg/l
	8
	0.0
	0.0
	0.0
	0.0
	0.1

	671
	D-PO4
	mg/l
	13
	0.0
	0.0
	0.0
	0.1
	0.1

	680
	TOC
	mg/l
	14
	1.0
	1.0
	1.4
	2.9
	0.1

	70300
	TDS
	mg/l
	12
	170.0
	180.0
	190.0
	193.0
	206.0

	72109
	DtoH2O
	Ft
	66
	22.1
	26.4
	30.3
	32.0
	36.3

	76
	Turb
	Turb units
	10
	0.1
	0.2
	0.5
	1.0
	21.0

	81
	Color
	Pt-Co
	6
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	5
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	31
	42.0
	65.0
	68.0
	70.3
	74.9

	925
	D-Mg
	mg/l
	31
	3.0
	3.3
	3.4
	3.6
	4.2

	930
	D-Na
	mg/l
	31
	1.7
	1.8
	1.9
	2.0
	2.6

	935
	D-K
	mg/l
	31
	0.3
	0.4
	0.5
	0.9
	2.3

	94
	Cond(field)
	micromhos/cm
	129
	0.4
	340.0
	352.0
	361.0
	465.0

	941
	D-Cl
	mg/l
	35
	1.0
	3.3
	3.5
	3.7
	5.0

	946
	D-SO4
	mg/l
	34
	3.2
	8.5
	8.8
	9.3
	13.0

	950
	D-F
	mg/l
	30
	0.1
	0.1
	0.1
	0.2
	0.3

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2353
	Dates: August, 1986 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	34
	21.5
	21.9
	22.0
	22.0
	23.0

	1046
	D-Fe
	microg/l
	9
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	7
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	6
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	17
	6.8
	7.0
	7.9
	8.4
	97.8

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	3
	*
	*
	*
	*
	*

	406
	pH
	ph units
	33
	7.0
	7.5
	7.6
	7.7
	7.9

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	3
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	6
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	3
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	2
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	7
	*
	*
	*
	*
	*

	666
	D-P
	mg/l
	6
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	9
	*
	*
	*
	*
	*

	680
	TOC
	mg/l
	11
	1.0
	1.0
	1.0
	2.3
	6.2

	70300
	TDS
	mg/l
	10
	10.0
	102.5
	130.0
	139.3
	152.0

	72109
	DtoH2O
	Ft
	26
	102.8
	105.4
	106.6
	108.7
	110.2

	76
	Turb
	Turb units
	6
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	4
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	5
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	12
	30.0
	35.0
	37.1
	37.8
	38.0

	925
	D-Mg
	mg/l
	12
	1.2
	4.3
	4.4
	4.5
	4.6

	930
	D-Na
	mg/l
	12
	2.0
	3.6
	3.9
	4.0
	4.3

	935
	D-K
	mg/l
	12
	0.5
	0.5
	0.6
	1.0
	1.0

	94
	Cond(field)
	micromhos/cm
	34
	0.2
	226.4
	235.0
	236.0
	252.0

	941
	D-Cl
	mg/l
	12
	5.2
	6.6
	6.8
	7.4
	10.0

	946
	D-SO4
	mg/l
	11
	1.9
	2.1
	2.2
	5.0
	5.0

	950
	D-F
	mg/l
	11
	0.1
	0.2
	0.2
	0.2
	0.3

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2404
	Dates: August, 1986 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	127
	18.9
	19.6
	19.8
	19.9
	24.0

	1046
	D-Fe
	microg/l
	26
	2.7
	2800.0
	2985.0
	3145.0
	3600.0

	1056
	D-Mn
	microg/l
	13
	0.1
	119.0
	123.0
	124.0
	134.0

	29801
	Bicarb
	mg/l
	19
	209.0
	211.0
	220.0
	220.0
	222.0

	299
	DO
	mg/l
	57
	0.0
	0.1
	0.2
	0.5
	2.4

	31616
	Fcol
	#/100 ml
	5
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	125
	6.2
	6.9
	7.0
	7.1
	8.3

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	8
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	6
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	2
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	26
	0.0
	0.0
	0.0
	0.0
	0.1

	666
	D-P
	mg/l
	6
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	15
	0.3
	0.4
	0.4
	0.5
	0.5

	680
	TOC
	mg/l
	17
	6.0
	7.9
	8.1
	10.0
	23.0

	70300
	TDS
	mg/l
	13
	210.0
	222.0
	224.0
	239.0
	260.0

	72109
	DtoH2O
	Ft
	69
	5.2
	6.7
	8.2
	9.6
	86.6

	76
	Turb
	Turb units
	10
	0.1
	0.3
	0.8
	1.6
	2.2

	81
	Color
	Pt-Co
	4
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	5
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	30
	47.0
	53.5
	57.5
	60.2
	63.7

	925
	D-Mg
	mg/l
	30
	18.0
	19.0
	20.0
	20.1
	21.0

	930
	D-Na
	mg/l
	31
	2.9
	3.2
	3.2
	3.3
	3.6

	935
	D-K
	mg/l
	31
	0.4
	0.4
	0.5
	0.8
	2.2

	94
	Cond(field)
	micromhos/cm
	127
	1.2
	377.5
	396.0
	404.5
	453.0

	941
	D-Cl
	mg/l
	33
	1.0
	5.3
	5.6
	5.9
	7.3

	946
	D-SO4
	mg/l
	32
	0.2
	0.2
	0.2
	3.6
	8.0

	950
	D-F
	mg/l
	30
	0.2
	0.3
	0.3
	0.3
	0.6

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2465
	Dates: September, 1986 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	158
	21.5
	22.3
	22.5
	22.6
	23.3

	1046
	D-Fe
	microg/l
	29
	0.0
	3.0
	5.0
	10.0
	295.0

	1056
	D-Mn
	microg/l
	14
	0.0
	1.0
	1.5
	10.0
	10.0

	29801
	Bicarb
	mg/l
	29
	142.0
	150.0
	152.0
	157.0
	168.0

	299
	DO
	mg/l
	87
	3.9
	6.0
	6.5
	7.0
	9.0

	31616
	Fcol
	#/100 ml
	13
	0.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	12
	1.0
	1.0
	1.0
	1.0
	1.0

	406
	pH
	ph units
	156
	6.4
	7.3
	7.4
	7.5
	8.3

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	12
	4.0
	4.0
	4.0
	4.0
	5.0

	608
	D-NH3
	mg/l
	17
	0.0
	0.0
	0.0
	0.0
	0.1

	618
	D-NO3
	mg/l
	6
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	2
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	36
	1.9
	2.7
	3.6
	4.1
	6.9

	666
	D-P
	mg/l
	15
	0.0
	0.0
	0.0
	0.0
	0.1

	671
	D-PO4
	mg/l
	24
	0.0
	0.0
	0.0
	0.1
	0.1

	680
	TOC
	mg/l
	25
	1.0
	1.0
	1.0
	2.9
	21.0

	70300
	TDS
	mg/l
	21
	108.0
	160.0
	170.0
	178.0
	204.0

	72109
	DtoH2O
	Ft
	90
	33.4
	47.5
	53.7
	55.9
	57.4

	76
	Turb
	Turb units
	20
	0.1
	0.1
	0.1
	1.0
	6.2

	81
	Color
	Pt-Co
	13
	5.0
	5.0
	5.0
	5.0
	5.0

	82078
	Turb(field)
	Turb units
	14
	0.0
	0.1
	0.3
	0.4
	0.7

	915
	D-Ca
	mg/l
	41
	1.0
	40.0
	41.0
	42.0
	46.0

	925
	D-Mg
	mg/l
	41
	2.8
	17.0
	17.2
	18.0
	19.0

	930
	D-Na
	mg/l
	41
	1.9
	2.1
	2.1
	2.2
	5.1

	935
	D-K
	mg/l
	41
	0.1
	0.2
	0.2
	0.5
	2.0

	94
	Cond(field)
	micromhos/cm
	158
	0.3
	323.0
	340.0
	347.0
	412.0

	941
	D-Cl
	mg/l
	43
	3.5
	4.4
	4.9
	5.4
	21.0

	946
	D-SO4
	mg/l
	42
	5.1
	6.1
	6.5
	6.8
	12.0

	950
	D-F
	mg/l
	40
	0.1
	0.2
	0.3
	0.3
	0.8

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2585
	
	Dates: October, 1987 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	127
	19.7
	21.3
	21.6
	21.9
	25.3

	1046
	D-Fe
	microg/l
	20
	0.0
	124.0
	234.0
	427.5
	1800.0

	1056
	D-Mn
	microg/l
	8
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	16
	60.0
	119.0
	138.0
	140.0
	152.0

	299
	DO
	mg/l
	59
	0.0
	0.1
	0.2
	0.3
	0.9

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	3
	*
	*
	*
	*
	*

	406
	pH
	ph units
	126
	6.6
	7.2
	7.4
	7.5
	9.0

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	3
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	7
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	4
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	2
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	21
	0.0
	0.2
	0.3
	0.5
	1.5

	666
	D-P
	mg/l
	5
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	11
	0.1
	0.1
	0.1
	0.1
	0.2

	680
	TOC
	mg/l
	13
	1.0
	1.7
	2.7
	4.0
	21.0

	70300
	TDS
	mg/l
	10
	130.0
	150.5
	159.0
	160.0
	178.0

	72109
	DtoH2O
	Ft
	65
	11.3
	31.9
	35.7
	38.9
	52.2

	76
	Turb
	Turb units
	6
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	4
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	4
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	23
	29.0
	36.0
	38.3
	41.0
	51.0

	925
	D-Mg
	mg/l
	24
	3.9
	9.5
	11.0
	12.0
	13.2

	930
	D-Na
	mg/l
	23
	2.3
	2.5
	2.7
	2.9
	4.4

	935
	D-K
	mg/l
	23
	0.3
	0.3
	0.5
	0.9
	2.6

	94
	Cond(field)
	micromhos/cm
	127
	0.3
	259.5
	283.0
	295.0
	422.0

	941
	D-Cl
	mg/l
	26
	1.8
	4.3
	4.7
	5.5
	7.1

	946
	D-SO4
	mg/l
	25
	3.1
	5.8
	7.5
	8.9
	12.0

	950
	D-F
	mg/l
	23
	0.1
	0.1
	0.2
	0.2
	0.4

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 2675
	Dates: September, 1986 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	157
	18.2
	19.9
	20.1
	20.5
	21.9

	1046
	D-Fe
	microg/l
	24
	1.0
	9.8
	20.0
	38.5
	620.0

	1056
	D-Mn
	microg/l
	8
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	26
	110.0
	157.3
	166.0
	178.8
	205.0

	299
	DO
	mg/l
	89
	0.2
	0.6
	1.0
	1.5
	4.9

	31616
	Fcol
	#/100 ml
	10
	0.0
	1.0
	1.0
	1.0
	3.0

	31649
	Entero
	#/100 ml
	9
	*
	*
	*
	*
	*

	406
	pH
	ph units
	154
	6.5
	7.0
	7.1
	7.2
	7.5

	4255
	D-Alk
	mg/l
	6
	*
	*
	*
	*
	*

	530
	Resid
	mg/l
	9
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	14
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	4
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	NA
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	30
	0.0
	0.1
	0.1
	0.3
	2.1

	666
	D-P
	mg/l
	12
	0.1
	0.1
	0.1
	0.1
	0.1

	671
	D-PO4
	mg/l
	17
	0.1
	0.1
	0.1
	0.1
	0.2

	680
	TOC
	mg/l
	19
	1.0
	2.9
	4.6
	6.0
	20.0

	70300
	TDS
	mg/l
	16
	180.0
	192.3
	205.5
	224.0
	277.0

	72109
	DtoH2O
	Ft
	88
	32.9
	64.3
	81.9
	88.4
	91.9

	76
	Turb
	Turb units
	12
	0.1
	0.3
	0.5
	0.8
	2.7

	81
	Color
	Pt-Co
	10
	5.0
	5.0
	10.0
	15.0
	20.0

	82078
	Turb(field)
	Turb units
	15
	0.3
	0.6
	0.8
	1.6
	3.4

	915
	D-Ca
	mg/l
	33
	21.0
	60.0
	65.0
	68.7
	85.5

	925
	D-Mg
	mg/l
	32
	1.5
	1.8
	2.0
	2.3
	6.0

	930
	D-Na
	mg/l
	33
	2.7
	3.7
	4.0
	4.7
	6.2

	935
	D-K
	mg/l
	33
	0.6
	1.1
	1.3
	1.5
	2.9

	94
	Cond(field)
	micromhos/cm
	157
	0.4
	313.0
	345.0
	365.0
	436.0

	941
	D-Cl
	mg/l
	35
	4.2
	6.7
	7.7
	8.7
	17.0

	946
	D-SO4
	mg/l
	34
	3.8
	5.2
	6.5
	8.1
	19.0

	950
	D-F
	mg/l
	32
	0.1
	0.1
	0.1
	0.2
	1.4

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	St. Johns Water Management District
	

	Descriptive Statistics for 1417
	Dates: September, 1987 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	66
	22.2
	22.8
	23.1
	23.2
	23.8

	1046
	D-Fe
	microg/l
	25
	2760.0
	3700.0
	4100.0
	5100.0
	6500.0

	1056
	D-Mn
	microg/l
	9
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	27
	135.0
	139.0
	150.0
	159.0
	180.0

	299
	DO
	mg/l
	49
	0.0
	0.2
	0.3
	0.4
	1.4

	31616
	Fcol
	#/100 ml
	10
	0.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	9
	*
	*
	*
	*
	*

	406
	pH
	ph units
	67
	5.7
	7.1
	7.2
	7.3
	7.5

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	9
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	13
	0.2
	0.2
	0.2
	0.3
	0.8

	618
	D-NO3
	mg/l
	4
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	NA
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	34
	0.0
	0.0
	0.0
	0.0
	0.4

	666
	D-P
	mg/l
	12
	0.2
	0.2
	0.2
	0.2
	0.3

	671
	D-PO4
	mg/l
	18
	0.0
	0.2
	0.2
	0.2
	0.3

	680
	TOC
	mg/l
	19
	3.9
	4.6
	5.1
	19.0
	42.6

	70300
	TDS
	mg/l
	16
	174.0
	191.8
	198.0
	222.0
	261.0

	72109
	DtoH2O
	Ft
	63
	4.3
	11.6
	13.5
	15.2
	18.3

	76
	Turb
	Turb units
	13
	13.0
	15.0
	16.0
	27.0
	120.0

	81
	Color
	Pt-Co
	10
	80.0
	85.0
	100.0
	100.0
	250.0

	82078
	Turb(field)
	Turb units
	15
	0.6
	0.8
	1.1
	2.1
	13.5

	915
	D-Ca
	mg/l
	34
	53.0
	57.5
	62.0
	68.8
	80.4

	925
	D-Mg
	mg/l
	34
	0.8
	0.9
	1.0
	1.1
	1.4

	930
	D-Na
	mg/l
	34
	7.6
	8.0
	8.8
	9.1
	10.0

	935
	D-K
	mg/l
	34
	0.6
	0.7
	0.7
	1.0
	1.1

	94
	Cond(field)
	micromhos/cm
	67
	0.4
	341.5
	368.0
	390.5
	560.0

	941
	D-Cl
	mg/l
	34
	11.0
	14.0
	15.0
	16.0
	21.0

	946
	D-SO4
	mg/l
	34
	1.0
	3.3
	4.6
	5.6
	15.0

	950
	D-F
	mg/l
	34
	0.1
	0.1
	0.1
	0.1
	0.3

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1420
	Dates: September, 1987 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	41
	21.6
	22.4
	22.6
	22.9
	25.4

	1046
	D-Fe
	microg/l
	24
	3.0
	5.8
	10.0
	30.0
	42.0

	1056
	D-Mn
	microg/l
	9
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	20
	115.0
	120.0
	120.0
	121.0
	126.0

	299
	DO
	mg/l
	21
	0.0
	0.1
	0.1
	0.2
	1.4

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	3
	*
	*
	*
	*
	*

	406
	pH
	ph units
	42
	6.3
	7.5
	7.6
	7.6
	7.8

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	3
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	7
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	4
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	27
	0.0
	0.0
	0.0
	0.0
	0.1

	666
	D-P
	mg/l
	6
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	11
	0.1
	0.1
	0.1
	0.1
	0.2

	680
	TOC
	mg/l
	13
	1.6
	2.4
	3.0
	6.2
	18.0

	70300
	TDS
	mg/l
	10
	1960.0
	2228.5
	2285.0
	2447.5
	2572.0

	72109
	DtoH2O
	Ft
	38
	1.0
	3.1
	4.0
	5.1
	8.0

	76
	Turb
	Turb units
	7
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	4
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	4
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	27
	79.4
	82.0
	86.0
	88.2
	92.0

	925
	D-Mg
	mg/l
	27
	62.0
	70.0
	71.6
	73.7
	77.5

	930
	D-Na
	mg/l
	27
	550.0
	650.0
	650.0
	675.0
	703.0

	935
	D-K
	mg/l
	27
	20.9
	21.9
	23.0
	24.0
	240.0

	94
	Cond(field)
	micromhos/cm
	42
	3670.0
	4131.8
	4180.0
	4238.3
	4460.0

	941
	D-Cl
	mg/l
	27
	1060.0
	1170.0
	1200.0
	1200.0
	1400.0

	946
	D-SO4
	mg/l
	27
	5.6
	179.5
	180.0
	180.0
	194.0

	950
	D-F
	mg/l
	27
	0.1
	0.1
	0.2
	0.4
	0.4

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1762
	Dates: July, 1987 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	79
	22.8
	24.9
	25.2
	25.4
	26.2

	1046
	D-Fe
	microg/l
	32
	3.0
	5.0
	10.0
	30.0
	77.0

	1056
	D-Mn
	microg/l
	15
	1.0
	30.0
	30.0
	30.0
	30.0

	29801
	Bicarb
	mg/l
	21
	129.0
	130.0
	132.0
	133.0
	140.0

	299
	DO
	mg/l
	49
	0.0
	0.1
	0.1
	0.2
	1.7

	31616
	Fcol
	#/100 ml
	5
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	79
	7.2
	7.4
	7.4
	7.5
	7.6

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	6
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	12
	0.0
	0.0
	0.0
	0.1
	0.9

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	36
	0.0
	0.0
	0.0
	0.0
	0.9

	666
	D-P
	mg/l
	6
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	19
	0.0
	0.0
	0.0
	0.1
	0.1

	680
	TOC
	mg/l
	20
	1.0
	1.7
	3.9
	6.0
	18.5

	70300
	TDS
	mg/l
	17
	482.0
	500.0
	532.0
	545.0
	596.0

	72109
	DtoH2O
	Ft
	76
	26.4
	28.6
	30.2
	31.3
	36.3

	76
	Turb
	Turb units
	8
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	5
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	36
	65.0
	73.8
	76.1
	78.0
	83.0

	925
	D-Mg
	mg/l
	36
	34.0
	37.0
	39.0
	40.0
	44.3

	930
	D-Na
	mg/l
	36
	13.0
	16.0
	17.0
	17.4
	19.0

	935
	D-K
	mg/l
	36
	2.7
	3.0
	3.2
	3.4
	5.0

	94
	Cond(field)
	micromhos/cm
	79
	682.0
	736.5
	747.0
	757.5
	768.0

	941
	D-Cl
	mg/l
	36
	14.0
	20.0
	20.5
	24.0
	40.0

	946
	D-SO4
	mg/l
	36
	190.0
	220.0
	220.0
	230.0
	240.0

	950
	D-F
	mg/l
	36
	0.5
	1.0
	1.0
	1.0
	1.2

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1763
	Dates: July, 1987 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	82
	20.2
	22.1
	22.3
	22.9
	24.2

	1046
	D-Fe
	microg/l
	31
	30.0
	48.0
	60.0
	66.5
	105.0

	1056
	D-Mn
	microg/l
	14
	30.0
	45.3
	51.0
	56.3
	68.0

	29801
	Bicarb
	mg/l
	23
	287.0
	299.0
	300.0
	301.0
	315.0

	299
	DO
	mg/l
	56
	0.0
	0.1
	0.2
	0.5
	2.3

	31616
	Fcol
	#/100 ml
	5
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	82
	6.2
	6.9
	7.0
	7.0
	8.4

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	8
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	3.1

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	38
	0.0
	0.0
	0.0
	0.0
	3.1

	666
	D-P
	mg/l
	5
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	19
	0.2
	0.4
	0.4
	0.4
	0.5

	680
	TOC
	mg/l
	20
	6.1
	7.2
	8.7
	11.4
	38.0

	70300
	TDS
	mg/l
	17
	297.0
	377.0
	381.0
	384.0
	411.0

	72109
	DtoH2O
	Ft
	79
	23.2
	24.0
	24.5
	25.3
	28.3

	76
	Turb
	Turb units
	7
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	5
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	38
	74.8
	110.0
	110.5
	117.4
	120.0

	925
	D-Mg
	mg/l
	38
	1.7
	3.0
	3.1
	3.2
	3.5

	930
	D-Na
	mg/l
	38
	9.5
	13.0
	13.0
	13.5
	15.0

	935
	D-K
	mg/l
	38
	0.8
	0.9
	1.0
	1.1
	1.2

	94
	Cond(field)
	micromhos/cm
	82
	6.1
	608.3
	620.0
	625.8
	633.0

	941
	D-Cl
	mg/l
	38
	17.0
	20.0
	21.0
	23.0
	49.0

	946
	D-SO4
	mg/l
	38
	0.2
	0.2
	0.6
	1.0
	9.0

	950
	D-F
	mg/l
	38
	0.1
	0.1
	0.1
	0.1
	0.3

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1764
	Dates: July, 1987 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	106
	19.7
	22.2
	22.4
	22.6
	24.5

	1046
	D-Fe
	microg/l
	30
	30.0
	295.8
	362.0
	467.5
	560.0

	1056
	D-Mn
	microg/l
	14
	20.0
	30.0
	30.0
	30.0
	38.0

	29801
	Bicarb
	mg/l
	29
	11.0
	14.0
	26.0
	36.0
	52.0

	299
	DO
	mg/l
	78
	0.0
	0.2
	0.3
	0.4
	1.8

	31616
	Fcol
	#/100 ml
	12
	1.0
	1.0
	1.0
	1.0
	35.0

	31649
	Entero
	#/100 ml
	11
	1.0
	1.0
	1.0
	1.0
	2.0

	406
	pH
	ph units
	106
	4.7
	5.1
	5.3
	5.5
	6.3

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	11
	4.0
	4.0
	4.0
	4.0
	4.0

	608
	D-NH3
	mg/l
	15
	0.7
	0.8
	0.9
	1.0
	1.1

	618
	D-NO3
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	1.6

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	44
	0.0
	0.0
	0.0
	0.0
	1.6

	666
	D-P
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	0.0

	671
	D-PO4
	mg/l
	26
	0.0
	0.0
	0.0
	0.1
	0.2

	680
	TOC
	mg/l
	27
	10.0
	11.5
	12.6
	15.3
	49.2

	70300
	TDS
	mg/l
	24
	91.0
	102.0
	146.5
	166.3
	331.0

	72109
	DtoH2O
	Ft
	103
	15.2
	16.2
	16.8
	17.6
	20.5

	76
	Turb
	Turb units
	14
	0.9
	1.6
	2.5
	4.7
	20.0

	81
	Color
	Pt-Co
	12
	5.0
	12.5
	17.5
	30.0
	5.0

	82078
	Turb(field)
	Turb units
	15
	0.1
	0.4
	0.7
	1.0
	2.2

	915
	D-Ca
	mg/l
	44
	5.8
	8.1
	14.5
	30.1
	65.1

	925
	D-Mg
	mg/l
	44
	1.5
	2.3
	2.8
	3.8
	7.9

	930
	D-Na
	mg/l
	44
	10.1
	12.0
	12.6
	13.1
	17.7

	935
	D-K
	mg/l
	44
	1.0
	1.2
	1.3
	1.5
	2.4

	94
	Cond(field)
	micromhos/cm
	106
	122.0
	137.3
	156.0
	178.0
	443.0

	941
	D-Cl
	mg/l
	44
	13.0
	14.0
	18.0
	19.3
	31.0

	946
	D-SO4
	mg/l
	44
	8.0
	15.3
	19.5
	28.0
	93.0

	950
	D-F
	mg/l
	41
	0.0
	0.1
	0.1
	0.1
	0.2

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1779
	Dates: September, 1989 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	27
	21.8
	22.3
	22.5
	22.7
	24.8

	1046
	D-Fe
	microg/l
	8
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	6
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	7
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	21
	0.0
	0.1
	0.3
	0.4
	1.8

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	27
	7.4
	7.6
	7.6
	7.7
	8.0

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	6
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	4
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	1.6

	666
	D-P
	mg/l
	7
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	10
	0.0
	0.0
	0.0
	0.0
	0.1

	680
	TOC
	mg/l
	10
	1.0
	1.0
	1.2
	7.2
	21.0

	70300
	TDS
	mg/l
	9
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	24
	72.3
	76.9
	79.7
	80.0
	81.8

	76
	Turb
	Turb units
	7
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	5
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	12
	32.0
	33.9
	34.9
	35.1
	39.6

	925
	D-Mg
	mg/l
	12
	13.6
	14.4
	15.2
	15.9
	17.2

	930
	D-Na
	mg/l
	12
	7.8
	8.0
	8.3
	8.4
	9.1

	935
	D-K
	mg/l
	12
	1.2
	1.3
	1.7
	2.9
	6.3

	94
	Cond(field)
	micromhos/cm
	27
	31.9
	317.0
	320.0
	324.0
	329.0

	941
	D-Cl
	mg/l
	12
	5.0
	6.0
	6.3
	8.5
	12.0

	946
	D-SO4
	mg/l
	12
	1.0
	1.0
	1.9
	2.0
	2.3

	950
	D-F
	mg/l
	12
	0.3
	0.4
	0.5
	0.5
	0.5

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1780
	Dates: September, 1989 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	27
	20.5
	21.1
	21.3
	21.4
	22.7

	1046
	D-Fe
	microg/l
	8
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	6
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	7
	*
	*
	*
	*
	*

	299
	DO
	mg/l
	22
	0.0
	0.1
	0.3
	0.8
	2.4

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	27
	7.1
	7.4
	7.5
	7.6
	9.8

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	6
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	4
	*
	*
	*
	*
	*

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	12
	0.0
	0.0
	0.0
	0.0
	0.7

	666
	D-P
	mg/l
	7
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	10
	0.0
	0.3
	0.3
	0.4
	0.4

	680
	TOC
	mg/l
	10
	1.0
	1.0
	1.1
	6.5
	12.2

	70300
	TDS
	mg/l
	9
	*
	*
	*
	*
	*

	72109
	DtoH2O
	Ft
	24
	6.4
	9.1
	12.0
	12.9
	14.7

	76
	Turb
	Turb units
	7
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	5
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	5
	*
	*
	*
	*
	*

	915
	D-Ca
	mg/l
	12
	8.9
	28.7
	0.8
	1.0
	1.0

	925
	D-Mg
	mg/l
	12
	1.3
	13.0
	13.9
	14.7
	16.5

	930
	D-Na
	mg/l
	12
	7.6
	7.7
	7.9
	8.2
	10.2

	935
	D-K
	mg/l
	12
	1.4
	1.6
	1.9
	2.3
	4.7

	94
	Cond(field)
	micromhos/cm
	27
	138.0
	287.0
	291.0
	294.0
	301.0

	941
	D-Cl
	mg/l
	12
	9.2
	9.8
	11.0
	12.3
	13.0

	946
	D-SO4
	mg/l
	12
	1.0
	1.8
	2.7
	3.0
	5.0

	950
	D-F
	mg/l
	12
	0.1
	0.2
	0.2
	0.2
	0.3

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1781
	Dates: September, 1989 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	51
	20.4
	21.1
	21.3
	21.4
	23.5

	1046
	D-Fe
	microg/l
	8
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	6
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	14
	29.0
	32.0
	33.5
	34.8
	85.0

	299
	DO
	mg/l
	46
	0.2
	0.7
	0.8
	1.0
	8.4

	31616
	Fcol
	#/100 ml
	11
	1.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	11
	1.0
	1.0
	1.0
	1.0
	1.0

	406
	pH
	ph units
	51
	5.3
	5.8
	6.0
	6.3
	10.9

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	11
	4.0
	4.0
	4.0
	4.0
	4.0

	608
	D-NH3
	mg/l
	13
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	4
	0.0
	0.0
	0.1
	0.1
	0.1

	620
	D-NO3(N)
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	631
	D-NO3NO2
	mg/l
	19
	0.0
	0.0
	0.0
	0.0
	0.1

	666
	D-P
	mg/l
	14
	0.0
	0.0
	0.0
	0.1
	0.1

	671
	D-PO4
	mg/l
	17
	0.0
	0.0
	0.0
	0.1
	0.1

	680
	TOC
	mg/l
	17
	0.0
	1.0
	1.0
	1.3
	13.1

	70300
	TDS
	mg/l
	16
	75.0
	77.8
	90.5
	109.5
	197.0

	72109
	DtoH2O
	Ft
	48
	6.0
	8.7
	11.5
	12.7
	14.7

	76
	Turb
	Turb units
	14
	0.1
	0.1
	0.1
	0.6
	2.1

	81
	Color
	Pt-Co
	12
	5.0
	5.0
	5.0
	5.0
	5.0

	82078
	Turb(field)
	Turb units
	15
	0.0
	0.3
	0.4
	0.6
	1.6

	915
	D-Ca
	mg/l
	19
	9.0
	10.0
	11.8
	27.4
	56.3

	925
	D-Mg
	mg/l
	19
	0.5
	1.1
	1.1
	1.3
	2.1

	930
	D-Na
	mg/l
	19
	7.2
	7.5
	7.6
	11.7
	23.1

	935
	D-K
	mg/l
	19
	1.3
	1.3
	1.4
	4.7
	8.0

	94
	Cond(field)
	micromhos/cm
	51
	0.1
	104.0
	110.0
	146.0
	551.0

	941
	D-Cl
	mg/l
	18
	9.6
	10.0
	10.5
	11.0
	22.0

	946
	D-SO4
	mg/l
	19
	1.6
	1.7
	1.9
	2.2
	6.0

	950
	D-F
	mg/l
	19
	0.0
	0.1
	0.1
	0.2
	0.3

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Alachua County 

	Descriptive Statistics for 1674
	
	Dates: May, 1987 to April, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	137
	18.2
	22.8
	22.9
	22.9
	23.1

	1046
	D-Fe
	microg/l
	20
	3.0
	8.0
	10.0
	18.3
	100.0

	1056
	D-Mn
	microg/l
	5
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	20
	27.0
	32.0
	33.0
	34.0
	42.0

	299
	DO
	mg/l
	108
	2.3
	2.9
	3.3
	3.6
	7.0

	31616
	Fcol
	#/100 ml
	4
	*
	*
	*
	*
	*

	31649
	Entero
	#/100 ml
	4
	*
	*
	*
	*
	*

	406
	pH
	ph units
	138
	5.3
	6.0
	6.1
	6.3
	7.5

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	4
	*
	*
	*
	*
	*

	608
	D-NH3
	mg/l
	6
	*
	*
	*
	*
	*

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	1
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	24
	0.4
	0.4
	0.4
	0.5
	0.8

	666
	D-P
	mg/l
	6
	*
	*
	*
	*
	*

	671
	D-PO4
	mg/l
	7
	*
	*
	*
	*
	*

	680
	TOC
	mg/l
	13
	1.0
	1.0
	1.0
	1.2
	6.3

	70300
	TDS
	mg/l
	14
	56.0
	88.3
	99.5
	110.0
	150.0

	72109
	DtoH2O
	Ft
	146
	2.9
	7.3
	9.1
	10.5
	14.6

	76
	Turb
	Turb units
	7
	*
	*
	*
	*
	*

	81
	Color
	Pt-Co
	4
	*
	*
	*
	*
	*

	82078
	Turb(field)
	Turb units
	52
	0.2
	0.4
	0.5
	0.7
	5.3

	915
	D-Ca
	mg/l
	24
	9.4
	9.9
	10.0
	11.3
	13.0

	925
	D-Mg
	mg/l
	24
	2.8
	3.3
	3.3
	3.4
	4.0

	930
	D-Na
	mg/l
	25
	2.6
	3.1
	3.1
	3.2
	3.5

	935
	D-K
	mg/l
	24
	0.5
	0.6
	0.6
	0.9
	1.0

	94
	Cond(field)
	micromhos/cm
	137
	69.0
	89.0
	95.0
	99.0
	830.0

	941
	D-Cl
	mg/l
	23
	1.0
	5.1
	5.4
	5.6
	6.0

	946
	D-SO4
	mg/l
	23
	0.5
	0.6
	0.6
	0.6
	11.0

	950
	D-F
	mg/l
	24
	0.8
	0.9
	1.0
	1.0
	1.9

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


	Descriptive Statistics for 1931
	
	Dates: May, 1987 to June, 2003

	Code
	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	10
	Temp
	Deg C
	169
	16.2
	22.1
	22.4
	22.7
	26.9

	1046
	D-Fe
	microg/l
	4
	*
	*
	*
	*
	*

	1056
	D-Mn
	microg/l
	4
	*
	*
	*
	*
	*

	29801
	Bicarb
	mg/l
	14
	57.0
	72.0
	73.0
	75.0
	79.2

	299
	DO
	mg/l
	140
	6.4
	7.4
	7.9
	8.1
	9.3

	31616
	Fcol
	#/100 ml
	11
	1.0
	1.0
	1.0
	1.0
	1.0

	31649
	Entero
	#/100 ml
	11
	1.0
	1.0
	1.0
	1.0
	2.0

	406
	pH
	ph units
	168
	7.1
	7.7
	7.8
	7.9
	8.1

	4255
	D-Alk
	mg/l
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA
	NO DATA

	530
	Resid
	mg/l
	11
	4.0
	4.0
	4.0
	4.0
	4.0

	608
	D-NH3
	mg/l
	19
	0.0
	0.0
	0.0
	0.0
	0.0

	618
	D-NO3
	mg/l
	0
	NA
	NA
	NA
	NA
	NA

	620
	D-NO3(N)
	mg/l
	1
	*
	*
	*
	*
	*

	631
	D-NO3NO2
	mg/l
	20
	0.1
	0.2
	0.4
	0.5
	0.8

	666
	D-P
	mg/l
	14
	0.0
	0.0
	0.0
	0.0
	0.1

	671
	D-PO4
	mg/l
	13
	0.0
	0.0
	0.0
	0.0
	0.1

	680
	TOC
	mg/l
	18
	1.0
	1.0
	1.0
	1.2
	6.5

	70300
	TDS
	mg/l
	20
	60.0
	82.5
	87.0
	94.5
	130.0

	72109
	DtoH2O
	Ft
	170
	28.6
	38.1
	39.5
	42.1
	46.9

	76
	Turb
	Turb units
	14
	0.1
	0.3
	0.4
	0.9
	1.5

	81
	Color
	Pt-Co
	11
	5.0
	5.0
	5.0
	10.0
	15.0

	82078
	Turb(field)
	Turb units
	66
	0.1
	0.5
	0.9
	1.2
	41.0

	915
	D-Ca
	mg/l
	15
	28.6
	29.5
	30.0
	30.9
	34.0

	925
	D-Mg
	mg/l
	15
	0.4
	0.4
	0.4
	0.4
	0.5

	930
	D-Na
	mg/l
	16
	1.1
	1.5
	1.6
	1.6
	1.8

	935
	D-K
	mg/l
	15
	0.1
	0.1
	0.1
	0.1
	0.2

	94
	Cond(field)
	micromhos/cm
	170
	105.0
	158.0
	161.0
	162.0
	239.0

	941
	D-Cl
	mg/l
	20
	2.5
	2.8
	2.9
	3.0
	3.3

	946
	D-SO4
	mg/l
	20
	1.2
	1.2
	1.3
	1.3
	2.3

	950
	D-F
	mg/l
	15
	0.1
	0.1
	0.1
	0.1
	0.2

	
	
	
	
	
	
	
	
	

	
	
	*Less than 10 samples
	
	
	
	

	
	
	NA - No samples
	
	
	
	
	


Suwannee River Water Management District Springs

	
	Descriptive Statistics for ALR
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	14
	0.7
	0.9
	1.2
	1.4
	1.4

	NATOT
	mg/l
	14
	2.5
	4.1
	5.1
	8.4
	10.5

	MGTOT
	mg/l
	14
	2.4
	4.0
	5.9
	7.7
	8.9

	CATOT
	mg/l
	14
	17.6
	32.2
	34.5
	39.2
	48.6

	CLTOT
	mg/l
	15
	1.0
	6.3
	7.1
	8.5
	9.0

	FTOT
	mg/l
	14
	0.1
	0.1
	0.1
	0.2
	0.2

	SO4TOT
	mg/l
	14
	8.5
	16.1
	26.5
	31.0
	33.0

	TKN
	mg/l
	14
	0.1
	0.3
	0.3
	0.4
	0.5

	NOXNTOT
	mg/l
	15
	0.0
	0.1
	0.2
	0.4
	0.7

	PTOT
	mg/l
	15
	0.1
	0.1
	0.1
	0.1
	0.2

	OPO4DISS
	mg/l
	15
	0.0
	0.1
	0.1
	0.1
	0.1

	COLITOT
	#/100ML
	3
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	3
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	14
	232.0
	269.2
	358.7
	559.0
	800.4

	TOC
	mg/l
	14
	4.0
	8.9
	10.5
	16.3
	24.7

	DOC
	mg/l
	14
	4.4
	8.5
	9.9
	12.2
	21.3

	CONDL
	uS/cm
	15
	126.0
	224.0
	283.0
	305.5
	317.0

	PHF
	s.u.
	15
	6.8
	7.1
	7.2
	7.3
	7.5

	TEMP
	Deg C
	15
	17.0
	20.4
	21.2
	21.6
	23.4

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for FAN
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	50.0
	0.4
	1.8
	2.0
	2.3
	2.8

	NATOT
	mg/l
	50.0
	2.9
	3.8
	4.2
	4.7
	6.3

	MGTOT
	mg/l
	50.0
	4.1
	4.9
	5.4
	5.7
	7.0

	CATOT
	mg/l
	50.0
	43.9
	70.1
	75.2
	81.3
	90.7

	CLTOT
	mg/l
	50.0
	4.3
	8.0
	8.5
	9.0
	12.7

	FTOT
	mg/l
	50.0
	0.0
	0.1
	0.1
	0.1
	0.2

	SO4TOT
	mg/l
	50.0
	14.0
	18.3
	19.3
	20.0
	24.5

	TKN
	mg/l
	49.0
	0.0
	0.0
	0.0
	0.1
	0.9

	NOXNTOT
	mg/l
	50.0
	2.4
	3.5
	3.8
	4.1
	4.6

	PTOT
	mg/l
	50.0
	0.0
	0.1
	0.1
	0.1
	0.2

	OPO4DISS
	mg/l
	50.0
	0.0
	0.1
	0.1
	0.1
	0.1

	COLITOT
	#/100ML
	7.0
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	7.0
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	22.0
	45.1
	64.1
	76.4
	91.4
	115.5

	TOC
	mg/l
	49.0
	0.0
	1.0
	3.9
	8.5
	35.6

	DOC
	mg/l
	40.0
	0.2
	2.0
	5.7
	7.9
	20.5

	CONDL
	uS/cm
	50.0
	429.0
	446.0
	456.0
	461.8
	467.0

	PHF
	s.u.
	50.0
	7.0
	7.1
	7.2
	7.3
	7.4

	TEMP
	Deg C
	50.0
	21.9
	22.2
	22.3
	22.4
	22.8

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for BLU Gil?
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	33.0
	1.0
	0.2
	0.3
	0.3
	0.6

	NATOT
	mg/l
	33.0
	1.8
	2.3
	2.5
	3.0
	4.1

	MGTOT
	mg/l
	32.0
	4.1
	5.1
	5.9
	6.5
	7.1

	CATOT
	mg/l
	33.0
	40.3
	52.4
	58.6
	62.8
	66.0

	CLTOT
	mg/l
	33.0
	3.0
	5.0
	5.3
	5.8
	7.0

	FTOT
	mg/l
	31.0
	0.0
	0.1
	0.1
	0.1
	0.2

	SO4TOT
	mg/l
	33.0
	5.5
	9.0
	9.9
	10.5
	14.0

	TKN
	mg/l
	33.0
	0.0
	0.0
	0.0
	0.1
	0.1

	NOXNTOT
	mg/l
	36.0
	1.5
	1.6
	1.7
	1.7
	1.9

	PTOT
	mg/l
	33.0
	0.0
	0.0
	0.0
	0.0
	0.3

	OPO4DISS
	mg/l
	33.0
	0.0
	0.0
	0.0
	0.0
	0.0

	COLITOT
	#/100ML
	8.0
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	8.0
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	21.0
	23.8
	31.5
	36.4
	45.1
	86.6

	TOC
	mg/l
	31.0
	0.0
	0.0
	1.5
	5.4
	18.4

	DOC
	mg/l
	24.0
	0.2
	0.6
	1.1
	5.0
	11.3

	CONDL
	uS/cm
	35.0
	308.0
	348.0
	355.0
	362.0
	426.0

	PHF
	s.u.
	36.0
	6.8
	7.3
	7.4
	7.5
	7.6

	TEMP
	Deg C
	36.0
	21.2
	22.3
	22.5
	22.6
	23.3

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for HAR
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	16.0
	0.2
	0.4
	0.5
	0.6
	0.7

	NATOT
	mg/l
	16.0
	2.4
	2.5
	2.8
	3.1
	3.7

	MGTOT
	mg/l
	16.0
	4.2
	4.4
	4.7
	5.3
	6.1

	CATOT
	mg/l
	16.0
	60.2
	71.0
	77.6
	79.9
	92.7

	CLTOT
	mg/l
	20.0
	0.0
	7.0
	7.1
	7.6
	16.0

	FTOT
	mg/l
	16.0
	0.0
	0.1
	0.1
	0.1
	0.2

	SO4TOT
	mg/l
	16.0
	18.2
	20.0
	20.5
	22.3
	26.0

	TKN
	mg/l
	19.0
	0.0
	0.0
	0.0
	0.0
	0.1

	NOXNTOT
	mg/l
	20.0
	1.0
	0.1
	1.2
	1.3
	1.4

	PTOT
	mg/l
	20.0
	0.1
	0.1
	0.1
	0.1
	0.2

	OPO4DISS
	mg/l
	20.0
	0.1
	0.1
	0.1
	0.1
	0.1

	COLITOT
	#/100ML
	5.0
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	5.0
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	16.0
	19.1
	46.1
	55.1
	74.0
	90.0

	TOC
	mg/l
	15.0
	0.4
	1.9
	5.5
	8.7
	19.7

	DOC
	mg/l
	16.0
	0.4
	1.8
	4.3
	8.6
	16.7

	CONDL
	uS/cm
	20.0
	419.0
	434.3
	439.0
	448.3
	465.0

	PHF
	s.u.
	20.0
	6.9
	7.1
	7.2
	7.2
	7.4

	TEMP
	Deg C
	20.0
	21.9
	22.1
	22.1
	22.2
	22.4

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for HOR
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	60
	0.200
	0.900
	1.000
	1.025
	1.500

	NATOT
	mg/l
	60
	2.800
	7.700
	8.800
	9.300
	11.800

	MGTOT
	mg/l
	60
	4.500
	7.750
	9.250
	10.750
	15.400

	CATOT
	mg/l
	60
	43.400
	59.350
	64.150
	70.825
	98.300

	CLTOT
	mg/l
	60
	4.000
	11.650
	12.600
	14.600
	62.000

	FTOT
	mg/l
	50
	0.080
	0.180
	0.200
	0.228
	0.280

	SO4TOT
	mg/l
	60
	10.000
	39.625
	47.000
	60.625
	108.000

	TKN
	mg/l
	60
	0.020
	0.058
	0.080
	0.123
	0.770

	NOXNTOT
	mg/l
	60
	0.010
	0.510
	0.635
	0.730
	1.920

	PTOT
	mg/l
	60
	0.038
	0.084
	0.094
	0.101
	0.265

	OPO4DISS
	mg/l
	59
	0.004
	0.079
	0.087
	0.116
	0.116

	COLITOT
	#/100ML
	6
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	6
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	29
	0.000
	7.640
	44.200
	88.900
	352.000

	TOC
	mg/l
	48
	0.000
	1.900
	4.850
	8.525
	15.000

	DOC
	mg/l
	39
	0.800
	2.950
	5.500
	7.300
	11.700

	CONDL
	uS/cm
	60
	375.000
	432.250
	453.000
	487.000
	543.000

	PHF
	s.u.
	60
	6.840
	7.175
	7.290
	7.353
	8.110

	TEMP
	Deg C
	60
	19.800
	22.175
	22.500
	22.700
	27.400

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for LBS
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	39
	0.0
	0.7
	0.8
	0.8
	5.1

	NATOT
	mg/l
	39
	3.2
	4.7
	5.3
	5.8
	28.7

	MGTOT
	mg/l
	39
	8.2
	10.5
	11.5
	12.4
	16.8

	CATOT
	mg/l
	39
	48.8
	59.6
	64.9
	67.1
	81.7

	CLTOT
	mg/l
	39
	1.5
	8.9
	9.3
	10.7
	16.8

	FTOT
	mg/l
	39
	0.1
	0.1
	0.1
	0.1
	0.2

	SO4TOT
	mg/l
	39
	9.0
	12.0
	12.5
	13.7
	17.5

	TKN
	mg/l
	42
	0.0
	0.1
	0.1
	0.1
	0.2

	NOXNTOT
	mg/l
	42
	1.0
	1.3
	1.6
	1.9
	2.4

	PTOT
	mg/l
	42
	0.0
	0.0
	0.0
	0.1
	0.2

	OPO4DISS
	mg/l
	42
	0.0
	0.0
	0.0
	0.0
	0.1

	COLITOT
	#/100ML
	9
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	9
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	25
	20.4
	34.9
	49.3
	74.6
	160.1

	TOC
	mg/l
	28
	0.8
	2.0
	7.8
	11.6
	19.6

	DOC
	mg/l
	36
	1.0
	2.5
	6.6
	10.6
	12.6

	CONDL
	uS/cm
	42
	403.0
	428.3
	440.5
	447.0
	455.0

	PHF
	s.u.
	42
	6.8
	7.2
	7.3
	7.3
	7.5

	TEMP
	Deg C
	42
	0.3
	21.3
	21.5
	21.6
	22.2

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for LRS
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	48.0
	0.1
	0.5
	0.5
	0.7
	0.9

	NATOT
	mg/l
	48.0
	1.3
	2.3
	2.5
	2.8
	4.2

	MGTOT
	mg/l
	48.0
	6.0
	6.5
	7.0
	7.8
	12.2

	CATOT
	mg/l
	48.0
	49.6
	55.6
	58.5
	61.6
	96.6

	CLTOT
	mg/l
	48.0
	0.0
	5.3
	5.8
	6.0
	9.0

	FTOT
	mg/l
	47.0
	0.0
	0.1
	0.1
	0.1
	0.2

	SO4TOT
	mg/l
	48.0
	14.0
	17.5
	19.2
	22.0
	27.0

	TKN
	mg/l
	48.0
	0.0
	0.0
	0.0
	0.1
	0.2

	NOXNTOT
	mg/l
	51.0
	0.9
	1.1
	1.2
	1.3
	1.7

	PTOT
	mg/l
	48.0
	0.0
	0.0
	0.0
	0.0
	0.1

	OPO4DISS
	mg/l
	48.0
	0.0
	0.2
	0.0
	0.0
	0.0

	COLITOT
	#/100ML
	*
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	*
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	28.0
	25.4
	46.8
	55.8
	72.0
	143.0

	TOC
	mg/l
	46.0
	0.0
	1.2
	2.7
	7.0
	19.9

	DOC
	mg/l
	36.0
	0.2
	1.8
	3.9
	6.7
	14.1

	CONDL
	uS/cm
	49.0
	348.0
	368.0
	373.0
	376.0
	398.0

	PHF
	s.u.
	49.0
	6.9
	7.3
	7.3
	7.5
	7.7

	TEMP
	Deg C
	48.0
	21.4
	21.7
	21.8
	21.8
	22.0

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for MAN
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	41.0
	0.3
	0.8
	0.9
	1.0
	1.6

	NATOT
	mg/l
	41.0
	2.9
	3.5
	3.8
	4.0
	5.9

	MGTOT
	mg/l
	41.0
	4.3
	5.6
	5.9
	6.4
	7.9

	CATOT
	mg/l
	41.0
	60.5
	76.6
	83.0
	85.7
	96.9

	CLTOT
	mg/l
	45.0
	1.0
	7.2
	7.6
	8.1
	14.0

	FTOT
	mg/l
	41.0
	0.0
	0.1
	0.1
	0.1
	0.2

	SO4TOT
	mg/l
	41.0
	24.5
	29.0
	31.0
	32.0
	42.0

	TKN
	mg/l
	43.0
	0.0
	0.0
	0.1
	0.1
	17.8

	NOXNTOT
	mg/l
	46.0
	1.2
	1.4
	1.5
	1.6
	2.0

	PTOT
	mg/l
	45.0
	0.0
	0.0
	0.0
	0.0
	0.1

	OPO4DISS
	mg/l
	45.0
	0.0
	0.2
	0.0
	0.0
	0.0

	COLITOT
	#/100ML
	11.0
	9.0
	30.0
	60.0
	100.5
	4900.0

	COLIFEC
	#100ML
	11.0
	2.0
	10.0
	13.0
	60.0
	2000.0

	FLOWCFS
	CFS
	19.0
	83.9
	139.9
	170.5
	180.3
	203.0

	TOC
	mg/l
	41.0
	0.3
	2.2
	6.9
	9.6
	18.4

	DOC
	mg/l
	37.0
	0.4
	2.1
	5.8
	8.8
	15.3

	CONDL
	uS/cm
	46.0
	433.0
	460.3
	466.0
	473.0
	499.0

	PHF
	s.u.
	46.0
	6.8
	7.2
	7.3
	7.3
	7.7

	TEMP
	Deg C
	46.0
	20.0
	22.1
	22.2
	22.3
	22.5

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for POET
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	41.0
	0.1
	0.6
	0.7
	0.9
	1.2

	NATOT
	mg/l
	41.0
	4.2
	6.5
	7.9
	9.5
	12.7

	MGTOT
	mg/l
	41.0
	4.3
	5.2
	5.9
	7.0
	8.0

	CATOT
	mg/l
	41.0
	48.7
	61.6
	67.5
	70.3
	76.3

	CLTOT
	mg/l
	42.0
	6.0
	9.6
	12.8
	13.7
	16.4

	FTOT
	mg/l
	41.0
	0.0
	0.1
	0.2
	0.2
	0.2

	SO4TOT
	mg/l
	41.0
	10.0
	12.8
	19.5
	29.0
	37.0

	TKN
	mg/l
	40.0
	0.0
	0.1
	0.1
	0.1
	0.3

	NOXNTOT
	mg/l
	45.0
	0.2
	0.3
	0.4
	0.5
	1.3

	PTOT
	mg/l
	42.0
	0.0
	0.1
	0.1
	0.1
	0.2

	OPO4DISS
	mg/l
	42.0
	0.1
	0.9
	0.1
	0.1
	0.1

	COLITOT
	#/100ML
	8.0
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	8.0
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	28.0
	25.8
	38.3
	51.2
	54.3
	80.0

	TOC
	mg/l
	39.0
	1.0
	3.1
	7.3
	10.2
	33.3

	DOC
	mg/l
	41.0
	1.0
	2.2
	4.8
	8.8
	32.6

	CONDL
	uS/cm
	45.0
	385.0
	405.0
	423.0
	434.0
	445.0

	PHF
	s.u.
	45.0
	6.5
	7.2
	7.2
	7.3
	7.5

	TEMP
	Deg C
	45.0
	21.8
	22.2
	22.3
	22.3
	22.5

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for RKB
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	55
	0.000
	0.300
	0.300
	0.500
	1.000

	NATOT
	mg/l
	55
	1.400
	1.850
	2.000
	2.200
	4.000

	MGTOT
	mg/l
	55
	2.200
	2.750
	3.000
	3.350
	4.600

	CATOT
	mg/l
	55
	39.100
	48.300
	50.900
	53.200
	56.700

	CLTOT
	mg/l
	55
	1.000
	4.000
	4.500
	5.000
	10.800

	FTOT
	mg/l
	7
	0.020
	0.060
	0.070
	0.090
	0.140

	SO4TOT
	mg/l
	55
	9.000
	11.000
	12.000
	12.400
	25.500

	TKN
	mg/l
	55
	0.000
	0.040
	0.050
	0.100
	0.220

	NOXNTOT
	mg/l
	55
	0.310
	0.810
	0.910
	1.020
	1.140

	PTOT
	mg/l
	55
	0.044
	0.060
	0.062
	0.069
	0.163

	OPO4DISS
	mg/l
	55
	0.006
	0.055
	0.058
	0.063
	0.085

	COLITOT
	#/100ML
	7
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	7
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	25
	0.000
	17.500
	24.400
	30.580
	54.000

	TOC
	mg/l
	46
	0.000
	1.425
	4.100
	5.600
	11.700

	DOC
	mg/l
	37
	0.400
	2.300
	3.800
	5.900
	10.600

	CONDL
	uS/cm
	55
	240.000
	293.000
	298.000
	304.500
	315.000

	PHF
	s.u.
	55
	6.500
	7.240
	7.390
	7.475
	7.750

	TEMP
	Deg C
	55
	18.800
	21.800
	22.000
	22.100
	22.400

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for ROY
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	27.0
	0.1
	0.5
	0.5
	0.6
	1.0

	NATOT
	mg/l
	27.0
	2.0
	2.4
	2.6
	2.9
	4.0

	MGTOT
	mg/l
	27.0
	8.6
	10.0
	10.9
	11.5
	15.5

	CATOT
	mg/l
	27.0
	0.0
	46.7
	48.9
	52.1
	60.4

	CLTOT
	mg/l
	27.0
	0.4
	4.9
	5.0
	5.8
	8.0

	FTOT
	mg/l
	20.0
	0.1
	0.1
	0.1
	0.2
	0.2

	SO4TOT
	mg/l
	27.0
	6.6
	8.6
	9.0
	9.9
	10.7

	TKN
	mg/l
	27.0
	0.0
	0.0
	0.1
	0.1
	1.5

	NOXNTOT
	mg/l
	27.0
	0.2
	1.3
	1.6
	1.8
	2.2

	PTOT
	mg/l
	27.0
	0.0
	0.0
	0.0
	0.0
	0.1

	OPO4DISS
	mg/l
	27.0
	0.0
	0.0
	0.0
	0.0
	0.0

	COLITOT
	#/100ML
	0.0
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	0.0
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	6.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	19.0
	0.0
	1.1
	1.5
	1.9
	13.5

	DOC
	mg/l
	7.0
	*
	*
	*
	*
	*

	CONDL
	uS/cm
	27.0
	345.0
	360.0
	367.0
	371.0
	487.0

	PHF
	s.u.
	27.0
	6.9
	7.2
	7.4
	7.5
	7.8

	TEMP
	Deg C
	27.0
	18.8
	21.7
	21.8
	21.9
	22.0

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for RLS
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	39
	0.4
	1.6
	2.0
	2.4
	3.3

	NATOT
	mg/l
	39
	2.1
	3.6
	3.9
	4.4
	5.8

	MGTOT
	mg/l
	39
	4.5
	6.0
	6.8
	7.2
	9.8

	CATOT
	mg/l
	38
	46.6
	61.4
	64.9
	68.3
	79.5

	CLTOT
	mg/l
	43
	3.0
	7.0
	7.7
	8.2
	27.6

	FTOT
	mg/l
	39
	0.0
	0.1
	0.1
	0.1
	0.2

	SO4TOT
	mg/l
	39
	9.5
	11.1
	12.3
	13.9
	20.5

	TKN
	mg/l
	42
	0.0
	0.1
	0.2
	0.2
	0.3

	NOXNTOT
	mg/l
	46
	1.1
	2.1
	3.0
	5.0
	5.8

	PTOT
	mg/l
	43
	0.0
	0.0
	0.4
	0.0
	0.1

	OPO4DISS
	mg/l
	43
	0.0
	0.0
	0.0
	0.0
	0.1

	COLITOT
	#/100ML
	11
	3.0
	15.0
	30.0
	85.0
	290.0

	COLIFEC
	#100ML
	11
	2.0
	2.5
	10.0
	19.0
	160.0

	FLOWCFS
	CFS
	30
	1.4
	2.8
	4.4
	9.6
	21.0

	TOC
	mg/l
	38
	1.0
	2.9
	5.9
	9.8
	24.9

	DOC
	mg/l
	39
	1.0
	2.9
	7.0
	8.6
	46.2

	CONDL
	uS/cm
	43
	375.0
	391.5
	398.0
	414.0
	435.0

	PHF
	s.u.
	43
	6.8
	7.1
	7.2
	7.3
	7.5

	TEMP
	Deg C
	43
	20.4
	21.5
	21.6
	21.8
	22.3

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for SBL
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	43.0
	0.0
	0.4
	0.6
	0.9
	2.1

	NATOT
	mg/l
	43.0
	1.8
	2.6
	2.8
	3.0
	4.0

	MGTOT
	mg/l
	43.0
	8.4
	9.4
	10.1
	10.7
	13.6

	CATOT
	mg/l
	43.0
	44.0
	48.4
	53.1
	55.2
	70.6

	CLTOT
	mg/l
	43.0
	4.5
	5.3
	5.9
	7.0
	15.0

	FTOT
	mg/l
	43.0
	0.0
	0.1
	0.1
	0.2
	0.2

	SO4TOT
	mg/l
	43.0
	7.0
	8.3
	9.5
	11.5
	17.3

	TKN
	mg/l
	42.0
	0.0
	0.0
	0.0
	0.1
	0.2

	NOXNTOT
	mg/l
	48.0
	1.8
	2.3
	3.1
	5.3
	9.7

	PTOT
	mg/l
	43.0
	0.0
	0.0
	0.0
	0.0
	0.4

	OPO4DISS
	mg/l
	43.0
	0.0
	0.0
	0.0
	0.0
	0.0

	COLITOT
	#/100ML
	17.0
	10.0
	20.0
	40.0
	100.0
	109.0

	COLIFEC
	#100ML
	17.0
	1.0
	1.0
	3.0
	10.0
	16.0

	FLOWCFS
	CFS
	28.0
	4.5
	7.7
	12.3
	21.1
	39.3

	TOC
	mg/l
	42.0
	0.3
	1.4
	4.1
	6.6
	14.9

	DOC
	mg/l
	38.0
	0.2
	1.6
	4.3
	7.3
	39.3

	CONDL
	uS/cm
	45.0
	306.0
	358.0
	365.0
	374.0
	402.0

	PHF
	s.u.
	45.0
	6.7
	7.3
	7.4
	7.5
	8.0

	TEMP
	Deg C
	44.0
	21.0
	21.6
	21.7
	21.7
	22.1

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for TELT
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	55.0
	0.0
	0.3
	0.4
	0.5
	0.9

	NATOT
	mg/l
	55.0
	2.4
	2.9
	3.1
	3.6
	6.3

	MGTOT
	mg/l
	55.0
	7.0
	16.0
	16.6
	18.0
	28.7

	CATOT
	mg/l
	55.0
	38.0
	54.2
	57.4
	60.9
	119.0

	CLTOT
	mg/l
	55.0
	1.0
	5.3
	6.0
	6.4
	9.0

	FTOT
	mg/l
	52.0
	0.1
	0.2
	0.2
	0.2
	0.3

	SO4TOT
	mg/l
	55.0
	13.4
	40.4
	42.7
	45.8
	53.0

	TKN
	mg/l
	54.0
	0.0
	0.0
	0.1
	0.1
	0.4

	NOXNTOT
	mg/l
	57.0
	0.5
	2.0
	2.2
	2.5
	3.3

	PTOT
	mg/l
	55.0
	0.0
	0.0
	0.0
	0.1
	0.1

	OPO4DISS
	mg/l
	55.0
	0.0
	0.0
	0.0
	0.0
	0.1

	COLITOT
	#/100ML
	7.0
	*
	*
	*
	*
	*

	COLIFEC
	#100ML
	7.0
	*
	*
	*
	*
	*

	FLOWCFS
	CFS
	31.0
	18.1
	24.3
	28.9
	36.9
	51.0

	TOC
	mg/l
	47.0
	0.0
	1.4
	3.9
	9.2
	13.6

	DOC
	mg/l
	37.0
	0.4
	2.0
	6.3
	8.1
	12.1

	CONDL
	uS/cm
	56.0
	375.0
	440.0
	445.5
	457.0
	477.0

	PHF
	s.u.
	56.0
	6.8
	7.1
	7.2
	7.3
	7.4

	TEMP
	Deg C
	55.0
	15.0
	21.1
	21.3
	21.5
	21.9

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for TRYT
	
	
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	KTOT
	mg/l
	56.0
	0.1
	0.6
	0.7
	0.8
	1.2

	NATOT
	mg/l
	56.0
	1.7
	2.4
	2.7
	0.8
	1.2

	MGTOT
	mg/l
	56.0
	0.0
	6.1
	6.5
	6.8
	8.9

	CATOT
	mg/l
	55.0
	0.1
	51.4
	55.1
	58.3
	74.2

	CLTOT
	mg/l
	56.0
	2.0
	5.1
	5.7
	6.0
	12.2

	FTOT
	mg/l
	49.0
	0.0
	0.1
	0.1
	0.1
	0.2

	SO4TOT
	mg/l
	56.0
	8.5
	10.4
	11.0
	12.0
	14.9

	TKN
	mg/l
	56.0
	0.0
	0.0
	0.1
	0.1
	0.4

	NOXNTOT
	mg/l
	59.0
	0.9
	1.5
	1.7
	2.0
	2.8

	PTOT
	mg/l
	56.0
	0.0
	0.0
	0.0
	0.0
	0.1

	OPO4DISS
	mg/l
	56.0
	0.0
	0.0
	0.0
	0.0
	0.1

	COLITOT
	#/100ML
	16.0
	10.0
	10.0
	10.0
	100.0
	660.0

	COLIFEC
	#100ML
	16.0
	1.0
	1.0
	1.0
	3.5
	470.0

	FLOWCFS
	CFS
	26.0
	65.1
	87.6
	102.6
	112.5
	165.0

	TOC
	mg/l
	48.0
	0.0
	1.4
	3.0
	7.3
	14.9

	DOC
	mg/l
	37.0
	0.6
	2.6
	5.9
	7.7
	14.0

	CONDL
	uS/cm
	57.0
	219.0
	350.0
	356.0
	363.0
	379.0

	PHF
	s.u.
	57.0
	6.9
	7.3
	7.4
	7.5
	7.8

	TEMP
	Deg C
	56.0
	16.1
	21.3
	21.3
	21.4
	21.8

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


St. Johns River Water Management District Springs

	
	Descriptive Statistics for AlexSprgs for the Period April, 1956 to March, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	76.0
	22.0
	23.0
	23.4
	24.0
	26.0

	SCl
	uS/cm
	32.0
	815.0
	1038.0
	1134.5
	1163.0
	1430.0

	SCf
	uS/cm
	47.0
	813.0
	1024.0
	1096.0
	1156.0
	1650.0

	pH
	s.u.
	50.0
	6.9
	7.5
	7.8
	7.8
	8.2

	T-Alk
	mg/l
	40.0
	73.0
	78.0
	80.2
	81.0
	115.0

	D-NO3
	mg/l
	2.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	3.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	33.0
	0.0
	0.0
	0.1
	0.1
	0.1

	T-NO3NO2
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-P
	mg/l
	3.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	TOC
	mg/l
	4.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	27.0
	32.0
	42.0
	45.0
	48.0
	50.0

	T-Ca
	mg/l
	22.0
	41.0
	43.0
	45.0
	46.0
	48.8

	Mg
	mg/l
	27.0
	14.0
	17.8
	20.0
	21.0
	24.9

	T-Mg
	mg/l
	24.0
	19.0
	19.8
	20.3
	21.3
	22.0

	T-Na
	mg/l
	24.0
	114.7
	127.5
	135.1
	138.0
	153.4

	Na
	mg/l
	27.0
	100.0
	122.5
	131.0
	140.0
	162.0

	K
	mg/l
	26.0
	2.0
	3.5
	3.9
	4.3
	7.5

	T-K
	mg/l
	24.0
	3.2
	3.7
	4.0
	4.2
	4.6

	TKN
	mg/l
	46.0
	169.0
	228.6
	244.8
	262.5
	333.0

	T-SO4
	mg/l
	43.0
	51.0
	66.0
	63.0
	69.0
	81.9

	F
	mg/l
	21.0
	0.1
	0.1
	0.1
	0.1
	0.5

	T-F
	mg/l
	22.0
	0.1
	0.1
	0.1
	0.1
	0.3

	Si
	mg/l
	9.0
	*
	*
	*
	*
	*

	Si(SIO3 as Si)
	mg/l
	32.0
	3.0
	4.0
	4.1
	4.6
	12.0

	T-Fe
	ug/l
	3.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	4.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	23.0
	365.0
	665.5
	741.0
	752.0
	949.0

	T-Sr
	ug/l
	24.0
	408.0
	711.8
	739.5
	773.5
	894.0

	TDS
	mg/l
	39.0
	502.0
	551.0
	578.0
	610.0
	698.0

	T-PO4
	mg/l
	22.0
	0.0
	0.0
	0.0
	0.1
	0.1

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	
	
	
	
	
	
	

	
	Descriptive Statistics for Apopka for the Period May, 1972 to May, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	72.0
	17.0
	22.5
	24.0
	25.0
	27.5

	SCl
	uS/cm
	62.0
	210.0
	235.0
	245.0
	250.0
	300.0

	SCf
	uS/cm
	3.0
	*
	*
	*
	*
	*

	pH
	s.u.
	64.0
	6.8
	8.0
	8.2
	8.6
	91.0

	T-Alk
	mg/l
	62.0
	53.0
	71.0
	72.6
	76.8
	109.0

	D-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	51.0
	2.5
	3.5
	4.4
	4.9
	10.8

	T-NO3NO2
	mg/l
	27.0
	3.6
	4.7
	4.9
	5.1
	5.4

	T-P
	mg/l
	60.0
	0.0
	0.0
	0.1
	0.1
	1.7

	D-P
	mg/l
	47.0
	0.0
	0.0
	0.0
	0.0
	0.3

	TOC
	mg/l
	45.0
	0.9
	3.1
	4.5
	7.9
	18.5

	Ca
	mg/l
	73.0
	18.0
	26.0
	28.0
	29.6
	43.0

	T-Ca
	mg/l
	1.0
	*
	*
	*
	*
	*

	Mg
	mg/l
	73.0
	5.0
	7.4
	7.9
	8.6
	12.4

	T-Mg
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-Na
	mg/l
	1.0
	*
	*
	*
	*
	*

	Na
	mg/l
	73.0
	1.5
	0.5
	6.0
	7.0
	40.0

	K
	mg/l
	49.0
	0.4
	1.5
	2.0
	3.3
	17.6

	T-K
	mg/l
	1.0
	*
	*
	*
	*
	*

	TKN
	mg/l
	64.0
	7.0
	12.0
	13.5
	17.0
	27.0

	T-SO4
	mg/l
	63.0
	2.0
	8.0
	9.6
	11.0
	17.0

	F
	mg/l
	3.0
	*
	*
	*
	*
	*

	T-F
	mg/l
	1.0
	*
	*
	*
	*
	*

	Si
	mg/l
	4.0
	*
	*
	*
	*
	*

	Si(SIO3 as Si)
	mg/l
	53.0
	2.0
	4.8
	5.0
	8.0
	40.0

	T-Fe
	ug/l
	0.0
	NA
	NA
	NA
	NA
	NA

	D-Fe
	ug/l
	5.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	32.0
	20.0
	58.8
	60.2
	66.9
	100.0

	T-Sr
	ug/l
	1.0
	*
	*
	*
	*
	*

	TDS
	mg/l
	60.0
	108.0
	132.8
	145.0
	137.5
	233.0

	T-PO4
	mg/l
	51.0
	0.0
	0.0
	0.0
	0.0
	0.2

	
	*Less than 10 samples
	
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	
	


	
	
	
	
	
	
	
	

	
	Descriptive Statistics for Fern from April, 1970 to March, 2000
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	58.0
	20.4
	2.4
	21.8
	22.0
	23.0

	SCl
	uS/cm
	30.0
	60.0
	111.3
	115.5
	118.9
	188.0

	SCf
	uS/cm
	40.0
	60.0
	113.5
	118.0
	122.3
	244.0

	pH
	s.u.
	46.0
	5.1
	7.7
	8.0
	8.3
	8.5

	T-Alk
	mg/l
	36.0
	37.0
	43.6
	44.0
	45.1
	83.0

	D-NO3
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	T-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	33.0
	0.0
	0.1
	0.1
	0.1
	0.1

	T-NO3NO2
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	T-P
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	D-P
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	TOC
	mg/l
	1.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	21.0
	9.0
	12.0
	12.0
	13.0
	20.0

	T-Ca
	mg/l
	26.0
	11.0
	12.0
	12.1
	13.0
	15.9

	Mg
	mg/l
	21.0
	4.1
	4.4
	4.6
	4.8
	5.8

	T-Mg
	mg/l
	26.0
	4.0
	4.4
	4.6
	4.8
	6.5

	T-Na
	mg/l
	26.0
	2.0
	2.2
	2.9
	3.0
	4.0

	Na
	mg/l
	20.0
	1.6
	2.0
	2.4
	3.0
	3.0

	K
	mg/l
	12.0
	0.2
	0.3
	0.3
	0.4
	0.5

	T-K
	mg/l
	1.0
	*
	*
	*
	*
	*

	TKN
	mg/l
	36.0
	3.0
	4.0
	4.7
	5.5
	11.7

	T-SO4
	mg/l
	38.0
	3.0
	5.1
	6.2
	7.0
	20.0

	F
	mg/l
	11.0
	0.1
	0.1
	0.1
	0.1
	0.2

	T-F
	mg/l
	24.0
	0.1
	0.1
	0.1
	0.1
	0.1

	Si
	mg/l
	3.0
	*
	*
	*
	*
	*

	Si(SIO3 as Si)
	mg/l
	34.0
	3.9
	4.0
	4.0
	4.1
	13.0

	T-Fe
	ug/l
	2.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	1.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	14.0
	23.0
	52.0
	73.0
	89.8
	136.0

	T-Sr
	ug/l
	25.0
	53.0
	74.0
	81.0
	86.8
	210.8

	TDS
	mg/l
	36.0
	49.0
	61.0
	67.0
	75.3
	152.0

	T-PO4
	mg/l
	21.0
	0.0
	0.0
	0.0
	0.0
	0.1

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for Juniper from November, 1908 to March, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	64.0
	20.0
	21.5
	21.9
	22.0
	25.1

	SCl
	uS/cm
	31.0
	100.0
	110.0
	116.0
	119.0
	183.0

	SCf
	uS/cm
	43.0
	105.0
	116.0
	118.0
	122.5
	159.0

	pH
	s.u.
	55.0
	5.8
	7.7
	8.1
	8.4
	8.8

	T-Alk
	mg/l
	45.0
	21.0
	43.2
	44.0
	45.0
	63.0

	D-NO3
	mg/l
	4.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	33.0
	0.1
	0.1
	0.1
	0.1
	0.1

	T-NO3NO2
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	2.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	30.0
	9.0
	12.0
	13.0
	13.8
	20.0

	T-Ca
	mg/l
	27.0
	8.0
	12.0
	12.0
	13.0
	14.3

	Mg
	mg/l
	28.0
	3.9
	4.4
	4.5
	4.9
	5.7

	T-Mg
	mg/l
	27.0
	3.8
	4.1
	4.4
	4.6
	5.1

	T-Na
	mg/l
	27.0
	2.0
	2.6
	3.0
	3.0
	4.0

	Na
	mg/l
	28.0
	1.6
	2.7
	3.0
	0.3
	9.0

	K
	mg/l
	20.0
	0.2
	0.3
	0.4
	0.4
	0.9

	T-K
	mg/l
	1.0
	*
	*
	*
	*
	*

	TKN
	mg/l
	44.0
	3.5
	4.0
	4.8
	5.0
	13.0

	T-SO4
	mg/l
	44.0
	4.0
	6.0
	6.1
	8.0
	42.0

	F
	mg/l
	16.0
	0.1
	0.1
	0.1
	0.1
	0.2

	T-F
	mg/l
	26.0
	0.1
	0.1
	0.1
	0.1
	0.1

	Si
	mg/l
	11.0
	5.0
	8.5
	8.8
	9.2
	10.0

	Si(SIO3 as Si)
	mg/l
	35.0
	3.9
	4.0
	4.8
	5.0
	13.0

	T-Fe
	ug/l
	4.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	1.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	16.0
	33.0
	58.0
	67.5
	80.0
	120.0

	T-Sr
	ug/l
	26.0
	45.0
	69.8
	78.2
	81.0
	107.0

	TDS
	mg/l
	39.0
	33.0
	61.5
	68.0
	75.0
	94.0

	T-PO4
	mg/l
	22.0
	0.0
	0.0
	0.0
	0.0
	0.1

	
	*Less than 10 samples
	 
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for Miami from October, 1960 to May, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	53.0
	23.5
	24.0
	24.4
	25.0
	27.5

	SCl
	uS/cm
	12.0
	254.0
	260.8
	268.0
	269.8
	282.0

	SCf
	uS/cm
	19.0
	184.0
	235.0
	256.0
	266.0
	275.0

	pH
	s.u.
	20.0
	5.8
	7.2
	7.5
	7.6
	8.2

	T-Alk
	mg/l
	14.0
	81.0
	108.2
	109.9
	111.2
	113.8

	D-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	12.0
	0.0
	0.1
	0.1
	0.2
	0.4

	T-NO3NO2
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	T-P
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	D-P
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	TOC
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	Ca
	mg/l
	6.0
	*
	*
	*
	*
	*

	T-Ca
	mg/l
	12.0
	28.0
	32.8
	33.6
	35.5
	37.1

	Mg
	mg/l
	6.0
	*
	*
	*
	*
	*

	T-Mg
	mg/l
	12.0
	8.5
	8.6
	8.9
	9.4
	9.8

	T-Na
	mg/l
	12.0
	5.0
	5.7
	6.0
	6.1
	7.0

	Na
	mg/l
	6.0
	*
	*
	*
	*
	*

	K
	mg/l
	4.0
	*
	*
	*
	*
	*

	T-K
	mg/l
	7.0
	*
	*
	*
	*
	*

	TKN
	mg/l
	16.0
	5.5
	10.0
	10.1
	10.6
	11.0

	T-SO4
	mg/l
	17.0
	3.0
	8.0
	9.1
	9.7
	17.0

	F
	mg/l
	5.0
	*
	*
	*
	*
	*

	T-F
	mg/l
	12.0
	0.2
	0.2
	0.2
	0.2
	0.2

	Si
	mg/l
	4.0
	8.0
	8.4
	8.7
	8.9
	8.9

	Si(SIO3 as Si)
	mg/l
	12.0
	4.0
	4.0
	4.2
	4.3
	8.0

	T-Fe
	ug/l
	3.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	1.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	4.0
	*
	*
	*
	*
	*

	T-Sr
	ug/l
	12.0
	160.0
	176.4
	180.9
	187.2
	218.0

	TDS
	mg/l
	13.0
	120.0
	136.0
	144.0
	148.0
	168.0

	T-PO4
	mg/l
	11.0
	0.1
	0.1
	0.1
	0.1
	0.1

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for PalmSpr from April, 1956 to May, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	76.0
	23.0
	24.0
	24.0
	24.3
	27.4

	SCl
	uS/cm
	12.0
	313.0
	324.8
	333.5
	339.8
	354.0

	SCf
	uS/cm
	23.0
	221.0
	294.0
	320.0
	332.0
	1790.0

	pH
	s.u.
	22.0
	5.9
	7.1
	7.3
	7.6
	8.4

	T-Alk
	mg/l
	16.0
	89.0
	113.3
	118.3
	120.7
	121.2

	D-NO3
	mg/l
	2.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	2.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	11.0
	0.5
	0.6
	0.6
	0.7
	0.9

	T-NO3NO2
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	T-P
	mg/l
	3.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	Ca
	mg/l
	9.0
	*
	*
	*
	*
	*

	T-Ca
	mg/l
	11.0
	34.0
	38.0
	40.0
	41.4
	43.4

	Mg
	mg/l
	9.0
	*
	*
	*
	*
	*

	T-Mg
	mg/l
	11.0
	10.9
	11.2
	11.6
	12.2
	13.1

	T-Na
	mg/l
	11.0
	8.0
	8.8
	9.0
	9.3
	11.7

	Na
	mg/l
	9.0
	*
	*
	*
	*
	*

	K
	mg/l
	9.0
	*
	*
	*
	*
	*

	T-K
	mg/l
	9.0
	*
	*
	*
	*
	*

	TKN
	mg/l
	16.0
	7.5
	13.3
	15.0
	15.0
	320.0

	T-SO4
	mg/l
	19.0
	12.0
	20.0
	22.7
	23.8
	320.0

	F
	mg/l
	8.0
	*
	*
	*
	*
	*

	T-F
	mg/l
	12.0
	0.2
	0.2
	0.2
	0.2
	0.2

	Si
	mg/l
	8.0
	*
	*
	*
	*
	*

	Si(SIO3 as Si)
	mg/l
	11.0
	4.0
	4.2
	4.4
	4.5
	8.0

	T-Fe
	ug/l
	3.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	2.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	7.0
	*
	*
	*
	*
	*

	T-Sr
	ug/l
	11.0
	302.0
	333.4
	354.0
	364.4
	373.5

	TDS
	mg/l
	16.0
	130.0
	172.5
	181.5
	204.0
	1130.0

	T-PO4
	mg/l
	13.0
	0.1
	0.1
	0.1
	0.1
	0.2

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	
	
	
	
	
	
	

	
	Descriptive Statistics for PDL from March, 1932 to March, 2000
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	182.0
	21.0
	22.9
	23.0
	23.5
	25.0

	SCl
	uS/cm
	26.0
	573.0
	712.5
	797.5
	866.3
	1062.0

	SCf
	uS/cm
	147.0
	256.0
	550.0
	593.0
	700.0
	1062.0

	pH
	s.u.
	51.0
	6.9
	7.3
	7.5
	7.7
	8.4

	T-Alk
	mg/l
	49.0
	99.0
	107.0
	106.8
	119.7
	126.0

	D-NO3
	mg/l
	3.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	2.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	33.0
	0.6
	0.8
	0.9
	1.0
	1.3

	T-NO3NO2
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	T-P
	mg/l
	2.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	1.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	33.0
	39.0
	42.0
	47.0
	49.0
	57.0

	T-Ca
	mg/l
	23.0
	44.0
	48.0
	51.0
	52.0
	54.0

	Mg
	mg/l
	34.0
	3.7
	9.8
	11.0
	13.0
	18.0

	T-Mg
	mg/l
	25.0
	11.1
	12.4
	13.3
	15.0
	19.0

	T-Na
	mg/l
	25.0
	60.4
	74.0
	81.8
	94.3
	135.0

	Na
	mg/l
	34.0
	21.0
	57.3
	65.0
	80.8
	135.0

	K
	mg/l
	31.0
	1.1
	3.4
	3.8
	4.7
	6.4

	T-K
	mg/l
	24.0
	1.7
	4.0
	4.3
	4.7
	5.7

	TKN
	mg/l
	50.0
	39.0
	93.3
	110.0
	143.5
	272.0

	T-SO4
	mg/l
	51.0
	10.0
	19.5
	24.0
	30.5
	43.0

	F
	mg/l
	27.0
	0.0
	0.0
	0.1
	0.2
	0.2

	T-F
	mg/l
	23.0
	0.1
	0.1
	0.1
	0.1
	0.1

	Si
	mg/l
	17.0
	5.6
	6.4
	6.7
	7.0
	8.0

	Si(SIO3 as Si)
	mg/l
	34.0
	3.0
	3.0
	3.3
	3.8
	10.0

	T-Fe
	ug/l
	5.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	25.0
	0.0
	10.0
	50.0
	50.0
	56.0

	D-Sr
	ug/l
	20.0
	0.0
	291.0
	318.0
	350.0
	460.0

	T-Sr
	ug/l
	24.0
	142.0
	327.9
	356.6
	386.5
	484.0

	TDS
	mg/l
	45.0
	203.0
	333.0
	388.0
	443.0
	612.0

	T-PO4
	mg/l
	20.0
	0.0
	0.1
	0.1
	0.1
	0.1

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for RockSprg from February, 1931 to March, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	151.0
	21.5
	23.5
	23.8
	24.0
	28.5

	SCl
	uS/cm
	31.0
	224.0
	248.0
	255.0
	260.5
	300.0

	SCf
	uS/cm
	73.0
	210.0
	230.0
	248.0
	256.0
	356.0

	pH
	s.u.
	70.0
	6.4
	7.3
	7.5
	7.7
	8.2

	T-Alk
	mg/l
	56.0
	66.0
	85.0
	87.9
	89.0
	117.3

	D-NO3
	mg/l
	8.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	32.0
	1.2
	1.5
	1.5
	1.6
	1.8

	T-NO3NO2
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	3.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	43.0
	24.0
	28.0
	29.0
	30.0
	35.0

	T-Ca
	mg/l
	27.0
	26.0
	29.0
	30.0
	30.6
	47.4

	Mg
	mg/l
	44.0
	7.1
	8.1
	8.5
	9.0
	11.6

	T-Mg
	mg/l
	33.0
	8.0
	8.8
	9.1
	9.4
	11.0

	T-Na
	mg/l
	27.0
	4.0
	5.0
	5.0
	5.4
	9.1

	Na
	mg/l
	44.0
	1.9
	4.6
	5.0
	5.0
	6.0

	K
	mg/l
	42.0
	0.3
	0.7
	1.0
	1.2
	2.5

	T-K
	mg/l
	26.0
	1.1
	1.2
	1.3
	1.5
	1.9

	TKN
	mg/l
	64.0
	5.0
	7.5
	8.0
	9.0
	24.0

	T-SO4
	mg/l
	64.0
	15.0
	17.0
	18.0
	20.0
	24.0

	F
	mg/l
	38.0
	0.0
	0.2
	0.2
	0.3
	0.3

	T-F
	mg/l
	33.0
	1.2
	1.4
	1.5
	1.5
	1.6

	Si
	mg/l
	26.0
	1.5
	9.0
	9.5
	9.9
	11.0

	Si(SIO3 as Si)
	mg/l
	36.0
	4.0
	4.0
	4.9
	5.0
	14.0

	T-Fe
	ug/l
	3.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	10.0
	0.0
	0.0
	1.5
	17.5
	30.0

	D-Sr
	ug/l
	28.0
	35.0
	127.8
	169.0
	192.3
	350.0

	T-Sr
	ug/l
	26.0
	122.0
	155.3
	168.7
	172.8
	185.0

	TDS
	mg/l
	55.0
	118.0
	134.5
	143.0
	148.0
	289.0

	T-PO4
	mg/l
	20.0
	0.1
	0.1
	0.1
	0.1
	0.1

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for SaltSprg from April, 1956 to May, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	66.0
	22.8
	23.5
	23.7
	24.0
	29.6

	SCl
	uS/cm
	32.0
	4730.0
	5486.0
	5900.0
	6580.0
	7160.0

	SCf
	uS/cm
	45.0
	412.0
	5190.0
	5790.0
	6360.0
	7300.0

	pH
	s.u.
	56.0
	6.1
	7.2
	7.6
	7.7
	8.4

	T-Alk
	mg/l
	48.0
	55.0
	64.0
	65.0
	66.1
	78.6

	D-NO3
	mg/l
	4.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	38.0
	0.0
	0.1
	0.1
	0.1
	0.2

	T-NO3NO2
	mg/l
	5.0
	*
	*
	*
	*
	*

	T-P
	mg/l
	6.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	4.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	1.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	31.0
	98.0
	137.0
	160.0
	171.5
	200.0

	T-Ca
	mg/l
	26.0
	121.6
	144.8
	155.3
	166.8
	193.0

	Mg
	mg/l
	31.0
	70.0
	87.2
	98.0
	109.5
	144.0

	T-Mg
	mg/l
	25.0
	71.1
	87.6
	99.9
	107.0
	122.9

	T-Na
	mg/l
	26.0
	627.0
	818.0
	923.5
	1010.0
	1141.0

	Na
	mg/l
	32.0
	480.0
	826.0
	939.0
	1060.8
	1350.0

	K
	mg/l
	31.0
	18.0
	24.1
	30.2
	34.6
	59.2

	T-K
	mg/l
	24.0
	20.1
	26.4
	29.0
	32.1
	35.9

	TKN
	mg/l
	49.0
	1120.0
	1550.0
	1750.0
	1916.8
	2480.0

	T-SO4
	mg/l
	49.0
	277.0
	358.0
	403.2
	432.0
	526.0

	F
	mg/l
	20.0
	0.0
	0.1
	0.1
	0.1
	240.0

	T-F
	mg/l
	27.0
	0.1
	0.1
	0.1
	0.1
	0.1

	Si
	mg/l
	16.0
	3.2
	10.0
	10.5
	11.3
	12.0

	Si(SIO3 as Si)
	mg/l
	31.0
	4.0
	5.0
	5.0
	5.2
	14.0

	T-Fe
	ug/l
	11.0
	18.0
	52.8
	61.0
	66.7
	82.0

	D-Fe
	ug/l
	5.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	26.0
	2187.0
	2829.3
	3246.0
	3588.0
	6000.0

	T-Sr
	ug/l
	26.0
	2630.0
	3067.5
	3371.0
	3553.5
	4303.0

	TDS
	mg/l
	42.0
	2560.0
	3132.5
	3425.0
	3810.0
	4600.0

	T-PO4
	mg/l
	16.0
	0.0
	0.0
	0.0
	0.0
	0.0

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	
	
	
	
	
	
	

	
	Descriptive Statistics for Sanlando from April, 1956 to May, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	74.0
	23.0
	24.0
	24.0
	24.5
	28.5

	SCl
	uS/cm
	12.0
	303.0
	337.8
	346.0
	358.3
	378.0

	SCf
	uS/cm
	20.0
	211.0
	285.0
	302.5
	335.3
	363.0

	pH
	s.u.
	22.0
	5.6
	6.9
	7.1
	7.4
	8.1

	T-Alk
	mg/l
	16.0
	85.0
	108.8
	130.5
	137.0
	140.1

	D-NO3
	mg/l
	2.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	3.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	12.0
	*
	*
	*
	*
	*

	T-NO3NO2
	mg/l
	NA
	NA
	NA
	NA
	NA
	NA

	T-P
	mg/l
	4.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	1.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	NA
	NA
	NA
	NA
	NA
	NA

	T-Ca
	mg/l
	11.0
	37.0
	40.0
	41.0
	43.7
	45.3

	Mg
	mg/l
	9.0
	*
	*
	*
	*
	*

	T-Mg
	mg/l
	11.0
	10.9
	11.1
	11.7
	12.2
	12.8

	T-Na
	mg/l
	11.0
	9.0
	9.4
	10.3
	11.0
	12.5

	Na
	mg/l
	9.0
	*
	*
	*
	*
	*

	K
	mg/l
	9.0
	*
	*
	*
	*
	*

	T-K
	mg/l
	11.0
	*
	*
	*
	*
	*

	TKN
	mg/l
	19.0
	8.5
	13.0
	17.0
	17.3
	19.1

	T-SO4
	mg/l
	20.0
	0.0
	10.8
	12.0
	13.2
	19.0

	F
	mg/l
	8.0
	*
	*
	*
	*
	*

	T-F
	mg/l
	12.0
	0.2
	0.2
	0.2
	0.2
	0.2

	Si
	mg/l
	8.0
	*
	*
	*
	*
	*

	Si(SIO3 as Si)
	mg/l
	11.0
	4.0
	4.0
	4.1
	4.2
	7.0

	T-Fe
	ug/l
	2.0
	50.0
	53.3
	56.5
	59.8
	63.0

	D-Fe
	ug/l
	3.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	7.0
	*
	*
	*
	*
	*

	T-Sr
	ug/l
	12.0
	60.0
	81.4
	83.0
	85.5
	86.7

	TDS
	mg/l
	15.0
	146.0
	176.0
	188.0
	197.5
	206.0

	T-PO4
	mg/l
	14.0
	0.1
	0.2
	0.2
	0.2
	0.2

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for SilverGl from April, 1972 to March, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	59.0
	20.5
	23.0
	23.1
	23.5
	26.0

	SCl
	uS/cm
	25.0
	1652.0
	1950.0
	1987.0
	2050.0
	2271.0

	SCf
	uS/cm
	40.0
	1910.0
	1960.0
	2000.0
	2080.0
	2400.0

	pH
	s.u.
	47.0
	6.2
	7.5
	7.7
	7.9
	8.5

	T-Alk
	mg/l
	35.0
	62.0
	66.0
	67.3
	68.5
	80.0

	D-NO3
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	T-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	30.0
	0.0
	0.0
	0.0
	0.0
	0.1

	T-NO3NO2
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-P
	mg/l
	3.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	TOC
	mg/l
	4.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	20.0
	55.0
	67.8
	72.5
	75.0
	83.0

	T-Ca
	mg/l
	25.0
	67.5
	70.0
	71.5
	74.5
	77.6

	Mg
	mg/l
	20.0
	23.0
	33.8
	36.6
	38.0
	52.0

	T-Mg
	mg/l
	25.0
	30.3
	34.0
	35.2
	36.4
	38.0

	T-Na
	mg/l
	25.0
	227.3
	247.5
	253.0
	261.0
	287.0

	Na
	mg/l
	20.0
	230.0
	249.3
	270.0
	283.5
	412.0

	K
	mg/l
	19.0
	8.2
	8.8
	9.3
	9.8
	21.6

	T-K
	mg/l
	25.0
	8.1
	8.5
	8.7
	9.1
	12.3

	TKN
	mg/l
	37.0
	394.0
	452.9
	471.0
	494.0
	707.0

	T-SO4
	mg/l
	36.0
	160.0
	177.8
	184.3
	191.8
	214.0

	F
	mg/l
	14.0
	0.0
	0.1
	0.1
	0.1
	0.5

	T-F
	mg/l
	23.0
	0.1
	0.1
	0.1
	0.1
	0.1

	Si
	mg/l
	6.0
	*
	*
	*
	*
	*

	Si(SIO3 as Si)
	mg/l
	28.0
	4.0
	4.0
	4.3
	4.8
	10.0

	T-Fe
	ug/l
	2.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	4.0
	*
	*
	*
	*
	 

	D-Sr
	ug/l
	19.0
	1066.0
	1380.0
	1480.0
	1570.0
	1660.0

	T-Sr
	ug/l
	25.0
	1310.0
	1470.0
	1501.0
	1552.0
	1710.0

	TDS
	mg/l
	32.0
	1000.0
	1060.0
	1105.0
	1140.0
	1220.0

	T-PO4
	mg/l
	24.0
	0.0
	0.0
	0.0
	0.0
	0.0

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	
	
	
	
	
	
	

	
	

	
	Descriptive Statistics for Starbuck from July, 1944 to May, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	71.0
	23.0
	24.0
	24.0
	24.1
	26.5

	SCl
	uS/cm
	12.0
	333.0
	349.0
	356.5
	359.0
	380.0

	SCf
	uS/cm
	17.0
	257.0
	298.0
	331.0
	350.0
	376.0

	pH
	s.u.
	21.0
	6.4
	7.2
	7.3
	7.4
	8.0

	T-Alk
	mg/l
	16.0
	98.0
	116.0
	119.5
	122.8
	125.0

	D-NO3
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	2.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	12.0
	0.3
	0.3
	0.4
	0.5
	0.7

	T-NO3NO2
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-P
	mg/l
	3.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	Ca
	mg/l
	7.0
	*
	*
	*
	*
	*

	T-Ca
	mg/l
	11.0
	35.0
	39.2
	40.4
	42.7
	43.9

	Mg
	mg/l
	7.0
	*
	*
	*
	*
	*

	T-Mg
	mg/l
	11.0
	10.7
	11.0
	11.6
	12.2
	12.6

	T-Na
	mg/l
	11.0
	11.0
	12.0
	12.0
	12.5
	13.0

	Na
	mg/l
	7.0
	*
	*
	*
	*
	*

	K
	mg/l
	7.0
	*
	*
	*
	*
	*

	T-K
	mg/l
	11.0
	1.2
	1.3
	1.4
	1.5
	1.9

	TKN
	mg/l
	18.0
	12.0
	18.2
	19.6
	20.5
	21.0

	T-SO4
	mg/l
	19.0
	12.0
	20.3
	23.0
	24.0
	28.0

	F
	mg/l
	6.0
	*
	*
	*
	*
	*

	T-F
	mg/l
	12.0
	0.2
	0.2
	0.2
	0.2
	0.2

	Si
	mg/l
	6.0
	*
	*
	*
	*
	*

	Si(SIO3 as Si)
	mg/l
	11.0
	4.0
	4.2
	4.4
	4.6
	8.0

	T-Fe
	ug/l
	1.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	2.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	6.0
	*
	*
	*
	*
	*

	T-Sr
	ug/l
	11.0
	233.0
	293.0
	305.3
	308.9
	335.5

	TDS
	mg/l
	15.0
	148.0
	179.0
	192.0
	203.0
	213.0

	T-PO4
	mg/l
	13.0
	0.1
	0.2
	0.2
	0.2
	0.2

	
	*Less than 10 samples

	
	NA - No samples


	
	
	
	
	
	
	
	

	
	Descriptive Statistics for Sweetwater from November, 1980 to March, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	51.0
	22.0
	23.0
	23.2
	23.3
	24.5

	SCl
	uS/cm
	27.0
	3306.0
	3700.0
	3820.0
	4002.0
	4322.0

	SCf
	uS/cm
	29.0
	3520.0
	3860.0
	4050.0
	4220.0
	4350.0

	pH
	s.u.
	45.0
	6.3
	7.3
	7.6
	7.7
	8.1

	T-Alk
	mg/l
	33.0
	64.0
	71.0
	72.0
	73.1
	110.0

	D-NO3
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	T-NO3
	mg/l
	0.0
	NA
	NA
	NA
	NA
	NA

	D-NO3NO2
	mg/l
	32.0
	0.0
	0.0
	0.0
	0.4
	0.1

	T-NO3NO2
	mg/l
	1.0
	*
	*
	*
	*
	*

	T-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	1.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	1.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	18.0
	97.0
	105.0
	110.0
	117.5
	133.0

	T-Ca
	mg/l
	27.0
	99.0
	101.5
	104.0
	106.9
	116.0

	Mg
	mg/l
	17.0
	49.6
	62.0
	64.6
	69.5
	91.2

	T-Mg
	mg/l
	25.0
	54.5
	58.3
	60.2
	62.1
	67.1

	T-Na
	mg/l
	25.0
	504.0
	530.0
	558.0
	570.0
	622.0

	Na
	mg/l
	18.0
	524.0
	586.0
	617.0
	630.5
	705.0

	K
	mg/l
	18.0
	17.2
	18.5
	18.9
	20.2
	24.8

	T-K
	mg/l
	26.0
	12.9
	17.4
	18.0
	18.6
	22.9

	TKN
	mg/l
	36.0
	846.0
	1030.8
	1064.7
	1120.0
	2160.0

	T-SO4
	mg/l
	37.0
	224.0
	252.0
	262.0
	277.0
	296.0

	F
	mg/l
	13.0
	0.1
	0.1
	0.1
	0.1
	0.1

	T-F
	mg/l
	24.0
	0.1
	0.1
	0.1
	0.1
	0.1

	Si
	mg/l
	4.0
	*
	*
	*
	*
	*

	Si(SIO3 as Si)
	mg/l
	32.0
	4.0
	4.0
	4.0
	4.4
	13.0

	T-Fe
	ug/l
	4.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	4.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	17.0
	1150.0
	2160.0
	2250.0
	2480.0
	4730.0

	T-Sr
	ug/l
	27.0
	1714.0
	2181.0
	2252.0
	2337.5
	4940.0

	TDS
	mg/l
	33.0
	2000.0
	2070.0
	2155.0
	2260.0
	2510.0

	T-PO4
	mg/l
	21.0
	0.0
	0.0
	0.0
	0.0
	0.0

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for Blue Spring for the Period
	
	

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	311.0
	21.5
	23.0
	23.0
	23.5
	26.0

	SCl
	uS/cm
	18.0
	268.0
	278.0
	725.0
	2081.3
	23.2

	SCf
	uS/cm
	299.0
	220.0
	1400.0
	1676.2
	1985.0
	2610.0

	pH
	s.u.
	57.0
	6.5
	7.3
	7.4
	7.6
	8.2

	T-Alk
	mg/l
	43.0
	94.0
	106.0
	119.0
	125.0
	158.0

	D-NO3
	mg/l
	2.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	15.0
	0.0
	0.1
	0.1
	0.2
	0.7

	D-NO3NO2
	mg/l
	25.0
	0.0
	0.8
	0.4
	0.5
	14.5

	T-NO3NO2
	mg/l
	7.0
	*
	*
	*
	*
	*

	T-P
	mg/l
	31.0
	0.0
	0.1
	0.1
	0.1
	0.1

	D-P
	mg/l
	6.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	15.0
	0.0
	3.0
	5.0
	6.1
	72.0

	Ca
	mg/l
	52.0
	30.0
	55.8
	60.0
	63.0
	87.0

	T-Ca
	mg/l
	10.0
	36.6
	39.4
	41.0
	64.3
	68.0

	Mg
	mg/l
	52.0
	4.9
	20.0
	24.0
	28.0
	38.7

	T-Mg
	mg/l
	10.0
	5.9
	6.3
	116.8
	29.4
	34.7

	T-Na
	mg/l
	10.0
	6.0
	6.1
	110.1
	228.5
	310.0

	Na
	mg/l
	52.0
	4.3
	139.8
	190.0
	240.0
	324.0

	K
	mg/l
	48.0
	0.6
	6.3
	7.4
	87.0
	11.7

	T-K
	mg/l
	5.0
	7.8
	7.8
	9.0
	10.0
	10.2

	TKN
	mg/l
	98.0
	7.0
	320.0
	393.5
	478.3
	1000.0

	T-SO4
	mg/l
	58.0
	4.4
	37.0
	52.0
	63.0
	94.0

	F
	mg/l
	44.0
	0.0
	0.1
	0.1
	0.1
	0.4

	T-F
	mg/l
	6.0
	*
	*
	*
	*
	*

	Si
	mg/l
	37.0
	7.4
	8.3
	8.4
	8.6
	11.0

	Si(SIO3 as Si)
	mg/l
	14.0
	4.0
	4.0
	5.1
	5.3
	13.0

	T-Fe
	ug/l
	12.0
	10.0
	10.0
	40.0
	70.0
	670.0

	D-Fe
	ug/l
	22.0
	0.0
	10.0
	10.0
	27.5
	100.0

	D-Sr
	ug/l
	42.0
	66.0
	800.0
	864.0
	1000.0
	1580.0

	T-Sr
	ug/l
	10.0
	65.1
	67.8
	478.0
	968.8
	1166.0

	TDS
	mg/l
	54.0
	120.0
	588.0
	814.0
	924.0
	1200.0

	T-PO4
	mg/l
	31.0
	0.0
	0.1
	0.1
	0.1
	0.1

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


	
	Descriptive Statistics for Wekiwa from April, 1956 to March, 2000

	Analyte
	Measured units
	Num. Samples
	Min. Value
	Q1 Value
	Median Value
	Q3 Value
	Max. Value

	Temp
	Deg C
	142.0
	22.0
	23.5
	23.6
	24.0
	25.0

	SCl
	uS/cm
	35.0
	252.0
	306.0
	316.0
	326.5
	398.0

	SCf
	uS/cm
	74.0
	192.0
	250.0
	276.5
	310.5
	341.0

	pH
	s.u.
	67.0
	6.5
	7.2
	7.3
	7.5
	8.2

	T-Alk
	mg/l
	56.0
	72.0
	98.0
	110.0
	113.4
	128.0

	D-NO3
	mg/l
	5.0
	*
	*
	*
	*
	*

	T-NO3
	mg/l
	3.0
	*
	*
	*
	*
	*

	D-NO3NO2
	mg/l
	33.0
	0.6
	1.5
	1.6
	1.7
	2.0

	T-NO3NO2
	mg/l
	2.0
	*
	*
	*
	*
	*

	T-P
	mg/l
	4.0
	*
	*
	*
	*
	*

	D-P
	mg/l
	2.0
	*
	*
	*
	*
	*

	TOC
	mg/l
	6.0
	*
	*
	*
	*
	*

	Ca
	mg/l
	42.0
	19.0
	30.3
	33.0
	36.8
	40.0

	T-Ca
	mg/l
	27.0
	25.6
	34.5
	37.0
	38.3
	40.4

	Mg
	mg/l
	43.0
	8.1
	9.1
	9.8
	10.4
	12.3

	T-Mg
	mg/l
	27.0
	7.7
	10.2
	10.6
	11.0
	11.8

	T-Na
	mg/l
	27.0
	4.7
	8.0
	8.6
	9.0
	10.1

	Na
	mg/l
	42.0
	3.0
	5.9
	6.8
	8.0
	10.0

	K
	mg/l
	41.0
	0.4
	1.0
	1.3
	1.4
	3.1

	T-K
	mg/l
	27.0
	1.3
	1.5
	1.5
	1.7
	2.0

	TKN
	mg/l
	63.0
	7.0
	10.0
	13.0
	14.0
	27.0

	T-SO4
	mg/l
	63.0
	6.0
	13.0
	17.0
	19.0
	21.0

	F
	mg/l
	35.0
	0.1
	0.1
	0.2
	0.3
	0.4

	T-F
	mg/l
	24.0
	0.1
	0.1
	0.2
	0.2
	0.2

	Si
	mg/l
	24.0
	6.4
	9.0
	9.4
	10.0
	11.0

	Si(SIO3 as Si)
	mg/l
	36.0
	4.0
	4.0
	4.7
	5.0
	14.0

	T-Fe
	ug/l
	7.0
	*
	*
	*
	*
	*

	D-Fe
	ug/l
	16.0
	*
	*
	*
	*
	*

	D-Sr
	ug/l
	28.0
	49.0
	104.8
	127.0
	143.8
	310.0

	T-Sr
	ug/l
	26.0
	92.0
	121.9
	129.5
	136.7
	188.9

	TDS
	mg/l
	55.0
	101.0
	148.5
	166.0
	177.0
	203.0

	T-PO4
	mg/l
	26.0
	0.1
	0.1
	0.1
	0.1
	0.1

	
	*Less than 10 samples
	
	
	
	
	

	
	NA - No samples
	
	
	
	
	


