Segment A Well Trends in the SWFWMD

(+ = ↑ trend, 0 = no evidence of trend, - = ↓ trend) 
	
	Unconfined GW
	Confined GW
	Uncon
	Con
	All

	
	                  Well Number
	                         Well Number
	
	
	

	
	736
	996
	7934
	1087
	1100
	615
	707
	737
	775
	997
	7935
	+
	-
	+
	 -
	+
	-

	Alk
	
	
	
	+
	
	
	+
	
	
	-
	
	1
	0
	1
	1
	2
	1

	Ca
	
	
	
	-
	
	
	
	-
	
	-
	
	0
	1
	0
	2
	0
	3

	Cl
	
	-
	
	
	
	
	
	
	
	-
	
	0
	1
	0
	1
	0
	2

	DO
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	F
	-DL
	-DL
	
	-DL
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Fe
	
	
	
	
	
	
	
	+
	
	
	
	0
	0
	1
	0
	1
	0

	K
	+
	-Dr
	
	
	
	
	-
	+
	
	-Dr
	
	1
	0
	1
	1
	2
	1

	Mg
	-
	-
	
	
	
	
	
	
	
	-
	
	0
	2
	0
	1
	0
	3

	Na
	
	-
	
	+
	
	
	
	
	
	-
	
	1
	1
	0
	1
	1
	2

	NH3
	
	-
	
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	*NO3
	-DL
	
	
	-
	
	
	-
	-DL
	
	-DL
	
	0
	1
	0
	1
	0
	2

	PO4
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	pH
	
	+
	
	-
	
	
	-
	-
	
	
	
	1
	1
	0
	2
	1
	3

	SC-fld
	
	-
	
	
	
	
	
	-
	-
	
	
	0
	1
	0
	2
	0
	3

	SO4
	-
	-
	
	-**
	
	
	
	-
	
	+
	
	0
	2
	1
	1
	1
	3

	TDS
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Temp
	+
	
	
	+
	
	
	+
	+
	-
	+
	
	2
	0
	3
	1
	5
	1

	TOC
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Trb(lab)
	-
	
	
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	WL(msl)
	
	-
	
	-
	
	
	-
	
	
	
	
	0
	2
	0
	1
	0
	3


*NO3 = NO3 + NO2 as N (dissolved).    

** The first two values of SO4 in well 1087 are extremely high values, and are questionable.  Trend is not present if 

     both are eliminated. 

DL = Reason for trend is due to a lowering of the laboratory detection level; not due to environmental change.   

Dr = Drilling fluids may be cause of relatively high concentrations during early period of time segment.

Italics suggest a possible district-wide trend (but not statistically significant).

Bold represents a district-wide trend
Well Number          
WMD Well ID
       736


Crewsville SH
       996


Claywell Elem SF 
     7934


Romp 23 Surf
     1087


Withla. St. Forest G
     1100


Rdge MNR Rmp99x SH-A
       615


ROMP 17 SWNN
       707


ROMP 23-1 DEEP
       737


Crewsville UP Int
       775


ROMP TR 8-1 Int
       997


Claywell Elem FL
     7935


ROMP 23 PZ2
	Analyte
	Confined or 

Unconfined
	Direction
	Comments

	
	
	
	No evidence of district-wide trends


Wells 7934, 7935, and 1100 were not sampled until 1999.  Each had upward trends for WL.  The upward trend shows up in Segment C.

Segment B Well Trends in the SWFWMD

(+ = ↑ trend, 0 = no evidence of trend, - = ↓ trend) 
	
	Unconfined GW
	Confined GW
	Uncon
	Con
	All

	
	                  Well Number
	                         Well Number
	
	
	

	
	736
	996
	7934
	1087
	1100
	615
	707
	737
	775
	997
	7935
	+
	-
	+
	 -
	+
	-

	Alk
	
	
	
	
	
	
	+
	
	
	-
	
	0
	0
	1
	1
	1
	1

	Ca
	
	
	
	
	
	
	
	-
	
	
	
	0
	0
	0
	1
	0
	1

	Cl
	
	-
	
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	DO
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	F
	
	-DL
	
	-DL
	
	
	
	-
	
	
	
	0
	0
	0
	1
	0
	1

	Fe
	
	
	
	+
	
	
	
	
	
	
	
	1
	0
	0
	0
	1
	0

	K
	
	-Dr
	
	
	
	
	
	-Dr
	
	-Dr
	
	0
	0
	0
	0
	0
	0

	Mg
	
	-
	
	
	
	
	+
	+
	
	-
	
	0
	1
	2
	1
	2
	2

	Na
	
	
	
	
	
	
	
	
	
	-
	
	0
	0
	0
	1
	0
	1

	NH3
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	*NO3
	-DL
	
	
	
	
	
	
	-
	
	
	
	0
	0
	0
	1
	0
	1

	PO4
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	pH
	
	
	
	
	
	
	-
	-
	
	
	
	0
	0
	0
	2
	0
	2

	SC-fld
	
	-
	
	
	
	
	+
	-
	
	
	
	0
	1
	1
	1
	1
	2

	SO4
	
	-
	
	-**
	
	
	+
	-
	
	
	
	0
	1
	1
	1
	1
	2

	TDS
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Temp
	+
	
	
	+
	
	
	+
	
	
	+
	
	2
	0
	2
	0
	4
	0

	TOC
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Trb(lab)
	
	
	
	
	
	
	
	
	
	
	
	1
	0
	1
	1
	2
	1

	WL(msl)
	
	+
	
	
	
	
	-
	
	
	+
	
	1
	0
	1
	1
	2
	1


*NO3 = NO3 + NO2 as N (dissolved)

** The first two values of SO4 in Segment B are extremely high values, and are questionable.  Trend is not present

      if both outliers are not eliminated. 

DL = Reason for trend is due to a lowering of the laboratory detection level; not due to environmental change.   

Dr = Drilling fluids may be cause of relatively high concentrations during early period of time segment.

Italics suggest a possible district-wide trend (but not statistically significant).

Bold represents a district-wide trend
Well Number          
WMD Well ID
       736


Crewsville SH

       996


Claywell Elem SF 

     7934


Romp 23 Surf

     1087


Withla. St. Forest G

     1100


Rdge MNR Rmp99x SH-A

       615


ROMP 17 SWNN

       707


ROMP 23-1 DEEP

       737


Crewsville UP Int

       775


ROMP TR 8-1 Int
       997


Claywell Elem FL
     7935


ROMP 23 PZ2
Potential District-Wide Trends

	Analyte
	Confined or 

Unconfined
	Direction
	Comments

	
	
	
	No evidence of district-wide trends  


Segment C Well Trends in the SWFWMD

(+ = ↑ trend, 0 = no evidence of trend, - = ↓ trend) 
	
	Unconfined GW
	Confined GW
	Uncon
	Con
	All

	
	                  Well Number
	                         Well Number
	
	
	

	
	736
	996
	7934
	1087
	1100
	615
	707
	737
	775
	997
	7935
	+
	-
	+
	 -
	+
	-

	Alk
	
	
	+
	
	
	
	
	
	
	
	
	1
	0
	0
	0
	1
	0

	Ca
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Cl
	
	+
	-
	
	
	
	
	
	
	
	
	1
	1
	0
	0
	1
	1

	DO
	
	
	
	-
	+
	
	-
	
	
	
	
	1
	1
	0
	1
	1
	2

	F
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Fe
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	K
	
	-
	+
	
	
	
	
	
	
	
	
	1
	1
	0
	0
	1
	1

	Mg
	
	+
	+
	
	
	
	
	
	
	
	
	2
	0
	0
	0
	2
	0

	Na
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	NH3
	+
	
	-
	
	
	
	
	
	
	
	
	1
	1
	0
	0
	0
	0

	*NO3
	
	+
	
	
	
	
	
	
	
	
	
	1
	0
	0
	0
	0
	0

	*PO4
	
	
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	pH
	
	+
	+
	
	
	-
	
	
	
	
	
	2
	0
	0
	1
	2
	1

	SC-fld
	
	
	
	-
	-
	
	-
	
	-
	+
	-
	0
	2
	1
	3
	1
	5

	SO4
	
	+
	
	
	
	
	
	
	
	
	
	1
	0
	0
	0
	1
	0

	TDS
	
	+
	
	
	
	
	
	
	
	
	
	1
	0
	0
	0
	1
	0

	Temp
	
	
	
	
	
	
	
	
	
	
	
	0
	0 
	0
	0 
	0 
	0 

	*TOC
	
	
	-
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	Trb(lab)
	-
	
	
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	WL(msl)
	
	
	+
	
	+
	
	
	
	+
	
	+
	2
	0
	2
	0
	4
	0


*NO3 = NO3 + NO2 as N (dissolved)

DL = Reason for trend is due to a lowering of the laboratory detection level; not due to environmental change.   

Dr = Drilling fluids may be cause of relatively high concentrations during early period of time segment.

Italics suggest a possible district-wide trend (but not statistically significant).

Bold represents a district-wide trend

Well Number          
WMD Well ID
       736


Crewsville SH

       996


Claywell Elem SF 

     7934


Romp 23 Surf

     1087


Withla. St. Forest G

     1100


Rdge MNR Rmp99x SH-A

       615


ROMP 17 SWNN

       707


ROMP 23-1 DEEP

       737


Crewsville UP Int

       775


ROMP TR 8-1 Int
       997


Claywell Elem FL
     7935


ROMP 23 PZ2
Potential District-Wide Trends

	Analyte
	Confined or 

Unconfined
	Direction
	Comments

	WL
	Both
	Up
	Slight increase in water levels. 

	SC-fld
	Both
	Down
	Slight decrease in SC-fld.  Could be related to slight increase in WLs.


