Segment A Well Trends in the SFWMD

(+ = ↑ trend, 0 = no evidence of trend, - = ↓ trend) 
	
	Unconfined GW
	Confined 
	Uncon
	Con
	All 

	
	        Well Number*
	        Well Number*
	
	
	

	
	2793
	2872
	3109
	3398
	3490
	6490
	2873
	3108
	3433
	+
	-
	+
	-
	+
	-

	Alk
	
	
	
	
	
	-
	
	
	
	0
	1
	0
	0
	0
	1

	Ca
	-
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	Cl
	-
	-
	
	
	
	-
	
	
	
	0
	3
	0
	0
	0
	3

	DO
	+
	
	
	
	
	-
	
	
	
	1
	1
	0
	0
	1
	1

	F
	-DL
	-DL
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Fe
	-
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	K
	-DL
	-
	
	
	
	+
	
	
	
	1
	1
	0
	0
	1
	1

	Mg
	
	-
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	Na
	
	-
	
	
	
	-
	
	
	
	0
	2
	0
	0
	0
	2

	NH3
	+
	
	
	
	
	
	
	
	
	1
	0
	0
	0
	1
	0

	*NO3
	-DL
	-
	
	
	
	+
	
	
	
	0
	1
	1
	0
	1
	1

	PO4
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	pH
	+
	-
	
	
	
	-
	-
	
	
	1
	2
	0
	1
	1
	3

	SC
	-
	
	
	
	
	
	+
	
	
	0
	1
	1
	0
	1
	1

	SO4
	-
	
	
	
	
	+
	
	
	
	1
	1
	0
	0
	1
	1

	TDS
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Temp
	+
	-
	
	
	
	-
	
	
	
	1
	2
	0
	0
	1
	2

	TOC
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Trb(lab)
	
	-
	
	
	
	-
	
	
	
	0
	2
	0
	0
	0
	2

	WL(msl) 
	-
	+
	
	
	
	-
	+
	
	
	1
	1
	1
	1
	2
	2


*NO3 = NO3 + NO2 as N (dissolved).    

DL = Reason for trend is due to a lowering of the laboratory detection level; not due to environmental change.   

Dr  =  Drilling fluids may be cause of relatively high concentrations during early period of time segment.  
Italics suggest a possible district-wide trend (but not statistically significant).

Bold represents a district-wide trend

Well Number *          
WMD Well ID
     2793


G-2364
     2872


C-00972
     2873


C-00973
     3108


L-02200
     3109


L-02202
     3398


PBS-S44
     3433


POF-0008
     3490


KISSPARK
     6490


27-3

Potential District-Wide Trends

	Analyte
	Confined or 

Unconfined
	Direction
	Comments

	
	
	
	No evidence of district-wide trends 


Segment B Well Trends in the SFWMD
(+ = ↑ trend, 0 = no evidence of trend, - = ↓ trend) 
	
	Unconfined GW
	Confined 
	Uncon
	Con
	All 

	
	        Well Number*
	        Well Number*
	
	
	

	
	2793
	2872
	3109
	3398
	3490
	6490
	2873
	3108
	3433
	+
	-
	+
	-
	+
	-

	Alk
	-
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	Ca
	-
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	Cl
	-
	-
	
	
	
	-
	
	
	
	0
	3
	0
	0
	0
	3

	DO
	+
	
	
	
	
	
	
	
	
	1
	0
	0
	0
	1
	0

	F
	
	
	
	
	
	-
	
	
	
	0
	1
	0
	0
	0
	1

	Fe
	-
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	K
	
	-
	
	
	
	+
	
	
	
	1
	1
	0
	0
	1
	1

	Mg
	-
	
	
	
	
	+
	
	
	
	1
	1
	0
	0
	1
	1

	Na
	-
	-
	
	
	
	
	
	
	
	0
	2
	0
	0
	0
	2

	NH3
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	*NO3
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	P04
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	pH
	+
	
	
	
	
	
	
	
	
	1
	0
	0
	0
	1
	0

	SC
	-
	
	
	
	
	-
	
	
	
	0
	2
	0
	0
	0
	2

	SO4
	-
	+
	
	
	
	+
	
	
	
	2
	1
	0
	0
	0
	0

	TDS
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Temp
	+
	-
	
	
	
	-
	
	
	
	1
	2
	0
	0
	1
	2

	TOC
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Trb(lab)
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	WL(msl)
	
	+
	
	
	
	
	+
	
	
	1
	0
	1
	0
	2
	0


*NO3 = NO3 + NO2 as N (dissolved).    

DL = Reason for trend is due to a lowering of the laboratory detection level; not due to environmental change.   

Dr  =  Drilling fluids may be cause of relatively high concentrations during early period of time segment.  

Italics suggest a possible district-wide trend (but not statistically significant).

Bold represents a district-wide trend

Bold face indicates a potential district-wide trend.  Greater than 50% of wells per resource must show trend. 

Well Number *          
WMD Well ID
     2793


G-2364

     2872


C-00972

     2873


C-00973

     3108


L-02200

     3109


L-02202

     3398


PBS-S44

     3433


POF-0008

     3490


KISSPARK

     6490


27-3

Potential District-Wide Trends

	Analyte
	Confined or 

Unconfined
	Direction
	Comments

	
	
	
	No evidence of district-wide trends 


Segment C Well Trends in the SFWMD
(+ = ↑ trend, 0 = no evidence of trend, - = ↓ trend) 
	
	Unconfined GW
	Confined 
	Uncon
	Con
	All 

	
	        Well Number*
	        Well Number*
	
	
	

	
	2793
	2872
	3109
	3398
	3490
	6490
	2873
	3108
	3433
	+
	-
	+
	-
	+
	-

	Alk
	+
	
	+
	
	
	
	
	
	
	2
	0
	0
	0
	2
	0

	Ca
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Cl
	+
	+
	
	
	
	
	
	
	
	2
	0
	0
	0
	2
	0

	DO
	
	
	
	
	
	
	
	
	+
	0
	0
	1
	0
	1
	0

	F
	-
	
	
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	Fe
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	K
	
	
	
	
	-
	
	
	
	
	0
	1
	0
	0
	0
	1

	Mg
	
	
	
	
	
	-
	
	
	
	0
	1
	0
	0
	0
	1

	Na
	+
	
	
	
	
	
	
	
	
	1
	0
	0
	0
	1
	0

	NH3
	+
	
	
	
	+
	
	
	
	
	2
	0
	0
	0
	2
	0

	*NO3
	
	
	-
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	PO4
	
	
	+
	
	
	
	
	
	
	1
	0
	0
	0
	1
	0

	pH
	
	-
	-
	-
	
	-
	
	-
	+
	0
	4
	1
	1
	1
	5

	SC
	+
	-
	
	
	-
	
	
	
	
	1
	2
	0
	0
	1
	2

	SO4
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	TDS
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	Temp
	-
	+
	
	
	-
	
	
	
	
	1
	2
	0
	0
	1
	2

	TOC
	
	
	-
	
	
	
	
	
	
	0
	1
	0
	0
	0
	1

	Turb(lab)
	
	
	
	
	
	
	
	
	
	0
	0
	0
	0
	0
	0

	WL(msl)
	-
	
	+
	-
	+
	
	
	
	
	2
	2
	0
	0
	2
	2


*NO3 = NO3 + NO2 as N (dissolved).    

DL = Reason for trend is due to a lowering of the laboratory detection level; not due to environmental change.   

Dr  =  Drilling fluids may be cause of relatively high concentrations during early period of time segment.  

Italics suggest a possible district-wide trend (but not statistically significant).

Bold represents a district-wide trend

Well Number *          
WMD Well ID
     2793


G-2364

     2872


C-00972

     2873


C-00973

     3108


L-02200

     3109


L-02202

     3398


PBS-S44

     3433


POF-0008

     3490


KISSPARK

     6490


27-3

Potential District-wide Trends 
	Analyte
	Confined or
 Unconfined
	Direction
	Comments

	pH
	Uncon 
	Down
	Gen., pH fell during all time segments. Possibly related to slight decreases in water levels 


