Springs Station Names – field sheets, lab report has missing numbers.

 LIMS, REPORT

SUW71897

SUW 72591
SUW725971 – NCR says this sample on custody/field sheet but not received at lab
 MASTERLIST - OTHER STATION FIELD ID
SUW718971 – Springs Masterlist
SUW725971 – Custody/Field Sheet, NCR, Springs masterlist
____________________________________________________________________________

LAB REPORT – CORRECT FIELD ID
Sample Location: SUWANNEE RIVER Collection Date/Time: 08/03/2011 10:37 AM

Field ID: SUW71897 SPRING Matrix: W-SURF-FRH

Sample ID Ref. Method Component Result Code QC Failures Units Cert #

1369255 EPA 300.0 Rev. 2.1 Chloride 10 mg Cl/L E31780

1369275 EPA 350.1 Rev. 2.0 Ammonia-N 0.010 U mg N/L

EPA 351.2 Rev. 2.0 Kjeldahl Nitrogen 0.15 I mg N/L

EPA 353.2 Rev. 2.0 NO2NO3-N 7.4 mg N/L

EPA 365.1 Rev. 2.0 Total-P 0.022 mg P/L

1369295 EPA 200.7 Rev. 4.4 Potassium 2.8 mg/L
NONCONFORMANCE REPORT

None found
LAB REPORT – CORRECT FIELD ID SUW72591TO SUW725971 on Lab Report and Custody Report; CHG NCR – Observation.  Sample for Field ID SUW725971 was listed twice on custody sheets in error – only one sample was shipped. 
Sample Location: SUWANNEE RIVER Collection Date/Time: 08/03/2011 11:25 AM
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WTRSHD-MGT-2011-08-04-01

Serial Number: 0057130

Chemical Analysis Report

Field ID: SUW72591 SPRING Matrix: W-SURF-FRH

Sample ID Ref. Method Component Result Code QC Failures Units Cert #

1369257 EPA 300.0 Rev. 2.1 Chloride 16 mg Cl/L E31780

1369277 EPA 350.1 Rev. 2.0 Ammonia-N 0.017 I mg N/L

EPA 351.2 Rev. 2.0 Kjeldahl Nitrogen 0.16 U mg N/L

EPA 353.2 Rev. 2.0 NO2NO3-N 15 mg N/L

EPA 365.1 Rev. 2.0 Total-P 0.018 mg P/L

1369297 EPA 200.7 Rev. 4.4 Potassium 5.2 mg/L

Ref. Method and Comment:

EPA 351.2 Rev. 2.0: The MDL was elevated due to high nitrate concentration in the sample.

Event(s) Job(s) Sample(s) Test(s)

WTRSHD-MGT-2011-08-04-01

NCR Type: SHIPPING/RECEIVING NCR Category: Receiving

Observation: Containers weren't received for one sample listed on the field sheet.

Field id SUW725971 SPRING
Resolution: Customer was contacted, Kathryn Holland. A message was left regarding the containers that weren't received.  No reply.
LAB REPORT – CORRECT FIELD ID 9721 to 9671  Then SUW72591TO SUW725971 on Lab Report and Custody Report; 

Sample Location: BLUE SPG (LAFAYETTE) Collection Date/Time: 08/04/2011 12:37 PM

Field ID: 9721 Matrix: W-SURF-FRH

Sample ID Ref. Method Component Result Code QC Failures Units Cert #

1369363 EPA 300.0 Rev. 2.1 Chloride 11 mg Cl/L E31780

1369369 EPA 350.1 Rev. 2.0 Ammonia-N 0.017 I mg N/L

EPA 351.2 Rev. 2.0 Kjeldahl Nitrogen 0.14 I MS mg N/L

EPA 353.2 Rev. 2.0 NO2NO3-N 2.5 mg N/L

EPA 365.1 Rev. 2.0 Total-P 0.041 mg P/L

1369375 EPA 200.7 Rev. 4.4 Potassium 1.5 mg/L

Ref. Method and Comment:

EPA 350.1 Rev. 2.0: Matrix spike recovery data is unavailable due to high analyte concentration in the QC sample.
