

From: Wolfe, Loretta
Sent: Thursday, June 12, 2008 4:02 PM
To: Harrington, Debra; Wang, Jing
Cc: Brackett, Kathryn; Tamayo, Daisys; Whiting, David D.; Lurding, Kathleen; Silvanima, James
Subject: HOLDING TIMES
Hi Debra and Jing –
Here’s something else to consider with microbiology (fecal coliforms, enterococci, etc) – calculating hold time has become more complicated than just comparing the elapsed time between sample collection and the start of filtering and seeing if it’s less than or equal to 6 hours.
There’s a “window”. If the sample arrives at the lab within 6 hours of sampling, the lab has two more hours to process the sample for it to be considered to be within hold time. Here’s a couple of examples:
1) A sample that arrives at the lab exactly 6 hours after sampling would be considered to be within hold time if it was filtered (prep date/time) by 8 hours from the sampling time.
2) If a sample arrived at the lab 5 hours after sampling, it has to be filtered by 7 hours to be within hold (within 2 hours of arrival at the lab).
3) However, if the sample arrives at the lab 7 hours after sampling, it gets a “Q” because it arrived at the lab more than 6 hours after sampling. 
We have recently (last month) implemented a computerized routine in LIMS to attach the qualifiers to microbiology results using the “window”. Previously, a person did it (using 6 hours between sample collection and sample prep). While mistakes like the one we just fixed are very uncommon, they weren’t impossible. The new computerized routine should eliminate the potential for an erroneous “Q”. 

I hope this helps rather than makes things more confusing. Please let me know if you need something explained further.
-Lori


From: Tamayo, Daisys 
Sent: Wednesday, June 11, 2008 11:01
To: Brackett, Kathryn; Harrington, Debra
Cc: Wolfe, Loretta
Subject: RE: analysis date problem in SPRG0710
Please see my comments below for the specific samples. I believe the problem is that the analysis date is being loaded incorrectly. In LIMS the “Analysis Date” for micro is the time the sample is read (counted). The “Prep Date” for micro is the time the sample is filtered. This prep date is probably what should be getting loaded to check against the 6 hour holding time.
Daisys 


From: Brackett, Kathryn 
Sent: Wednesday, June 11, 2008 10:39 AM
To: Harrington, Debra
Cc: Wolfe, Loretta; Tamayo, Daisys
Subject: RE: analysis date problem in SPRG0710
Debra,
Can you give me a call. I haven’t checked this data but the data issue that came up recently and another one that I de-bugged in April for Jing have not been LIMs issues. We can provide LIMs access and training if Jing needs to make corrections on her end.
Thanks
Kate


From: Wang, Jing 
Sent: Wednesday, June 11, 2008 10:27 AM
To: Brackett, Kathryn
Cc: Wolfe, Loretta; Tamayo, Daisys; Harrington, Debra; Ijeoma, Frances; Wang, Jing
Subject: analysis date problem in SPRG0710
Hello, Kate
See email below Frances send to me, she reloaded following parameters data again in stations mentioned below, the analysis date still so far to collection date. In LIMS system, I got same result with the result mentioned below by searching sample id. Could you check again? Or pull the field sheet to see the stations if same with stations in our side. If the result in our side is correct, lab should add Q qualifier. The data for whole project SPRG0710 is attached, the data that I mentioned below is highlighted in the file.
Any help will be appreciated.
	problem

	Station
	Collection_date
	Parameter_code
	Parameter
	Value
	Value_qualifier
	LabSampleID
	Analysis_date

	MORRISON SPRING SIPQ
	12/11/2007 1:16:00 PM
	31616
	Coliform, Fecal (MF)
	2
	U
	1071306
	12/13/2007 3:30:00 PM[t1] 

	WACISSA SPRING #2 SIPQ
	10/17/2007 2:07:00 PM
	31501
	Coliform, Total (MF)
	2
	B
	1093397
	4/9/2008 3:30:00 PM[t2] 

	WACISSA SPRING #2 SIPQ
	10/17/2007 2:07:00 PM
	31616
	Coliform, Fecal (MF)
	2
	U
	1093397
	4/9/2008 3:30:00 PM

	WACISSA SPRING #2 SIPQ
	10/17/2007 2:07:00 PM
	31649
	Enterococci, Membrane Filter
	2
	U
	1093397
	4/10/2008 3:30:00 PM

	BIG SPRING (BIG BLUE SPRING) (JEFFERSON) SIPQ
	10/17/2007 3:44:00 PM
	31501
	Coliform, Total (MF)
	110
	
	1093398
	4/9/2008 3:30:00 PM[t3] 

	BIG SPRING (BIG BLUE SPRING) (JEFFERSON) SIPQ
	10/17/2007 3:44:00 PM
	31616
	Coliform, Fecal (MF)
	88
	
	1093398
	4/9/2008 3:30:00 PM

	BIG SPRING (BIG BLUE SPRING) (JEFFERSON) SIPQ
	10/17/2007 3:44:00 PM
	31649
	Enterococci, Membrane Filter
	46
	
	1093398
	4/10/2008 3:30:00 PM


Thanks
Jing Wang


From: Ijeoma, Frances 
Sent: Monday, June 09, 2008 3:10 PM
To: Wang, Jing
Subject: RE: one correction request
Jing,
If you want to see the lab information, go through LIMS and get it. I do not have lab sheets. The data and date is what we have in our database. I checked in the LIMS and the loaded information is correct.
Frances C. Ijeoma
Watershed Monitoring Section
Florida Department of Environmental Protection
2600 BlairStone Road Room 548G
Tallahassee, Fl 32399-2400
Phone: (850) 245-8548
Fax: (850) 245-7571
frances.ijeoma@dep.state.fl.us


From: Wang, Jing 
Sent: Monday, June 09, 2008 2:36 PM
To: Ijeoma, Frances
Cc: Wang, Jing
Subject: one correction request
	Hello, Frances
In SPRG0710, for parameter code 31649, 31616, 31501 in station 9717, 9719, for parameter code 31616 in station 11386, the lab date still is unusual, please check your lab script file first, if lab date in your script file is same with project in ADM system, please send your lab script file to me, I will send it to Lab , let somebody in lab to see the data. 

Otherwise reload them again.
Station Parametercode lab date 
9717 31501 4/9/2008 3:30:00 PM
	
	
	
	
	
	
	


9717 31616 4//9/2008
9717 31649 4/10/2008
9719 31501 4/9/2008
9719 31616 4/9/2008
9719 31649 4/10/2008
11386 31616 12/13/2007
Thanks
Jing Wang


This sample should have a “Q” qualifier. The analysis date should be 12/12/07 1550. We will need to correct this in our LIMS system.
This lab sample ID is for a Big Spring sample collected on 4/8/08 1308. The RQ is RQ-2008-03-31-32. Please see the attached PDF file that contains the field sheets.
This lab sample ID is for a Big Spring sample collected on 4/8/08 1409. The RQ is RQ-2008-03-31-32. Please see the attached PDF file that contains the field sheets.
