Evaluate the Quality of Ground Water Resource Conditions

Ground Water Resource Index (GRI)

The Ground Water Resource Index (GRI) evaluates the quality of ground water using three categories that include Exceptional, Suitable and Unacceptable for Designated Use.  The GRI is based on the percent of wells that exceed a ground water standard and is calculated with and without stratification of the data to include the largest possible number of observations.  This increases the robustness of the result by decreasing the uncertainty.  The GRI is versatile for each group of contaminants that include BIOLOGICAL, NUTRIENTS, INORGANICS AND ORGANICS.   Analytes can be combined for this analyses when appropriate  (i.e., total and fecal coliforms; nitrate and nitrite).  

For example, the categories for the GRI for Biological Contaminants, are applied to the combined total and fecal coliform data:

Exceptional for Designated Use 
–      Below the method detection limit (BDL); Suitable for Designated Use
–      Detections at or below the MCL; and Unacceptable for Designated Use 
–      Exceeding the MCL of 4 colonies/100 mL.

A GRI Threshold of more than 10% in the Unacceptable for Designated Use category triggers a more detailed evaluation to determine if a basin-wide issue exists.

Evaluate Effects of Ground Water on Surface Water Resources 

GW/SW Relational Index (SRI)

The watershed approach to integrate ground water with surface water may require new innovative strategies.  The Ground Water / Surface Water Relational Index (SRI) is a new watershed approach that considers baseflow as one of the important designated uses of ground water.  The SRI is based on the percent of wells that exceed a threshold related to the environmental conditions necessary to support aquatic life.  The SRI thresholds will account for ground water containing analytes of concern to surface water, as quantified by threshold reference values established from surface water criteria, probable effects levels (PEL), known aquatic toxicity values and/or EPA guidance levels (i.e., nutrients).

For example, the categories for the SRI are:

Exceptional for Designated Use 
   –      Below the method detection limit (BDL); Suitable for Designated Use
   –      Detections at or below SRI reference values; Potential Impact to Designated Use   –      Exceeding the SW Criteria or PEL.

A SRI Threshold of more than 10% in the Potential Impact for Designated Use category triggers a more detailed evaluation to identify areas of ground water discharge and determine if ground water could be impacting surface water. 
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	TABLE B1.  WATER QUALITY IN STATUS NETWORK WELLS (2000)

	
	
	
	
	
	

	TOTAL AND FECAL            COLIFORMS
	Surficial
	Unconfined Floridan
	Confined Intermediate
	Confined    Floridan
	Total Observations

	Nondetections
	32
	6
	4
	47
	89

	Detections < = MCL
	1
	1
	0
	2
	4

	Exceedances MCL
	13
	7
	0
	7
	27

	Total Observations
	46
	14
	4
	56
	120

	Percent MCL Exceedances
	28%
	50%
	0%
	13%
	23%
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	TABLE B2.  WATER QUALITY IN BACKGROUND NETWORK WELLS (1985-1987)

	
	
	
	
	
	

	TOTAL AND FECAL COLIFORMS
	Surficial
	Unconfined Floridan
	Confined Intermediate
	Confined    Floridan
	Total Observations

	Nondetections
	3
	6
	18
	40
	67

	Detections < = MCL
	2
	0
	2
	4
	8

	Exceedances MCL
	1
	8
	2
	2
	13

	Total Observations
	6
	14
	22
	46
	88

	Percent MCL Exceedances
	17%
	57%
	9%
	4%
	15%

	
	
	
	
	
	

	 
	 
	 
	 
	 
	 

	
	
	
	
	
	


*  Based on total and


    fecal coliforms
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UnconSNTotalFecalColiform2000

		STATUS NETWORK UNCONFINED TOTAL+FECAL COLIFORMS

		Unconfined Total and Fecal

		Surficial

		Parameter Name		Coliform, Total (MF)				Coliform, Fecal (MF)

		Total Wells		23				23

		Number BDLs		15				17

		Number MCL Exceedances		8				5

		Percent MCL Exceedances		35%				22%

		Unconfined Floridan

		Parameter Name		Coliform, Total (MF)				Coliform, Fecal (MF)

		Total Wells		7				7

		Number BDLs		1				5

		Number MCL Exceedances		6				1

		Percent MCL Exceedances		86%				14%

		Intermediate

		Parameter Name		Coliform, Total (MF)				Coliform, Fecal (MF)

		Total Wells		2				2

		Number BDLs		2				2

		Number MCL Exceedances		0				0

		Percent MCL Exceedances		0%				0%

		Confined Floridan

		Total Wells		28		28

		Number BDLs		23		24

		Number MCL Exceedances		5		2

		Percent MCL Exceedances		18%		7%





Bkgd SN Summary 1985-2000

		WELLS WERE SAMPLED FOR BIOLOGICAL ONLY DURING 1985-1987																						CHECK THESE - SOME ARE TOTAL AND FECAL COMBINED FOR BKG AND SN?														THIS COLOR IS FIXED IN DRAFT TABLES																Biological for Unconfined Aquifers

				CORRECTED 5/16/03																		FIX THIS ONE -= NOT DONE YET																																Parameter Name		T Coliform		F Coliform		E Coli		Enterococci

																																																						Units		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)

				TABLE B2.  WATER QUALITY IN BACKGROUND NETWORK WELLS (1985-1987)																		TABLE B1.  WATER QUALITY IN STATUS NETWORK WELLS (2000)																																Total Wells		30		30		30		30						TABLE B1.   STATUS NETWORK (2000) DESCRIPTIVE STATISTICS																		TABLE B2.   AMBIENT BACKGROUND NETWORK (1985-1987) DESCRIPTIVE STATISTICS																TABLE B?.   UNCONFINED AQUIFERS BACKGROUND NETWORK (1985-1987) TO STATUS NETWORK (2000)																						TABLE B?.   CONFINED AQUIFERS BACKGROUND NETWORK (1985-1987) TO STATUS NETWORK (2000)

																																																						Number BDLs		16		22		0		0

				TOTAL AND FECAL            COLIFORMS		Surficial		Unconfined Floridan		Confined Intermediate		Confined    Floridan		Total Observations								TOTAL AND FECAL            COLIFORMS		Surficial		Unconfined Floridan		Confined Intermediate		Confined    Floridan		Total Observations																						Number MCL Exceedances		14		6		N/A		N/A						TOTAL COLIFORMS				Surficial		Unconfined Floridan		Confined Intermediate		Confined    Floridan		Total Wells						TOTAL COLIFORMS				Surficial		Unconfined Floridan		Confined Intermediate		Confined    Floridan		Total Wells						TOTAL COLIFORMS				Surficial		Surficial		Unconfined Floridan		Unconfined Floridan												TOTAL COLIFORMS				Confined Intermediate		Confined Intermediate		Confined    Floridan		Confined    Floridan

				Nondetections		2		2		6		19		29		Exceptional						Nondetections		32		6		4		47		89																						Percent MCL Exceedances		47%		20%		N/A		N/A						Sampling Years				2000		2000		2000		2000		2000						Sampling Years				1985-1987		1985-1986		1985-1987		1985-1987		1985-1987						Sampling Years				1985-1987		2000		1985-1986		2000												Sampling Years				1985-1987		2000		1985-1987		2000

				Detections < = MCL		3		4		16		27		50		Suitable						Detections < = MCL		1		1		0		2		4																																				Minimum				0		0		0		0								Minimum				0		0		0		0								Minimum				0		0		0		0												Minimum				0		0		0		0

				Exceedances MCL		1		8		2		2		13		Unacceptable						Exceedances MCL		13		7		0		7		27																						Minimum		0.000		0.000		0.000		0.000						1st Quartile				0		11		0		0								1st Quartile				1		0		0		0								1st Quartile				1		0		0		11												1st Quartile				0		0		0		0

				Total Observations		6		14		24		48		92								Total Observations		46		14		4		56		120																						1st Quartile		0.000		0.000		0.000		0.000						Median				0		20		0		0								Median				3		14		0		1								Median				3		0		14		20												Median				0		0		1		0

				Percent MCL Exceedances		17%		57%		8%		4%		14%								Percent MCL Exceedances		28%		50%		0%		13%		23%																						Median		0.000		0.000		0.000		0.000						3rd Quartile				28		30		0		0								3rd Quartile				16		30		1		1								3rd Quartile				16		28		30		30												3rd Quartile				1		0		1		0

																																																						3rd Quartile		35.000		1.500		0.000		25.000						Maximum				1200		2000		0		40								Maximum				50		300		70		31								Maximum				50		1200		300		2000												Maximum				70		0		31		40

																																																						Maximum		2000.000		900.000		1000.000		1300.000						Total Wells				23		7		2		28		60						Total Wells				4		13		24		48		89						Total Wells				4		23		13		7												Total Wells				24		2		48		28

																																																						Interquartile Range		35.000		1.500		0.000		25.000						Number BDLs				15		1		2		23		41						Number BDLs				1		1		6		19		27						Number BDLs				1		15		1		1												Number BDLs				6		2		19		23

																																																						Mean		150.567		35.167		34.800		64.067						Number MCL Exceedances				8		6		0		5		19						Number MCL Exceedances				1		8		2		2		13						Number MCL Exceedances				1		8		8		6												Number MCL Exceedances				2		0		2		5

																																																																				Percent MCL Exceedances				35%		86%		0%		18%		32%						Percent MCL Exceedances				25%		62%		8%		4%		15%						Percent MCL Exceedances				25%		35%		62%		86%												Percent MCL Exceedances				8%		0%		4%		18%

																																																						Standard Deviation		429.0		163.9		182.4		239.9

																																																						Relative Standard Deviation		284.9%		466.1%		524.1%		374.4%

																																																						Standard Error		78.3		29.9		33.3		43.8

								* Based on Total and Fecal Coliforms																* Based on Total and Fecal Coliforms

				FECAL AND TOTAL												FECAL AND TOTAL																																						Variance		184033.1		26863.5		33263.6		57550.5

				UNCONFINED WELLS												CONFINED WELLS												TOTAL COLIFORMS								FECAL COLIFORMS																		Coefficient of Skewness		354.5%		541.9%		546.9%		506.8%

				Unconfined Wells Background Network 1985-1987												Confined Wells Background Network 1985 -1987								Unconfined Wells Background Network 1985-1987										Unconfined Wells Background Network 1985-1987

				Parameter Name		Total and Fecal Coliforms										Parameter Name		Total and Fecal Coliforms								Parameter Name		Total Coliforms in Unconfined Wells Background Network 1996-1999								Parameter Name		Fecal Coliforms in Unconfined Wells Background Network 1996-1999																																																Unconfined Surficial Wells Background Network

				Total Wells		20										Total Wells		72								Total Wells		10								Total Wells		10																																																Parameter Name		Total and Fecal Coliforms

				Number BDLs		4										Number BDLs		25								Number BDLs		3								Number BDLs		1																																																Total Wells		6

				Number MCL Exceedances		9										Number MCL Exceedances		0								Number MCL Exceedances		5								Number MCL Exceedances		4																																																Number BDLs		2

				Percent MCL Exceedances		45%										Percent MCL Exceedances		0%								Percent MCL Exceedances		50%								Percent MCL Exceedances		40%																Biological for Surficial Aquifer																																Number MCL Exceedances		1

																																																																																						Percent MCL Exceedances		17%

				Minimum		0.000		#/100ml								Minimum		0.000		#/100ml						Minimum		0.000		#/100ml						Minimum		0.000		#/100ml														Parameter Name		T Coliform		F Coliform		E Coli		Enterococci

				1st Quartile		0.750		#/100ml								1st Quartile		0.000		#/100ml						1st Quartile		1.000		#/100ml						1st Quartile		0.000		#/100ml														Units		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)

				Median		3.000		#/100ml								Median		0.500		#/100ml						Median		16.000		#/100ml						Median		2.500		#/100ml

				3rd Quartile		30.000		#/100ml								3rd Quartile		1.000		#/100ml						3rd Quartile		45.000		#/100ml						3rd Quartile		13.250		#/100ml														Total Wells		23		23		23		23

				Maximum		300.000		#/100ml								Maximum		70.000		#/100ml						Maximum		300.000		#/100ml						Maximum		170.000		#/100ml														Number BDLs		15		17		0		0

				Interquartile Range		29.250		#/100ml								Interquartile Range		1.000		#/100ml						Interquartile Range		44.000		#/100ml						Interquartile Range		13.250		#/100ml														Number MCL Exceedances		8		5		N/A		N/A

				Mean		36.250		#/100ml								Mean		2.306		#/100ml						Mean		49.500		#/100ml						Mean		23.000		#/100ml														Percent MCL Exceedances		35%		22%		N/A		N/A

				Standard Deviation		74.2										Standard Deviation		9.0								Standard Deviation		92.0								Standard Deviation		52.5																Minimum		0.000		0.000		0.000		0.000

				Relative Standard Deviation		204.6%										Relative Standard Deviation		391.0%								Relative Standard Deviation		185.9%								Relative Standard Deviation		228.4%																1st Quartile		0.000		0.000		0.000		0.000

				Standard Error		16.6										Standard Error		1.1								Standard Error		29.1								Standard Error		16.6																Median		0.000		0.000		0.000		0.000

				Variance		5503.1										Variance		81.3								Variance		8467.2								Variance		2760.4																3rd Quartile		27.500		2.000		0.000		15.000

				Coefficient of Skewness		291.0%										Coefficient of Skewness		661.2%								Coefficient of Skewness		270.3%								Coefficient of Skewness		297.7%																Maximum		1200.000		900.000		1000.000		290.000

																																																						Interquartile Range		27.500		2.000		0.000		15.000

																																																						Mean		105.000		45.348		45.043		21.739

																								Confined Wells Background Network 1985 -1999										Confined Wells Background Network 1985 -1999

		Unconfined Floridan Wells Background Network 1996-1999														Confined Floridan Wells Background Network 1985 -1999										Parameter Name		Total Coliforms in Confined Wells Background Network 1985 -1999								Parameter Name		Fecal Coliforms in Confined Wells Background Network 1985 -1999																Standard Deviation		282.9		186.9		208.3		61.4

				Parameter Name		Total and Fecal Coliforms in Unconfined Floridan Wells Background Network 1996-1999										Parameter Name		Total and Fecal Coliforms in Confined Floridan Wells Background Network 1985 -1999								Total Wells		24								Total Wells		24																Relative Standard Deviation		269.4%		412.2%		462.4%		282.6%

				Total Wells		14										Total Wells		48								Number BDLs		14								Number BDLs		5																Standard Error		59.0		39.0		43.4		12.8

				Number BDLs		2										Number BDLs		19								Number MCL Exceedances		2								Number MCL Exceedances		0																Variance		80038.6		34942.7		43376.0		3773.6

				Number MCL Exceedances		8										Number MCL Exceedances		2								Percent MCL Exceedances		8%								Percent MCL Exceedances		0%																Coefficient of Skewness		331.1%		474.5%		478.9%		413.6%

				Percent MCL Exceedances		57%										Percent MCL Exceedances		4%

																										Minimum		0.000		#/100ml						Minimum		0.000		#/100ml

				Minimum		0.000		#/100ml								Minimum		0.000		#/100ml						1st Quartile		1.000		#/100ml						1st Quartile		0.000		#/100ml														Biological for Unconfined Floridan

				1st Quartile		0.250		#/100ml								1st Quartile		0.000		#/100ml						Median		1.000		#/100ml						Median		0.000		#/100ml

				Median		12.500		#/100ml								Median		1.000		#/100ml						3rd Quartile		1.250		#/100ml						3rd Quartile		0.250		#/100ml														Parameter Name		T Coliform		F Coliform		E Coli		Enterococci

				3rd Quartile		30.000		#/100ml								3rd Quartile		1.000		#/100ml						Maximum		31.000		#/100ml						Maximum		2.000		#/100ml														Units		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)

				Maximum		300.000		#/100ml								Maximum		31.000		#/100ml						Interquartile Range		0.250		#/100ml						Interquartile Range		0.250		#/100ml

				Interquartile Range		29.750		#/100ml								Interquartile Range		1.000		#/100ml						Mean		2.750		#/100ml						Mean		0.292		#/100ml														Total Wells		7		7		7		7

				Mean		47.643		#/100ml								Mean		1.521		#/100ml																																		Number BDLs		1		5		0		0

																										Standard Deviation		6.4								Standard Deviation		0.6																Number MCL Exceedances		6		1		N/A		N/A

				Standard Deviation		86.2										Standard Deviation		4.7								Relative Standard Deviation		232.8%								Relative Standard Deviation		188.6%																Percent MCL Exceedances		86%		14%		N/A		N/A

				Relative Standard Deviation		180.9%										Relative Standard Deviation		306.6%								Standard Error		1.3								Standard Error		0.1

				Standard Error		23.0										Standard Error		0.7								Variance		41.0								Variance		0.3																Minimum		0.000		0.000		0.000		0.000

				Variance		7426.2										Variance		21.7								Coefficient of Skewness		415.0%								Coefficient of Skewness		180.0%																1st Quartile		11.000		0.000		0.000		2.000

				Coefficient of Skewness		241.2%										Coefficient of Skewness		578.2%																																				Median		20.000		0.000		0.000		14.000

																																																						3rd Quartile		30.000		1.000		1.000		52.000

																																																						Maximum		2000.000		10.000		6.000		1300.000

				Unconfined Surficial Wells Background Network												Confined Intermediate Wells Background Network 1985 -1999																																						Interquartile Range		19.000		1.000		1.000		50.000

				Parameter Name		Total and Fecal Coliforms										Parameter Name		Total and Fecal Coliforms in Confined Intermediate Wells Background Network 1985 -1999																																				Mean		300.286		1.714		1.143		203.143

				Total Wells		6										Total Wells		24

				Number BDLs		2										Number BDLs		6																																				Standard Deviation		749.6		3.7		2.3		484.7

				Number MCL Exceedances		1										Number MCL Exceedances		2																																				Relative Standard Deviation		249.6%		217.5%		198.4%		238.6%

				Percent MCL Exceedances		17%										Percent MCL Exceedances		8%																																				Standard Error		283.3		1.4		0.9		183.2

																																																						Variance		561907.2		13.9		5.1		234890.5

				Minimum		0.000		#/100ml								Minimum		0.000		#/100ml																																		Coefficient of Skewness		264.4%		244.7%		215.6%		262.4%

				1st Quartile		1.000		#/100ml								1st Quartile		0.000		#/100ml

				Median		1.500		#/100ml								Median		0.000		#/100ml

				3rd Quartile		3.500		#/100ml								3rd Quartile		1.000		#/100ml																																		Biological for Confined Floridan

				Maximum		50.000		#/100ml								Maximum		70.000		#/100ml

				Interquartile Range		2.500		#/100ml								Interquartile Range		1.000		#/100ml																																		Parameter Name		T Coliform		F Coliform		E Coli		Enterococci

				Mean		9.667		#/100ml								Mean		3.875		#/100ml																																		Units		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)

				Standard Deviation		19.8										Standard Deviation		14.2																																				Total Wells		28		28		28		28

				Relative Standard Deviation		204.9%										Relative Standard Deviation		367.3%																																				Number BDLs		23		24		0		0

				Standard Error		8.1										Standard Error		2.9																																				Number MCL Exceedances		5		2		N/A		N/A

				Variance		392.3										Variance		202.5																																				Percent MCL Exceedances		18%		7%		N/A		N/A

				Coefficient of Skewness		242.4%										Coefficient of Skewness		474.4%

																																																						Minimum		0.000		0.000		0.000		0.000

																																																						1st Quartile		0.000		0.000		0.000		0.000

																																																						Median		0.000		0.000		0.000		0.000

																																																						3rd Quartile		0.000		0.000		0.000		0.000

																																																						Maximum		40.000		8.000		2.000		124.000

																																																						Interquartile Range		0.000		0.000		0.000		0.000

																																																						Mean		3.214		0.786		0.071		4.786

																																																						Standard Deviation		8.6		2.2		0.4		23.4

																																																						Relative Standard Deviation		268.5%		280.0%		529.2%		488.9%
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ComparisonsBkgSN

		

				TABLE ?.  ARE THE DETECTIONS OF TOTAL COLIFORMS RELATED TO AQUIFERS

				Aquifer		Surficial		Intermediate		Unconfined Fl		Confined Fl		Total Wells

				Nondetections		15		2		1		23		41

				Detections < = MCL		0		0		0		0		0

				Exceedances MCL		8		0		6		5		19

				Total Wells		23		2		7		28		60

				Percent MCL Exceedances		35%		0%		86%		18%		32%





SNFecalIndicatorSummaryUnc&Conf

		

				TABLE B9.   COMPARISON OF UNCONFINED AQUIFER POPULATIONS																						TABLE B10.   COMPARISON OF CONFINED AQUIFER POPULATIONS

				BACKGROUND NETWORK (1985-1987) TO STATUS NETWORK (2000)																						BACKGROUND NETWORK (1985-1987) TO STATUS NETWORK (2000)

				TOTAL COLIFORMS				Surficial		Surficial		Unconfined Floridan		Unconfined Floridan												TOTAL COLIFORMS				Confined Intermediate		Confined Intermediate		Confined    Floridan		Confined    Floridan

				Sampling Years				1985-1987		2000		1985-1986		2000												Sampling Years				1985-1987		2000		1985-1987		2000

				Minimum				0		0		0		0												Minimum				0		0		0		0

				1st Quartile				1		0		0		11												1st Quartile				0		0		0		0

				Median				3		0		14		20												Median				0		0		1		0

				3rd Quartile				16		28		30		30												3rd Quartile				1		0		1		0

				Maximum				50		1200		300		2000												Maximum				70		0		31		40

				Total Wells				4		23		13		7												Total Wells				24		2		48		28

				Number BDLs				1		15		1		1												Number BDLs				6		2		19		23

				Number MCL Exceedances				1		8		8		6												Number MCL Exceedances				2		0		2		5

				Percent MCL Exceedances				25%		35%		62%		86%												Percent MCL Exceedances				8%		0%		4%		18%





AllColiformsUnconfBkgd1985-1987

		

				Table B4.   Fecal Indicator Analytes for Unconfined Aquifers																Table B5.   Fecal Indicator Analytes for Confined Aquifers

				Parameter Name                     Units  (#/100ml)				Total Coliform		Fecal Coliform		E. Coli		Enterococci						Parameter Name                     Units  (#/100ml)				Total Coliform		Fecal Coliform		E. Coli		Enterococci

				Sampling Years				2000		2000		2000		2000						Sampling Years				2000		2000		2000		2000

				Minimum				0		0		0		0						Minimum				0		0		0		0

				1st Quartile				0		0		0		0						1st Quartile				0		0		0		0

				Median				0		0		0		0						Median				0		0		0		0

				3rd Quartile				35		2		0		25						3rd Quartile				0		0		0		0

				Maximum				2000		900		1000		1300						Maximum				40		8		2		124

				Interquartile Range				35.0		1.5		0.0		25.0						Interquartile Range				0.0		0.0		0.0		0.0

				Mean				150.6		35.2		34.8		64.1						Mean				3.0		0.7		0.1		4.6

				Total Wells				30		30		30		30						Total Wells				30		30		30		30

				Number BDLs				16		22		0		0						Number BDLs				25		26		0		0

				Number MCL Exceedances				14		6		N/A		N/A						Number MCL Exceedances				5		2		N/A		N/A

				Percent MCL Exceedances				47%		20%		N/A		N/A						Percent MCL Exceedances				17%		7%		N/A		N/A





FColiformUnconfBkgd1985-1987

		

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				50.0000								No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				300.0000		!		300		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31507		Coliform, Total (MPN)				80.0000		!		80		!		Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31507		Coliform, Total (MPN)				0.0000				0				No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31507		Coliform, Total (MPN)				2.0000				2				No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31507		Coliform, Total (MPN)				50.0000				50				Yes		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				50.0000		!						No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				170.0000		!		170		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31616		Coliform, Fecal (MF)				11.0000				11				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31616		Coliform, Fecal (MF)				14.0000				14				Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31616		Coliform, Fecal (MF)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31616		Coliform, Fecal (MF)				4.0000				4				No		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		* For multiple samples from the same well only the highest value is used.

																								Parameter Name		Total and Fecal Coliforms in Unconfined Wells Background Network

																								Total Wells		20

																								Number BDLs		4

																								Number MCL Exceedances		9

																								Percent MCL Exceedances		45%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.750		#/100ml

																								Median		3.000		#/100ml

																								3rd Quartile		30.000		#/100ml

																								Maximum		300.000		#/100ml

																								Interquartile Range		29.250		#/100ml

																								Mean		36.250		#/100ml

																								Standard Deviation		74.2

																								Relative Standard Deviation		204.6%

																								Standard Error		16.6

																								Variance		5503.1

																								Coefficient of Skewness		291.0%





TcoliformUnconfBkgd1985-1987

		

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				50.0000		!						No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				170.0000		!		170		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31616		Coliform, Fecal (MF)				11.0000				11				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31616		Coliform, Fecal (MF)				14.0000				14				Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31616		Coliform, Fecal (MF)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31616		Coliform, Fecal (MF)				4.0000				4				No		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		* For multiple samples from the same well only the highest value is used.

																								Parameter Name		Fecal Coliforms in Unconfined Wells Background Network

																								Total Wells		10

																								Number BDLs		1

																								Number MCL Exceedances		4

																								Percent MCL Exceedances		40%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		2.500		#/100ml

																								3rd Quartile		13.250		#/100ml

																								Maximum		170.000		#/100ml

																								Interquartile Range		13.250		#/100ml

																								Mean		23.000		#/100ml

																								Standard Deviation		52.5

																								Relative Standard Deviation		228.4%

																								Standard Error		16.6

																								Variance		2760.4

																								Coefficient of Skewness		297.7%





UnconfSurficialBkg1986-1987

		

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				50.0000								No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				300.0000		!		300		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31507		Coliform, Total (MPN)				80.0000		!		80		!		Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31507		Coliform, Total (MPN)				0.0000				0				No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31507		Coliform, Total (MPN)				2.0000				2				No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31507		Coliform, Total (MPN)				50.0000				50				Yes		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		* For multiple samples from the same well only the highest value is used.

																								Parameter Name		Total Coliforms in Unconfined Wells Background Network

																								Total Wells		10

																								Number BDLs		3

																								Number MCL Exceedances		5

																								Percent MCL Exceedances		50%

																								Minimum		0.000		#/100ml

																								1st Quartile		1.000		#/100ml

																								Median		16.000		#/100ml

																								3rd Quartile		45.000		#/100ml

																								Maximum		300.000		#/100ml

																								Interquartile Range		44.000		#/100ml

																								Mean		49.500		#/100ml

																								Standard Deviation		92.0

																								Relative Standard Deviation		185.9%

																								Standard Error		29.1

																								Variance		8467.2

																								Coefficient of Skewness		270.3%





UnconfFloridanBkg1985-1986

		

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31507		Coliform, Total (MPN)				2.0000				2				No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31507		Coliform, Total (MPN)				50.0000				50				Yes		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31616		Coliform, Fecal (MF)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31616		Coliform, Fecal (MF)				4.0000				4				No		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		* For multiple samples from the same well only the highest value is used.

																								Parameter Name		Total and Fecal Coliforms in Unconfined Surficial Wells Background Network 1996-1999

																								Total Wells		6

																								Number BDLs		2

																								Number MCL Exceedances		1

																								Percent MCL Exceedances		17%

																								Minimum		0.000		#/100ml

																								1st Quartile		1.000		#/100ml

																								Median		1.500		#/100ml

																								3rd Quartile		3.500		#/100ml

																								Maximum		50.000		#/100ml

																								Interquartile Range		2.500		#/100ml

																								Mean		9.667		#/100ml

																								Standard Deviation		19.8

																								Relative Standard Deviation		204.9%

																								Standard Error		8.1

																								Variance		392.3

																								Coefficient of Skewness		242.4%





AllColiformConfinedBkg1985-1987

		

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				50.0000								No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				300.0000		!		300		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31507		Coliform, Total (MPN)				80.0000		!		80		!		Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31507		Coliform, Total (MPN)				0.0000				0				No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				50.0000		!						No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				170.0000		!		170		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31616		Coliform, Fecal (MF)				11.0000				11				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31616		Coliform, Fecal (MF)				14.0000				14				Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31616		Coliform, Fecal (MF)				0.0000				0				No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		* For multiple samples from the same well only the highest value is used.

																								Parameter Name		Total and Fecal Coliforms in Unconfined Floridan Wells Background Network 1996-1999

																								Total Wells		14

																								Number BDLs		2

																								Number MCL Exceedances		8

																								Percent MCL Exceedances		57%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.250		#/100ml

																								Median		12.500		#/100ml

																								3rd Quartile		30.000		#/100ml

																								Maximum		300.000		#/100ml

																								Interquartile Range		29.750		#/100ml

																								Mean		47.643		#/100ml

																								Standard Deviation		86.2

																								Relative Standard Deviation		180.9%

																								Standard Error		23.0

																								Variance		7426.2

																								Coefficient of Skewness		241.2%





ConTotalColiform1985-1987

		No Confined Aquifer sampled for biologicals from 1996-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		Trimmed_halfMDL_VALUE		Trimmed_HalfMDL_VAL_QUAL		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31507		Coliform, Total (MPN)				2				2				#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31507		Coliform, Total (MPN)				4				4				#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31507		Coliform, Total (MPN)				11				11				#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31507		Coliform, Total (MPN)				9				9				#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31507		Coliform, Total (MPN)				70				70				#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31507		Coliform, Total (MPN)				0				0		0		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31616		Coliform, Fecal (MF)				2				2				#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31507		Coliform, Total (MPN)				2				2				#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)				2				2				#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31507		Coliform, Total (MPN)				31		!		31				#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31616		Coliform, Fecal (MF)				4				4				#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31507		Coliform, Total (MPN)				4				4				#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

																								Parameter Name		Total and Fecal Coliforms in Confined Wells Background Network

																								Total Wells		72

																								Number BDLs		25

																								Number MCL Exceedances		0

																								Percent MCL Exceedances		0%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		0.500		#/100ml

																								3rd Quartile		1.000		#/100ml

																								Maximum		70.000		#/100ml

																								Interquartile Range		1.000		#/100ml

																								Mean		2.306		#/100ml

																								Standard Deviation		9.0

																								Relative Standard Deviation		391.0%

																								Standard Error		1.1

																								Variance		81.3

																								Coefficient of Skewness		661.2%





ConfFecalColiform1985-1987

		No Confined Aquifer sampled for biologicals from 1996-1999

		Below results for Confined Background Wells 1985-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31507		Coliform, Total (MPN)				4				4				No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31507		Coliform, Total (MPN)				11				11				Yes		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31507		Coliform, Total (MPN)				31		!		31		!		Yes		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

																								Parameter Name		Total Coliforms in Confined Wells Background Network 1985 -1999

																								Total Wells		24

																								Number BDLs		14

																								Number MCL Exceedances		2

																								Percent MCL Exceedances		8%

																								Minimum		0.000		#/100ml

																								1st Quartile		1.000		#/100ml

																								Median		1.000		#/100ml

																								3rd Quartile		1.250		#/100ml

																								Maximum		31.000		#/100ml

																								Interquartile Range		0.250		#/100ml

																								Mean		2.750		#/100ml

																								Standard Deviation		6.4

																								Relative Standard Deviation		232.8%

																								Standard Error		1.3

																								Variance		41.0

																								Coefficient of Skewness		415.0%





ConfinedFloridanBkg1985-1987

		No Confined Aquifer sampled for biologicals from 1996-1999

		Below results for Confined Background Wells 1985-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31616		Coliform, Fecal (MF)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

																								Parameter Name		Fecal Coliforms in Confined Wells Background Network 1985 -1999

																								Total Wells		24

																								Number BDLs		5

																								Number MCL Exceedances		0

																								Percent MCL Exceedances		0%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		0.000		#/100ml

																								3rd Quartile		0.250		#/100ml

																								Maximum		2.000		#/100ml

																								Interquartile Range		0.250		#/100ml

																								Mean		0.292		#/100ml

																								Standard Deviation		0.6

																								Relative Standard Deviation		188.6%

																								Standard Error		0.1

																								Variance		0.3

																								Coefficient of Skewness		180.0%





ConfinedIntermedBkg1985-1987

		No Confined Aquifer sampled for biologicals from 1996-1999

		Below results for Confined Background Wells 1985-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31616		Coliform, Fecal (MF)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31507		Coliform, Total (MPN)				4				4				No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31507		Coliform, Total (MPN)				11				11				Yes		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31507		Coliform, Total (MPN)				31		!		31		!		Yes		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

																								Parameter Name		Total and Fecal Coliforms in Confined Floridan Wells Background Network 1985 -1999

																								Total Wells		48

																								Number BDLs		19

																								Number MCL Exceedances		2

																								Percent MCL Exceedances		4%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		1.000		#/100ml

																								3rd Quartile		1.000		#/100ml

																								Maximum		31.000		#/100ml

																								Interquartile Range		1.000		#/100ml

																								Mean		1.521		#/100ml

																								Standard Deviation		4.7

																								Relative Standard Deviation		306.6%

																								Standard Error		0.7

																								Variance		21.7

																								Coefficient of Skewness		578.2%





		No Confined Aquifer sampled for biologicals from 1996-1999

		Below results for Confined Background Wells 1985-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31616		Coliform, Fecal (MF)				4				4				No		#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31507		Coliform, Total (MPN)				4				4				No		#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31507		Coliform, Total (MPN)				9				9				Yes		#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31507		Coliform, Total (MPN)				70				70				Yes		#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

																								Parameter Name		Total and Fecal Coliforms in Confined Intermediate Wells Background Network 1985 -1999

																								Total Wells		24

																								Number BDLs		6

																								Number MCL Exceedances		2

																								Percent MCL Exceedances		8%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		0.000		#/100ml

																								3rd Quartile		1.000		#/100ml

																								Maximum		70.000		#/100ml

																								Interquartile Range		1.000		#/100ml

																								Mean		3.875		#/100ml

																								Standard Deviation		14.2

																								Relative Standard Deviation		367.3%

																								Standard Error		2.9

																								Variance		202.5

																								Coefficient of Skewness		474.4%
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Bkgd SN Summary 1985-2000

		WELLS WERE SAMPLED FOR BIOLOGICAL ONLY DURING 1985-1987																						CHECK THESE - SOME ARE TOTAL AND FECAL COMBINED FOR BKG AND SN?														THIS COLOR IS FIXED IN DRAFT TABLES																Biological for Unconfined Aquifers

				CORRECTED 5/16/03																		FIX THIS ONE -= NOT DONE YET																																Parameter Name		T Coliform		F Coliform		E Coli		Enterococci

																																																						Units		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)

				TABLE B2.  WATER QUALITY IN BACKGROUND NETWORK WELLS (1985-1987)																		TABLE B1.  WATER QUALITY IN STATUS NETWORK WELLS (2000)																																Total Wells		30		30		30		30						TABLE B1.   STATUS NETWORK (2000) DESCRIPTIVE STATISTICS																		TABLE B2.   AMBIENT BACKGROUND NETWORK (1985-1987) DESCRIPTIVE STATISTICS																TABLE B?.   UNCONFINED AQUIFERS BACKGROUND NETWORK (1985-1987) TO STATUS NETWORK (2000)																						TABLE B?.   CONFINED AQUIFERS BACKGROUND NETWORK (1985-1987) TO STATUS NETWORK (2000)

																																																						Number BDLs		16		22		0		0

				TOTAL AND FECAL            COLIFORMS		Surficial		Unconfined Floridan		Confined Intermediate		Confined    Floridan		Total Observations								TOTAL AND FECAL            COLIFORMS		Surficial		Unconfined Floridan		Confined Intermediate		Confined    Floridan		Total Observations																						Number MCL Exceedances		14		6		N/A		N/A						TOTAL COLIFORMS				Surficial		Unconfined Floridan		Confined Intermediate		Confined    Floridan		Total Wells						TOTAL COLIFORMS				Surficial		Unconfined Floridan		Confined Intermediate		Confined    Floridan		Total Wells						TOTAL COLIFORMS				Surficial		Surficial		Unconfined Floridan		Unconfined Floridan												TOTAL COLIFORMS				Confined Intermediate		Confined Intermediate		Confined    Floridan		Confined    Floridan

				Nondetections		3		6		18		40		67		Exceptional						Nondetections		32		6		4		47		89																						Percent MCL Exceedances		47%		20%		N/A		N/A						Sampling Years				2000		2000		2000		2000		2000						Sampling Years				1985-1987		1985-1986		1985-1987		1985-1987		1985-1987						Sampling Years				1985-1987		2000		1985-1986		2000												Sampling Years				1985-1987		2000		1985-1987		2000

				Detections < = MCL		2		0		2		4		8		Suitable						Detections < = MCL		1		1		0		2		4																																				Minimum				0		0		0		0								Minimum				0		0		0		0								Minimum				0		0		0		0												Minimum				0		0		0		0

				Exceedances MCL		1		8		2		2		13		Unacceptable						Exceedances MCL		13		7		0		7		27																						Minimum		0.000		0.000		0.000		0.000						1st Quartile				0		11		0		0								1st Quartile				1		0		0		0								1st Quartile				1		0		0		11												1st Quartile				0		0		0		0

				Total Observations		6		14		22		46		88								Total Observations		46		14		4		56		120																						1st Quartile		0.000		0.000		0.000		0.000						Median				0		20		0		0								Median				3		14		0		1								Median				3		0		14		20												Median				0		0		1		0

				Percent MCL Exceedances		17%		57%		9%		4%		15%								Percent MCL Exceedances		28%		50%		0%		13%		23%																						Median		0.000		0.000		0.000		0.000						3rd Quartile				28		30		0		0								3rd Quartile				16		30		1		1								3rd Quartile				16		28		30		30												3rd Quartile				1		0		1		0

																																																						3rd Quartile		35.000		1.500		0.000		25.000						Maximum				1200		2000		0		40								Maximum				50		300		70		31								Maximum				50		1200		300		2000												Maximum				70		0		31		40

																																																						Maximum		2000.000		900.000		1000.000		1300.000						Total Wells				23		7		2		28		60						Total Wells				4		13		24		48		89						Total Wells				4		23		13		7												Total Wells				24		2		48		28

																																																						Interquartile Range		35.000		1.500		0.000		25.000						Number BDLs				15		1		2		23		41						Number BDLs				1		1		6		19		27						Number BDLs				1		15		1		1												Number BDLs				6		2		19		23

																																																						Mean		150.567		35.167		34.800		64.067						Number MCL Exceedances				8		6		0		5		19						Number MCL Exceedances				1		8		2		2		13						Number MCL Exceedances				1		8		8		6												Number MCL Exceedances				2		0		2		5

																																																																				Percent MCL Exceedances				35%		86%		0%		18%		32%						Percent MCL Exceedances				25%		62%		8%		4%		15%						Percent MCL Exceedances				25%		35%		62%		86%												Percent MCL Exceedances				8%		0%		4%		18%

																																																						Standard Deviation		429.0		163.9		182.4		239.9

																																																						Relative Standard Deviation		284.9%		466.1%		524.1%		374.4%

																																																						Standard Error		78.3		29.9		33.3		43.8

								* Based on Total and Fecal Coliforms																* Based on Total and Fecal Coliforms

				FECAL AND TOTAL												FECAL AND TOTAL																																						Variance		184033.1		26863.5		33263.6		57550.5

				UNCONFINED WELLS												CONFINED WELLS												TOTAL COLIFORMS								FECAL COLIFORMS																		Coefficient of Skewness		354.5%		541.9%		546.9%		506.8%

				Unconfined Wells Background Network 1985-1987												Confined Wells Background Network 1985 -1987								Unconfined Wells Background Network 1985-1987										Unconfined Wells Background Network 1985-1987

				Parameter Name		Total and Fecal Coliforms in Unconfined Wells Background Network										Parameter Name		Total and Fecal Coliforms								Parameter Name		Total Coliforms in Unconfined Wells Background Network 1996-1999								Parameter Name		Fecal Coliforms in Unconfined Wells Background Network																																																Unconfined Surficial Wells Background Network

				Total Observations		20										Total Wells		72								Total Wells		10								Total Wells		10																																																Parameter Name		Total and Fecal Coliforms

				Number BDLs		9										Number BDLs		25								Number BDLs		3								Number BDLs		5																																																Total Wells		6

				Number MCL Exceedances		9										Number MCL Exceedances		0								Number MCL Exceedances		5								Number MCL Exceedances		4																																																Number BDLs		2

				Percent MCL Exceedances		45%										Percent MCL Exceedances		0%								Percent MCL Exceedances		50%								Percent MCL Exceedances		40%																Biological for Surficial Aquifer																																Number MCL Exceedances		1

																																																																																						Percent MCL Exceedances		17%

				Minimum		0.000		#/100ml								Minimum		0.000		#/100ml						Minimum		0.000		#/100ml						Minimum		0.000		#/100ml														Parameter Name		T Coliform		F Coliform		E Coli		Enterococci

				1st Quartile		0.750		#/100ml								1st Quartile		0.000		#/100ml						1st Quartile		1.000		#/100ml						1st Quartile		0.000		#/100ml														Units		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)

				Median		3.000		#/100ml								Median		0.500		#/100ml						Median		16.000		#/100ml						Median		2.500		#/100ml

				3rd Quartile		30.000		#/100ml								3rd Quartile		1.000		#/100ml						3rd Quartile		45.000		#/100ml						3rd Quartile		13.250		#/100ml														Total Wells		23		23		23		23

				Maximum		300.000		#/100ml								Maximum		70.000		#/100ml						Maximum		300.000		#/100ml						Maximum		170.000		#/100ml														Number BDLs		15		17		0		0

				Interquartile Range		29.250		#/100ml								Interquartile Range		1.000		#/100ml						Interquartile Range		44.000		#/100ml						Interquartile Range		13.250		#/100ml														Number MCL Exceedances		8		5		N/A		N/A

				Mean		36.250		#/100ml								Mean		2.306		#/100ml						Mean		49.500		#/100ml						Mean		23.000		#/100ml														Percent MCL Exceedances		35%		22%		N/A		N/A

				Standard Deviation		74.2										Standard Deviation		9.0								Standard Deviation		92.0								Standard Deviation		52.5																Minimum		0.000		0.000		0.000		0.000

				Relative Standard Deviation		204.6%										Relative Standard Deviation		391.0%								Relative Standard Deviation		185.9%								Relative Standard Deviation		228.4%																1st Quartile		0.000		0.000		0.000		0.000

				Standard Error		16.6										Standard Error		1.1								Standard Error		29.1								Standard Error		16.6																Median		0.000		0.000		0.000		0.000

				Variance		5503.1										Variance		81.3								Variance		8467.2								Variance		2760.4																3rd Quartile		27.500		2.000		0.000		15.000

				Coefficient of Skewness		291.0%										Coefficient of Skewness		661.2%								Coefficient of Skewness		270.3%								Coefficient of Skewness		297.7%																Maximum		1200.000		900.000		1000.000		290.000

																																																						Interquartile Range		27.500		2.000		0.000		15.000

																																																						Mean		105.000		45.348		45.043		21.739

																								Confined Wells Background Network 1985 -1999										Confined Wells Background Network 1985 -1999

		Unconfined Floridan Wells Background Network 1996-1999														Confined Floridan Wells Background Network 1985 -1999										Parameter Name		Total Coliforms in Confined Wells Background Network 1985 -1999								Parameter Name		Fecal Coliforms in Confined Wells Background Network 1985 -1999																Standard Deviation		282.9		186.9		208.3		61.4

				Parameter Name		Total and Fecal Coliforms in Unconfined Floridan Wells Background Network 1996-1999										Parameter Name		Total and Fecal Coliforms in Confined Floridan Wells Background Network 1985 -1999								Total Wells		24								Total Wells		24																Relative Standard Deviation		269.4%		412.2%		462.4%		282.6%

				Total Observations		14										Total Observations		46								Number BDLs		14								Number BDLs		5																Standard Error		59.0		39.0		43.4		12.8

				Number BDLs		6										Number BDLs		40								Number MCL Exceedances		2								Number MCL Exceedances		0																Variance		80038.6		34942.7		43376.0		3773.6

				Number MCL Exceedances		8										Number MCL Exceedances		2								Percent MCL Exceedances		8%								Percent MCL Exceedances		0%																Coefficient of Skewness		331.1%		474.5%		478.9%		413.6%

				Percent MCL Exceedances		57%										Percent MCL Exceedances		4%

																										Minimum		0.000		#/100ml						Minimum		0.000		#/100ml

				Minimum		0.000		#/100ml								Minimum		0.000		#/100ml						1st Quartile		1.000		#/100ml						1st Quartile		0.000		#/100ml														Biological for Unconfined Floridan

				1st Quartile		0.250		#/100ml								1st Quartile		0.000		#/100ml						Median		1.000		#/100ml						Median		0.000		#/100ml

				Median		12.500		#/100ml								Median		1.000		#/100ml						3rd Quartile		1.250		#/100ml						3rd Quartile		0.250		#/100ml														Parameter Name		T Coliform		F Coliform		E Coli		Enterococci

				3rd Quartile		30.000		#/100ml								3rd Quartile		1.000		#/100ml						Maximum		31.000		#/100ml						Maximum		2.000		#/100ml														Units		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)

				Maximum		300.000		#/100ml								Maximum		31.000		#/100ml						Interquartile Range		0.250		#/100ml						Interquartile Range		0.250		#/100ml

				Interquartile Range		29.750		#/100ml								Interquartile Range		1.000		#/100ml						Mean		2.750		#/100ml						Mean		0.292		#/100ml														Total Wells		7		7		7		7

				Mean		47.643		#/100ml								Mean		1.565		#/100ml																																		Number BDLs		1		5		0		0

																										Standard Deviation		6.4								Standard Deviation		0.6																Number MCL Exceedances		6		1		N/A		N/A

				Standard Deviation		86.2										Standard Deviation		4.8								Relative Standard Deviation		232.8%								Relative Standard Deviation		188.6%																Percent MCL Exceedances		86%		14%		N/A		N/A

				Relative Standard Deviation		180.9%										Relative Standard Deviation		304.1%								Standard Error		1.3								Standard Error		0.1

				Standard Error		23.0										Standard Error		0.7								Variance		41.0								Variance		0.3																Minimum		0.000		0.000		0.000		0.000

				Variance		7426.2										Variance		22.7								Coefficient of Skewness		415.0%								Coefficient of Skewness		180.0%																1st Quartile		11.000		0.000		0.000		2.000

				Coefficient of Skewness		241.2%										Coefficient of Skewness		566.2%																																				Median		20.000		0.000		0.000		14.000

																																																						3rd Quartile		30.000		1.000		1.000		52.000

																																																						Maximum		2000.000		10.000		6.000		1300.000

				Unconfined Surficial Wells Background Network												Confined Intermediate Wells Background Network 1985 -1999																																						Interquartile Range		19.000		1.000		1.000		50.000

				Parameter Name		Total and Fecal Coliforms in Unconfined Surficial Wells Background Network 1996-1999										Parameter Name		Total and Fecal Coliforms in Confined Intermediate Wells Background Network 1985 -1999																																				Mean		300.286		1.714		1.143		203.143

				Total Wells		6										Total Observations		22

				Number BDLs		3										Number BDLs		18																																				Standard Deviation		749.6		3.7		2.3		484.7

				Number MCL Exceedances		1										Number MCL Exceedances		2																																				Relative Standard Deviation		249.6%		217.5%		198.4%		238.6%

				Percent MCL Exceedances		17%										Percent MCL Exceedances		9%																																				Standard Error		283.3		1.4		0.9		183.2

																																																						Variance		561907.2		13.9		5.1		234890.5

				Minimum		0.000		#/100ml								Minimum		0.000		#/100ml																																		Coefficient of Skewness		264.4%		244.7%		215.6%		262.4%

				1st Quartile		1.000		#/100ml								1st Quartile		0.000		#/100ml

				Median		1.500		#/100ml								Median		0.000		#/100ml

				3rd Quartile		3.500		#/100ml								3rd Quartile		1.000		#/100ml																																		Biological for Confined Floridan

				Maximum		50.000		#/100ml								Maximum		70.000		#/100ml

				Interquartile Range		2.500		#/100ml								Interquartile Range		1.000		#/100ml																																		Parameter Name		T Coliform		F Coliform		E Coli		Enterococci

				Mean		9.667		#/100ml								Mean		4.227		#/100ml																																		Units		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)		(MF) (#/100ml)

				Standard Deviation		19.8										Standard Deviation		14.8																																				Total Wells		28		28		28		28

				Relative Standard Deviation		204.9%										Relative Standard Deviation		351.1%																																				Number BDLs		23		24		0		0

				Standard Error		8.1										Standard Error		3.2																																				Number MCL Exceedances		5		2		N/A		N/A

				Variance		392.3										Variance		220.3																																				Percent MCL Exceedances		18%		7%		N/A		N/A

				Coefficient of Skewness		242.4%										Coefficient of Skewness		454.3%

																																																						Minimum		0.000		0.000		0.000		0.000

																																																						1st Quartile		0.000		0.000		0.000		0.000

																																																						Median		0.000		0.000		0.000		0.000

																																																						3rd Quartile		0.000		0.000		0.000		0.000

																																																						Maximum		40.000		8.000		2.000		124.000

																																																						Interquartile Range		0.000		0.000		0.000		0.000

																																																						Mean		3.214		0.786		0.071		4.786

																																																						Standard Deviation		8.6		2.2		0.4		23.4

																																																						Relative Standard Deviation		268.5%		280.0%		529.2%		488.9%





Bkgd SN Summary 1985-2000
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AllColiformMaster 1985-1987
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UnconSNTotalFecalColiform2000

		No Confined Aquifer sampled for biologicals from 1996-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		Trimmed_halfMDL_VALUE		Trimmed_HalfMDL_VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U				U		No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31616		Coliform, Fecal (MF)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				300.0000		!		300		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				170.0000		!		170		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31507		Coliform, Total (MPN)				80.0000		!		80		!		Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31507		Coliform, Total (MPN)				70				70				Yes		#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				50.0000								No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				50.0000		!						No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31507		Coliform, Total (MPN)				50.0000				50				Yes		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31507		Coliform, Total (MPN)				31		!		31				Yes		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31616		Coliform, Fecal (MF)				14.0000				14				Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31507		Coliform, Total (MPN)				11				11				Yes		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31616		Coliform, Fecal (MF)				11.0000				11				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31507		Coliform, Total (MPN)				9				9				Yes		#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31507		Coliform, Total (MPN)				4				4				No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31507		Coliform, Total (MPN)				4				4				No		#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31616		Coliform, Fecal (MF)				4				4				No		#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31616		Coliform, Fecal (MF)				4.0000				4				No		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31616		Coliform, Fecal (MF)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31507		Coliform, Total (MPN)				2.0000				2				No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31507		Coliform, Total (MPN)				0								No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31616		Coliform, Fecal (MF)				0								No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)				0								No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31507		Coliform, Total (MPN)				0.0000				0		U		No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		* For multiple samples from the same well only the highest value is used.																						Parameter Name		Total and Fecal Coliforms in Unconfined and Confined Wells Background Network

																								Total Observations		88				Total Wells		43

																								Number BDLs		67

																								Number MCL Exceedances		13

																								Percent MCL Exceedances		15%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		1.000		#/100ml

																								3rd Quartile		1.250		#/100ml

																								Maximum		300.000		#/100ml

																								Interquartile Range		1.250		#/100ml

																								Mean		10.114		#/100ml

																								Standard Deviation		38.4

																								Relative Standard Deviation		379.2%

																								Standard Error		4.1

																								Variance		1471.2

																								Coefficient of Skewness		605.2%

																										* For multiple samples from the same well only the highest value is used for each analyte.





AllSN2000DescTableColiforms

		STATUS NETWORK UNCONFINED TOTAL+FECAL COLIFORMS

		Unconfined Total and Fecal

		Surficial

		Parameter Name		Coliform, Total (MF)				Coliform, Fecal (MF)

		Total Wells		23				23

		Number BDLs		15				17

		Number MCL Exceedances		8				5

		Percent MCL Exceedances		35%				22%

		Unconfined Floridan

		Parameter Name		Coliform, Total (MF)				Coliform, Fecal (MF)

		Total Wells		7				7

		Number BDLs		1				5

		Number MCL Exceedances		6				1

		Percent MCL Exceedances		86%				14%

		Intermediate

		Parameter Name		Coliform, Total (MF)				Coliform, Fecal (MF)

		Total Wells		2				2

		Number BDLs		2				2

		Number MCL Exceedances		0				0

		Percent MCL Exceedances		0%				0%

		Confined Floridan

		Total Wells		28		28

		Number BDLs		23		24

		Number MCL Exceedances		5		2

		Percent MCL Exceedances		18%		7%





ComparisonsBkgSN

		

				TABLE ?.  ARE THE DETECTIONS OF TOTAL COLIFORMS RELATED TO AQUIFERS

				Aquifer		Surficial		Intermediate		Unconfined Fl		Confined Fl		Total Wells

				Nondetections		15		2		1		23		41

				Detections < = MCL		0		0		0		0		0

				Exceedances MCL		8		0		6		5		19

				Total Wells		23		2		7		28		60

				Percent MCL Exceedances		35%		0%		86%		18%		32%





SNFecalIndicatorSummaryUnc&Conf

		

				TABLE B9.   COMPARISON OF UNCONFINED AQUIFER POPULATIONS																						TABLE B10.   COMPARISON OF CONFINED AQUIFER POPULATIONS

				BACKGROUND NETWORK (1985-1987) TO STATUS NETWORK (2000)																						BACKGROUND NETWORK (1985-1987) TO STATUS NETWORK (2000)

				TOTAL COLIFORMS				Surficial		Surficial		Unconfined Floridan		Unconfined Floridan												TOTAL COLIFORMS				Confined Intermediate		Confined Intermediate		Confined    Floridan		Confined    Floridan

				Sampling Years				1985-1987		2000		1985-1986		2000												Sampling Years				1985-1987		2000		1985-1987		2000

				Minimum				0		0		0		0												Minimum				0		0		0		0

				1st Quartile				1		0		0		11												1st Quartile				0		0		0		0

				Median				3		0		14		20												Median				0		0		1		0

				3rd Quartile				16		28		30		30												3rd Quartile				1		0		1		0

				Maximum				50		1200		300		2000												Maximum				70		0		31		40

				Total Wells				4		23		13		7												Total Wells				24		2		48		28

				Number BDLs				1		15		1		1												Number BDLs				6		2		19		23

				Number MCL Exceedances				1		8		8		6												Number MCL Exceedances				2		0		2		5

				Percent MCL Exceedances				25%		35%		62%		86%												Percent MCL Exceedances				8%		0%		4%		18%





FColiformUnconfBkgd1985-1987

		

				Table B4.   Fecal Indicator Analytes for Unconfined Aquifers																Table B5.   Fecal Indicator Analytes for Confined Aquifers

				Parameter Name                     Units  (#/100ml)				Total Coliform		Fecal Coliform		E. Coli		Enterococci						Parameter Name                     Units  (#/100ml)				Total Coliform		Fecal Coliform		E. Coli		Enterococci

				Sampling Years				2000		2000		2000		2000						Sampling Years				2000		2000		2000		2000

				Minimum				0		0		0		0						Minimum				0		0		0		0

				1st Quartile				0		0		0		0						1st Quartile				0		0		0		0

				Median				0		0		0		0						Median				0		0		0		0

				3rd Quartile				35		2		0		25						3rd Quartile				0		0		0		0

				Maximum				2000		900		1000		1300						Maximum				40		8		2		124

				Interquartile Range				35.0		1.5		0.0		25.0						Interquartile Range				0.0		0.0		0.0		0.0

				Mean				150.6		35.2		34.8		64.1						Mean				3.0		0.7		0.1		4.6

				Total Wells				30		30		30		30						Total Wells				30		30		30		30

				Number BDLs				16		22		0		0						Number BDLs				25		26		0		0

				Number MCL Exceedances				14		6		N/A		N/A						Number MCL Exceedances				5		2		N/A		N/A

				Percent MCL Exceedances				47%		20%		N/A		N/A						Percent MCL Exceedances				17%		7%		N/A		N/A





TcoliformUnconfBkgd1985-1987

		

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				50.0000		!						No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				170.0000		!		170		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31616		Coliform, Fecal (MF)				11.0000				11				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31616		Coliform, Fecal (MF)				14.0000				14				Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31616		Coliform, Fecal (MF)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31616		Coliform, Fecal (MF)				4.0000				4				No		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		* For multiple samples from the same well only the highest value is used.

																								Parameter Name		Fecal Coliforms in Unconfined Wells Background Network

																								Total Wells		10

																								Number BDLs		5

																								Number MCL Exceedances		4

																								Percent MCL Exceedances		40%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		2.500		#/100ml

																								3rd Quartile		13.250		#/100ml

																								Maximum		170.000		#/100ml

																								Interquartile Range		13.250		#/100ml

																								Mean		23.000		#/100ml

																								Standard Deviation		52.5

																								Relative Standard Deviation		228.4%

																								Standard Error		16.6

																								Variance		2760.4

																								Coefficient of Skewness		297.7%





UnconfSurficialBkg1986-1987

		

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31507		Coliform, Total (MPN)				2.0000				2				No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31507		Coliform, Total (MPN)				50.0000				50				Yes		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31507		Coliform, Total (MPN)				0.0000				0				No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				50.0000								No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				300.0000		!		300		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31507		Coliform, Total (MPN)				80.0000		!		80		!		Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		* For multiple samples from the same well only the highest value is used.

																								Parameter Name		Total Coliforms in Unconfined Wells Background Network

																								Total Wells		10

																								Number BDLs		3

																								Number MCL Exceedances		5

																								Percent MCL Exceedances		50%

																								Minimum		0.000		#/100ml

																								1st Quartile		1.000		#/100ml

																								Median		16.000		#/100ml

																								3rd Quartile		45.000		#/100ml

																								Maximum		300.000		#/100ml

																								Interquartile Range		44.000		#/100ml

																								Mean		49.500		#/100ml

																								Standard Deviation		92.0

																								Relative Standard Deviation		185.9%

																								Standard Error		29.1

																								Variance		8467.2

																								Coefficient of Skewness		270.3%





UnconfFloridanBkg1985-1986

		

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31616		Coliform, Fecal (MF)				4.0000				4				No		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31507		Coliform, Total (MPN)				50.0000				50				Yes		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31616		Coliform, Fecal (MF)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31507		Coliform, Total (MPN)				2.0000				2				No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		* For multiple samples from the same well only the highest value is used.

																								Parameter Name		Total and Fecal Coliforms in Unconfined Surficial Wells Background Network 1996-1999

																								Total Wells		6

																								Number BDLs		3

																								Number MCL Exceedances		1

																								Percent MCL Exceedances		17%

																								Minimum		0.000		#/100ml

																								1st Quartile		1.000		#/100ml

																								Median		1.500		#/100ml

																								3rd Quartile		3.500		#/100ml

																								Maximum		50.000		#/100ml

																								Interquartile Range		2.500		#/100ml

																								Mean		9.667		#/100ml

																								Standard Deviation		19.8

																								Relative Standard Deviation		204.9%

																								Standard Error		8.1

																								Variance		392.3

																								Coefficient of Skewness		242.4%





AllColiformConfinedBkg1985-1987

		new

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				50.0000		!						No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				170.0000		!		170		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				50.0000								No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				300.0000		!		300		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31616		Coliform, Fecal (MF)				11.0000				11				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31616		Coliform, Fecal (MF)				14.0000				14				Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31507		Coliform, Total (MPN)				80.0000		!		80		!		Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31507		Coliform, Total (MPN)				0.0000				0		U		No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

																								Parameter Name		Total and Fecal Coliforms in Unconfined Floridan Wells Background Network 1996-1999

																								Total Observations		14

																								Number BDLs		6

																								Number MCL Exceedances		8

																								Percent MCL Exceedances		57%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.250		#/100ml

																								Median		12.500		#/100ml

																								3rd Quartile		30.000		#/100ml

																								Maximum		300.000		#/100ml

																								Interquartile Range		29.750		#/100ml

																								Mean		47.643		#/100ml

																								Standard Deviation		86.2

																								Relative Standard Deviation		180.9%

																								Standard Error		23.0

																								Variance		7426.2

																								Coefficient of Skewness		241.2%





ConTotalColiform1985-1987

		No Confined Aquifer sampled for biologicals from 1996-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		Trimmed_halfMDL_VALUE		Trimmed_HalfMDL_VAL_QUAL		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31507		Coliform, Total (MPN)				2				2				#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31507		Coliform, Total (MPN)				4				4				#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31507		Coliform, Total (MPN)				11				11				#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31507		Coliform, Total (MPN)				9				9				#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31507		Coliform, Total (MPN)				70				70				#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31507		Coliform, Total (MPN)				0				0		0		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31507		Coliform, Total (MPN)				0				0				#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31616		Coliform, Fecal (MF)				0								#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31507		Coliform, Total (MPN)				0								#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31616		Coliform, Fecal (MF)				2				2				#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31507		Coliform, Total (MPN)				2				2				#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)				0								#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U						#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)				2				2				#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31507		Coliform, Total (MPN)				31		!		31				#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31616		Coliform, Fecal (MF)				4				4				#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31507		Coliform, Total (MPN)				4				4				#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

																								Parameter Name		Total and Fecal Coliforms in Confined Wells Background Network

																								Total Observations		68

																								Number BDLs		24

																								Number MCL Exceedances		0

																								Percent MCL Exceedances		0%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		1.000		#/100ml

																								3rd Quartile		1.000		#/100ml

																								Maximum		70.000		#/100ml

																								Interquartile Range		1.000		#/100ml

																								Mean		2.426		#/100ml

																								Standard Deviation		9.3

																								Relative Standard Deviation		381.8%

																								Standard Error		1.1

																								Variance		85.8

																								Coefficient of Skewness		642.6%





ConfFecalColiform1985-1987

		No Confined Aquifer sampled for biologicals from 1996-1999

		Below results for Confined Background Wells 1985-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31507		Coliform, Total (MPN)				4				4				No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31507		Coliform, Total (MPN)				11				11				Yes		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31507		Coliform, Total (MPN)				31		!		31		!		Yes		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31507		Coliform, Total (MPN)				0				0				No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

																								Parameter Name		Total Coliforms in Confined Wells Background Network 1985 -1999

																								Total Wells		24

																								Number BDLs		14

																								Number MCL Exceedances		2

																								Percent MCL Exceedances		8%

																								Minimum		0.000		#/100ml

																								1st Quartile		1.000		#/100ml

																								Median		1.000		#/100ml

																								3rd Quartile		1.250		#/100ml

																								Maximum		31.000		#/100ml

																								Interquartile Range		0.250		#/100ml

																								Mean		2.750		#/100ml

																								Standard Deviation		6.4

																								Relative Standard Deviation		232.8%

																								Standard Error		1.3

																								Variance		41.0

																								Coefficient of Skewness		415.0%





ConfinedFloridanBkg1985-1987

		No Confined Aquifer sampled for biologicals from 1996-1999

		Below results for Confined Background Wells 1985-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31616		Coliform, Fecal (MF)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31616		Coliform, Fecal (MF)				0				0				No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

																								Parameter Name		Fecal Coliforms in Confined Wells Background Network 1985 -1999

																								Total Wells		24

																								Number BDLs		5

																								Number MCL Exceedances		0

																								Percent MCL Exceedances		0%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		0.000		#/100ml

																								3rd Quartile		0.250		#/100ml

																								Maximum		2.000		#/100ml

																								Interquartile Range		0.250		#/100ml

																								Mean		0.292		#/100ml

																								Standard Deviation		0.6

																								Relative Standard Deviation		188.6%

																								Standard Error		0.1

																								Variance		0.3

																								Coefficient of Skewness		180.0%





ConfinedIntermedBkg1985-1987

		No Confined Aquifer sampled for biologicals from 1996-1999						Below results for Confined Background Wells 1985-1999

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302531083550201		-10403007		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302532.727		835504.698		19860418		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		DGPS		A		30		25		31.727		83		55		1.582		235		255		X		JEFFERSON

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302548084005901		-10303001		FLORIDAN AQUIFER SYSTEM		3120001		302548		840059		19851017		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		MMAP		A		30		25		48.723		84		0		58.595		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302615083592001		10336001		FLORIDAN AQUIFER SYSTEM		3120001		302615		835920		19851017		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		MMAP		A		30		26		15.724		83		59		19.605		0				L		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

		302617083594501		10335002		FLORIDAN AQUIFER SYSTEM, UPPER		3120001		302617		835945		19851017		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		MMAP		A		30		26		17.729		83		59		44.601		206		252		L		JEFFERSON

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)				0						U				#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		300436084251902		WELL # 2 SOPCHOPPY		FLORIDAN AQUIFER SYSTEM		3120003		300437.2		842511.3		19860225		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		4		37.198		84		25		11.306		85		200		S		WAKULLA

		300645084223701		WAKULLA PK/REC WELL		FLORIDAN AQUIFER SYSTEM		3120001		300654.8		842236.9		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		6		54.803		84		22		36.895		35		120		S		WAKULLA

		301035084403701		USFS PORTER LAKE		FLORIDAN AQUIFER SYSTEM		3120003		301036.6		844037.5		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		10		36.597		84		40		37.509		88		110		S		LIBERTY

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		302002084485401		TIMBER ENERGY RES #1		FLORIDAN AQUIFER SYSTEM		3120003		302004.1		844858.6		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		20		4.102		84		48		58.595		477		658		S		LIBERTY

		302650084581001		BRISTOL #1 (ANNEX)		FLORIDAN AQUIFER SYSTEM		3120003		302634.4		845815.4		19860304		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		26		34.397		84		58		15.411		182		344		S		LIBERTY

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U								#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

		303109084275401		NWFWMD PRODUCTION		FLORIDAN AQUIFER SYSTEM		3120003		303107.1		842751.3		19860302		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		7.099		84		27		51.296		237		360		P		GADSDEN

		303147083551101		IFAS #4		FLORIDAN AQUIFER SYSTEM		3120001		303147.7		835511.8		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		31		47.7		83		55		11.802		166		256		S		JEFFERSON

		303254083520901		MONTICELLO #1		FLORIDAN AQUIFER SYSTEM		3120001		303254.2		835209.4		19860722		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		32		54.202		83		52		9.401		146		339		S		JEFFERSON

		303403083523002		STEVE WALKER DEEP		FLORIDAN AQUIFER SYSTEM		3120001		303403		835230		19860731		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		34		2.996		83		52		30.001		105		160		S		JEFFERSON

		303437084345001		OLD EXPERIMENTAL STA		FLORIDAN AQUIFER SYSTEM		3120003		303437.4		843450.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		34		37.405		84		34		50.313		434		681		S		GADSDEN

		303614084391101		QUINCY TOWER		FLORIDAN AQUIFER SYSTEM		3120003		303613.7		843911.3		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		36		13.699		84		39		11.294		289		317		Z		GADSDEN

		303917084245301		HAVANA #4		FLORIDAN AQUIFER SYSTEM		3120003		303914.6		842450.5		19861203		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		14.604		84		24		50.488		418		606		S		GADSDEN

		303931084362401		ST JOHNS ELEM SCHOOL		FLORIDAN AQUIFER SYSTEM		3120003		303931		843624.2		19860814		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		39		31.001		84		36		24.192		283		426		Z		GADSDEN

		301115084241201		USGS ARRAN WORK CENTER		FLORIDAN AQUIFER SYSTEM		3120001		301114.1		842412.2		19860225		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		DGPS		E		30		11		14.101		84		24		12.201		75		129		S		WAKULLA

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31616		Coliform, Fecal (MF)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302901084372801		CHASON/WETUMPKA		FLORIDAN AQUIFER SYSTEM		3120003		302901		843728		19860909		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		0.996		84		37		27.995		240		310		S		GADSDEN

		302912084013501		BIG BEND RESTAURANT		FLORIDAN AQUIFER SYSTEM		3120001		302912		840135		19860722		0		1		31507		Coliform, Total (MPN)				2				2				No		#/100ml		MMAP		A		30		29		12.003		84		1		35.005		102		139		S		JEFFERSON

		301545084214301		JR. FOOD STORE #356		FLORIDAN AQUIFER SYSTEM		3120001		301545		842143		19860225		0		1		31507		Coliform, Total (MPN)				4				4				No		#/100ml		MMAP		A		30		15		45.003		84		21		43.006		24		51		S		WAKULLA

		301831084365601		OTTER CAMP FLORIDAN		FLORIDAN AQUIFER SYSTEM		3120003		301830.9		843656.2		19870429		0		1		31507		Coliform, Total (MPN)				11				11				Yes		#/100ml		DGPS		E		30		18		30.896		84		36		56.189		218		255		X		LEON

		303001083553401		JOSEPH BELLAMY		FLORIDAN AQUIFER SYSTEM		3120001		303000.8		835535.5		19860224		0		1		31507		Coliform, Total (MPN)				31		!		31		!		Yes		#/100ml		DGPS		E		30		30		0.796		83		55		35.504		139		175		S		JEFFERSON

																								Parameter Name		Total and Fecal Coliforms in Confined Floridan Wells Background Network 1985 -1999

																								Total Observations		46

																								Number BDLs		40

																								Number MCL Exceedances		2

																								Percent MCL Exceedances		4%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		1.000		#/100ml

																								3rd Quartile		1.000		#/100ml

																								Maximum		31.000		#/100ml

																								Interquartile Range		1.000		#/100ml

																								Mean		1.565		#/100ml

																								Standard Deviation		4.8

																								Relative Standard Deviation		304.1%

																								Standard Error		0.7

																								Variance		22.7

																								Coefficient of Skewness		566.2%





AllColiformsUnconfBkgd1985-1987

		No Confined Aquifer sampled for biologicals from 1996-1999						Below results for Confined Background Wells 1985-1999

		NEW

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301831084365602		OTTER CAMP INT SAND		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.5		843656.1		19870429		0		1		31507		Coliform, Total (MPN)				9				9				Yes		#/100ml		DGPS		E		30		18		30.499		84		36		56.107		128		138		X		LEON

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31616		Coliform, Fecal (MF)		<		2		U		1		U		No		#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

		301831084365603		OTTER CAMP INT L.S.		INTERMEDIATE AQUIFER SYSTEM		3120003		301830.7		843656.3		19870429		0		1		31507		Coliform, Total (MPN)				70				70				Yes		#/100ml		DGPS		E		30		18		30.705		84		36		56.299		70		90		X		LEON

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302002084490601		TIMBER ENERGY RES #3		INTERMEDIATE AQUIFER SYSTEM		3120003		302004		844907		19860723		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		20		3.999		84		49		7		80		160		X		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302321084473501		C.W. ROBERTS		INTERMEDIATE AQUIFER SYSTEM		3120003		302621.1		844735.1		19860701		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		DGPS		E		30		26		21.097		84		47		35.099		70		85		Z		LIBERTY

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550301		-10403006		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.886		835504.979		19860329		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		DGPS		A		30		25		31.728		83		55		2.598		165		185		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550401		-10403004		INTERMEDIATE AQUIFER SYSTEM		3120001		302532.807		835505.142		19860418		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		DGPS		A		30		25		31.726		83		55		3.586		40		60		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302531083550501		-10403005		INTERMEDIATE AQUIFER SYSTEM		3120001		302533.371		835505.089		19860311		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		DGPS		A		30		25		31.727		83		55		4.575		110		130		X		JEFFERSON

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302534084370901		DRAKE ACRES T.E.C.		INTERMEDIATE AQUIFER SYSTEM		3120003		302534		843709		19860818		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		25		34		84		37		8.989		148		196		S		GADSDEN

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302557083561601		10428002		INTERMEDIATE AQUIFER SYSTEM		3120001		302657		835616		19851017		0		1		31507		Coliform, Total (MPN)				0				0		U		No		#/100ml		MMAP		A		30		26		57.728		83		56		15.579		80		102		L		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31616		Coliform, Fecal (MF)												No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31616		Coliform, Fecal (MF)				0				0		U		No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19851017		0		1		31507		Coliform, Total (MPN)												No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		302638084033601		LOUIS ROTHMAN		INTERMEDIATE AQUIFER SYSTEM		3120001		302638		840336		19860224		0		1		31507		Coliform, Total (MPN)		<		2		U		1		U		No		#/100ml		MMAP		A		30		26		38.002		84		3		35.991		96		140		S		JEFFERSON

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31616		Coliform, Fecal (MF)				4				4				No		#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

		303109084275402		NWFWMD INTERMEDIATE		INTERMEDIATE AQUIFER SYSTEM		3120001		303109		842754		19860302		0		1		31507		Coliform, Total (MPN)				4				4				No		#/100ml		MMAP		A		30		31		9.002		84		27		53.987		81		96		V		GADSDEN

																								Parameter Name		Total and Fecal Coliforms in Confined Intermediate Wells Background Network 1985 -1999

																								Total Observations		22

																								Number BDLs		18

																								Number MCL Exceedances		2

																								Percent MCL Exceedances		9%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.000		#/100ml

																								Median		0.000		#/100ml

																								3rd Quartile		1.000		#/100ml

																								Maximum		70.000		#/100ml

																								Interquartile Range		1.000		#/100ml

																								Mean		4.227		#/100ml

																								Standard Deviation		14.8

																								Relative Standard Deviation		351.1%

																								Standard Error		3.2

																								Variance		220.3

																								Coefficient of Skewness		454.3%





		

		CHECK BEFORE USING

		STATION_ID		STATION		WATERBODY		USGS_HYDRO		LATITUDE		LONGITUDE		SAMP_DATE		SAMP_TIME		SAMP_SEQ		STORET		PARAMETER		BDL		VALUE		VAL_QUAL		BkgdHalfMDL		VAL_QUAL		MCL_VIOLATION		UNITS		LOC_METHOD		LOC_DATUM		LAT_DD		LAT_MM		LAT_SS		LONG_DD		LONG_MM		LONG_SS		CASE_DEPTH		TOT_DEPTH		CASE_MAT		COUNTYNAME		INACTIVE

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		300516084094801		REFUGE HEADQUARTERS		FLORIDAN AQUIFER SYSTEM		03120001		300516		840948		19860729		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		MMAP		A		30		5		16.002		84		9		47.988		45.00		65.00		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				50.0000		!						No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31616		Coliform, Fecal (MF)				170.0000		!		170		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				50.0000								No		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301008084123801		POWER PLANT #4		FLORIDAN AQUIFER SYSTEM		03120001		301008.1		841238.1		19860731		0000		01		31507		Coliform, Total (MPN)				300.0000		!		300		!		Yes		#/100ml		DGPS		E		30		10		8.100		84		12		38.111		71.00		106.0		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31616		Coliform, Fecal (MF)				11.0000				11				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301126084050601		GAME CHECK STATION		FLORIDAN AQUIFER SYSTEM		03120001		301126		840506		19860728		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		MMAP		A		30		11		26.001		84		5		5.997		14.00		36.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301156084103501		NEWPORT RECREATION AREA		FLORIDAN AQUIFER SYSTEM		03120001		301156.1		841035.7		19860728		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		11		56.103		84		10		35.697		12.00		69.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31616		Coliform, Fecal (MF)				14.0000				14				Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301300084152501		GODARD PLANTATION		FLORIDAN AQUIFER SYSTEM		03120001		301258.4		841524.4		19860729		0000		01		31507		Coliform, Total (MPN)				80.0000		!		80		!		Yes		#/100ml		DGPS		E		30		12		58.401		84		15		24.389		21.00		48.00		S		WAKULLA

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301624084032401		-020332001		FLORIDAN AQUIFER SYSTEM, UPPER		03120001		301624		840324		19851017		0000		01		31507		Coliform, Total (MPN)				0.0000				0		U		No		#/100ml		MMAP		A		30		16		24.724		84		3		23.584		21.00		58.00		L		JEFFERSON

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31616		Coliform, Fecal (MF)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		301831084365604		OTTER CAMP SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		301830.3		843656.1		19870701		0000		01		31507		Coliform, Total (MPN)				2.0000				2				No		#/100ml		DGPS		E		30		18		30.300		84		36		56.107		10.00		20.00		X		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31616		Coliform, Fecal (MF)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				27.0000								No		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		301844084173501		CHARLES DONAHUE		FLORIDAN AQUIFER SYSTEM		03120001		301840.9		841738.3		19860813		0000		01		31507		Coliform, Total (MPN)				30.0000				30				Yes		#/100ml		DGPS		E		30		18		40.901		84		17		38.285		56.00		80.00		Z		LEON

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31616		Coliform, Fecal (MF)				0.0000				0		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303109084275404		NWFWMD SURFICIAL		SURFICIAL AQUIFER SYSTEM		03120003		303105.8		842749.2		19860302		0000		01		31507		Coliform, Total (MPN)		<		2.0000		U		1		U		No		#/100ml		DGPS		E		30		31		5.802		84		27		49.207		20.00		27.00		V		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31616		Coliform, Fecal (MF)				4.0000				4				No		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

		303312084423501		RICHARDS DUG WELL		SURFICIAL AQUIFER SYSTEM		03120003		303312.4		844234.8		19870701		0000		01		31507		Coliform, Total (MPN)				50.0000				50				Yes		#/100ml		DGPS		E		30		33		12.398		84		42		34.789		1.00		30.00		C		GADSDEN

														CHECK BEFORE USING

																								Parameter Name		Total and Fecal Coliforms in Unconfined Wells Background Network

																								Total Observations		20

																								Number BDLs		9

																								Number MCL Exceedances		9

																								Percent MCL Exceedances		45%

																								Minimum		0.000		#/100ml

																								1st Quartile		0.750		#/100ml

																								Median		3.000		#/100ml

																								3rd Quartile		30.000		#/100ml

																								Maximum		300.000		#/100ml

																								Interquartile Range		29.250		#/100ml

																								Mean		36.250		#/100ml

																								Standard Deviation		74.2

																								Relative Standard Deviation		204.6%

																								Standard Error		16.6

																								Variance		5503.1

																								Coefficient of Skewness		291.0%






