

Algae Bloom Response Guidance
When we receive an algal bloom report, we collect a sample if the site meets our criteria (water of state, public access, etc – see training for those details). Resampling timeframes below are the target timeframes.  Resampling is generally more urgent if detections are higher and/or it’s a heavy recreation area.  Once toxin results are received, follow this decision key to determine if you need to resample: 

1a. Any toxin detected at any level - 2
1b. Stop sampling

2a. The detection is >PQL – resample the following week* 
2b. The detection is between the MDL and PQL (trace level, I-qualified) - 3

3a. There have been 0-5 previous trace detections for this toxin at this site – resample 2-4 weeks later
3b. This is the 6th trace level result for this toxin - STOP
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