BMAP Sampling Checklist
Before Sampling
· RQ Created by DEP Staff (Myranda Butler)
· Prefilled Tallahassee submittal forms created for Quarterly sampling and sent to County Staff
· Label Bottles. Quarterly bottles have bottle groups associated with each station (found on submittal form) 
· Pack supplies needed during sampling- Acid vials, field sheets, etc.
· Confirm any reschedules if Quarterly Sampling
During Sampling
· Fill out the field sheets(s) completely and correctly. Sign completed field sheets
· Bottles – Field ID, Date, Time, samplers’ initials
· Fill out Lab Submittal Form completely and correctly. Make sure date/time/bottle group match submittal form.
After Sampling (same day)
· Review field sheets. Makes sure they are filled out completely, correctly and signed.

Quarterly sampling  
· Email a copy of the Tallahassee submittal form, Contract Lab Micro submittal form, Field sheets, and Calibration Log to DEP-Overflowmicro DEP-Overflowmicro@dep.state.fl.us & Myranda Butler

Monthly micro sampling  
· Email a copy of the Contract Lab Micro submittal form, Field sheets, and Calibration Log to DEP-Overflowmicro DEP-Overflowmicro@dep.state.fl.us & Myranda Butler

