Advanced Environmental Laboratories, Inc.
 
 

Non-Conformity Form (NCF) and Corrective Action

Form Number: T17094
  Department: Micro
QCBatchId:  2579
Prep Batch:  N/A
Analysis Method:  1603
  Instrument:  N/A
Projects Affected:  T1703959

Type of Non-Conformity (check one) Deficiency:  X
Observation: 
  
Anomaly:
 

1) Identification:  A micro sample, T1703959001, was run out of hold and not qualified properly. The report was amended.

2) Root Cause:  The sample was unknowingly run out of hold and not qualified due to analyst error.

3) Plan of corrective action:  The analyst has been reminded of the hold times for micro samples and the importance of qualifying hold time failures.   
4) Timetable:  4/4/17
5) Follow-up:  5/4/17

Originator of Non-Conformity: HP

 



Date:  03/31/17
Corrective Action:    X
  Approve:    X
Reject

BY:    SCC



Title:    QA




Date:   04/04/17

