Do Contiguous Monitoring Meeting Topics
Agenda Items

· Getting meters ready for deployment
· Purchas probes and other essential hardware 
· If purchasing a DO probe get an Optical
· DO and COND are required, pH is TBD.
· Deployment Basics
· Is there any existing documentation on how to deploy?
· Mounting/armoring/floats/American flag stickers 
· Flow, tides
· Data Goals
· 5 events
· 20 full day minimum
· 4 quarters
· Starting in July 2017
· 15, or 30 min intervals?
· Continuous monitoring field sheets
· See SWFWMD field sheet. Can we alter this to meet our program goals?
· WBIDs
· Data management
· [bookmark: _GoBack]Ecowatch
· Data files. Can we save these on the FTP?
· Calibration, qualifier codes, spot checking
· Batterie
· Data storage
· DEP Draft SOP


