Aquarius Data Loading
Click on 21FLPNS
	Select the location you wish to load data to
		(If not on Aquarius, email Denise)
		(Do not change WIN ID, email Denise if something needs to be edited)
	Click the three parallel horizontal lines(hamburger) on the location you wish to work on, and click on new basic time series

New Basic time series
	Label: Sonde
	Parameter: Depth-Depth/Salinity/Dissolved Oxygen con./Dissolved oxygen sat./pH/pH voltage/temp(water)/specific conductance
	Units: Meter/ ppt ect. 
	Measurement Method: None
	Interpolation: Instantaneous value
	Gap tolerance: 16 min
	UTC (Universal time constant): -6.00
Uploading data
	Data import
	Chose file(notepad)
	Next
	Header Rows-4
	Click on column A
		Select column for import (Date/Time Field)
		Date Format (M: month m: min H:24 hour h: 12 hour)
		Apply
	Column E- Salinity- New Basic Time series
		Time series point
		Select parameter
	REPEAT for all parameters
	Next
	Append data 
