User Name- Nwroc   Password- Pensacola5
Aquarius Data Loading
Click on 21FLPNS
Step 1.)	 Select the location you wish to load data to
		(If not on Aquarius, email Denise)
		(Do not change WIN ID, email Denise if something needs to be edited)
Step 2.)	Click the three parallel horizontal lines (menu) on the location you wish to work on, and click on “New Basic Time Series”

Step 3.) New Basic Time Series
	Label: Sonde
	Parameter: Depth-Depth /Dissolved Oxygen con./Dissolved oxygen sat. /Salinity / specific conductance/temp(water)/ Voltage/ pH voltage/ pH/
	Units: Meter/ ppt/ mg l ect. 
	Measurement Method: select “None”
	Interpolation: Select “Instantaneous value”
	Gap tolerance: 16 min
	UTC (Universal time constant): -6.00
	Hit “Save”
Step 4.) Uploading data
	Data import (Top Left of Screen, blue icon)
	Import and Configure (on left menu bar)
	Chose file(TTD)
	Next
		Configuration file: “Delimited”
		Column Separator: “Tab”
Header Rows: “9”
Timezone: “Use the location UTC offset”
	Click on column A
		Select column for import (Date/Time Field)
		Date Format (M/d/yyyy) 
Time Format (H:mm:ss)
		Apply
	Column E- Salinity- New Basic Time series
		Time series point
		Select parameter
	REPEAT for all parameters
	Next
	Append data 
