## FYI5 E-Checklist
The following checklist contains items that are commonly not sent to the lab during the course of a Fifth Year inspection. Please use this checklist as guidance to aid the lab in the report writing process.
FYI5 Report Prep
Facility:
RQ #
Planned sampling date:
Collection date:
Lab Contact:
Timeline: | Required items and information: |  | P
6 weeks prior to sampling | Facility Summary with PART I completed
Within 1 month after sampling | Copy of permit
Prior to sampling | Consult with Lab Contact on Control Site location or study design
Submit a copy with the samples or at most 1 month after sampling | Phys/Chem Sheets: Record the flow, habitats sampled for both the SCI and Periphyton
Submit a copy with the samples or at most 1 month after sampling | Accurate coordinates from all sampled outfalls, the Test Site (beginning and end of 100m stretch for SCI), and the Control Site (beginning and end of 100m stretch for SCI) OR a map of the facility | Include coordinates on phys/chem sheet (Form FD9000-3) or habitat sketch sheet (FD9000-4)
Submit a copy with the samples or at most 1 month after sampling | Total residual chlorine field measurement | Record on phys/chem sheet (Form FD9000-3) or sample submittal sheets
Submit a copy with the samples or at most 1 month after sampling | Habitat Assessment Sheet (SCI) | Form FD9000-5
Submit a copy with the samples or at most 1 month after sampling | Habitat Sketch Sheet (SCI) | Form FD9000-4
Submit a copy with the samples or at most 1 month after sampling | Hester-Dendy samplers: floating or on the bottom? If on the bottom, at what depth? Did you notice any smothering of the habitats? | Record on phys/chem sheets (Form FD9000-3) or sample submittal sheets
Within 1 month after sampling | Sampling photos
Submit a copy with the samples or at most 1 month after sampling | Facility Summary with PART II completed
Submit a copy with the samples or at most 1 month after sampling | Annual average flow for the year preceeding the sampling event (if the sampling occurred in February of 2011, the appropriate annual average flow should be taken from monthly measurements February 2010-January 2011) | Include on the facility summary
Within 1 month after sampling | Flow from the facility on the date of sampling | Include on the facility summary
Within 1 month after sampling | Emails about facility that will aid in data interpretation