Structure: foundations, slabs and floors, decks and pavements that are adjacent to, and considered part of, the facility.
Exterior: wall coatings, windows, doors, and exterior sealants. 
Roofing: roof coverings, openings, gutters, and flashing.
HVAC: heating, ventilating, air conditioning systems including controls and balancing devices. 
Electrical: service and distribution, lighting, communications, security, and fire protection wiring and controls. 
Plumbing: water, sewer, and fire protection piping, or piping for steam, gas, or water distribution in specialty systems (e.g., tanks, generation plants, etc.). 
Conveying: elevators, escalators, cranes, and other lifts. 
Interior Finishes: all interior finishes including wall coverings, flooring, and ceilings. 
Program Support Equipment: equipment installed in the facility to provide support for operational testing or research. For example, additional ventilation equipment or separate HVAC systems required only to support special testing or programs.
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