## Slide 1: Facility Assessment App
D1 Park Manager Training
2/13/19

## Slide 2: Agenda
9:00 – 10:00 – Classroom hour
10:00 – 10:30 – Map downloads
10:30 – 12:00 – Large group assessments
12:00 – 1:00 – Lunch
1:00 – 3:00 – Small group assessments
3:00 – 3:30 – Regroup for discussion
3:30 – 4:00 – Park map downloads
4:00 – Release/optional assistance

## Slide 3: Concept and Pilot Testing
Follows a federal model used by NASA, USACE, and NPS
Rapid assessments replaced year-long inspections
Breaks a building into its systems
Scores each system 1-5
Scores feed cost estimates
Piloted in 5 parks, including Maclay Gardens
Most parks completed assessments within 1-2 work days

## Slide 4: Systems defined
Structure
Roof
Exterior finishes
HVAC
Plumbing
Electrical
Interior finishes
Key notes:
  For roofs, really focus on the difference between 3 and 4
  For all other systems, focus on differences between 2 and 3
These are the scores which affect the cost estimates the most!

## Slide 5: Scoring defined
5 : Excellent – Only normal scheduled maintenance required.
4 : Good – Some minor repairs needed. Normally functions as intended.
3 : Fair – Several minor repairs and some larger repairs required. System occasionally does not function as intended.
2 : Poor – Significant repairs required. Excessive wear and tear clearly visible. Not fully functional as intended.
1 : Non-functional – Major repair or replacement required to restore function.
N/A : Non-applicable – This system is not present in this facility.

## Slide 6: Data collection – required vs voluntary
Required
Scoring of each system present in the building
Voluntary
Corrections
  Building number
  Square footage
  Etc.
Recommendations for deletion
Additions to the database

## Slide 7: Data collection – excluded buildings
Any building which is not state-owned
Any building the park is not responsible for maintaining

## Slide 8: App Familiarity – Location
If your location does not appear on the map, click the empty target button in the bottom-left
Your location is shown as a blue dot

## Slide 9: App Familiarity – Details
Select a point on the map
Click the feature window at the bottom of the screen
Scroll down to see more information

## Slide 10: App Familiarity – Edits
Pencil icon to edit
Scroll down to see more questions

## Slide 11: App Familiarity – Pick List
Many questions have drop-downs for quick response
Comments fields for additional notes

## Slide 12: App Familiarity - Complete
When finished, select the check-mark in the top left
If you changed “Assessment Status” to “Complete”, the building is now green

## Slide 13: App Familiarity – Sync
When done, click the back button at the top left
Click Sync (#) to upload your data

## Slide 14: Questions?
Technical (app) Support
Contact info:
Adam Neuse
Brady Harrison
Scoring and Systems Support
Contact info:
David Matson
Philip Madden
Michael Foster