STANDARD OPERATING PROCEDURE 
C.H. CORN HYDROELECTRIC STATION

1. All Security officers shall walk the provide route  once every 2 hrs.

2. All doors are to be kept closed

3. All officers are to have a flash light with them during their rounds.

4. All officers will be provided a sheet for their rounds
5. If a non-life threatening issue occurs at the station that needs direction, please call ________________________ for further instructions.

6. All rooms are to be inspected every round

7. All issues are to be logged and reported.

8.  Once per shift officers shall walk to Auxiliary Spillway for visual inspection

MACHINE ONLINE

9. Officers are to view however not to enter where running equipment is engaged.

10. Officers shall read the Bearing temperature reading for the running unit(s)- per instructions

11. All alarms shall be reported 

12. All unauthorized personnel are to be asked to leave and for noncompliance, call appropriate authorities 

