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Group ID: CHEMISTRY
Analysis Group: LC-Water
Prep ID: 3535A (PFAS)
ADaPT Prep ID: 3535

Charge Code: A 220.00
Modified: 28-JAN-2020 14:08 by WATTS_J
Removed: No
Work Factor: 1

Scheduler Matrix: Water
Method: EPA 8321B
Scheduler Group: Pesticides
Scheduler Section: CHEMISTRY

Prep Expires: Expected Time:

28 00:00:00.00
30 00:00:00.00

Visible: T

QC Group: QC_LC_WATER
This analysis does not use % solid.


 (
Bottle
 
QC:
QC used: Lower limit:
 
1;
Bottle is not shared.
Bottle Information
Group:
**NONE** - Bottle Group
 
'None'
Preservative:
ICE
Container
 
1:
P-125ML
 
HDPE
 
PFAS
 
-
 
125ml
 
HDPE
 
bottle
 
for
 
PFAS
 
(2-bagged)
 
Volume:
Analysis
 
Volume:
250
 
mL
Container
 
2:
)
Hazard Text:
Template ID: **Master List** -

	
Component
	
Units
	
MDL
	
PQL
	
Targ/Surr
	Targ/Surr Assn
	
Cas #
	
Haz Level
	
NELAP
	
ADaPT Name
	
ADaPT Units
	
ADaPT Method
	ADaPT
T/D

	4:2 Fluorotelomer sulfonate (4:2 FTS)
	ng/L
	2
	8
	T
	467
	757124-72
	
	N
	4:2 Fluorotelomer sulfonate
(4:2 FTS)
	ng/L
	EPA 8321 mod.
	T

	6:2 Fluorotelomer sulfonate (6:2 FTS)
	ng/L
	4
	16
	T
	467
	27619-97-2
	
	N
	6:2 Fluorotelomer sulfonate
(6:2 FTS)
	ng/L
	EPA 8321 mod.
	T

	8:2 Fluorotelomer sulfonate (8:2 FTS)
	ng/L
	2
	8
	T
	468
	39108-34-4
	
	N
	8:2 Fluorotelomer sulfonate
(8:2 FTS)
	ng/L
	EPA 8321 mod.
	T

	Hexafluoropropylene oxide dimer acid
	ng/L
	1
	4
	T
	495
	13252-13-6
	
	N
	Hexafluoropropylene oxide dimer acid
	ng/L
	EPA 8321 mod.
	T

	Hexafluoropropylene oxide dimer acid-13C
	ng/L
	1.6
	6.4
	S
	495
	DEP-SURR-108
	
	N
	Hexafluoropropylene oxide dimer acid-13C
	ng/L
	EPA 8321 mod.
	T

	N-Et perfluorooctanesulfonamidoAc acid
	ng/L
	0.4
	1.6
	T
	468
	2991-50-6
	
	N
	N-Et
perfluorooctanesulfonamidoAc acid
	ng/L
	EPA 8321 mod.
	T

	N-Me
perfluorooctanesulfonamidoAc acid
	ng/L
	0.4
	1.6
	T
	468
	2355-31-9
	
	N
	N-Me
perfluorooctanesulfonamidoAc acid
	ng/L
	EPA 8321 mod.
	T

	Perfluorobutanesulfonate-13C
	ng/L
	1.6
	6.4
	S
	467
	DEP-SURR-105
	
	N
	Perfluorobutanesulfonate-13C
	ng/L
	EPA 8321 mod.
	T

	Perfluorobutanesulfonic acid (PFBS)
	ng/L
	0.4
	1.6
	T
	467
	375-73-5
	
	N
	Perfluorobutanesulfonic acid (PFBS)
	ng/L
	EPA 8321 mod.
	T

	Perfluorodecanesulfonic acid (PFDS)
	ng/L
	0.4
	1.6
	T
	468
	335-77-3
	
	N
	Perfluorodecanesulfonic acid (PFDS)
	ng/L
	EPA 8321 mod.
	T

	Perfluorodecanoic acid (PFDA)
	ng/L
	1
	4
	T
	466
	335-76-2
	
	N
	Perfluorodecanoic acid (PFDA)
	ng/L
	EPA 8321 mod.
	T

	Perfluorodecanoic acid-13C
	ng/L
	1.6
	6.4
	S
	466
	DEP-SURR-104
	
	N
	Perfluorodecanoic acid-13C
	ng/L
	EPA 8321 mod.
	T

	Perfluorododecanoic acid (PFDoA)
	ng/L
	1
	4
	T
	466
	307-55-1
	
	N
	Perfluorododecanoic acid (PFDoA)
	ng/L
	EPA 8321 mod.
	T

	Perfluoroheptanesulfonic acid (PFHpS)
	ng/L
	0.4
	1.6
	T
	468
	375-92-8
	
	N
	Perfluoroheptanesulfonic acid (PFHpS)
	ng/L
	EPA 8321 mod.
	T

	Perfluoroheptanoic acid (PFHpA)
	ng/L
	0.4
	1.6
	T
	465
	375-85-9
	
	N
	Perfluoroheptanoic acid (PFHpA)
	ng/L
	EPA 8321 mod.
	T

	Perfluorohexanesulfonate-13C
	ng/L
	1.6
	6.4
	S
	468
	DEP-SURR-106
	
	N
	Perfluorohexanesulfonate-13C
	ng/L
	EPA 8321 mod.
	T

	Perfluorohexanesulfonic acid (PFHxS)
	ng/L
	0.4
	1.6
	T
	468
	355-46-4
	
	N
	Perfluorohexanesulfonic acid (PFHxS)
	ng/L
	EPA 8321 mod.
	T

	Perfluorohexanoic acid (PFHxA)
	ng/L
	1
	4
	T
	465
	307-24-4
	
	N
	Perfluorohexanoic acid (PFHxA)
	ng/L
	EPA 8321 mod.
	T
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	Perfluorohexanoic acid-13C
	ng/L
	1.6
	6.4
	S
	465
	DEP-SURR-103
	
	N
	Perfluorohexanoic acid-13C
	ng/L
	EPA 8321 mod.
	T

	Perfluorononanesulfonic acid (PFNS)
	ng/L
	0.4
	1.6
	T
	468
	68259-12-1
	
	N
	Perfluorononanesulfonic acid (PFNS)
	ng/L
	EPA 8321 mod.
	T

	Perfluorononanoic acid (PFNA)
	ng/L
	1
	4
	T
	465
	375-95-1
	
	N
	Perfluorononanoic acid (PFNA)
	ng/L
	EPA 8321 mod.
	T

	Perfluorooctanesulfonic acid (PFOS)
	ng/L
	2
	8
	T
	468
	1763-23-1
	
	N
	Perfluorooctanesulfonic acid (PFOS)
	ng/L
	EPA 8321 mod.
	T

	Perfluorooctanoic acid (PFOA)
	ng/L
	1
	4
	T
	465
	335-67-1
	
	N
	Perfluorooctanoic acid (PFOA)
	ng/L
	EPA 8321 mod.
	T

	Perfluoropentanesulfonic acid (PFPeS)
	ng/L
	0.4
	1.6
	T
	467
	2706-91-4
	
	N
	Perfluoropentanesulfonic acid (PFPeS)
	ng/L
	EPA 8321 mod.
	T

	Perfluoropentanoic acid (PFPeA)
	ng/L
	4
	16
	T
	465
	2706-90-3
	
	N
	Perfluoropentanoic acid (PFPeA)
	ng/L
	EPA 8321 mod.
	T

	Perfluorotetradecanoic acid (PFTeA)
	ng/L
	0.4
	1.6
	T
	466
	376-06-7
	
	N
	Perfluorotetradecanoic acid (PFTeA)
	ng/L
	EPA 8321 mod.
	T

	Perfluorotridecanoic acid (PFTriA)
	ng/L
	0.4
	1.6
	T
	466
	72629-94-8
	
	N
	Perfluorotridecanoic acid (PFTriA)
	ng/L
	EPA 8321 mod.
	T

	Perfluoroundecanoic acid (PFUnA)
	ng/L
	1
	4
	T
	466
	2058-94-8
	
	N
	Perfluoroundecanoic acid (PFUnA)
	ng/L
	EPA 8321 mod.
	T


