## _Field_Measured_Parameters
Matrix | Field_Measurement_Method | Field_Parameter_NameAnalyteName | Result_Units | Field_Parameter_Qualifier_Code
W | FT1400 | Temperature, Water | Deg C | D
W | FT1500 | Dissolved Oxygen | MG/L | D
W | FT1100 | pH | S.U. | D
W |  | Oxidation Reduction Potential | mV | D
W | FT1600 | Turbidity | NTU | D
W | DEP-SOP | Water Level (NGVD) | FT | D
W | FT1200 | Specific Conductance | UMHOS/CM | D
S | DEP-SOP | SAMPLE DEPTH | FT | D