## Recheck Needed Unit Conversion
MATRIX | CL_UNITS | HWC_UNITS | REPLACE_FLG | NUMERICAL_CONVERSION | COMMENTS | Clark's Comments 05/19/2016
GAS | PPBV | % | ? | ? | I got Some Analytes with '%' units, Data provided in another sheet | Units and Matrix are in conflict or units can not be identified
GAS | PPBV | MG/M3 | N | Do not move this data to REDD | Units of wight per volume can not be converted without using the molecural weight, this is an unusal reporting unit for the Air matrix | Units and Matrix are in conflict or units can not be identified
GAS | PPBV | MG/M³ | N | Do not move this data to REDD | Units of wight per volume can not be converted without using the molecural weight, this is an unusal reporting unit for the Air matrix | Units and Matrix are in conflict or units can not be identified
GAS | PPBV | PPM | Y | Divide result by 1000 | No, correction multiply by 1000 | Multiply by 1000
GAS | PPBV | UG | N | Do not move this data to REDD | Units of wight per volume can not be converted without using the molecural weight, this is an unusal reporting unit for the Air matrix | Units and Matrix are in conflict or units can not be identified
GAS | PPBV | UG/L | N | Do not move this data to REDD | Units of wight per volume can not be converted without using the molecural weight, this is an unusal reporting unit for the Air matrix | Units and Matrix are in conflict or units can not be identified
GAS | PPBV | UG/M3 | N | Do not move this data to REDD | Units of wight per volume can not be converted without using the molecural weight, this is an unusal reporting unit for the Air matrix | Units and Matrix are in conflict or units can not be identified
GAS | PPBV | UG/SORBER | N | Do not move this data to REDD | Units of wight per volume can not be converted without using the molecural weight, this is an unusal reporting unit for the Air matrix | Units and Matrix are in conflict or units can not be identified
LIQUID | UG/L | % | ? | ? | I got Some Analytes with '%' units, Data provided in another sheet | Units and Matrix are in conflict or units can not be identified
LIQUID | UG/L | HPLC/UV | N | Do not move this data to REDD |  | The units are incorrect, this is an instrument, no way to hnow what the units are.
LIQUID | MG/L | MG/KG | N | Do not move this data to REDD |  | Units and Matrix are in conflict or units can not be identified
LIQUID | UG/L | MG/KG | N | Do not move this data to REDD |  | Units and Matrix are in conflict or units can not be identified
LIQUID | UG/L | MG/L | Y | Multiply result by 1000 |  | Multiply by 1000
LIQUID | MG/L | MG/L N | Y | No result conversion necessary |  | Units appear to be the same
LIQUID | UG/L | MG/M | N | Do not move this data to REDD |  | Units and Matrix are in conflict or units can not be identified
LIQUID | UG/L | MG/M3 | Y | No result conversion necessary |  | Units are similar, no conveersion required.
LIQUID | UG/L | MG/M³ | Y | No result conversion necessary |  | Units are similar, no conveersion required.
LIQUID | MG/L | MW/L | N | No result conversion necessary |  | Question, can we say MW/L is the same as MG/L?
LIQUID | UG/L | NC | N | Do not move this data to REDD |  | Units and Matrix are in conflict or units can not be identified
LIQUID | UG/L | UG/KG | N | Do not move this data to REDD |  | Units and Matrix are in conflict or units can not be identified
LIQUID | MG/L | UG/L | Y | Divide result by 1000 |  | Divide by 1000
LIQUID | UG/L | UG/M3 | N | Do not move this data to REDD |  | Divide by 1000
LIQUID | UG/L | UG/M³ | N | Do not move this data to REDD |  | Divide by 1000
LIQUID | MG/L | µG/L | Y | Divide result by 1000 |  | Divide by 1000
LIQUID | UG/L | µG/L | Y | No result conversion necessary |  | Units are the same, no conversion
SEDIMENT | MG/KG | MG/L | N | Do not move this data to REDD |  | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong
SEDIMENT | PG/G | NG/KG | Y | No result conversion necessary | 1E-12/1 = 1E-9/1E3 | 10E-12/1 = 10E-9/10E3, No conversion required
SEDIMENT | PG/G | PG/KG | Y | Divide Result by 1000 |  | Divide by 1000
SEDIMENT | UG/KG | MG/KG | Y |  | woops, Multiply by 1000 | Multiply by 1000
SEDIMENT | UG/KG | UG/L | N | Do not move this data to REDD |  | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong
SOLID | UG/KG | % | ? | ? | I got Some Analytes with '%' units, Data provided in another sheet | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong
SOLID | UG/KG | ?G/KG-DRY | Y | No result conversion necessary | unidentified units (?) we can not say for sure what the units are (if I had to guess I would thing (µ)) | unidentified units (?) we can not say for sure what the units are (if I had to guess I would thing (µ))
SOLID | UG/KG | µG/KG | Y | No result conversion necessary |  | The unist are the same
SOLID | UG/KG | µG/KG-DRY | Y | No result conversion necessary |  | The unist are the same, DW - Dry Weight
SOLID | UG/KG | MG/K | Y | No result conversion necessary |  | woops, Multiply by 1000
SOLID | UG/KG | MG/KG | Y | No result conversion necessary |  | woops, Multiply by 1000
SOLID | MG/KG | MG/L | N | Do not move this data to REDD |  | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong
SOLID | UG/KG | MG/KG DRY | Y | No result conversion necessary |  | woops, Multiply by 1000
SOLID | UG/KG | MG/L | N | Do not move this data to REDD |  | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong
SOLID | PG/G | NG/KG | Y | No result conversion necessary |  | 10E-12/1 = 10E-9/10E3, No conversion required
SOLID | MG/KG | PG/G | Y | Divide Result by 1E6 | Wrong | Divide by 1000
SOLID | PG/G | PG/KG | Y | Divide Result by 1000 |  | Divide by 1000
SOLID | UG/KG | MG/M3 | N | Do not move this data to REDD |  | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong
SOLID | MG/KG | UG/G | Y | No result conversion necessary | 1E-3/1E3 = 1E-6/1 | no conversion
SOLID | MG/KG | UG/KG | Y | Divide Result by 1000 |  | Divide by 1000
SOLID | UG/KG | SPLP/UG/L | N | Do not move this data to REDD |  | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong
SOLID | UG/KG | UG/KG DW | Y | No result conversion necessary | Units are the same, DW - Dry Weight | Units are the same, DW - Dry Weight
SOLID | UG/KG | UG/KG-DRY | Y | No result conversion necessary | Units are the same, DRY - Dry Weight | Units are the same, DRY - Dry Weight
SOLID | MG/KG | UG/L | N | Do not move this data to REDD |  | Unist are the same DW means Dry Weight
SOLID | UG/KG | UG/KG-DW | Y | No result conversion necessary | Unist are the same DW means Dry Weight | Unist are the same DW means Dry Weight
SOLID | UG/KG | UG/L | N | Do not move this data to REDD |  | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong
SOLID | UG/KG | UG/LKG | Y | No result conversion necessary |  | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong
SOLID | UG/KG | UG/M3 | N | Do not move this data to REDD |  | The unist in do not match the matrix in HWCFIeld, we don't know which is wrong

## ANALYTES WITH HWC_UNITS %
PARAMETER | MATRIX | UNITS | HWC_UNITS | REPLACE_FLG | NUMERICAL_CONVERSION | COMMENTS
1,4-DICHLOROBUTANE | LIQUID | UG/L | % | N | N | No way to convert, units "%" make no sense for this analyte
1,4-DICHLOROBUTANE | GAS | PPBV | % | N | N | No way to convert, units "%" make no sense for this analyte
DIBROMOFLUOROMETHANE | LIQUID | UG/L | % | N | N | No way to convert, units "%" make no sense for this analyte
SURROGATE - DIBROMOFLUOROMETHANE * | SOLID | UG/KG | % | N | N | We do not import surrogate compounds into REDD