

Table 1: Ground Water & Surface Water Parameters
The Acreage, Loxahatchee, Palm Beach County, Florida
FDEP Site Investigation


	Sample ID
	Date
	Time
	Volume Purged
(gallons)
	pH
(standard units)
	Temperature
(°C)
	Specific Conductance
(microSiemens/cm)
	Dissolved
Oxygen
(%)
	Dissolved
Oxygen
(mg/L)
	ORP
(millivolts)
	Turbidity 
(NTUs)

	1Z-16104 93rd Rd. N.
	08/04/2009
	10:00
10:16
	12
120
	6.82
6.84
	24.71
24.69
	631
632
	4.5
1.4
	0.34
0.12
	-173.7
-160.7
	0.90
0.85

	1Z-16231 70th St. N.
	08/04/2009
	10:00
10:15
	10
150
	6.61
6.63
	25.70
25.66
	1214
1223
	4.1
2.1
	NM
NM
	-142
-124
	0.33
0.92

	1Z-16441 87th Ln. N.
	08/04/2009
08/04/2009
08/04/2009
08/04/2009
08/27/2009
08/27/2009
08/27/2009
	14:50
15:05
15:10
15:15
09:25
09:35
09:40
	60
240
300
360
40
60
80
	7.28
7.08
7.00
6.95
5.43
6.94
6.98
	25.01
24.68
24.54
24.61
31.20
25.98
25.40
	813
860
852
866
825
740
	773
	18.3
24.5
4.6
3.6
145.1
58.3
47.1
	1.51
2.03
0.40
0.30
7.25
4.71
5.03
	-231.8
-221.2
-244.4
-249.6
14.2
-152.0
-156.4
	1.79
1.56
0.64
1.15
3.29
3.67
6.29

	1Z-16525 Temple Blvd.
	08/06/2009
	8:52
8:57
9:03
	20
70
120
	7.00
6.98
6.97
	24.34
24.32
24.31
	953
951
950
	0.1
0.1
0.5
	0.001
0.001
0.04
	-189.6
-191.6
-191.7
	20.6
3.00
2.95

	1Z-16758 67th Ct. N.
	08/04/2009
	11:30
11:45
	10
150
	6.78
6.60
	25.83
25.64
	1003
1093
	6.2
2.3
	0.52
0.19
	-93.7
-90.7
	9.61
1.25

	1Z-17148 Hamlin Blvd.
	08/04/2009
	12:12
12:17
12:22
	140
240
340
	7.27
7.13
7.06
	25.05
25.05
25.04
	1255
1278
1292
	15.8
8.6
6.9
	1.29
0.70
0.57
	-183.1
-187.6
-191.6
	1.21
0.57
0.50

	1Z-17639 68th St. N.
	08/04/2009
	12:00
12:03
	25
53
	6.85
6.85
	25.64
25.64
	957
957
	1.9
1.7
	0.16
0.14
	-115.0
-105.1
	1.11
0.60

	1Z-17724 60th Ln. N.
	08/04/2009
08/04/2009
08/04/2009
08/27/2009
08/27/2009
08/27/2009
08/27/2009
	13:21
13:39
13:45
09:42
09:47
09:52
09:57
	10
190
250
20
77
132
187
	7.08
6.70
6.66
6.55
6.63
6.72
6.73
	26.48
25.67
25.62
25.50
25.48
25.47
25.47
	1203
1179
1178
1014
1016
1017
1017
	49
2.9
3.3
4.5
2.2
1.4
1.0
	3.78
0.23
0.27
0.39
0.10
1.4
1.0
	-94.9
-82.6
-87.3
NM
NM
NM
NM
	1.69
1.59
4.19
0.29
0.25
0.28
0.30

	1Z-17855 83rd Pl. N.
	08/04/2009
	13:20
13:35
13:40
13:45
	170
425
510
595
	7.41
7.32
7.32
7.32
	25.84
25.86
26.07
26.07
	516
517
520
520
	3.1
2.6
3.2
2.6
	0.24
0.21
0.26
0.22
	-274.7
-285.7
-290.8
-294.7
	0.59
0.64
0.65
1.00

	1Z-17895 80th St. N.
	08/04/2009
	14:48
15:03
	10
60
	7.16
6.65
	25.61
25.43
	893
883
	72
5.7
	5.77
0.47
	-53.9
-43.7
	2.49
1.49

	1Z-18801 Hamlin Blvd.
	08/04/2009
	09:41
10:24
10:29
	100
440
540
	7.39
6.85
6.81
	25.33
24.70
24.72
	1106
1082
1085
	85
26.7
15.7
	NM
2.8
1.28
	-184.2
-172.3
-178.5
	4.72
0.62
0.79

	Sample ID
	Date
	Time
	Volume Purged
(gallons)
	pH
(standard units)
	Temperature
(°C)
	Specific Conductance
(microSiemens/cm)
	Dissolved
Oxygen
(%)
	Dissolved
Oxygen
(mg/L)
	ORP
(millivolts)
	Turbidity 
(NTUs)

	1Z-18801 Hamlin Blvd
	08/04/2008
	10:39
	740
	6.08
	24.72
	1087
	7.2
	0.56
	-189.85
	0.79

	2Z-14072 78th Pl. N.
	08/05/2009
	11:25
11:40
	75
300
	6.24
6.14
	24.20
24.18
	555
555
	8.1
2.6
	0.65
0.21
	-128.9
-132.6
	0
1

	2Z-14390 Orange Blvd
	08/05/2009
	10:17
10:25
10:37
	170
230
300
	7.36
7.37
7.34
	25.71
25.78
25.66
	618
618
619
	40.6
35.1
31.8
	3.3
2.88
2.57
	-80.5
-82.7
-83.0
	3.94
3.09
1.45

	2Z-14692 Tangerine Blvd.
	08/04/2009
	15:35
15:50
	62.5
250
	6.46
6.40
	23.85
23.82
	1686
1694
	2.3
1.3
	0.19
0.11
	-132.0
-134.9
	0.96
0.42

	2Z-14741 77th Pl. N.
	08/05/2009
	10:12
10:30
	75
225
	6.45
6.39
	24.13
24.14
	586
587
	3.1
2.0
	0.26
0.17
	-222.3
-226.9
	1
1

	2Z-15163 82nd Ln. N.
	08/05/2009
	08:40
08:55
	75
300
	6.09
5.95
	23.94
23.93
	673
663
	5.3
1.9
	0.44
0.16
	-143.0
-146.5
	1.82
0.29

	2Z-15285 95th Ln. N.
	08/04/2009
	09:51
10:11
	75
300
	6.48
6.05
	23.35
23.52
	792
793
	6.0
6.05
	0.51
0.13
	-128.3
-125.0
	0.83
0.47

	2Z-15365 71st Pl. N.
	08/04/2009
	13:25
13:40
	50
200
	6.74
6.56
	24.52
24.44
	614
615
	2.6
1.5
	0.21
0.12
	-186.7
-186.4
	0.46
0.29

	2Z-15553 63rd Pl. N.
	08/05/2009
	14:00
14:15
	50
150
	7.04
7.05
	24.10
24.16
	495
497
	3.8
1.9
	0.31
0.16
	-238.8
-244.8
	1
1

	2Z-15670 78th Pl. N.
	08/04/2009
	11:53
12:08
	75
300
	6.90
6.81
	24.31
24.29
	781
780
	2.3
1.3
	0.19
0.10
	-254.2
-254.3
	1.71
0.37

	2Z-9035 Hall Blvd.
	08/04/2009
	13:20
13:24
13:27
	18.2
48.8
76.4
	6.70
6.70
6.69
	25.11
25.06
25.02
	984
982
981
	1.2
1.4
2.8
	0.10
0.11
0.23
	-169.9
-172.9
-172.7
	1.04
0.63
0.62

	3Z-11546 60th St. N.
	08/05/2009
08/05/2009
08/27/2009
08/27/2009
	11:51
11:56
10:22
10:32
	65
130
75
225
	7.05
7.04
7.30
7.41
	25.44
25.41
26.02
25.75
	604
601
507
501
	1.9
1.9
64.2
49.1
	0.16
0.16
5.20
4.00
	-262.8
-261.5
-176.6
-176.3
	0.89
0.91
0.85
0.93

	3Z-11843 Tangerine Blvd.
	08/05/2009
08/05/2009
08/05/2009
08/27/2009
08/27/2009
	16:25
16:40
16:45
10:54
11:04
	60
240
300
60
180
	6.90
6.69
6.68
7.01
6.94
	25.39
25.05
25.10
25.04
24.51
	1463
1428
1495
1196
1230
	3.8
2.6
2.2
3.0
3.1
	0.32
0.22
0.19
0.24
0.24
	-179.4
-181.2
-181.3
-85.3
-107.1
	2.00
1.70
2.41
2.67
1.10

	3Z-11855 Keswick Way
	08/04/2009
	15:20
15:30
15:35
	15
125
200
	7.41
7.31
7.28
	25.90
25.60
25.27
	758
745
741
	13.4
17.1
19.1
	1.11
1.41
1.57
	-211.0
-207.4
-206.5
	0.95
2.54
4.33


	Sample ID
	Date
	Time
	Volume Purged
(gallons)
	pH
(standard units)
	Temperature
(°C)
	Specific Conductance
(microSiemens/cm)
	Dissolved
Oxygen
(%)
	Dissolved
Oxygen
(mg/L)
	ORP
(millivolts)
	Turbidity 
(NTUs)

	3Z-12325 87th St. N.
	08/05/2009
	08:43
08:58
09:03
	56
161
217
	7.00
6.96
6.97
	25.11
24.83
24.87
	493
490
491
	2.9
2.8
2.2
	0.23
0.23
0.19
	-176.2
-181.1
-181.8
	2.22
2.79
2.21

	3Z-12754 77th Pl. N.
	08/05/2009
	14:00
14:05
14:10
	10
60
110
	8.05
7.71
7.46
	26.57
25.15
25.13
	342
329
328
	74
11.2
1.4
	5.56
0.91
0.12
	-53.9
-58.9
-50.8
	7.54
4.11
2.46

	3Z-13048 82nd St. N.
	08/05/2009
	08:57
09:03
	10
70
	6.64
6.63
	25.00
24.73
	899
904
	48.6
2.91
	3.51
0.24
	-95.4
-110.2
	2.25
1.44

	3Z-13678 82nd St. N.
	08/05/2009
	10:37
10:42
10:47
	10
60
110
	7.61
7.17
7.06
	27.28
26.09
25.92
	535
535
535
	80.2
2.3
2.0
	6.1
0.19
0.16
	-69.8
-81.3
-66.4
	4.82
2.46
0.92

	3Z-13756 73rd St. N.
	08/05/2009
	09:43
09:48
09:53
	10
60
110
	7.39
7.03
6.97
	25.42
25.14
25.13
	651
645
644
	74.1
2.3
1.3
	5.97
0.19
0.11
	-140.7
-131.3
-130.5
	2.02
3.43
2.25

	3Z-13920 63rd Ln. N.
	08/05/2009
	08:56
09:01
09:07
09:10
	21
74
135
165
	7.39
7.31
7.22
7.23
	25.98
25.83
26.02
25.82
	753
755
755
757
	21.5
4.2
2.1
1.9
	1.69
0.34
0.17
0.15
	-197.9
-198.0
-196.0
-205.2
	1.03
0.71
0.85
0.14

	3Z-7656 Woodmuir Dr.
	08/05/2009
	10:17
10:21
	43
86
	7.11
7.11
	24.91
24.94
	640
642
	2.6
2.6
	0.21
0.21
	-301.4
-306.8
	0.79
0.66

	4Z-11060 56th Pl. N.
	08/05/2009
	12:03
12:08
12:13
	33
59
104
	7.06
6.92
6.91
	24.87
24.83
24.83
	564
558
555
	2.0
0.6
0.6
	0.16
0.05
0.05
	-83.0
-84.9
-85.4
	0.58
0.78
0.71

	4Z-11499 51st Ct. N.
	08/05/2009
	12:50
13:05
	85
340
	6.97
6.78
	24.97
24.98
	709
706
	6.8
3.0
	0.55
0.23
	-210.3
-201.2
	0.63
0.86

	4Z-11919 Orange Grove Blvd.
	08/05/2009
	15:28
15:43
	85
340
	7.05
7.00
	25.01
25.03
	797
796
	2.9
1.6
	0.24
0.14
	-199.1
-222.9
	1.13
0.97

	4Z-13355 54th Ln. N.
	08/05/2009
	15:00
15:06
15:10
	10
70
110
	7.67
7.20
6.92
	26.17
24.92
24.87
	622
623
622
	81.5
6.1
2.1
	6.37
0.49
0.17
	-114.9
-143.2
-133.2
	2.71
2.87
1.74

	4Z-13445 44th Pl. N.
	08/05/2009
	16:25
16:30
16:36
	10
60
120
	7.58
7.07
6.99
	25.52
24.97
24.91
	778
777
777
	65.3
2.6
2.2
	5.22
0.21
0.18
	-161.6
-165.9
-165.2
	2.78
2.78
1.49

	4Z-4331 Coconut Blvd.
	08/06/2009
	09:15
09:35
09:40
	5
105
130
	6.64
6.62
6.65
	25.69
25.65
25.75
	889
893
893
	8.2
2.6
1.8
	0.68
0.21
0.15
	-181.2
-168.4
-168.0
	1.65
0.98
0.90

	4Z-5806 Coconut Blvd.
	08/05/2009
	13:45
14:00
	75
300
	7.10
7.05
	25.37
25.40
	770
771
	5.6
2.8
	0.48
0.26
	-150.7
-159.6
	0.78
0.84

	Sample ID
	Date
	Time
	Volume Purged
(gallons)
	pH
(standard units)
	Temperature
(°C)
	Specific Conductance
(microSiemens/cm)
	Dissolved
Oxygen
(%)
	Dissolved
Oxygen
(mg/L)
	ORP
(millivolts)
	Turbidity 
(NTUs)

	4Z-5924 Avocado
	08/05/2009
08/05/2009
08/05/2009
08/26/2009
08/26/2009
08/26/2009
	13:06
13:11
13:16
15:43
15:47
15:53
	10
60
110
30
80
130
	7.58
7.07
7.01
7.02
6.79
6.82
	26.54
25.15
25.17
25.35
25.31
25.31
	780
795
796
667
668
669
	92.6
7.1
2.2
4.9
1.9
1.2
	7.05
0.55
0.18
0.44
0.16
0.10
	-161.7
-161.5
-157.6
NM
NM
NM
	2.5
1.74
0.91
0.39
0.26
0.34

	5Z-14155 43rd Rd. N.
	08/05/2009
08/05/2009
08/05/2009
08/27/2009
08/27/2009
	15:15
15:25
15:30
11:57
12:07
	50
200
250
50
150
	7.37
7.41
7.31
7.42
7.61
	26.93
24.88
24.77
26.09
25.63
	1124
1070
1069
1156
1145
	46.3
67.6
65.0
153.0
165.0
	3.61
5.61
5.32
12.3
13.4
	-160.2
-240.9
-230.8
-137.7
-150.6
	52
28
14
19.1
11.9

	5Z-14563 North Rd.
	08/05/2009
	16:40
16:55
	25
100
	6.60
6.55
	24.74
25.01
	807
821
	4.8
2.1
	0.40
0.17
	-228.4
-229.5
	1
1

	5Z-15655 42nd Rd. N.
	08/05/2009

	17:53
17:58
18:03
	10
60
110
	7.57
7.18
7.09
	25.77
25.00
24.95
	874
885
885
	58.7
6.5
1.3
	4.51
0.52
0.11
	-95.4
-110.7
-110.8
	2.57
0.57
0.98

	5Z-15530 42nd Rd N
	08/27/2009
08/27/2009
08/27/2009
09/14/2009
09/14/2009
	12:49
12:59
13:04
14:21
14:31
	50
150
200
30
90
	7.30
6.98
6.97
6.66
6.67
	25.29
25.06
25.10
25.30
25.22
	2205
2242
2228
2456
2464
	62.5
88.8
101.4
42.9
19.9
	5.03
7.28
8.31
3.92
1.54
	-86.9
-114.5
-119.6
-114.1
-145.9
	0.98
0.61
0.43
0.20
0.50

	5Z-15962 42nd St. N.
	08/06/2009
	11:45
11:50
11:55
	10
60
110
	7.61
7.29
7.13
	26.52
25.57
25.71
	971
971
967
	47.0
6.3
1.6
	3.26
0.51
0.13
	-62.4
-32.4
-3.5
	5.33
1.57
0.72

	5Z-16280 Sycamore Dr. E.
	08/05/2009
08/05/2009
08/05/2009
08/27/2009
08/27/2009
08/27/2009
	17:03
17:07
17:12
12:20
12:35
12:40
	89
142
203
75
300
375
	6.85
6.83
6.84
6.83
6.86
6.86
	24.40
24.39
24.40
24.78
24.69
24.63
	1014
1015
1015
884
885
NM
	1.1
1.0
2.7
3.0
1.0
0.8
	0.09
0.08
0.23
1.26
0.09
0.06
	-80.2
-81.5
-84.2
NM
NM
NM
	1.08
0.63
0.61
0.80
0.80
0.31

	5Z-SID No.1
	08/26/2009
	11:08
11:12
	NA
	7.49
7.34
	24.73
24.57
	2259
2272
	33.0
31.0
	2.73
2.56
	-221.8
-240.8
	0.63
0.36

	5Z-SID No. 2
	08/26/2009
	10:20
10:24
	NA
	7.23
7.23
	24.23
24.20
	2458
2460
	28.2
24.20
	2.35
2.34
	-235.2
-240.2
	3
3

	5Z-SID No. 3
	08/05/2009
08/26/2009
08/26/2009
	14:02
09:47
09:51
	NA
	6.90
7.13
7.11
	23.99
24.18
24.14
	3316
3085
3100
	0.9
26.7
25.9
	0.07
2.23
2.16
	-156.2
-215.9
-223.0
	0.51
4
2


	Sample ID
	Date
	Time
	Volume Purged
(gallons)
	pH
(standard units)
	Temperature
(°C)
	Specific Conductance
(microSiemens/cm)
	Dissolved
Oxygen
(%)
	Dissolved
Oxygen
(mg/L)
	ORP
(millivolts)
	Turbidity 
(NTUs)

	5Z-SID No. 4
	08/26/2009
	09:24
09:28
	NA
	7.16
7.10
	24.23
24.18
	2932
2962
	31.8
30.0
	2.64
2.50
	-195.3
-209.7
	3
3

	5Z-SID No. 5
	08/26/2009
	08:56
09:00
	NA
	6.66
6.97
	24.37
25.24
	2121
2141
	3.5
2.9
	0.30
0.25
	-185.7
-211.6
	12
4

	5Z-SID P.O.E
	08/26/2009
	11:35
11:39
	NA
	8.55
8.84
	25.54
25.52
	292
286
	92.4
89.7
	7.64
7.29
	458.2
530.9
	0.40
0.39

	5Z-SID Reject Water
	08/26/2009
	11:53
11:57
	NA
	6.33
6.31
	24.92
24.90
	10236
10303
	4.3
5.1
	0.33
0.41
	-167.7
-170.3
	0.57
0.56

	5Z-SID Repump Water
	08/26/2009
	12:31
12:34
	NA
	8.58
8.72
	27.38
27.41
	213
213
	108.2
106.5
	8.59
8.39
	585.2
603.4
	0.66
0.26

	6Z-17368 49th St. N.
	08/06/2009
	10:31
10:36
10:41
	10
60
110
	7.25
6.90
6.81
	25.30
25.00
24.95
	964
959
957
	61.2
4.0
1.8
	4.86
0.32
0.15
	-58.7
-37.1
-35.9
	1.44
0.83


	6Z-17413 44th Pl. N.
	08/06/2009
	09:27
09:32
09:37
	10
60
110
	7.07
6.62
6.62
	25.03
24.64
24.65
	887
907
908
	66.4
5.1
4.8
	5.4
0.42
0.39
	-124.1
-111.1
-58.1
	2.40
1.30
1.78

	6Z-18768 47th Ct. N.
	08/06/2009
08/06/2009
08/06/2009
08/27/2009
08/27/2009
	10:10
10:15
10:30
10:35
10:50
	0
50
150
70
345
	7.18
7.18
7.19
6.97
7.00
	25.72
25.72
25.72
26.03
26.02
	494
496
497
440
440
	1.3
0.9
0.8
1.7
0.7
	0.10
0.07
0.06
0.14
0.8
	-107.3
-106.5
-105.4
NM
NM
	0.43
0.59
0.61
0.44
0.31

	6Z-18852 42nd Rd. N.
	08/06/2009
08/06/2009
08/27/2009
08/27/2009
	08:55
09:00
11:25
11:40
	75
300
75
225
	6.24
6.33
6.82
6.83
	24.06
24.02
25.18
25.22
	833
830
894
893
	6.3
2.0
2.7
1.6
	0.51
0.17
0.23
0.15
	-143.7
-145.2
NM
NM
	1
0
0.48
0.47

	6Z-4091 Mandarin Blvd.
	08/05/2009
	15:50
	50
	7.65
	26.70
	1095
	68.8
	5.56
	-98.4
	3.58

	M Canal 1
	08/26/2009
	0940
	NA
	7.51
	30.35
	354
	47.0
	3.4
	NM
	9.67

	M Canal 2
	08/26/2009
	1250
	NA
	7.26
	31.68
	515
	63.0
	4.65
	NM
	7.22

	M Canal 3
	08/26/2009
	1500
	NA
	7.05
	31.77
	370
	54.3
	4.01
	NM
	6.87

	6Z Outfall & Sycamore
	08/26/2009
	1115
	NA
	7.36
	30.26
	429
	51.1
	3.05
	NM
	1.97

	L8-Tieback
	08/26/2009
	1208
	NA
	7.27
	30.28
	361
	48.3
	3.58
	NM
	7.42


NM=Not Measured
ORP=Oxidation Reduction Potential
NTUs=Nephelometric Turbidity Units
NA=Not Applicable

