Table 1: Ground Water & Surface Water Parameters
The Acreage, Loxahatchee, Palm Beach County, Florida
FDEP Site Investigation


	Sample ID
	Date
	Time
	Volume Purged
(gallons)
	pH
(standard units)
	Temperature
(°C)
	Specific Conductance
(microSiemens/cm)
	Dissolved
Oxygen
(%)
	Dissolved
Oxygen
(mg/L)
	ORP
(millivolts)
	Turbidity 
(NTUs)

	1-Pre
	02/12/2010
	15:20
15:25
	225
300
	6.80
6.88
	24.98
24.99
	1000
1003
	23.6
23.9
	1.95
1.96
	-182.9
-183.7
	23.3
2.61

	1-Post
	02/12/2010
	16:00
	NA
	6.88
	21.70
	528
	65.2
	5.71
	47.9
	5.25

	
	
	
	
	
	
	
	
	
	
	

	2-Pre
	02/12/2010
	16:20
16:25
	190
240
	7.24
7.25
	24.55
24.59
	630
629
	2.9
2.5
	0.2
0.2
	-194
-199
	1.38
1.25

	2-Post
	02/12/2010
	17:00
	NA
	7.52
	21.08
	637
	27.0
	2.9
	NM
	3.68

	
	
	
	
	
	
	
	
	
	
	

	3-Pre
	02/13/2010
	15:26
15:31
	225
300
	6.95
6.95
	23.77
23.80
	773
703
	11.7
10.0
	0.98
0.83
	-239.4
-248.6
	0.20
0.26

	3-Post
	02/13/2010
	16:20
	NA
	6.40
	20.51
	128
	52.0
	4.66
	29.8
	0.36

	
	
	
	
	
	
	
	
	
	
	

	4-Pre
	02/13/2010
	17:30
17:45
	225
450
	6.91
6.90
	23.86
23.76
	821
818
	1.5
1.0
	0.12
0.08
	NM
NM
	0.45
0.40

	4-Post
	02/13/2010
	18:15
	NA
	7.16
	18.29
	7.04
	54.7
	5.16
	NM
	0.47

	
	
	
	
	
	
	
	
	
	
	

	5-Pre
	02/13/2010
	1152
1202
	409
682
	7.23
7.24
	23.47
22.07
	1220
1213
	13.1
9.4
	1.11
0.82
	NM
NM
	0.85
0.97

	5-Post
	02/13/2010
	12:30
	NA
	7.60
	20.94
	1256
	16.8
	1.51
	NM
	0.75

	
	
	
	
	
	
	
	
	
	
	

	6-Pre
	02/13/2010
	1047
1053
	300
400
	6.70
6.70
	24.99
25.00
	790
791
	13.2
12.8
	1.08
1.07
	-84.2
-91.2
	0.52
0.79

	6-Post
	02/13/2010
	1145
	NA
	7.16
	21.47
	840
	70.0
	6.20
	68.0
	0.23

	
	
	
	
	
	
	
	
	
	
	

	7-Pre

	02/14/2010
	0909
0914
	225
300
	6.78
6.79
	24.35
24.43
	1727
1710
	6.0
5.5
	0.51
0.46
	-234.1
-241.2
	2.64
0.64

	7-Post
	02/14/2010
	0940
	NA
	6.64
	13.55
	1437
	62.0
	6.40
	117.3
	0.51

	
	
	
	
	
	
	
	
	
	
	

	8-Pre
	02/13/2010
	15:15
15:20
	150
200
	7.09
7.20
	24.50
24.60
	574
572
	5.6
4.8
	0.46
0.4
	-136
-150
	1.3
1.5

	8-Post
	02/13/2010
	15:00
	NA
	6.93
	21.16
	641
	48.8
	4.3
	130.6
	0.22

	
	
	
	
	
	
	
	
	
	
	

	9-Pre
	02/14/2010
	11:26
11:31
	225
300
	6.95
6.95
	24.27
24.29
	872
871
	8.5
8.6
	0.71
0.72
	-237
-237.1
	0.26
0.31

	9-Post
	02/14/2010
	12:15
	NA
	7.11
	22.00
	840
	62.0
	5.39
	8.2
	0.28




	
Sample ID
	Date
	Time
	Volume Purged
(gallons)
	pH
(standard units)
	Temperature
(°C)
	Specific Conductance
(microSiemens/cm)
	Dissolved
Oxygen
(%)
	Dissolved
Oxygen
(mg/L)
	ORP
(millivolts)
	Turbidity 
(NTUs)

	10-Pre
	02/13/2010
	1515
1530
	225
450
	7.12
7.11
	24.59
24.71
	744
745
	1.2
1.2
	0.11
0.10
	NM
NM
	0.56
0.32

	10-Post
	02/13/2010
	1625
	NA
	7.39
	36.31
	1021
	36.3
	2.42
	NM
	0.76

	
	
	
	
	
	
	
	
	
	
	

	11-Pre
	02/13/2010
	1714
1719
	200
262
	7.27
7.28
	23.75
23.70
	716
715
	27.4
24.3
	2.27
2.04
	NM
NM
	0.44
0.28

	11-Post
	02/13/2010
	1752
	NA
	7.78
	20.23
	884
	67.5
	6.09
	NM
	1.29

	
	
	
	
	
	
	
	
	
	
	

	12-Pre
	02/13/2010
	0920
0925
	300
400
	6.66
6.66
	25.25
25.27
	1047
1045
	31.8
32.9
	2.63
2.72
	-65.1
-64.0
	12.0
2.85

	12-Post
	02/13/2010
	1000
	NA
	5.72
	22.52
	165
	14.1
	1.22
	165.2
	6.42

	
	
	
	
	
	
	
	
	
	
	

	14-Pre
	02/14/2010
	0920
0925
	150
200
	6.83
6.87
	25.21
25.37
	1425
1426
	15.0
10.5
	1.21
0.85
	-115.4
-140.4
	0.82
0.42

	14-Post
	02/14/2010
	0945
	NA
	6.69
	18.12
	783
	67.0
	6.41
	169
	0.30

	
	
	
	
	
	
	
	
	
	
	

	15-Pre
	02/14/2010
	1005
1010
	204
272
	7.08
7.11
	23.78
23.76
	1023
1021
	13.6
11.8
	1.14
1.00
	NM
NM
	0.32
0.22

	15-Post
	02/14/2010
	1055
	NA
	7.37
	22.46
	1071
	18.3
	1.59
	NM
	0.78

	
	
	
	
	
	
	
	
	
	
	

	16-Pre
	02/14/2010
	0910
0925
	150
300
	7.13
7.12
	24.17
24.22
	518
518
	1.0
0.8
	0.08
0.07
	NM
NM
	0.29
0.35

	16-Post 
	NC
	NC
	NM
	NM
	NM
	NM
	NM
	NM
	NM
	NM

	
	
	
	
	
	
	
	
	
	
	

	17-Pre
	02/14/2010
	1135
1140
	150
200
	7.14
7.18
	24.56
24.89
	2231
2237
	7.4
7.1
	0.62
0.61
	-255.9
-258.2
	1.02
0.42

	17-Post
	02/14/2010
	1200
	NA
	8.21
	17.52
	2340
	75.3
	6.93
	16.2
	0.60

	
	
	
	
	
	
	
	
	
	
	

	18-Pre
	02/14/2010
	1315
1320
	250
334
	7.42
7.39
	24.55
24.75
	837
838
	21.5
20.3
	1.78
1.69
	NM
NM
	1.31
1.28

	18-Post
	02/14/2010
	1350
	NA
	7.32
	24.35
	806
	58.7
	4.88
	NM
	0.92

	
	
	
	
	
	
	
	
	
	
	

	19-Pre
	02/13/2010
	1440
1445
	300
400
	7.50
7.47
	23.86
23.94
	619
618
	10.7
10.0
	0.90
0.84
	NM
NM
	1.06
0.20

	19-Post
	02/13/2010
	1545
	NA
	7.49
	23.75
	608
	7.6
	0.67
	NM
	0.31




	
Sample ID
	Date
	Time
	Volume Purged
(gallons)
	pH
(standard units)
	Temperature
(°C)
	Specific Conductance
(microSiemens/cm)
	Dissolved
Oxygen
(%)
	Dissolved
Oxygen
(mg/L)
	ORP
(millivolts)
	Turbidity 
(NTUs)

	20-Pre
	02/13/2010
	1325
1330
	150
200
	6.94
6.93
	24.45
24.59
	1760
1759
	12.0
14.2
	0.99
1.17
	-131.3
-179.4
	0.52
0.38

	20-Post
	02/13/2010
	1408
	NA
	7.10
	18.81
	1829
	26.5
	2.49
	13.6
	0.38

	
	
	
	
	
	
	
	
	
	
	

	21-Pre
	02/14/2010
	1427
1432
	113
149
	6.63
6.62
	24.88
24.91
	714
714
	19.4
12.1
	4.52
1.00
	-91.3
-99.0
	2.81
0.82

	21-Post
	02/14/2010
	1500
	NA
	6.50
	22.60
	869
	62.7
	5.25
	109.9
	0.31

	
	
	
	
	
	
	
	
	
	
	

	22-Pre
	02/13/2010
	1415
1420
	150
200
	6.88
6.90
	24.79
24.81
	2147
2152
	6.9
6.3
	0.58
0.51
	-108.6
-115.3
	0.32
0.40

	22-Post
	02/13/2010
	1420
	NA
	6.94
	18.28
	2158
	54.7
	5.1
	34
	0.39

	
	
	
	
	
	
	
	
	
	
	

	23-Pre
	NC
	NC
	NM
	NM
	NM
	NM
	NM
	NM
	NM
	NM

	23-Post
	02/13/2010
	0920
	NA
	6.06
	17.70
	2231
	75.2
	7.0
	222
	1.30

	
	
	
	
	
	
	
	
	
	
	

	24-Pre
	NC
	NC
	NM
	NM
	NM
	NM
	NM
	NM
	NM
	NM

	24-Post
	02/13/2010
	1200
	NA
	6.51
	20.07
	1126
	50.6
	4.9
	84.3
	0.33

	24-RO
	02/13/2010
	1300
	NA
	7.34
	18.92
	62
	44.0
	4.09
	127.8
	0.19

	
	
	
	
	
	
	
	
	
	
	

	25-Pre
	NC
	NC
	NM
	NM
	NM
	NM
	NM
	NM
	NM
	NM

	25-Post
	02/13/2010
	1000
	NA
	7.02
	14.91
	1080
	79.7
	8.0
	138.3
	0.30

	
	
	
	
	
	
	
	
	
	
	

	26-Pre
	02/13/2010
	1215
1230
	225
450
	7.10
7.09
	24.05
23.97
	1332
1345
	0.9
0.6
	0.08
0.05
	NM
NM
	0.59
0.79

	26-Post
	02/13/2010
	1320
	NA
	7.50
	18.97
	1187
	39.3
	3.67
	NM
	1.02

	
	
	
	
	
	
	
	
	
	
	

	27-Pre
	02/14/2010
	1030
1045
	225
450
	7.22
7.20
	23.18
23.21
	475
476
	3.5
3.3
	0.30
0.28
	NM
NM
	0.28
0.41

	27-Post
	02/14/2010
	1110
	NA
	7.39
	14.60
	477
	18.3
	1.87
	NM
	0.52

	
	
	
	
	
	
	
	
	
	
	

	28-Pre
	02/13/2010
	0957
1013
	150
300
	7.00
7.00
	23.23
22.97
	895
894
	1.5
1.2
	0.13
0.10
	NM
NM
	0.17
2.94

	28-Post
	02/13/2010
	1115
	NA
	7.18
	20.53
	764
	46.0
	4.19
	NM
	0.87

	
	
	
	
	
	
	
	
	
	
	

	29-Pre
	NC
	NC
	NM
	NM
	NM
	NM
	NM
	NM
	NM
	NM

	29-Post
	02/13/2010
	1115
	NM
	6.06
	21.50
	330
	51.2
	3.97
	-5.6
	0.22



NC:	Not Collected
NM:	Not Measured
ORP:	Oxidation Reduction Potential
NTUs:	Nephelometric Turbidity Units
NA:	Not Applicable
