| Analyte | GCTL (ug/L) | 1-Pre | 1-Post | 2-Pre | 2-Post | 3-Pre | 3-Post | 4-Pre | 4-Post |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bromodichloromethane | 0.6 (MCC) |  |  |  |  |  |  |  |  |
| Dibromochloromethane | 0.4 (MCC) |  |  |  |  |  |  |  |  |
| Iron | 300 (SSA) |  |  | 1,010 | 400 |  |  | 670 | 150 |
| Sodium | 160,000 |  | 256,000 |  |  |  |  |  |  |
| Manganese | 50 (SSA) |  |  |  |  |  |  |  |  |

ND=Non Detect

NA=Not Analyzed

Yellow Infill=Exceedance of Ground Water Cleanup Target Level

ug/L= micrograms per Liter

pCi/L=picocuries per Liter

SSA=Secondary Standard Aesthetic

MCST=Minimum Criteria Systemic Toxicant

MCC=Minimum Criteria Carcinogen

Primary Standard Unless Otherwise Noted

| Analyte | GCTL (ug/L) | 5-Pre | 5-Post | 6-Pre | 6-Post | 7-Pre | 7-Post | 8-Pre | 8-Post |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bromodichloromethane | 0.6 (MCC) |  |  |  |  | ND | 0.94 |  |  |
| Dibromochloromethane | 0.4 (MCC) |  |  |  |  |  |  |  |  |
| Iron | 300 (SSA) | 1,181 | 39 | 2,980 |  |  |  |  |  |
| Sodium | 160,000 |  | 329,000 |  |  | 175,000 | 329,000 |  |  |
| Manganese | 50 (SSA) |  |  |  |  |  |  |  |  |

ND=Non Detect

NA=Not Analyzed

Yellow Infill=Exceedance of Ground Water Cleanup Target Level

ug/L= micrograms per Liter

pCi/L=picocuries per Liter

SSA=Secondary Standard Aesthetic

MCST=Minimum Criteria Systemic Toxicant

MCC=Minimum  Criteria Carcinogen

Primary Standard Unless Otherwise Noted

| Analyte | GCTL (ug/L) | 9-Pre | 9-Post | 10-Pre | 10-Post | 11-Pre | 11-Post | 12-Pre | 12-Post |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bromodichloromethane | 0.6 (MCC) |  |  |  |  |  |  |  |  |
| Dibromochloromethane | 0.4 (MCC) |  |  |  |  |  |  |  |  |
| Iron | 300 (SSA) |  |  | 640 |  |  |  | 3,020 |  |
| Sodium | 160,000 | 41,200 | 217,000 |  |  | 17,100 | 243,000 |  |  |
| Manganese | 50 (SSA) |  |  |  |  |  |  |  |  |

ND=Non Detect

NA=Not Analyzed

Yellow Infill=Exceedance of Ground Water Cleanup Target Level

ug/L= micrograms per Liter

pCi/L=picocuries per Liter

SSA=Secondary Standard Organoleptic

MCST=Minimum Criteria Systemic Toxicant

MCC=Minimum Criteria Carcinogen

Primary Standard Unless Otherwise Noted

| Analyte | GCTL (ug/L) | 14-Pre | 14-Post | 15-Pre | 15-Post | 16-Pre | 16-Post | 17-Pre | 17-Post |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bromodichloromethane | 0.6 (MCC) |  |  |  | 0.68 |  |  |  | 4.0 |
| Dibromochloromethane | 0.4 (MCC) |  |  |  |  |  |  |  | 3.0 |
| Iron | 300 (SSA) | 1,750 |  | 1,690 |  | 3,230 |  |  |  |
| Sodium | 160,000 |  |  | 58,600 | 260,000 |  |  | 290,000 | 524,000 |
| Manganese | 50 (SSA) |  |  |  |  |  |  |  |  |

ND=Non Detect

NA=Not Analyzed

Yellow Infill=Exceedance of Ground Water Cleanup Target Level

ug/L= micrograms per Liter

pCi/L=picocuries per Liter

SSA=Secondary Standard Aesthetic

MCST=Minimum Criteria Systemic Toxicant

MCC=Minimum Criteria Carcinogen

Primary Standard Unless Otherwise Noted

| Analyte | GCTL (ug/L) | 18-Pre | 18-Post | 19-Pre | 19-Post | 20-Pre | 20-Post | 21-Pre | 21-Post |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bromodichloromethane | 0.6 (MCC) |  |  |  |  |  |  |  |  |
| Dibromochloromethane | 0.4 (MCC) |  |  |  |  |  |  |  |  |
| Iron | 300 (SSA) | 980 | 230 |  |  | 570 |  | 12,000 |  |
| Sodium | 160,000 |  |  |  |  | 141,000 | 434,000 | 22,500 | 180,000 |
| Manganese | 50 (SSA) |  |  |  |  |  |  |  |  |

ND=Non Detect

NA=Not Analyzed

Yellow Infill=Exceedance of Ground Water Cleanup Target Level

ug/L= micrograms per Liter

pCi/L=picocuries per Liter

SSA=Secondary Standard Aesthetic

MCST=Minimum Criteria Systemic Toxicant

MCC=Minimum Criteria Carcinogen

Primary Standard Unless Otherwise Noted

| Analyte | GCTL | 22-Pre | 22-Post | 23-Pre | 23-Post | 24-Pre | 24-Post | 25-Pre | 25-Post |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bromodichloromethane | 0.6 (MCC) |  |  |  | 1.2 |  | 0.51 |  |  |
| Dibromochloromethane | 0.4 (MCC) |  |  |  |  |  |  |  |  |
| Iron | 300 (SSA) |  | 1,030 |  |  |  |  |  |  |
| Sodium | 160,000 |  | 424,000 |  | 453,000 |  | 260,000 |  | 267,000 |
| Manganese | 50 (SSA) |  |  |  |  |  |  |  |  |

ND=Non Detect

NA=Not Analyzed

Yellow Infill=Exceedance of Ground Water Cleanup Target Level

ug/L= micrograms per Liter

pCi/L=picocuries per Liter

SSA=Secondary Standard Aesthetic

MCST=Minimum Criteria Systemic Toxicant

MCC=Minimum Criteria Carcinogen

Primary Standard Unless Otherwise Noted

| Analyte | GCTL | 26-Pre | 26-Post | 27-Pre | 27-Post | 28-Pre | 28-Post | 29-Pre | 29-Post |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bromodichloromethane | 0.6 (MCC) |  |  |  |  |  |  |  |  |
| Dibromochloromethane | 0.4 (MCC) |  |  |  |  |  |  |  |  |
| Iron | 300 (SSA) | 960 |  | 2,920 |  | 4,190 |  |  |  |
| Sodium | 160,000 | 117,000 | 304,000 |  |  |  |  |  |  |
| Manganese | 50 (SSA) |  |  |  | 35.6 | 58.6 |  |  |  |

ND=Non Detect

NA=Not Analyzed

Yellow Infill=Exceedance of Ground Water Cleanup Target Level

ug/L= micrograms per Liter

pCi/L=picocuries per Liter

SSA=Secondary Standard Aesthetic

MCST=Minimum Criteria Systemic Toxicant

MCC=Minimum Criteria Carcinogen

Primary Standard Unless Otherwise Noted

| Analyte | GCTL | 30-Pre | 30-Post | 31-Pre | 31-Post |
| --- | --- | --- | --- | --- | --- |
| Bromodichloromethane | 0.6 (MCC) |  |  |  |  |
| Dibromochloromethane | 0.4 (MCC) |  |  |  |  |
| Iron | 300 (SSA) |  |  |  |  |
| Sodium | 160,000 |  |  |  |  |
| Manganese | 50 (SSA) |  |  |  |  |

ND=Non Detect

NA=Not Analyzed

Yellow Infill=Exceedance of Ground Water Cleanup Target Level

ug/L= micrograms per Liter

pCi/L=picocuries per Liter

SSA=Secondary Standard Aesthetic

MCST=Minimum Criteria Systemic Toxicant

MCC=Minimum Criteria Carcinogen

Primary Standard Unless Otherwise Noted