PHOSPHATE INDICATOR

Solution 1 – Mix 0.6 g of ammonium vanadate with 100 mL of concentrated HNO3 (70% assay) and 400 mL distilled H2O. Dissolve all crystals!

Solution 2 – Mix 25 g of ammonium molybdate and 200 mL distilled H2O. Dissolve completely.

Mix the two solutions to make 700 ml of Phoshpate Indicator. Place date on bottle.

Note: Phosphate indicator may lose effectiveness when precipitate forms in bottle.

