ESTIMATED POLLUTANT LOAD REDUCTION:

kilograms/YR

BMP’s Installed; TSS kg/yr; TP kg/yr; TN kg/yr; BOD kg/yr; Fecal Coliform TC/yr; Other kg/yr. Alum Injection; Total Count. Pollutant Loads; Pre-Project; 64,997; 1,440; 5,218; 21,839; 9.07E+13. Post-Project; 14,496; 380; 3,937; 14,689; 1.73E+13. Load Reduction; 50,501; 1,060; 1,281; 7,150; 7.34E+13. % Reduction; 78%; 74%; 25%; 33%; 81%.

Pounds/YR

| BMPs Installed |  | TSS lbs/yr | TP lbs/yr | TN lbs/yr | BOD lbs/yr | Fecal Coliform | Other lbs/yr |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Alum Injection |  |  |  |  |  | (total count) |  |
| Pollutant Loads | Pre-Project | 143,318 | 3,175 | 11,506 | 48,155 | 9.07E+13 | N/A |
|  | Post-Project | 31,964 | 838 | 8,681 | 32,389 | 1.73E+13 | N/A |
|  | Load Reduction | 111,355 | 2,337 | 2,825 | 15,766 | 7.34E+13 | N/A |
|  | % Reduction | 78% | 74% | 25% | 33% | 81% | N/A |