## FL0001490
Florida Department of Environmental Protection
Wastewater Facility Regulation
Facility Detail Report
Report Generated from DOPPLER - FLDEP 3/21/2016
Facility: | FL0001490 | FPL Fort Myers Plant
Status: | A | Type: | IW | Begin/End Operation: |  | JAN /DEC
Address: | 10650 Palm Beach Blvd
Fort Myers, FL 33905-5903
Nature of Business: |  | Electric Power Plant
|  |  | SIC Codes |  | Primary Ind
|  |  | 4911 |  | Y
County: | 36 Lee |  | Office: | SD | Water Mgt Dist: |  |  | Ranking: | MA
Permitted Flow: |  | 597 MGD | Flow Basis: |  | DF
Treatment Process Summary: |  |  | Facilities Consist Of A Neutralization Basin, Solids Settling Basins, Sludge Drying Basin, Oil Separators, And Storm Water Basin.
WW Character Summary: |  |  | 305 130
Important Parties to Facility
Affiliation Type: |  | Permittee |  |  |  | Effective Date: |  | 01/20/2016
Ownership: |  | UNKNOWN
Company Name: |  | Florida Power & Light
Name: |  | Panoff, Timothy
Address: |  | 10650 State Road 80
Post Office Box 430
Fort Myers, FL 33902
Business Phone: |  | (239)693-4252
Fax:
Email Address: |  | timothy.panoff@fpl.com
WAFR Facility Status History
Status | Start Date |  | Comments
A | 03/31/1995 |  | STATUS AS DOWNLOADED FROM GMS
Geographical Information
Directions:
Object of Interest: | FACIL |  |  |  | Determination Date: |  | 07/21/1999
Coord Method: | DPHO | Datum: | NAD83 | Accuracy: | 4
X Coordinate: | 620271.07 |  |  |  | Y Coordinate: |  | 301116.59
Latitude: | 26 -41 -50.0133 |  |  |  | Longitude |  | 81 -46 -56.0024
Sites Associated with this Facility
Site | Site ID | Status | Permitted Capacity | Reuse/ Disposal | Description
21549 | D-011 | I |  |  | OTCW discharge from Unit 1 to discharge canal.
21550 | D-012 | I |  |  | OTCW discharge from Unit 2 to discharge canal.
21551 | D-1D1 | I |  |  | AECW discharge in lieu of OTCW from Unit 1 to discharge canal.
21552 | D-1D2 | I |  |  | AECW discharge in lieu of OWCW from Unit 2 to discharge canal.
21553 | MWC-OB4 | A |  |  | WELL OB4 (COMPLIANCE)
21554 | MWI-OB2 | A |  |  | WELL OB2 (INTERMEDIATE)
21555 | MWC-OB1 | A |  |  | WELL OB1 (COMPLIANCE)
21556 | MWB-MW4 | A |  |  | FPL WELL MY-MW-3 (BACKGROUND)
30673 | D-161 | I |  |  | Boiler blowdown from Unit 1 to discharge canal.
30674 | D-162 | I |  |  | Boiler blowdown from Unit 2 to discharge canal.
30675 | D-181 | I |  |  | AECW discharge from Unit 1 to discharge canal.
30676 | D-182 | I |  |  | AECW discharge from Unit 2 to discharge canal.
30677 | D-01D | I |  |  | Manatee protection well discharge to discharge canal.
30678 | INT-1 | I |  |  | OTCW intake for Unit 1
30679 | INT-2 | A |  |  | OTCW intake for Unit 2
30680 | INT-3 | I |  |  | OTCW plant intake
30682 | INT-4 | I |  |  | point of chlorine addition for Unit 1 OTCW
30683 | INT-5 | I |  |  | point of chlorine addition for Unit 2 OTCW
30688 | EFF-1 | I |  |  | OTCW outlet from Unit 1
30689 | EFF-2 | A |  |  | At the end of the evaporation/percolation pond overflow pipe.
30691 | INT-6 | I |  |  | AECW intake for Unit 1
30692 | INT-7 | I |  |  | AECW intake for Unit 2
30693 | INT-8 | I |  |  | Point of chlorine addition for Unit 1 AECW
30694 | INT-9 | I |  |  | point of chlorine addition for Unit 2 AECW
30695 | EFF-3 | I |  |  | Boiler blowdown outlets or boiler drum for Unit 1
30696 | EFF-4 | I |  |  | boiler blowdown outlet or boiler drum for Unit 2
30697 | EFF-5 | I |  |  | Point of discharge from the discharge canal to the Orange River.
30698 | EFF-6 | I |  |  | AECW outlet for Unit 2
30699 | EFF-7 | I |  |  | discharge from the Manatee protection wells.
43890 | I-130 | A |  |  | Reverse Osmosis Reject Water.
44951 | I-111 | A |  |  | OTCW Discharge from Unit 1.
44953 | I-112 | A |  |  | OTCW Discharge from Unit 2.
44954 | I-170 | A |  |  | Cooling Tower Discharge.
44955 | D-01B | I |  |  | Combined plant discharge - MODE II
47752 | I-180 | A |  |  | Auxiliary Equipment Cooling Water from Units 1 and 2.
47753 | EFF-8 | I |  |  | combined AECW discvharge for Units 1 and 2
47755 | EFF-9 | I |  |  | cooling tower discharge flume
47756 | INT-10 | I |  |  | point of chlorine addition to the cooling tower flow
47763 | D-01A | I |  |  | combined plant discharge -Mode I
47764 | EFF-10 | I |  |  | point of discharge to the cooling tower basin
59516 | D-010 | A |  | R | Combined Plant Discharge.
59536 | FLW-1 | A |  |  | OTCW intake for Unit 1.
59537 | FLW-2 | I
59538 | OUI-1 | I
59544 | FLW-3 | I
59545 | FLW-4 | I
59546 | OTH-1 | I
59547 | OUI-2 | I
59548 | FLW-5 | I
116822 | MW-4 | I
116823 | MWC-21555 | I |  |  | ob-1 complicance well
116824 | MWB-21556 | I |  |  | mw-4 background well
116825 | MWI-21554 | I |  |  | ob-2 intermediate well
116826 | MWC-21553 | I |  |  | ob-4 compliance deep well
149581 | I-190 | A |  |  | Intake Screen Wash Water.
149582 | I-1D0 | A |  |  | Fire Pump Discharge Water.
149583 | INT-1 | A |  |  | OTCW plant intake.
149584 | OUI-1 | A |  |  | The point of discharge to the cooling tower basin.
149585 | FLW-4 | A |  |  | The cooling tower discharge flume (flow measurement).
149586 | OTH-1 | A |  |  | The point of chlorine addition to the cooling tower flow.
149587 | OUI-2 | A |  |  | The cooling tower discharge flume.
149588 | FLW-5 | A |  |  | AECW intake for Units 1 and 2 (flow measurement).
149589 | EFF-1 | A |  |  | At the end of the discharge canal prior to discharge to the Orange River. Temperature measurements shall be taken at the surface, midpoint, and bottom at the midsection of the canal and averaged.
149590 | FLW-2 | A |  |  | OTCW intake for Unit 2.
149591 | PER-1 | A |  |  | Percolation pond.
149592 | G-001 | A |  |  | evaporation/percolation pond
149593 | FLW-3 | A |  |  | The point of discharge to the cooling tower basin (flow measurement).
149594 | I-113 | A |  |  | Internal Discharge of Manatee Heating Water to the Discharge Canal.
149595 | D-020 | A |  |  | Emergency Overflow Discharge from the Evaporation/Percolation Pond.
149596 | OTH-2 | A |  |  | The point of chlorine addition to AECW.
Facility Permits
Document ID |  | Document Type |  |  | Status | Issue Date |  | Effective |  | Expiration
FL0001490 |  | V |  |  | Active | 02/29/2016 |  | 02/29/2016 |  | 01/19/2021
FL0001490 |  | W |  |  | Inactive | 01/20/2016 |  | 01/20/2016 |  | 01/19/2021
FL0001490 |  | W |  |  | Inactive | 12/10/2010 |  | 12/10/2010 |  | 12/09/2015
FL0001490 |  | W |  |  | Inactive | 05/19/2004 |  | 05/19/2004 |  | 05/18/2009
FL0001490-001-IW1S |  | W |  |  | Inactive | 04/10/1998 |  | 04/10/1998 |  | 04/09/2003
IO36175329 |  | O |  |  | Inactive | 07/02/1990 |  | 07/02/1990 |  | 07/02/1995
WAFR-PA Projects
Project | Project Name |  |  |  | Type/Subtype | Received | Issued | Expiration
009 | FPL FT. MYERS PLANT |  |  |  | IWF /MM | 02/25/2016 | 02/29/2016 | 02/27/2021
008 | FPL FT. MYERS PERMIT RENEWAL |  |  |  | IW1S /NR | 06/12/2015 | 01/20/2016 | 01/19/2021
007 | FPL FORT MYERS PLANT |  |  |  | IWB /MR | 01/15/2014 | 02/05/2014 | 02/04/2019
006 | FPL-FT.MYERS |  |  |  | IWB /MR | 02/08/2013 | 03/06/2013 | 03/05/2018
005 | FPL-FORT MYERS |  |  |  | IW1S /NR | 11/14/2008 | 12/10/2010 | 12/09/2015
004 | FPL FORT MYERS PLANT |  |  |  | IW1S /NR | 10/11/2002 | 05/19/2004 | 05/18/2009
003 | FPL-FORTMYERS PLANT |  |  |  | IWB /MR | 10/05/2001 | 11/30/2001 | 04/09/2003
002 | FPL FORT MYERS PLANT |  |  |  | IW1S /RA | 02/11/1999 | 01/10/2000 | 01/09/2005
001 | FPL FORT MYERS PLANT |  |  |  | IW1S /NR | 06/30/1995 | 04/10/1998 | 04/09/2003
Home

## FL0021261
Home | Return To Search
Florida Department of Environmental Protection
Wastewater Facility Regulation
Facility Detail Report
Report Generated from DOPPLER - FLDEP 3/21/2016
Facility: | FL0021261 | Fort Myers Central AWWTF
Status: | A | Type: | DW | Begin/End Operation:
Address: | 1501 Raleigh St
Fort Myers, FL 33916-1952
Nature of Business:
|  |  | SIC Codes |  | Primary Ind
|  |  | 4952 |  | Y
County: | 36 Lee |  | Office: | SD | Water Mgt Dist: |  |  | Ranking: | MA
Permitted Flow: |  | 11 MGD | Flow Basis: |  | AX
Treatment Process Summary: |  |  | Bardenpho Process Oxidation Ditch (Awt) With Effluent To Caloosahatchee River
WW Character Summary: |  |  | 305
Important Parties to Facility
Affiliation Type: |  | Permittee |  |  |  | Effective Date: |  | 01/16/2013
Ownership: |  | CITY
Company Name: |  | City of Fort Myers
Name: |  | Kazemi, Saeed
Address: |  | P O Drawer 2217
Fort Myers, FL 33902-2217
Business Phone: |  | (239)344-5943
Fax:
Email Address: |  | skazemi@cityftmyers.com
WAFR Facility Status History
Status | Start Date |  | Comments
A | 03/31/1995 |  | STATUS AS DOWNLOADED FROM GMS
Geographical Information
Directions:
Object of Interest: | FACIL |  |  |  | Determination Date: |  | 07/20/1999
Coord Method: | DPHO | Datum: | NAD83 | Accuracy: | 4
X Coordinate: | 613756.74 |  |  |  | Y Coordinate: |  | 295978.58
Latitude: | 26 -39 -7.1635 |  |  |  | Longitude |  | 81 -50 -55.3104
Sites Associated with this Facility
Site | Site ID | Status | Permitted Capacity | Reuse/ Disposal | Description
21162 | EFF-21162 | I |  |  | F. M. CENTRAL ADVANCED W. W. T. F.
35140 | MWB-35140 | A |  |  | TP-1 Background Well @ WTP
35141 | MWI-35141 | A |  |  | TP-2 Intermediate Well @ WTP.
35142 | MWC-35142 | A |  |  | TP-3 Compliance Well @ WTP.
36542 | R-001 | A |  |  | SLOW-RATE PUBLIC ACCESS SYSTEM CONSITING OF LANDSCAPE IRRIGATION OF CITY OWNED PROPERTY
37316 | D-001 | A | 11 | R | CLASS III DISCHARGE TO CALOOSAHATCHEE ESTUARY
37317 | EFD-01 | A |  |  | IN EFFLUENT PIPE @ OFF-SITE DRYWELL SAMPLE STATION JUST DOWNSTREAM OF SO2 FEED POINT
37318 | EFA-01 | A |  |  | OUTLET OF THE CL2 DETENTION SINK (IN CHLORINATOR BUILDING)
37319 | EFF-01 | I |  |  | AFTER EFFLUENT WET WELL AND PRIOR TO DECHLORINATION
37320 | EFB-01 | A |  |  | AFTER TERTIARY FILTERS AND PRIOR TO CCC
37322 | EFA-02 | A |  |  | AFTER CL2 CONTACT BASINS(@ TRANSFER WETWELL) EFORE RECLAIMED WATER STORAGE TANK
37323 | EFF-02 | I |  |  | After the reclaimed water tank
37324 | INF-01 | A |  |  | AFTER SCREW LIFT PUMPS AND BEFORE BELT SCREEN
37325 | INF-02 | A |  |  | Parshall flume before the fermentation tanks
49110 | RMP-B | I
73652 | CAL-1 | I
96147 | PRT-I | A |  |  | (INF-01) Before the belt screen.
96148 | PRT-E | A |  |  | (EFD-01) After the sodium bisulfite addition.
96149 | PRT-R | A |  |  | (RMP-01) Discharge of the belt filter press feed pumps.
105373 | CAL-01 | A
117319 | FLW-01 | A |  |  | Flow to the river.
117320 | FLW-02 | A |  |  | Flow to reuse system
117321 | FLW-03 | A |  |  | Influent flow
117322 | PAA-01 | A |  |  | Red Sox Minor League Park
117323 | PAA-02 | A |  |  | City nursery.
117324 | PAA-03 | A |  |  | Eastwood Golf Course
117325 | PAA-04 | A |  |  | Buckingham Community Park
117326 | PAA-05 | A |  |  | Heritage Palms Golf and Country Club
117327 | PAA-06 | A |  |  | Fort Myers Water Treatment Plant
117328 | PAA-07 | A |  |  | Colonial Country Club
117329 | IRU-01 | A |  |  | Lee County Resource Recovery Facility
117330 | RWS-A | A |  |  | Annual Reclaimed Water or Effluent Analysis
118840 | RMP-Q | I |  |  | Biosolids Quantity
118842 | RMP-01 | A |  |  | Discharge of the belt filter press
Facility Permits
Document ID |  | Document Type |  |  | Status | Issue Date |  | Effective |  | Expiration
FL0021261 |  | W |  |  | Processing
FL0021261 |  | V |  |  | Active | 01/16/2013 |  | 01/16/2013 |  | 07/11/2016
FL0021261 |  | W |  |  | Inactive | 07/12/2011 |  | 07/12/2011 |  | 07/11/2016
FL0021261 |  | W |  |  | Inactive | 02/16/2006 |  | 02/16/2006 |  | 02/15/2011
FL0021261 |  | W |  |  | Inactive | 05/02/2000 |  | 05/02/2000 |  | 05/01/2005
DC36-272725 |  | R |  |  | Inactive | 03/19/1996 |  | 03/19/1996 |  | 12/28/1998
DC36-269100 |  | R |  |  | Inactive | 06/21/1995 |  | 06/21/1995 |  | 06/21/2000
FL0021261 |  | E |  |  | Inactive | 06/30/1994 |  | 10/01/1994 |  | 06/30/1999
DO36235233 |  | O |  |  | Inactive | 12/28/1993 |  | 12/28/1993 |  | 12/28/1998
DC36236927 |  | R |  |  | Inactive | 12/14/1993 |  | 12/14/1993 |  | 12/14/1998
DC36231496 |  | R |  |  | Inactive | 11/03/1993 |  | 11/03/1993 |  | 11/03/1998
WAFR-PA Projects
Project | Project Name |  |  |  | Type/Subtype | Received | Issued | Expiration
024 | CITY OF FT MYERS CENTRAL AWWTF |  |  |  | DW1P /NR | 11/13/2015
023 | FORT MYERS CENTRAL |  |  |  | DWF /MM | 11/07/2012 | 01/16/2013 | 01/15/2018
022 | FORT MYERS CENTRAL AWWTF |  |  |  | DWF /MM | 08/09/2012 | 11/06/2012 | 11/05/2017
021 | FORT MYERS CENTRAL |  |  |  | DWF /MM | 01/24/2012 | 01/27/2012 | 01/26/2017
020 | CITY OF FORT MYERS CENTRAL |  |  |  | DW1P /NR | 08/13/2010 | 07/12/2011 | 07/11/2016
019 | FORT MYERS CENTRAL MINOR MOD |  |  |  | DW1 /MR | 11/09/2009 | 12/08/2009 | 12/07/2014
018 | FORT MYERS CENTRAL REVISION |  |  |  | DW1 /MR | 02/11/2009 | 02/17/2009 | 02/16/2014
017 | CITY OF FT MYERS CENTRAL |  |  |  | DW1 /MR | 12/15/2008 | 03/06/2009 | 03/05/2014
016 | FORT MYERS CENTRAL REUSE |  |  |  | DW1 /MR | 06/11/2008 | 07/01/2008 | 06/30/2013
015 | FORT MYERS CENTRAL AWWT |  |  |  | DW1P /RA | 02/16/2007 | 06/21/2007 | 06/20/2012
014 | FORT MYERS CENTRAL WWTP |  |  |  | DW1 /MR | 08/02/2006 | 09/26/2006 | 09/25/2011
013 | FORT MYERS CENTRAL WWTP |  |  |  | DW1 /MR | 12/01/2005 | 03/09/2006 | 03/08/2011
012 | CITY OF FT MYERS CENTRAL AWWT |  |  |  | DW1 /MR | 07/07/2005 | 08/01/2007 | 07/31/2012
011 | FT MYERS CENTRAL AWWT FAC |  |  |  | DW1 /MR | 03/02/2005 | 03/01/2006 | 02/28/2011
010 | FORT MYERS CENTRAL AWWTF |  |  |  | DW1 /MR | 11/22/2004 | 08/01/2007 | 07/31/2012
009 | CITY OF FORT MYERS WWTP |  |  |  | DW1P /NR | 11/02/2004 | 02/16/2006 | 02/15/2011
008 | FORT MYERS CENTRAL |  |  |  | DW1 /MR | 01/05/2004 | 06/10/2004 | 06/09/2009
007 | FORT MYERS CENTRAL |  |  |  | DW1 /MR | 10/27/2003 | 03/10/2004 | 03/09/2009
006 | EASTWOOD GOLF COURSE |  |  |  | DWF /GR | 04/11/2002 | 04/30/2002 | 04/29/2007
005 | FORT MYERS CENTRAL |  |  |  | DW1 /MR | 03/08/2001 | 03/27/2001 | 05/01/2005
004 | CITY OF FORT MYERS CENTRAL WWT |  |  |  | DW1 /MR | 01/06/2000 | 05/02/2000 | 05/01/2005
003 | CITY OF FORT MYERS CENTRAL |  |  |  | DW1 /MR | 07/01/1998 | 07/24/1998 | 07/24/2003
002 | FT.MYERS CENTRAL |  |  |  | DW1P /NR | 06/26/1998 | 05/02/2000 | 05/01/2005
001 | FORT MYERS CENTRAL - AUP |  |  |  | DW1 /MR | 01/15/1998 | 01/23/1998 | 01/23/2003
Home

## FL0021270
Home | Return To Search
Florida Department of Environmental Protection
Wastewater Facility Regulation
Facility Detail Report
Report Generated from DOPPLER - FLDEP 3/21/2016
Facility: | FL0021270 | Fort Myers South AWWTP
Status: | A | Type: | DW | Begin/End Operation:
Address: | 1618 Matthew Dr
Fort Myers, FL 33907-1700
Nature of Business:
|  |  | SIC Codes |  | Primary Ind
|  |  | 4952 |  | Y
County: | 36 Lee |  | Office: | SD | Water Mgt Dist: |  |  | Ranking: | MA
Permitted Flow: |  | 12 MGD | Flow Basis: |  | AF
Treatment Process Summary: |  |  | Bardenpho Process Oxidation Ditch (Awt) Eff. To Caloosahatchee River
WW Character Summary: |  |  | 305
Important Parties to Facility
Affiliation Type: |  | Permittee |  |  |  | Effective Date: |  | 01/17/2013
Ownership: |  | CITY
Company Name: |  | City of Fort Myers
Name: |  | Kazemi, Saeed
Address: |  | P O Drawer 2217
Fort Myers, FL 33902-2217
Business Phone: |  | (239)344-5943
Fax:
Email Address: |  | skazemi@cityftmyers.com
WAFR Facility Status History
Status | Start Date |  | Comments
A | 03/31/1995 |  | STATUS AS DOWNLOADED FROM GMS
Geographical Information
Directions:
Object of Interest: | FACIL |  |  |  | Determination Date: |  | 06/11/2007
Coord Method: | DPHO | Datum: | NAD83 | Accuracy: | 3
X Coordinate: | 610876.717908 |  |  |  | Y Coordinate: |  | 288800.767395
Latitude: | 26 -35 -16.0305 |  |  |  | Longitude |  | 81 -52 -44.119
Sites Associated with this Facility
Site | Site ID | Status | Permitted Capacity | Reuse/ Disposal | Description
21130 | EFF-21130 | I |  |  | FORT MYERS SOUTH ADVANCED WWTF
36966 | D-001 | A | 12 | R | Surface Water Discharge
36969 | EFD-01 | A |  |  | IN EFFLUENT PIPE @ OFF-SITE DRYWELL SAMPLE STATION, JUST DOWNSTREAM OF SO2 FEED POINT
36970 | EFA-01 | A |  |  | OUTLET OF THE CHLORINE DETENTION SINK
36971 | EFF-01 | I |  |  | AFTER THE EFFLUENT WET WELL AND PRIOR TO DECHLORINATION
36972 | INF-01 | A |  |  | AFTER SCREW LIFTSTATION AND BEFORE BELT SCREEN
36973 | INF-02 | I |  |  | AFTER GRIT REMOVAL UNIT AND UPSTREAM OF FERMENTATION TANK
37356 | R-001 | I |  |  | REUSE- SURFACE WATER DISCHARGE
49134 | RMP-B | I
83035 | FLW-1 | I |  |  | ultrasonic flow meter (1), at chlorine contact basin 1. Measures, totalizes, and records flows through chlorine contact chamber basin one.
83036 | FLW-2 | I |  |  | ultrasonic flwo meter (2), at chlorine contact basin 2. Measures, totalizes, and records flows through chlorine contact chamber 2.
83037 | CAL-01 | A |  |  | Sum of chlorine contact tanks' ultrasin flow meters, calculated at the PLC
83039 | CAL-02 | I |  |  | calculated percent of flow. percent capacity (TMADF/permitted capacity) x 100
96144 | PRT-I | A |  |  | (INF-01) After the screw lift pumps and before the belt screens. XXX
96145 | PRT-E | A |  |  | (EFD-01) At slide gate No. 4. XXX
96146 | PRT-R | A |  |  | (RMP-B) The discharge of the belt filter press sludge feed pumps. XXX
105428 | FLW-04 | I
105429 | EFA-02 | I
105430 | EFB-01 | I
116695 | FLW-01 | A |  |  | Flow meter for the discharge to the river.
116696 | OTH-01 | I |  |  | RMP-01 Biosolids
118456 | RMP-Q | A |  |  | Biosolids Quantity
118457 | RMP-01 | I
131360 | RMP-1 | A |  |  | Calculated value of biosolids quantity
Facility Permits
Document ID |  | Document Type |  |  | Status | Issue Date |  | Effective |  | Expiration
FL0021270 |  | W |  |  | Processing
FL0021270 |  | V |  |  | Active | 01/17/2013 |  | 01/17/2013 |  | 05/19/2016
FL0021270 |  | W |  |  | Inactive | 05/20/2011 |  | 05/20/2011 |  | 05/19/2016
FL0021270 |  | W |  |  | Inactive | 07/13/2006 |  | 07/13/2006 |  | 07/12/2011
FL0021270 |  | W |  |  | Inactive | 03/22/2000 |  | 03/22/2000 |  | 03/21/2005
FL0021270 |  | E |  |  | Inactive | 06/30/1994 |  | 10/01/1994 |  | 06/30/1999
DO36238953 |  | O |  |  | Inactive | 01/11/1994 |  | 01/11/1994 |  | 01/11/1999
DC36236926 |  | R |  |  | Inactive | 12/20/1993 |  | 12/20/1993 |  | 12/20/1998
DC36187074 |  | R |  |  | Inactive | 11/27/1990 |  | 11/27/1990 |  | 11/27/1995
DC36186029 |  | R |  |  | Inactive | 10/30/1990 |  | 10/30/1990 |  | 10/30/1995
DC36175773 |  | R |  |  | Inactive | 04/05/1990 |  | 04/05/1990 |  | 04/05/1995
WAFR-PA Projects
Project | Project Name |  |  |  | Type/Subtype | Received | Issued | Expiration
016 | CITY OF FORT MYERS SOUTH AWWTF |  |  |  | DW1P /NR | 11/13/2015
015 | FORT MYERS SOUTH AWWTF |  |  |  | DWF /MM | 11/07/2012 | 01/17/2013 | 01/16/2018
014 | FORT MYERS SOUTH AWWTF |  |  |  | DWF /MM | 08/09/2012 | 11/06/2012 | 11/05/2017
013 | CITY OF FORT MYERS SOUTH AWWT |  |  |  | DW1P /NR | 08/13/2010 | 05/20/2011 | 05/19/2016
012 | FORT MYERS SOUTH MINOR MOD |  |  |  | DW1 /MR | 11/09/2009 | 12/08/2009 | 12/07/2014
011 | FORT MYERS SOUTH WWTP |  |  |  | DW1 /MR | 12/01/2005 | 07/13/2006 | 07/12/2011
010 | CITY OF FORT MYERS SOUTH |  |  |  | DW1P /NR | 09/21/2004 | 07/13/2006 | 07/12/2011
009 | FORT MYERS SOUTH |  |  |  | DW1 /MR | 01/05/2004 | 06/10/2004 | 06/09/2009
008 | FORT MYERS SOUTH |  |  |  | DW1 /MR | 10/27/2003 | 03/02/2004 | 03/01/2009
007 | FORT MYERS SOUTH |  |  |  | DW1 /MR | 03/08/2001 | 03/23/2001 | 03/21/2005
006 | FL0021270T MYERS SOUTH WWTP |  |  |  | DW1 /MR | 01/06/2000 | 03/22/2000 | 03/21/2005
005 | HERITAGE PALMS REUSE MAIN EXT |  |  |  | DW1 /MR | 08/19/1999 | 09/17/1999 | 09/17/2004
004 | BERNWOOD PLACE |  |  |  | DW1 /MR | 07/26/1999 | 01/03/2000 | 01/02/2005
003 | CITY OF FORT MYERS SOUTH WWTP |  |  |  | DW1 /MR | 07/01/1998 | 07/24/1998 | 07/24/2003
002 | FT.MYERS SOUTH |  |  |  | DW1P /NR | 06/26/1998 | 03/22/2000 | 03/21/2005
001 | FORT MYERS SOUTH - AUP |  |  |  | DW1 /MR | 01/15/1998 | 01/23/1998 | 01/23/2003
Home

## FL0030007
Home | Return To Search
Florida Department of Environmental Protection
Wastewater Facility Regulation
Facility Detail Report
Report Generated from DOPPLER - FLDEP 3/21/2016
Facility: | FL0030007 | City of Cape Coral
Status: | A | Type: | DW | Begin/End Operation:
Address: | 1800 Everest Pkwy
Cape Coral, FL 33904-3285
Nature of Business: |  | Inf-01 - Everest & Inf-02 - Sw. Two Wwtp With A Common Discharge Point.
|  |  | SIC Codes |  | Primary Ind
|  |  | 4952 |  | Y
County: | 36 Lee |  | Office: | SD | Water Mgt Dist: |  |  | Ranking: | MA
Permitted Flow: |  | 15.1 MGD | Flow Basis: |  | AF
Treatment Process Summary: |  |  | Cs To Caloosahatchee River
WW Character Summary: |  |  | 305
Important Parties to Facility
Affiliation Type: |  | Permittee |  |  |  | Effective Date: |  | 07/24/2013
Ownership: |  | CITY
Company Name: |  | City of Cape Coral
Name: |  | Pearson, Jeff
Address: |  | City Of Cape Coral
Po Box 150027
Cape Coral, FL 33915
Business Phone: |  | (239)574-0710
Fax:
Email Address: |  | jpearson@capecoral.net
WAFR Facility Status History
Status | Start Date |  | Comments
A | 03/31/1995 |  | STATUS AS DOWNLOADED FROM GMS
Geographical Information
Directions:
Object of Interest: | FACIL |  |  |  | Determination Date: |  | 02/09/2011
Coord Method: | DPHO | Datum: | HARN | Accuracy: | 4
X Coordinate: | 605271.86 |  |  |  | Y Coordinate: |  | 290587.5
Latitude: | 26 -36 -17.0342 |  |  |  | Longitude |  | 81 -56 -5.9453
Sites Associated with this Facility
Site | Site ID | Status | Permitted Capacity | Reuse/ Disposal | Description
21132 | EFF-1 | I |  |  | RECLAIMED WATER (CITY CAPE CORAL EVEREST)
21133 | EFF-21133 | I |  |  | EFF-D001 sampling point located in the discharge line after all treatment prior to discharging to the Caloosahatchee River.
21134 | MWI-21134 | I |  |  | CCC-11 ( INTERMEDIATE WELL )
21135 | MWI-21135 | I |  |  | CCC-10 ( INTERMEDIATE WELL )
21136 | MWI-21136 | I |  |  | CCC-9 (INTERMEDIATE WELL )
21137 | MWI-21137 | I |  |  | CCC-8 ( INTERMEDIATE WELL )
21138 | MWI-21138 | I |  |  | CCC-7 (INTERMEDIATE WELL )
21139 | MWC-21139 | I |  |  | CCC-6 (COMPLIANCE WELL )
21140 | MWI-21140 | P |  |  | CCC-5 ( INTERMEDIATE WELL )
21141 | MWB-21141 | I |  |  | CCC-4 ( BACKGROUND WELL )
21142 | MWC-21142 | I |  |  | CCC-3 ( COMPLIANCE WELL )
21143 | MWI-21143 | I |  |  | CCC-2 (INTERMEDIATE WELL)
21144 | MWB-21144 | I |  |  | CCC-1 ( BACKGROUND WELL )
25255 | PPI-25255 | I |  |  | chlorine contact chamber wet well sampling point for Cl2, fecal coliform, pH, TKN, NH3, NO2, NO3, Total Nitrogen, total P & CBOD5.
25256 | WIM-25256 | I |  |  | Internal monitoring point for combined filtered reclaimed water sampling point for TSS & Turbidity prior to chlorine contact chamber inlet to disinfection.
25257 | INF-25257 | I |  |  | Influent line at headworks pull composite sample for CBOD5 & TSS. Also location of influent magnetic flow meter. Located at plant headworks for EPWR
25258 | OTH-25258 | I |  |  | reclaimed water flowmeter venturi/D.P. cell located directly prior to transfer pump discharge into the reuse system.
26250 | D-001 | A | 15.1 | R | SYSTEM DISCHARGE POINT TO RIVER
26251 | R-001 | A |  |  | REUSE SYSTEM DISCHARGE POINT
36993 | R-002 | I |  |  | SW Water Reclamation facility
39014 | PPI-25260 | I |  |  | SWWRF sampling point for TSS & Turbidity is located after tertiary filtration and prior to chlorination
39015 | OTH-21166 | I |  |  | SWWRF sampling point for flow measurement when reclaimed water is provided to regional reuse system is located at effluent transfer pump station.
39016 | INF-21164 | I |  |  | Influent located at the plant headworks for SWWRF
47384 | INF-01 | A |  |  | At the plant headworks.
47385 | INF-02 | I |  |  | 21164 influent located at the plant headworks for SWWWTP
47386 | EFF-03 | A |  |  | From the D-001 pipe, discharging to river.
47387 | EFA-02 | A |  |  | 21165 SWWWTPlocated in the chlorine contact chamber wet well.
47388 | EFA-01 | A |  |  | Common wetwell for North and South contact basins.
47389 | OTH-04 | I |  |  | 25258 EPWWTP sampling point for Flow Measurement when reclaimed water is providd to regional reuse system and is located@ effluent transfer pump station.
47390 | OTH-05 | I |  |  | 21166 SWWWTP sampling point for Flow Measurement when reclaimed water is provided to regional reuse system and is located @ effluent transfer pump station.
47398 | EFB-01 | A |  |  | Effluent channel of North filters.
47399 | EFB-02 | A |  |  | Effluent channel of South filters.
47780 | SWA-01 | A |  |  | Upstream of the outfall.
47781 | SWA-02 | A |  |  | At the outfall.
47782 | SWA-03 | A |  |  | Downstreawm of the outfall.
94658 | FLW-03 | A |  |  | River Discharge Flow meter.
94662 | EFA-03 | A |  |  | After the flows from the North and South contact basins have been blended.s
108224 | U-001 | A |  |  | Class I Injection Well
119288 | CAL-02 | A |  |  | Total Flow to the Reuse System from Everest Parkway WRF.
119289 | EFF-01 | I
125071 | PAA-01 | A |  |  | City of Cape Coral
125072 | FLW-01 | A |  |  | Influent flow meter.
125073 | FLW-02 | A |  |  | Injection well flow meter.
125074 | RWS-A | A |  |  | Annual Reclaimed Water or Effluent Analysis
125075 | CAL-01 | A |  |  | Percent Capacity
130066 | RMP-1 | A |  |  | Calculated value of biosolids.
130067 | RMP-Q | A |  |  | Biosolids Quantity
132470 | MWB-132470 | A |  |  | CCSC MW-1 Background well for model site at Sports Complex
132471 | MWI-132471 | A |  |  | CCSC MW-2 Intermediate well for model site at Sports Complex
132472 | MWC-132472 | A |  |  | CCSC MW-3 Compliance well for model site at Sports Center
132473 | MWC-132473 | A |  |  | CCSC MW-4 Compliance well for model site at Sports Complex
Facility Permits
Document ID |  | Document Type |  |  | Status | Issue Date |  | Effective |  | Expiration
FL0030007 |  | V |  |  | Active | 07/24/2013 |  | 07/24/2013 |  | 11/29/2017
FL0030007 |  | W |  |  | Inactive | 11/30/2012 |  | 11/30/2012 |  | 11/29/2017
FL0030007 |  | V |  |  | Inactive | 12/28/2011 |  | 12/28/2011 |  | 01/24/2013
FL0030007 |  | W |  |  | Inactive | 01/25/2008 |  | 01/25/2008 |  | 01/24/2013
FL0030007 |  | W |  |  | Inactive | 01/27/2003 |  | 01/27/2003 |  | 01/26/2008
FL0030007 |  | W |  |  | Inactive | 03/21/1997 |  | 03/21/1997 |  | 03/21/2002
DC36235554 |  | R |  |  | Inactive | 09/13/1993 |  | 09/13/1993 |  | 09/01/1998
DC36229715 |  | R |  |  | Inactive | 08/27/1993 |  | 08/27/1993 |  | 08/27/1998
DO36227097 |  | O |  |  | Inactive | 03/31/1993 |  | 03/31/1993 |  | 03/31/1998
DC36201062 |  | R |  |  | Inactive | 10/15/1991 |  | 10/15/1991 |  | 10/30/1993
DC36187212 |  | R |  |  | Inactive | 10/09/1991 |  | 10/09/1991 |  | 10/09/1996
FL0030007 |  | E |  |  | Inactive | 09/16/1991 |  | 09/16/1991 |  | 09/30/1996
DC36181158 |  | R |  |  | Inactive | 08/28/1990 |  | 08/28/1990 |  | 08/28/1995
WAFR-PA Projects
Project | Project Name |  |  |  | Type/Subtype | Received | Issued | Expiration
017 | CITY OF CAPE CORAL EVEREST |  |  |  | DW1 /MR | 05/15/2013 | 07/24/2013 | 07/23/2018
016 | CITY OF CAPE CORAL EVEREST |  |  |  | DWF /MM | 02/27/2013 | 04/03/2013 | 11/29/2017
015 | CITY OF CAPE CORAL EVEREST |  |  |  | DWF /MM | 01/24/2013 | 02/05/2013 | 02/04/2018
014 | EVEREST PARKWAY WRF |  |  |  | DW1P /NR | 07/27/2012 | 11/30/2012 | 11/29/2017
013 | CITY OF CAPE CORAL EVEREST WRF |  |  |  | DW1 /MR | 03/05/2012 | 04/04/2012 | 04/03/2017
011 | CITY OF CAPE CORAL |  |  |  | DWF /MM | 10/03/2011 | 12/28/2011 | 12/27/2016
012 | CITY OF CAPE CORAL VARIANCE |  |  |  | DWF /VO | 09/22/2011 | 03/07/2012 | 03/11/9999
010 | CAPE CORAL WWTP REVISION |  |  |  | DWF /MM | 05/17/2011 | 05/18/2011 | 05/17/2016
009 | CAPE CORAL WWTP |  |  |  | DWF /VO | 06/06/2007
008 | CAPE CORAL WWTP |  |  |  | DWF /VO | 04/18/2006 | 01/19/2007 | 01/23/2007
007 | EVEREST WRF |  |  |  | DW1P /NR | 09/12/2005 | 01/25/2008 | 01/24/2013
006 | EVEREST PARKWAY WWTP |  |  |  | DW1P /RO | 06/17/2005 | 09/26/2006 | 09/25/2011
005 | CAPE CORAL WWTP |  |  |  | DW1 /MR | 05/11/2005 | 01/27/2006 | 01/26/2011
004 | EVEREST PARKWAY WWTP |  |  |  | DW1P /RO | 02/18/2005 | 10/27/2005 | 10/26/2010
003 | SOUTH WEST |  |  |  | DW1 /MR | 04/28/2004 | 06/10/2004 | 06/09/2009
002 | CAPE CORAL WWTP |  |  |  | DW1P /NR | 09/21/2001 | 01/27/2003 | 01/26/2008
001 | CITY OF CAPE CORAL WWTP |  |  |  | DW1 /MR | 03/05/2001 | 05/04/2001 | 05/03/2006
Home

## FL0030325
Home | Return To Search
Florida Department of Environmental Protection
Wastewater Facility Regulation
Facility Detail Report
Report Generated from DOPPLER - FLDEP 3/21/2016
Facility: | FL0030325 | Waterway Estates Advanced WWTP
Status: | I | Type: | DW | Begin/End Operation:
Address: | 1667 Inlet Dr
North Fort Myers, FL 33903-5006
Nature of Business:
|  |  | SIC Codes |  | Primary Ind
|  |  | 4952 |  | Y
County: | 36 Lee |  | Office: | SD | Water Mgt Dist: |  |  | Ranking: | MA
Permitted Flow: |  | 1.25 MGD | Flow Basis: |  | MA
Treatment Process Summary: |  |  | Cs Or Conventional Activated Sludge To Caloosahatchee River
WW Character Summary: |  |  | 225 305
Important Parties to Facility
Affiliation Type: |  | Permittee |  |  |  | Effective Date: |  | 06/27/2011
Ownership: |  | COUNTY
Company Name: |  | Lee County Utilities, North Reservoir Asr System
Name: |  | Meuer, Douglas
Address: |  | 1500 Monroe St 3RD FLOOR
Fort Myers, FL 33901-5500
Business Phone: |  | (239)479-8181
Fax:
Email Address:
WAFR Facility Status History
Status | Start Date |  | Comments
I | 01/04/2013 |  | Facility is closed. All flow directed to another facility.
A | 03/31/1995 |  | STATUS AS DOWNLOADED FROM GMS
Geographical Information
Directions:
Object of Interest: | FACIL |  |  |  | Determination Date: |  | 07/20/1999
Coord Method: | DPHO | Datum: | NAD83 | Accuracy: | 4
X Coordinate: | 607781.13 |  |  |  | Y Coordinate: |  | 294386.46
Latitude: | 26 -38 -18.845 |  |  |  | Longitude |  | 81 -54 -32.765
Sites Associated with this Facility
Site | Site ID | Status | Permitted Capacity | Reuse/ Disposal | Description
21611 | EFF-21611 | I |  |  | WATERWAY ESTATES W. W. T. P.
29659 | MWB-01 | A |  |  | Background monitoring well located upgradient from a pollution source to measure the change in the level of pollutants in the ground water relative to a compliance well.
29660 | MWI-01 | I |  |  | LGC-2
29661 | MWC-01 | I |  |  | LGC-3
35814 | D-001 | I |  |  | Discharge to Caloosahatchee River, including Influent
35815 | D-002 | I |  |  | Stormwater intermittent discharge from Lochmoor Country Club
36316 | R-001 | A |  |  | Lochmoor Golf Course
36317 | EFA-1 | A |  |  | Sampling point is located in stilling well immediately after outlet of ultraviolet disinfection contact chambers. This sample point is used for the parameters D.O., TRC (dechlorination), Nutrients, TSS, and BOD, etc. Light intensity is measured at the UV contact chambers.
36318 | FLW-1 | A |  |  | After filters and prior to UV disinfection.
36319 | PPI-1 | A |  |  | Sampling point for turbidity is located after denitrification filters prior to post aeration basins.
36320 | PPI-2 | A |  |  | Sampling point for TSS is located after denitrification filters and ultraviolet disinfection ccontact chambers same as EFFA-1 prior to application of Cl2 for high level disinfection. See I.C. 9 and I.D. 8
36321 | FLW-02 | A |  |  | Lochmoor Country Club Golf Course meter.
36322 | EFF-01 | A |  |  | Represents the stormwater outfall from the Lochmoor Golf Course. see I.C.9 regarding structure, etc.
36323 | EFB-1 | A |  |  | Cl2 taken from reuse pipe just prior to reclaimed water storage tank.
36324 | INF-1 | A |  |  | Influent located at the plant headworks for this plant before screening and grit removal.
38657 | MWI-2 | A |  |  | Well located downgradient from a pollution source and within the zone of discharge.
38658 | MWC-3 | A |  |  | Compliance monitoring well located at the edge of the zone of discharge, downgradient from a pollution source to measure the change in the level of pollutants in the ground water.
48909 | RMP-B | A
79108 | SWB-01 | A |  |  | One of three sampling station locations based on best estimates of plume delineation upstream SWB-01, downstream SWB-02, and at the discharge SWB-03.
79109 | SWB-02 | A |  |  | One of three sampling station locations based on best estimates of plume delineation upstream SWB-01, downstream SWB-02, and at the discharge SWB-03.
79110 | SWB-03 | A |  |  | One of three sampling station locations based on best estimates of plume delineation upstream SWB-01, downstream SWB-02, and at the discharge SWB-03.
99095 | EFA-01 | A |  |  | Sampling point is located in stilling well immediately after outlet of ultraviolet disinfection contact chambers. This sample point is used for the parameters DO, TRC, dechlorination, Nutrients, TSS, and BOD.
99096 | FLW-05 | A |  |  | The calculated difference between Total Effluent Flow (FLW-01) and Flow to Re-Use (FLW-02).
99097 | FLW-3 | A |  |  | City of Cape Coral phase 0.300 mgd phase 1 & 0.400 mgd phase 2.
99524 | PRT-I | A |  |  | Influent Pretreatment
99525 | PRT-E | A |  |  | Effluent Pretreatment
99526 | PRT-R | A |  |  | Residuals Pretreatment
116550 | MWB-29659 | A |  |  | LGC-1 Upgradient background well
116551 | MWB-29660 | A |  |  | lgc-2 Located within disposal area
116553 | MWB-29661 | A |  |  | LGC-3 Down gradient compliance well
118429 | EFA-03 | A |  |  | At the Birkdale site, prior to the tank
118430 | RMP-Q | A |  |  | Biosolids Quantity
118431 | RMP-01 | A
118432 | RMP-02 | A
118435 | RWS-A | A
Facility Permits
Document ID |  | Document Type |  |  | Status | Issue Date |  | Effective |  | Expiration
FL0030325 |  | W |  |  | Inactive | 06/27/2011 |  | 06/27/2011 |  | 06/26/2016
FL0030325 |  | W |  |  | Inactive | 07/31/2006 |  | 07/31/2006 |  | 07/30/2011
FL0030325 |  | W |  |  | Inactive | 01/11/2000 |  | 01/11/2000 |  | 01/10/2005
FL0030325 |  | E |  |  | Inactive | 09/30/1994 |  | 01/01/1995 |  | 09/30/1999
DC36237227 |  | R |  |  | Inactive | 06/02/1994 |  | 06/02/1994 |  | 06/02/1997
DO36228850 |  | O |  |  | Inactive | 08/25/1993 |  | 08/25/1993 |  | 08/28/1998
WAFR-PA Projects
Project | Project Name |  |  |  | Type/Subtype | Received | Issued | Expiration
016 | WATERWAY ESTATES WWTP |  |  |  | DW1P /NR | 12/28/2010 | 06/27/2011 | 06/26/2016
015 | WATERWAY ESTATES REVISION |  |  |  | DW1 /MR | 05/07/2009 | 05/18/2009 | 05/17/2014
014 | WATERWAY ESTATES |  |  |  | DW1 /MR | 11/20/2008 | 12/18/2008 | 12/17/2013
013 | WATERWAY WWTP |  |  |  | DW1 /MR | 09/12/2006 | 03/22/2007 | 03/21/2012
012 | WATERWAY ESTATES |  |  |  | DW1P /NR | 07/12/2004 | 07/31/2006 | 07/30/2011
011 | WATERWAY ESTATES |  |  |  | DW1 /MR | 04/16/2004
010 | WATERWAY ESTATES REUSE ST. TK |  |  |  | DW1 /MR | 04/05/2004 | 07/28/2006 | 07/27/2011
009 | WATERWAY ESTATES |  |  |  | DW1 /MR | 10/17/2003 | 02/26/2004 | 02/25/2009
008 | WATERWAY ESTATES |  |  |  | DW1 /MR | 05/19/2003 | 08/01/2003 | 07/31/2008
007 | WATERWAY ESTATES WWTF |  |  |  | DW1 /MR | 07/25/2002 | 10/14/2003 | 10/13/2008
006 | WATEWAY ESTATES |  |  |  | DW1P /RA | 06/21/2001 | 01/28/2002 | 01/27/2007
005 | WATERWAY ESTATES |  |  |  | DW1 /MR | 01/29/2001 | 02/22/2001 | 02/21/2006
004 | WATERWAY ESTATES |  |  |  | DWF /MT | 04/15/1999 | 11/22/1999 | 11/22/2004
003 | WATERWAY ESTATES AWTP |  |  |  | DW1 /MR | 12/17/1998 | 02/17/1999 | 02/17/2004
002 | WATERWAY ESTATES - AUP |  |  |  | DW1 /MR | 02/24/1998 | 04/14/1998 | 04/14/2003
001 | WATERWAY ESTATES AWWT |  |  |  | DW1P /NR | 02/18/1997 | 01/11/2000 | 01/10/2005
Home

## FL0037541
Home | Return To Search
Florida Department of Environmental Protection
Wastewater Facility Regulation
Facility Detail Report
Report Generated from DOPPLER - FLDEP 3/21/2016
Facility: | FL0037541 | E R Jahna Ind Ortona Mine
Status: | A | Type: | IW | Begin/End Operation: |  | JAN /DEC
Address: | State Road 78
Ortona, FL 33935
Nature of Business:
|  |  | SIC Codes |  | Primary Ind
|  |  | 1442 |  | Y
County: | 22 Glades |  | Office: | SD | Water Mgt Dist: |  | SFWMD | Ranking: | MI
Permitted Flow: |  | 4 MGD | Flow Basis: |  | DF
Treatment Process Summary: |  |  | Intermittant Stormwater Discharge From Mining Pit
WW Character Summary: |  |  | 310
Important Parties to Facility
Affiliation Type: |  | Permittee |  |  |  | Effective Date: |  | 05/11/2012
Ownership: |  | PRIVATE
Company Name: |  | E R Jahna Industries Inc
Name: |  | Lanier, Jim
Address: |  | Ortona Sand Mine
P O Box 840
Lake Wales, FL 33859
Business Phone: |  | (863)675-1454
Fax:
Email Address: |  | akeesler@jahna.com
WAFR Facility Status History
Status | Start Date |  | Comments
A | 06/01/1981 |  | STATUS AS DOWNLOADED FROM GMS
Geographical Information
Directions:
Object of Interest: | FACIL |  |  |  | Determination Date: |  | 01/24/2011
Coord Method: | DPHO | Datum: | HARN | Accuracy: | 4
X Coordinate: | 668255.06 |  |  |  | Y Coordinate: |  | 314842.29
Latitude: | 26 -48 -43.9425 |  |  |  | Longitude |  | 81 -17 -46.3633
Sites Associated with this Facility
Site | Site ID | Status | Permitted Capacity | Reuse/ Disposal | Description
20606 | EFF-20606 | I |  |  | MINE EMERGENCY OUTFALL
26700 | SWD-01 | I |  |  | Edge of Mixing Zone 300 Feet From Outfall
31296 | D-001 | A | 1.5 | R | Discharge point to the barge canal.
31297 | D-002 | I |  |  | Site is at the edge of the mixing zone.
42354 | EFF-001 | A |  |  | 12 foot wide fixed crested rectangular weir at discharge into the Man-made, Caloosahatchee River Finger Canal
44799 | OTH-001 | A |  |  | At edge of the 300 foot mixing zone
89174 | SWB-001 | A |  |  | In a side canal 800 feet south of the discharge and 300 feet west of the mouth of the side canal.
89896 | MWB-1 | I |  |  | BACKGROUND
123359 | FLW-001 | A |  |  | Water level data logger.
Facility Permits
Document ID |  | Document Type |  |  | Status | Issue Date |  | Effective |  | Expiration
FL0037541 |  | W |  |  | Active | 05/11/2012 |  | 05/11/2012 |  | 05/10/2017
FL0037541 |  | W |  |  | Inactive | 06/01/2007 |  | 06/01/2007 |  | 05/31/2012
FL0037541 |  | W |  |  | Inactive | 04/30/2002 |  | 04/30/2002 |  | 04/29/2007
FL00037541 |  | W |  |  | Inactive | 12/24/1996 |  | 12/24/1996 |  | 12/24/2001
IO22198580 |  | O |  |  | Inactive | 09/03/1991 |  | 09/03/1991 |  | 09/03/1996
WAFR-PA Projects
Project | Project Name |  |  |  | Type/Subtype | Received | Issued | Expiration
004 | E R JAHNA IND ORTONA SAND MINE |  |  |  | IWB /MR | 06/01/2012 | 08/15/2012 | 08/14/2017
003 | ORTONA SAND MINE |  |  |  | IW3S /NR | 11/30/2011 | 05/11/2012 | 05/10/2017
002 | ORTONA SAND MINE |  |  |  | IW3S /NR | 11/06/2006 | 06/01/2007 | 05/31/2012
001 | ORTONA SAND MINE |  |  |  | IW3S /NR | 09/27/2001 | 04/30/2002 | 04/29/2007
Home

## FL0039829
Home | Return To Search
Florida Department of Environmental Protection
Wastewater Facility Regulation
Facility Detail Report
Report Generated from DOPPLER - FLDEP 3/21/2016
Facility: | FL0039829 | Lee County Utilities - Fiesta Village
Status: | A | Type: | DW | Begin/End Operation:
Address: | 1366 San Souci Dr
Fort Myers, FL 33919-6384
Nature of Business:
|  |  | SIC Codes |  | Primary Ind
|  |  | 4952 |  | Y
County: | 36 Lee |  | Office: | SD | Water Mgt Dist: |  |  | Ranking: | MA
Permitted Flow: |  | 5 MGD | Flow Basis: |  | AF
Treatment Process Summary: |  |  | Cs Surface Water Discharge And Golf Course Irrigation
WW Character Summary: |  |  | 305
Important Parties to Facility
Affiliation Type: |  | Permittee |  |  |  | Effective Date: |  | 11/13/2013
Ownership: |  | PUBLIC
Company Name: |  | Lee County Utilities
Name: |  | Keyes, Pamela
Address: |  | 1500 Monroe Street
Fort Myers, FL 33902
Business Phone: |  | (239)533-8181
Fax:
Email Address: |  | PKEYES@LEEGOV.COM
WAFR Facility Status History
Status | Start Date |  | Comments
A | 04/01/1987 |  | STATUS AS DOWNLOADED FROM GMS
Geographical Information
Directions:
Object of Interest: | FACIL |  |  |  | Determination Date: |  | 01/26/2011
Coord Method: | DPHO | Datum: | HARN | Accuracy: | 4
X Coordinate: | 608445.29 |  |  |  | Y Coordinate: |  | 283504.88
Latitude: | 26 -32 -25.6603 |  |  |  | Longitude |  | 81 -54 -15.4135
Sites Associated with this Facility
Site | Site ID | Status | Permitted Capacity | Reuse/ Disposal | Description
21656 | EFF-21656 | I |  |  | RECLAIMED WATER FIESTA VILLAGE
21657 | EFF-21657 | I |  |  | FIESTA VILLAGE W. W. T. P., IRRIGATION
21658 | EFF-21658 | I |  |  | GWMP EFFLUENT ANALYSIS
21659 | EFF-21659 | I |  |  | FIESTA VILLAGE W. W. T. P., SURFACE
21660 | MWB-21660 | I |  |  | Background monitoring well located upgradient from a pollution source to measure the change in the level of pollutants in the ground water relative to a compliance well.
21661 | MWC-21661 | P |  |  | Compliance monitoring well located at the edge of the zone of discharge, downgradient from a pollution source to measure the change in the level of pollutants in the ground water.
21662 | MWA-21662 | P |  |  | FC#2 INTERMEDIATE WELL
21663 | MWI-21663 | I |  |  | FC#1 INTERMEDIATE WELL
21664 | MWA-21664 | I |  |  | CYPRESS LAKE GC LM-2589
21665 | MWD-21665 | I |  |  | CYPRESS LAKE GC LM-2588
21666 | MWA-21666 | P |  |  | CYPRESS LAKE GC LM-2587
21667 | MWB-21667 | P |  |  | CYPRESS LAKE GC LM-2586
21668 | MWA-21668 | I |  |  | MYERLEE GC WELL LM 2592
21669 | MWA-21669 | I |  |  | MYERLEE GC WELL LM2591
21670 | MWD-21670 | I |  |  | MYERLEE GC WELL LM-2590
32380 | R-001 | A |  |  | Public access reuse irrigation system
32381 | D-002 | A |  | R | Landings Golf Course
32382 | EFF-001 | I |  |  | Landings golf course north storm water outfall
32383 | EFF-002 | I |  |  | Landings golf course south stormwater outfall
37984 | D-001 | A | 5 | R | Outfall to Caloosahatchee River, including Influent
37985 | EFA-1 | I |  |  | Sampling point is located in stilling well immediately after outlet of CCC and SO2 injection. This sample point is used for the parameters D.O., TRC (dechlorination), Nutrients, TSS and BOD, etc.
37986 | EFB-1 | I |  |  | Sampling point is located at the CCC outlet. THis sampling point is prior to SO2 injection and is used to monitor TRC (total residual chlorine) and Fecal Coliform.
37987 | PPI-1 | I |  |  | Sampling point for TSS & Turbidity is located after denitrification filters and prior to Chlorination. (See I.C.9 & I.D.8.)
37988 | FLW-01 | A |  |  | Outfall pipe near the Landings Golf Course.
37989 | FLW-2 | I |  |  | Cypress Lake CC Golf Course
37990 | FLW-3 | I |  |  | Myerlee CC Golf course
37991 | FLW-4 | I |  |  | Landings Yacht and Golf Course
37992 | FLW-5 | I |  |  | Rutenberg Park Landscape
37993 | FLW-6 | I |  |  | Myerlee Circle Home Owners Association Landscape
37994 | FLW-7 | I |  |  | Cypress Lake Manor South Home Owners Association Landscape
37995 | FLW-8 | I |  |  | DOT Interchange Landscape
37996 | OUI-01 | I |  |  | Represents the North outfall. See condition No. I.C.9. regarding structure S-4, etc.
37997 | OUI-02 | I |  |  | Represents the South outfall. See condition No. I.C.9. regarding structure S-2, etc.
37998 | INF-1 | I |  |  | Influent located at the plant headworks for this plant before screening and grit removal. See I.D.8.
42531 | FLW-9 | I |  |  | Flow meter and totalizer on Reuse feed line to Crown Colony
42532 | SWB-1W | I |  |  | Sample point located on well discharge line located at the Crown Colony irrigation lake
42534 | R-001A | I |  |  | Crown Colony's irrigation lake is an isolated lake that receives storm water that does not discharge under design conditions.
48919 | RMP-1 | A |  |  | Calculation of hauled biosolids
50893 | EFA-03 | A |  |  | The east end of the SOUTH chlorine contact basin.
50894 | EFA-04 | A |  |  | The east end of the NORTH chlorine contact basin.
50895 | EFF-01 | I |  |  | Flow proportional sampler, located just before the two magnetic flow meters discharge to the river and after all reuse service customers.
50896 | EFD-01 | A |  |  | The effluent transfer pump station's wet well upstream of the high service pump station.
50897 | FLW-12 | A |  |  | Plant effluent flow minus the river discharge flow.
50898 | EFB-01 | A |  |  | The clearwell.
50899 | OTH-01 | A |  |  | Supplemental well discharge at the Crown Colony irrigation lake.
50900 | STM-01 | I |  |  | North outfall
50901 | STM-02 | I |  |  | South outfall
50902 | SWA-01 | I |  |  | Three sampling station locations based on best estimates of plume delineation upstream SWA-01, downstream SWA-02 and at the discharge SWA-03.
50903 | FLW-13 | A |  |  | The influent pipe, upstream of screening and before return flows.
50912 | INF-01 | A |  |  | The influent pipe, upstream of screening and before return flows, near FLW-13.
50913 | SWA-02 | I |  |  | Three sampling station locations based on best estimates of plume delineation downstream.
50914 | SWA-03 | I |  |  | Three sampling station locations based on best estimates of plume delineation discharge.
99081 | EFA-01 | I |  |  | As indicated in the application, at the existing reuse/effluent pump wet well.
99082 | OTH-02 | A |  |  | Supplemental well discharge at the Laguna Lakes irrigation lake.
99083 | STM-03 | I |  |  | Northwest Parker Lakes
99084 | STM-04 | I |  |  | Southwest Parker Lakes
99085 | D-003 | A |  | R | Parker Lakes Golf Course for R-001
99086 | MWI-21662 | I |  |  | Well located downgradient from a pollution source and within the zone of discharge.
99087 | MWB-21666 | I |  |  | Background monitoring well located upgradient from a pollution source to measure the change in the level of pollutants in the ground water relative to a compliance well.
99088 | MWI-21665 | I |  |  | Well located downgradient from a pollution source and within the zone of discharge.
99089 | MWI-21670 | I |  |  | Well located downgradient from a pollution source and within the zone of discharge.
99090 | MWC-21669 | I |  |  | Compliance monitoring well located at the edge of the zone of discharge, downgradient from a pollution source to measure the change in the level of pollutants in the ground water.
110214 | PRT-I | I |  |  | INFLUENT PRETREATMENT
110215 | PRT-E | I |  |  | EFFLUENT PRETREATMENT
110216 | PRT-R | I |  |  | RESIDUALS PRETREATMENT
129462 | MWB-129462 | A |  |  | FV-1A Background Well
129463 | MWI-129463 | A |  |  | FV-2A Intermediate Well
129464 | MWC-129464 | A |  |  | FV-3A Compliance Well
129465 | MWC-129465 | A |  |  | FV-4A Compliance Well
129610 | RMP-Q | A |  |  | Biosolids Quantity
129611 | OTH-03 | A |  |  | Visual observation at site number STM-01.
129612 | OTH-06 | A |  |  | Visual observation at site number STM-04.
129613 | IRU-1 | A |  |  | Golf course irrigation
129614 | RWS-A | A |  |  | Annual Reclaimed Water or Effluent Analysis
129615 | OTH-05 | A |  |  | Visual observation at site number STM-03.
129616 | OTH-04 | A |  |  | Visual observation at site number STM-02.
134340 | PAA-01 | A |  |  | Crown Colony Country Club
134341 | PAA-02 | A |  |  | Cypress Lake Country Club
134342 | PAA-03 | A |  |  | Myerlee Country Club
134343 | PAA-04 | A |  |  | Landings Yacht and Golf Club
134344 | PAA-05 | A |  |  | Parker Lakes
134345 | PAA-06 | A |  |  | Laguna Lakes
134346 | PAA-07 | A |  |  | Fort Myers Beach Interconnect
134347 | OTH-07 | A |  |  | Visual observation at site number STM-05.
134348 | D-004 | A |  |  | Cypress Lake Manor South Condominiums
Facility Permits
Document ID |  | Document Type |  |  | Status | Issue Date |  | Effective |  | Expiration
FL0039829 |  | W |  |  | Active | 11/13/2013 |  | 12/16/2013 |  | 12/15/2018
FL0039829 |  | V |  |  | Inactive | 02/14/2013 |  | 02/14/2013 |  | 12/15/2013
FL0039829 |  | W |  |  | Inactive | 12/16/2008 |  | 12/16/2008 |  | 12/15/2013
FL0039829 |  | W |  |  | Inactive | 09/11/2003 |  | 09/11/2003 |  | 09/10/2008
FL0039829 |  | W |  |  | Inactive | 03/30/1998 |  | 03/30/1998 |  | 03/29/2003
DO36221765 |  | O |  |  | Inactive | 03/23/1993 |  | 03/23/1993 |  | 03/23/1998
FL0039829 |  | E |  |  | Inactive | 12/21/1990 |  | 12/21/1990 |  | 12/31/1995
DC36182373 |  | R |  |  | Inactive | 07/26/1990 |  | 07/26/1990 |  | 07/26/1995
DC36158908 |  | R |  |  | Inactive | 01/28/1989 |  | 01/28/1989 |  | 01/27/1994
WAFR-PA Projects
Project | Project Name |  |  |  | Type/Subtype | Received | Issued | Expiration
025 | FIESTA VILLAGE MINOR MOD |  |  |  | DWF /MM | 02/29/2016 | 03/08/2016 | 03/07/2021
023 | FIESTA VILLAGE WWTP |  |  |  | DW1 /MR | 07/16/2013 | 09/20/2013 | 09/19/2018
022 | FIESTA VILLAGE AWWTP |  |  |  | DW1P /NR | 06/07/2013 | 11/13/2013 | 12/15/2018
021 | FIESTA VILLAGE WWTP |  |  |  | DW1 /MR | 11/26/2012 | 02/14/2013 | 12/15/2013
020 | FIESTA VILLAGE AWWTP |  |  |  | DW1 /MR | 07/09/2012 | 07/17/2012 | 07/16/2017
019 | FIESTA VILLAGE AWWTP |  |  |  | DW1P /NR | 03/07/2008 | 12/16/2008 | 12/15/2013
024 | FIESTA VILLAGE WWTP |  |  |  | DWF /GR | 02/20/2008
018 | FIESTA VILLAGE WWTP |  |  |  | DW1 /MR | 09/12/2006 | 03/22/2007 | 03/21/2012
017 | FIESTA VILLAGE AWWTF |  |  |  | DWF /MM | 11/23/2004 | 06/23/2005 | 06/22/2010
016 | FIESTA VILLAGE |  |  |  | DW1 /MR | 04/16/2004
015 | FIESTA VILLAGE |  |  |  | DWF /MT | 04/09/2004 | 04/29/2004 | 04/28/2009
014 | FIESTA VILLAGE |  |  |  | DWF /MT | 11/12/2003 | 12/31/2003 | 12/30/2008
013 | FIESTA VILLAGE |  |  |  | DW1 /MR | 10/17/2003 | 03/02/2004 | 03/01/2009
012 | FIESTA VILLAGE |  |  |  | DW1 /MR | 10/16/2003 | 04/02/2004 | 04/01/2009
011 | FIESTA VILLAGE |  |  |  | DW1 /MR | 05/19/2003 | 09/11/2003 | 09/10/2008
010 | FIESTA VILLAGE |  |  |  | DW1P /NR | 09/27/2002 | 09/11/2003 | 09/10/2008
009 | FIESTA VILLAGE WWTP |  |  |  | DW1 /MR | 01/25/2002 | 02/22/2002 | 02/21/2007
008 | FIESTA VILLAGE |  |  |  | DW1 /MR | 07/20/2001 | 10/31/2001 | 10/30/2006
007 | FIESTA VILLAGE |  |  |  | DW1 /MR | 05/29/2001 | 09/21/2001 | 09/20/2006
006 | FIESTA VILLAGE |  |  |  | DW1 /MR | 05/23/2001 | 06/29/2001 | 06/28/2006
005 | FIESTA VILLAGE |  |  |  | DWF /MT | 04/15/1999 | 11/22/1999 | 11/22/2004
004 | FIESTA VILLAGE AWTP |  |  |  | DW1 /MR | 12/17/1998 | 02/17/1999 | 02/17/2004
003 | FIESTA VILLAGE-MIXING ZONE |  |  |  | DW1 /MR | 04/28/1998 | 04/06/1999 | 04/06/2004
002 | FIEST VILLAGE - AUP |  |  |  | DW1 /MR | 02/24/1998 | 04/14/1998 | 04/14/2003
001 | FIESTA VILLAGE AWT |  |  |  | DW1P /NR | 06/30/1995 | 03/30/1998 | 03/29/2003
Home

## FL0040088
Home | Return To Search
Florida Department of Environmental Protection
Wastewater Facility Regulation
Facility Detail Report
Report Generated from DOPPLER - FLDEP 3/21/2016
Facility: | FL0040088 | Cape Coral Rev Osmosis WTP
Status: | A | Type: | IW | Begin/End Operation:
Address: | SW 20th Avenue
Cape Coral, FL 33914
Nature of Business:
|  |  | SIC Codes |  | Primary Ind
|  |  | 4941 |  | Y
County: | 36 Lee |  | Office: | SD | Water Mgt Dist: |  |  | Ranking: | MI
Permitted Flow: |  | 1.2 MGD | Flow Basis: |  | DF
Treatment Process Summary: |  |  | R/O Plant. Npdes Fl0040088. Includes Both Hydra And Dow Plants
WW Character Summary: |  |  | 310
Important Parties to Facility
Affiliation Type: |  | Permittee |  |  |  | Effective Date: |  | 01/16/2013
Ownership: |  | CITY
Company Name: |  | City of Cape Coral
Name: |  | Pearson, Jeff
Address: |  | City Of Cape Coral
Po Box 150027
Cape Coral, FL 33915
Business Phone: |  | (239)574-0880
Fax:
Email Address: |  | jpearson@capecoral.net
WAFR Facility Status History
Status | Start Date |  | Comments
A | 01/01/1986 |  | STATUS AS DOWNLOADED FROM GMS
Geographical Information
Directions:
Object of Interest: | FACIL |  |  |  | Determination Date: |  | 01/24/2011
Coord Method: | DPHO | Datum: | HARN | Accuracy: | 4
X Coordinate: | 597247.52 |  |  |  | Y Coordinate: |  | 288969.05
Latitude: | 26 -35 -28.8418 |  |  |  | Longitude |  | 82 -0 -57.431
Sites Associated with this Facility
Site | Site ID | Status | Permitted Capacity | Reuse/ Disposal | Description
21159 | EFF-21159 | I |  |  | EFFLUENT TO LAKE FINNISTERE
21160 | MWA-21160 | I |  |  | RO REJECT-HYDRA PLANT
31377 | D-001 | A | 3.05 | R | Emergency Discharge
34041 | SWD-001 | I |  |  | Edge of 12 foot mixing zone for fluorides
34042 | SWD-002 | I |  |  | Mixing zone ending at confluence of salwater canal system with Caloosahatchee River
42385 | EFF-1 | A |  |  | After final treatment but before discharge.
116315 | SWD-1 | A |  |  | At the edge of the 12-foot mixing zone.
129842 | U-001 | A |  |  | Underground Injection Well
Facility Permits
Document ID |  | Document Type |  |  | Status | Issue Date |  | Effective |  | Expiration
FL0040088 |  | W |  |  | Active | 01/16/2013 |  | 01/16/2013 |  | 01/15/2018
FL0040088 |  | W |  |  | Inactive | 11/27/2007 |  | 11/27/2007 |  | 11/26/2012
FL0040088 |  | W |  |  | Inactive | 08/05/1999 |  | 08/05/1999 |  | 08/04/2004
IT36228775 |  | S |  |  | Inactive | 07/19/1993 |  | 07/19/1993 |  | 07/18/1998
FL0040088 |  | E |  |  | Inactive | 09/24/1992 |  | 09/24/1992 |  | 09/30/1997
WAFR-PA Projects
Project | Project Name |  |  |  | Type/Subtype | Received | Issued | Expiration
004 | CITY OF CAPE CORAL RO |  |  |  | IW5A /NR | 08/01/2011 | 01/16/2013 | 01/15/2018
003 | CITY OF CAPE CORAL |  |  |  | IW5A /NR | 02/02/2004 | 11/27/2007 | 11/26/2012
002 | CITY OF CAPE CORAL R.O.DISCHAR |  |  |  | IWF /VO | 10/16/1998 | 02/03/1999 | 02/02/2004
001 | CAPE CORAL RO |  |  |  | IW5A /NR | 03/27/1997 | 08/05/1999 | 08/04/2004
Home

## FL0040665
Home | Return To Search
Florida Department of Environmental Protection
Wastewater Facility Regulation
Facility Detail Report
Report Generated from DOPPLER - FLDEP 3/21/2016
Facility: | FL0040665 | City of Clewiston WWTP
Status: | A | Type: | DW | Begin/End Operation:
Address: | 115 W Ventura Ave
Clewiston, FL 33440-3709
Nature of Business:
|  |  | SIC Codes |  | Primary Ind
|  |  | 4952 |  | Y
County: | 26 Hendry |  | Office: | SD | Water Mgt Dist: |  |  | Ranking: | MA
Permitted Flow: |  | 1.5 MGD | Flow Basis: |  | AF
Treatment Process Summary:
WW Character Summary:
Important Parties to Facility
Affiliation Type: |  | Permittee |  |  |  | Effective Date: |  | 07/21/2014
Ownership: |  | UNKNOWN
Company Name: |  | City of Clewiston
Name: |  | Williams, Danny
Address: |  | 141 Central Ave
Clewiston, FL 33440-3701
Business Phone: |  | (863)983-1454
Fax:
Email Address: |  | danny.williams@clewiston-fl.gov
WAFR Facility Status History
Status | Start Date |  | Comments
A | 10/07/2002 |  | STATUS AS DOWNLOADED FROM GMS
Geographical Information
Directions:
Object of Interest: | FACIL |  |  |  | Determination Date: |  | 01/21/2011
Coord Method: | DPHO | Datum: | HARN | Accuracy: | 4
X Coordinate: | 703361.03 |  |  |  | Y Coordinate: |  | 305909.79
Latitude: | 26 -43 -27.8018 |  |  |  | Longitude |  | 80 -56 -41.0613
Sites Associated with this Facility
Site | Site ID | Status | Permitted Capacity | Reuse/ Disposal | Description
20635 | D-01 | I |  |  | EFF changed to WAFR System Site ID # 20635 for to use for DMR reporting.
20636 | EFF-20636 | I |  |  | GWMP EFFLUENT ANALYSIS
20637 | EFF-20637 | I |  |  | CITY OF CLEWISTON, W. T. P.
20638 | MWC-20638 | I |  |  | CC-4 (aka Well H 5226A12687)
20639 | MWI-20639 | A |  |  | Well located downgradient from a pollution source and within the zone of discharge.
20640 | MWC-20640 | A |  |  | Compliance monitoring well located at the edge of the zone of discharge, downgradient from a pollution source to measure the change in the level of pollutants in the ground water.
20641 | MWA-20641 | I |  |  | WELL H
20642 | MWI-20642 | I |  |  | WELL G Intermediate Well
20643 | MWD-20643 | I |  |  | WELL F (DOWNGRADIENT)
20644 | MWI-20644 | A |  |  | CC-3 Intermediate well located in the northeast
24387 | MWC-24387 | A |  |  | Compliance monitoring well located at the edge of the zone of discharge, downgradient from a pollution source to measure the change in the level of pollutants in the ground water.
24796 | LAL-IB | I |  |  | PHASE IB PUBLIC ACCESS REUSE
26528 | R-01 | I |  |  | holding pond and spray irrigation site
26529 | EFA-1 | A |  |  | The chlorine contact chamber #1 wet well.
26531 | INF-1 | A |  |  | The plant headworks prior to any side stream mixing.
26532 | OUI-01 | I |  |  | OUI pump meters at outfalls D001 through D003 located in perimeter ditch which discharges to Sugarland Drainage District Canal Three.
26612 | OUI-2 | I |  |  | Discharge sampling point DOO2 is located at the perimeter ditch discharge after all treatment from the facility, prior to discharging to the Sugarland Drainage District Lateral 10, just west of Canal #3, (see I.B.10&I.D.8). These sample points are used to monitor Flow, Total Phosphorus (as P), Total Nitrogen(as N), TSS, CBOD5, and D.O, Figure I shows the sample locations.
26613 | OUI-03 | I |  |  | see OUI-1 monitoring loc. # 26532
26614 | EFA-2 | A |  |  | After chlorine contact basins 2 and 3.
33646 | CSP-1 | I |  |  | flow meter site
35181 | D-002 | A |  | R | Sugarland Drainage District Canal, including Influent
35182 | R-001 | A |  |  | Reuse Spray Fields
48803 | RMP-B | I
56543 | EFF-1 | A |  |  | The discharge line to the Sugarland Drainage District Canal Number 3.
56544 | FLW-1 | A |  |  | Recording flow meters and totalizers record the discharge flow from outfall D-002 which discharges into Sugarland District Canal Number Three (3).
56545 | FLW-2 | A |  |  | The parshall flume prior to chlorine contact chamber disinfection.
56546 | SWA-1 | A |  |  | Surface water downstream sample location, in canal #3, formerly sample location no. 1.
56547 | SWA-2 | A |  |  | Sample water upstream sample location, in canal #3, formerly sample location #4.
56548 | SWA-3 | A |  |  | Surface water background sample location, in canal #3, formerly sample location #6.
73597 | OTH-1 | I |  |  | Three surface water sampling locations: upstream, downstream and background.
73598 | MWI-20638 | A |  |  | Well located downgradient from a pollution source and within the zone of discharge.
109891 | RAA-1 | A |  |  | Field
109892 | RWS-A | A |  |  | Annual Reclaimed Water or Effluent Analysis
114765 | R-002 | A |  |  | Golf Course
114766 | U-001 | I |  |  | Injection Well
114767 | FLW-3 | A |  |  | Reuse flow meter after the pump station.
114768 | FLW-4 | A |  |  | Flow meter of overflow from the pump station to the ponds.
114769 | FLW-5 | I |  |  | Treated domestic wastewater flow meter meter to the injection well system.
114770 | FLW-6 | A |  |  | Influent flow meter before the headworks.
114771 | EFB-2 | A |  |  | After the disc filters.
114772 | CAL-1 | A |  |  | Flow to the ponds (Sum of FLW-2 and FLW-4.
114881 | MWB-114881 | A |  |  | Background well located at the North corner of the property close to Bahama Ave.
114882 | MWC-114882 | A |  |  | Compliance well located between Georgia Ave & offsite reuse storage pond.
120007 | MWC-20639 | A |  |  | Intermediate well located along the west side
120099 | MWC-20644 | A |  |  | CC-3 In Field
Facility Permits
Document ID |  | Document Type |  |  | Status | Issue Date |  | Effective |  | Expiration
FL0040665 |  | W |  |  | Processing
FL0040665 |  | W |  |  | Active | 03/25/2011 |  | 03/25/2011 |  | 03/24/2016
FL0040665 |  | W |  |  | Inactive | 05/05/2004 |  | 05/05/2004 |  | 05/04/2009
FL0040665 |  | W |  |  | Inactive | 03/24/1998 |  | 03/24/1998 |  | 03/23/2003
DO26238941 |  | O |  |  | Inactive | 04/26/1994 |  | 04/26/1994 |  | 04/26/1999
DC26194532 |  | R |  |  | Inactive | 06/13/1991 |  | 06/13/1991 |  | 06/13/1996
FL0040665 |  | E |  |  | Inactive | 06/07/1990 |  | 06/07/1990 |  | 07/31/1995
DC26172400 |  | R |  |  | Inactive | 04/03/1990 |  | 04/03/1990 |  | 04/03/1995
WAFR-PA Projects
Project | Project Name |  |  |  | Type/Subtype | Received | Issued | Expiration
018 | CITY OF CLEWISTON WWTP |  |  |  | DW1P /NR | 02/18/2016
017 | CITY OF CLEWISTON WWTP |  |  |  | DW1 /MR | 07/21/2015 | 08/11/2015 | 05/26/2016
016 | CITY OF CLEWISTON WWTP |  |  |  | DW1 /MR | 07/22/2013 | 11/25/2013 | 11/24/2018
015 | CLEWISTON MERCURY SAMPLES REV |  |  |  | DWF /MM | 07/11/2011 | 07/13/2011 | 07/12/2016
014 | CITY OF CLEWISTON WWTP |  |  |  | DW1P /RA | 05/17/2010 | 05/27/2011 | 05/26/2016
013 | CITY OF CLEWISTON |  |  |  | DW1P /NR | 03/26/2009 | 03/25/2011 | 03/24/2016
012 | CITY OF CLEWISTON |  |  |  | DW1 /MR | 02/27/2008 | 03/20/2008 | 03/19/2013
011 | CITY OF CLEWISTON |  |  |  | DW1 /MR | 09/29/2006
010 | CITY OF CLEWISTON WWTP |  |  |  | DW1 /MR | 06/23/2006 | 08/07/2006 | 08/06/2011
009 | CITY OF CLEWISTON WWTP |  |  |  | DW1 /MR | 03/10/2006 | 04/13/2006 | 04/12/2011
008 | CITY OF CLEWISTON |  |  |  | DW1 /MR | 02/25/2004 | 06/14/2004 | 06/13/2009
007 | CITY OF CLEWISTON |  |  |  | DW1P /NR | 10/31/2002 | 05/05/2004 | 05/04/2009
005 | CITY OF CLEWISTON |  |  |  | DW1 /MR | 08/12/2002 | 10/29/2002 | 10/28/2007
004 | CITY OF CLEWISTON |  |  |  | DW1 /MR | 05/01/2002 | 10/29/2002 | 10/28/2007
003 | CITY OF CLEWISTON |  |  |  | DW1 /MR | 04/24/2001 | 05/18/2001 | 05/17/2006
002 | CITY OF CLEWISTON |  |  |  | DW1 /MR | 04/23/1998 | 09/15/1998 | 09/15/2003
001 | CITY OF CLEWISTON STP/SPRAYFIE |  |  |  | DW1P /NR | 02/26/1996 | 03/24/1998 | 03/23/2003
Home