Technical Meeting Summary

Tuesday, June 11, 2013

9:30 AM – 11:30 AM

# Kissimmee Civic Center

# 201 East Dakin Avenue, Kissimmee, Florida 34741

# Attendees

| Beth Alvi, FDEP Rick Baird, Osceola County Lesley Bertolotti, SFWMD Vanessa Bessey, FDACS Del Bottcher, SWET Tiffany Busby, Wildwood Consulting Kevin Carter, SFWMD Terry Clark, Cardno ENTRIX Tyler Coon, Deseret Ranches Tim Coughlin, FWC Mike Crikis, Reedy Creek Improvement District Savannah Davy, SFWMD Kevin Felblinger, St. Cloud Chris Ferraro, FDEP Clell Ford, Highlands County Stan Ganthier, FDEP Eric Gonzales, SFWMD Bill Graf, SFWMD Kyle Grandasky, Federico, Lamb & Assoc. Paul Gray, Audubon Florida Jeff Holland, Reedy Creek Improvement District Danielle Honour, CDM Smith Martin Horwitz, FDOT District 1 Bob Howard, The Carol Group Sheri Huelster, Cardno ENTRIX | Brad Jones, SFWMD Peter Kalogridis, Islenorth Kerry Kates, Florida Fruit and Vegetable Association Kimberly Lawrence, Osceola County Charles Lee, Audubon Florida Susan Martin, SFWMD Linda McCarthy, Lykes Brothers Inc. Frank Nearhoof, FDEP Steffany Olson, SFWMD Steve Peene, ATM Marcy Policastro, Wildwood Consulting Luke Polk, Florida Farm Bureau Terry Riordan, FDEP Heather Ritchie, E Sciences Chad Rucks, SFWMD Dan Rutland, E Sciences Brent Setchell, FDOT District 1 Carlton Spirio, FDOT District 1 Jessica Sullivan, Osceola County Jeff Sumner, SFWMD Bridgett Tolley, Osceola County Garrett Wallace, Alico Inc. Kalina Warren, FDEP Bonnie Wolff Pelaez, FDACS Hans Zarbock, Polk County |
| --- | --- |

Welcome and Opening Remarks

Tiffany Busby welcomed everyone to the Lake Okeechobee Basin Management Action Plan (BMAP) meeting.  She thanked the City of Kissimmee and Osceola County for their assistance in finding a meeting room.  The Florida Department of Environmental Protection is trying to move the meeting location around the watershed to help with travel time in such a large area.  The participants introduced themselves and the entity they represent.

Tiffany asked if there were any edits or comments on the summary from the April 16th meeting.  Charles Lee responded that there were several questions that came up at the last meeting that the agencies were supposed to provide answers to at this meeting.  He noted that he wanted to know about the Class AA biosolids distribution in the watershed and the Department’s position and progress made on the South Florida Water Management District’s (SFWMD) Works of the District rule for the Lake Okeechobee watershed.  Beth Alvi responded that in terms of the Class AA biosolids distribution, she is working with the three Department district offices in the watershed to compile this information.  Once it is ready, she will provide this information to the stakeholders.  Beth noted another action item from the last meeting was to finalize the BMAP boundary.  The version of the boundary presented at the last meeting will be used.  Beth stated that in response to the question about the Works of the District rule, the Department would not be providing a position on this effort.  The Department has been working with SFWMD and providing them information; however, this is a SFWMD process.  Lesley Bertolotti stated that another action item from the last meeting was to determine if the boundary delineation was based on surface and/or ground water data.  She determined that the boundary was based only on surface water data.

Charles stated that he hoped that the Class AA biosolids information would be available a little sooner.  For the Works of the District rule, Charles asked if the Department is holding up the process or is asking SFWMD not to move forward.  Frank Nearhoof responded that the Department has not formally or informally asked SFWMD to delay the process.  The Department, SFWMD, and Florida Department of Agriculture and Consumer Services (FDACS) are discussing this rule.  There are a lot of technical underpinnings to the rule, so the agencies have been reviewing this information to ensure they are comfortable with it and that the process is consistent with the BMAP.

Focus Sub-Watersheds

Upper Kissimmee Sub-Watershed

Frank stated that the information in his presentation is not a comprehensive evaluation of all the data available with a rigorous statistical analysis. This is an initial compilation of the data that are available from implementing the restoration program in this watershed over the last several decades.  As part of the BMAP process, the Department wants to make sure the stakeholders are aware of the available datasets.  Frank noted that the data in his presentation are from SFWMD’s DBHYDRO, which is a fairly comprehensive database although it does not include all collected data in the watershed.  Frank would like to talk with the stakeholders to find out what other data are available and to determine what dataset should be used in the BMAP analyses.  The information in this presentation helps to set the stage for those conversations.

Frank stated that the Upper Kissimmee sub-watershed has two branches of flow through two lake chains that converge into Lake Kissimmee.  There are three major creeks that feed into the western chain: Boggy Creek, Shingle Creek, and Reedy Creek.  Boggy Creek is an altered upstream but is more natural near East Lake Tohopekaliga (Toho).  Frank stated that the total phosphorus (TP) concentration data are annualized geometric means to match the Department’s process for adopting water quality criteria.  In Boggy Creek, it appears that TP concentrations have decreased over the period of 1981 to 2013.  Frank noted that he did not review the land use changes in this area during that time period to determine what might have caused this reduction.  Rick Baird asked if this TP reduction coincides with the removal of the wastewater treatment facility (WWTF) discharges.  Frank responded that he is not sure if there were any WWTFs located upstream on Boggy Creek but he would look into this.

Frank stated that he also wanted to look at the characteristics of flows in the sub-watershed.  This area has a combination of natural and altered waters, which results in a lot of flashy systems.  The plot of daily mean flow data for Boggy Creek shows that the creek does not have a lot of flow for much of the time, and the high flows occur in short periods of time.  Therefore, this shows that detention would be helpful for capturing the large flows and reducing TP by allowing greater retention time.

East Lake Toho currently has three monitoring stations in the lake and one at the outfall structure.  Some of the TP concentrations in the early part of the data period were high and then the concentrations decreased.  Frank noted that historically there were four monitoring stations in the lake, plus the station at the structure.  Over time, some of the stations have stopped being monitored; therefore, one of the considerations for the BMAP is whether any of the historical stations should be added back or if a station in a new location is needed.  Frank stated that in recent years, the TP concentrations entering the East Lake Toho and leaving the lake through the structure are about the same.

The flow data for Shingle Creek show that this creek has a flow that is more consistent; however, most of the discharges still occur in a short period of time.  Frank noted that he could only find TP data for Shingle Creek between 2006 and 2013.  Brad Jones noted that the older data for Shingle Creek are available from a different station.

Lake Toho currently has four monitoring stations in the lake and one at the outflow.  Historically, the TP concentrations in the lake were very high but there were large reductions in the TP concentrations when the WWTF discharges were removed.  Since that time, the concentration has stayed about the same.  Frank noted that after a big change, it takes about two to three years for a lake to re-equilibrate to a new state.  Chris Ferraro asked if Lake Toho is now equilibrated to a new state.  Frank responded that once the WWTF discharges were removed, there would have been some residual recycling of nutrients in the lake before the nutrients settled into the sediments and became mostly unavailable.  This resulted in the lake reaching a new state, which would likely be better shown in the biological data, such as chlorophyll-a.  Frank stated that in the more recent data for Lake Toho, the northern sampling station has higher TP concentrations than the middle stations but TP concentrations then elevate again at the south end of the lake.  It appears that there is some local influence near the southern part of the lake, which should be consideration during BMAP development.

On the east chain of lakes, which includes Alligator Lake and Lake Gentry, the TP data show that the monitoring station near Cypress Lake is consistently elevated.  Frank noted that he was unsure what caused this higher TP concentration.  Reedy Creek also flows into this station and there are four flow stations on the two structures and two gages on this creek.  The upstream structure appears to stay closed most of time because there is very little flow.  Even when this structure is flowing, it only reaches about 100 cubic feet per second (cfs), which is small compared to the structure and gages.  Reedy Creek had elevated TP concentrations in the early 2000s, but the concentrations have decreased recently.

Cypress Lake TP concentrations were elevated in the early part of the data period, which is consistent with what was seen in the chains that flow into this lake.  The concentrations have remained relatively constant over the last few decades and the outflow from the lake is similar to the inflow.  Frank noted that there was a historical connection between the lakes through a marsh system, the remnants of which can still be seen in some areas.  The lakes today are now connected through a channelized system through the historical marsh.  The Kissimmee Restoration project has been very successful and the river system responded quickly to the change back to a natural system, which is also good at assimilating TP.  Frank noted that as part of the BMAP process, potential locations to restore natural connections between the lakes should be examined while keeping flood control requirements in mind.

Lake Hatchineha had high TP concentrations in the 1980s, which have since decreased and remained relatively stable.  The station in the southeast part of the lake has higher concentrations than the upstream station, so there may be some local sources in this area.

In Lake Kissimmee, there is no apparent trend in TP concentrations.  Frank stated that he compared the TP concentrations in Lake Kissimmee to the S-65 outfall structure, which is the structure used to calculate the loads coming out of Upper Kissimmee sub-watershed.  The two in lake stations and the S-65 structure have similar TP concentrations.  However, there are some spikes in the TP concentrations from S-65 that are not seen in the lake.  Therefore, it appears that something is occurring in the vicinity of S-65.  If the source of the high concentrations can be identified and remediated this would result in some success.

Frank stated that he compared the S-65 data collected through the auto sampler composite time (ACT) proportional to the grab samples.  Sampling was typically done by collecting a grab sample that was brought to the laboratory for analysis.  This provided data for a specific point in time.  More recently, there has been a movement to use auto samplers that provide continuous data that better capture how concentrations change over time.  Many of the SFWMD monitoring stations have an auto sampler and grab samples are also collected in case there are problems with the auto sampler.  The auto sampler at the S-65 is time proportioned, which means it collects data at set time periods.  Auto samplers can also be flow proportioned, where more samples are collected when there is more flow.

Frank noted that there is a shift in the data when comparing the auto sampler to the grab samples in which the auto sampler data are about 20% higher than the grab samples data.  This could be occurring because the auto sampler is collecting more representative data or the auto sampler has a high bias due to a contaminant source. Frank noted that he is not sure which reason explains the difference in the data at S-65, but it is important to note that there was a change in the data collection method that resulted in an increase in the concentrations, whether real or not.  Tiffany asked if this separation between the data for the auto sampler and grab samples occurs on all the parameters or just for TP.  Frank responded that he did not look at all the data, but this difference could occur with parameters like turbidity but would not occur with salinity.  However, contamination of the auto samplers is a significant issue for nutrient data.

Frank presented information on the S-65 annual flows in acre-feet from 1934 to 2012.  There is a wide distribution in annual flows and some years had very high flows.  Frank noted that if there were a way to capture some of those peak flows it would be beneficial to the system.  Chris stated that the peaks in flow could be due to weather events because the flows were high in 2004 when the hurricanes affected this part of the state.  Frank responded that he did not have the time to compare the flow data to the meteorological data, but that would be helpful.

Charles stated that he agrees with the concept of trying to capture the peaks flows; however, this is not something that is just now being discovered in the early part of the BMAP process.  The data in the presentation are a simplification of the data that Del Bottcher put together in document that was published in 2010.  Charles stated that this is supposed to be an action plan; however, a lot of known information is being rehashed instead of having discussions on action steps, such as what are the most efficient and effective ways to attenuate flows.  Charles noted that while it is good to review the data again, it is more important to discuss the series of steps for the Department and SFWMD to take, such as increasing the dispersed water management program by an order of magnitude in appropriate locations in the watershed to capture and treat flows before they move south.  Charles stated that Frank made a good suggestion about looking at old flow-ways and there may be options to create significantly-sized dispersed water management projects in these areas with cooperative landowners and the payment for environmental services (PES) program.

Frank stated that Charles’ comments would be addressed by the next presentation.  The BMAP is a stakeholder driven process and since this process is just kicking off, the Department is including background information by quickly reviewing information from more detailed analyses.  While this information is redundant for those stakeholders that have been involved in these efforts for years, there are new stakeholders that need some background so that everyone is on the same page.  Frank noted that Charles mentioned the PES program and this is moving forward and will be discussed more in the next presentation.  The BMAP process is getting where Charles wants to go, but some background information needs to be provided first.

Frank presented a map of the Upper Kissimmee sub-watershed with land use categories rolled up into agriculture, urban, and natural.  The natural areas are scattered throughout the sub-watershed.  Most of the urban areas are in the northern part of the sub-watershed and most of the agricultural lands are in the southern part.  Frank noted that some of the natural lands might be state lands and the agencies are in the process of reviewing the state lands to determine if they can be used for water quality restoration efforts.  Overall, for the Upper Kissimmee sub-watershed, the TP concentrations are generally low.  There may be a need to do some local projects to address point and nonpoint sources but the most “bang for the buck” would occur by capturing peak flows.

Lower Kissimmee Sub-Watershed

Frank stated that the Lower Kissimmee sub-watershed has a series of S-65 structures (A through E).  The TP concentrations that go through S-65E reach Lake Okeechobee fairly quickly.  The TP concentrations in this sub-watershed are higher than what was observed in the Upper Kissimmee sub-watershed.  There is no apparent trend in the TP concentrations in this sub-watershed.

Charles asked if the Department or SFWMD have done an analysis of drainage ditch density in each sub-watershed.  The Audubon Society looked at this in 2010 and they found that there is a high density of drainage ditches in the southern end of the system that deliver water in a semi-controlled manner to SFWMD’s canals.  He asked if any work has been done to look at the relative frequency of the drainage ditches to correlate them to the water quality data.  Frank responded that the Department is working on a south Florida canals aquatic life study to determine what aquatic life should be protected through the water quality standards.  As part of this study, the Department is trying to identify a suite of parameters that have an effect on aquatic life, and one of these parameters is ditches.  The Department has not looked at the ditch data in association with the BMAP yet, and Frank asked if Charles could share his information.  Charles stated that he would send his ditch information to Beth.

Frank stated that when comparing the S-65E and S-65 flows, about 64% of the flows at S-65E come from the Upper Kissimmee sub-watershed.  The land use in the Lower Kissimmee sub-watershed is predominately agriculture.  The urban area shown on the map is really mostly natural lands when the land cover codes are examined.  Frank noted that it is important to continue to emphasize the need for storage in these sub-watersheds to attenuate peak flows.  The TP concentrations in the Upper Kissimmee sub-watershed are relatively low but provide about 64% of the flow coming out of S-65E to Lake Okeechobee, so there is a need to work on addressing loads and flows in both sub-watersheds.

Ongoing and Planned Water Quality Restoration Efforts

Marcy Policastro stated that the purpose of this presentation is to start providing information on the actions needed for the BMAP.  The past meetings have discussed the projects in the southern part of the watershed but the urban stakeholders in the Upper Kissimmee and Lower Kissimmee sub-watersheds have implemented a lot of activities.

There are several types of typical urban stormwater best management practices (BMPs) that are used to address nutrient loading.  These BMPs include retention BMPs, wet detention ponds, dry detention, 1st generation and 2nd generation baffle boxes, swales, alum injection, stormwater reuse, Stormceptor devices, and continuous deflective separation (CDS) units.  Paul Gray stated that a technical advisory committee had been formed to develop a statewide stormwater rule that has not been approved.  He asked if the Department is still trying to obtain approval from the legislature for this rule.  Frank responded that he is not sure of the current status of this rule.  The Department is currently working on completing the updated Environmental Resource Permit (ERP) rule and then they may go back to working on the stormwater rule.  Frank stated that he could find out the status of this rule.  Marcy added that the efficiencies for these BMPs are based on the information in the draft statewide stormwater rule, and these efficiencies will be provided in future meetings.

Marcy stated that there are also maintenance activities that reduce nutrients including street sweeping, catch basin clean out, and other BMPs clean out.  The Department worked with the Florida Stormwater Associated (FSA) to create a spreadsheet that estimates the TP and total nitrogen (TN) load reductions from maintenance activities.  The spreadsheet is based on information collected from municipal separate storm sewer systems (MS4s) across the state.  In addition, wastewater projects such as septic tank phase out and wastewater treatment facility and collection system upgrades also result in nutrient reductions.  The Department contracted with Florida State University (FSU) to develop a model that estimates the loads from septic tanks to surface waters based on a number of factors including the local soil types and distance to waterbodies.  While septic tank phase out mainly reduces TN, there are some TP reduction benefits with this type of project.

Marcy noted that there are also provisional BMPs that the Department believes help to reduce nutrient loading, but studies are underway to gather more information about the reduction benefits.   The first type of provisional BMP is public education and outreach efforts.  These efforts include participation in the Florida Yards and Neighborhoods (FYN) program; local ordinances for fertilizer, irrigation, landscaping, and pet waste management; public service announcements; pamphlets and presentations; websites; and an illicit discharge program and call-in number.  Provisional credit is also assigned for floating islands/managed aquatic plant systems, which are plant islands added to ponds to remove additional nutrients.  The efficiencies of these systems vary, so monitoring data for each project would be needed to assign reductions.  The Department is currently developing an approach for aquatic vegetation harvesting from canals and other waterways.  This credit is assigned based on the type of vegetation removed, nutrient content for that type of plant, and amount of plant material removed.  The Department is also developing guidance for dredging/muck removal.  Marcy noted that the type of dredging eligible for nutrient reduction credit is different from typical dredging activities, because the material needs to be removed to the natural substrate to prevent continued nutrient flux into the water column.  Credit for this type of dredging is based on the difference between the nutrient flux rate of the muck and natural substrate and the area of material removed.  The guidance documents for the aquatic vegetation harvesting and dredging will be provided with the other project collection information.

Marcy stated that the stakeholders in the Lake Toho area worked with the Department to create a nutrient reduction plan (NRP) for the lake.  This plan includes projects from the City of Kissimmee, City of Orlando, City of St. Cloud, Orange County, Osceola County, and the Florida Department of Transportation (FDOT) District 5.  These projects include typical stormwater BMPs, street sweeping, septic tank replacement, and public education and outreach.  Also included is a cooperative project, Judge Farms Reuse Facility, which is a large-scale surface water retrofit and alternative water supply project.  The City of Kissimmee, City of St. Cloud, and Osceola County are working together on this project.  The estimated reductions associated with the Lake Toho NRP projects are 14,025.9 lbs/yr of TP and 106,343.9 lbs/yr of TN.  Marcy noted that not all of the reductions from projects in the NRP were quantified, so the total reductions that will be achieved are larger than the estimates.

Charles stated that Harvey Harper has done work on the amount of nutrients on the urban landscape from reclaimed water.  Most urban areas that irrigate using reclaimed water do not need supplemental fertilizer.  However, many areas still use fertilizer, so there is a large amount of TN and TP that runoff.  Charles asked if there are any efforts to address this source.  Frank responded that the Department has two efforts underway related to reclaimed water.  The Department has been working with the Water Reuse Foundation to identify tracers to track the source of nutrients.  One main tracer, sucralose, which is found in Splenda, has been identified.  Sucralose is not removed as part of the wastewater treatment process, so it can be found in reclaimed water.  Another effort is to determine the amount of nutrients needed by different types of sod and how much of this requirement is met by reclaimed water so that the amount of fertilizer that should be applied can be calculated.  The Department is working with the University of Florida–Institute of Food and Agricultural Sciences (UF-IFAS) on this effort.  The Department is also implementing a study in the Everglades West Coast area using the sucralose tracer to determine the relative contribution of nutrients from reclaimed water.  This study will include an area with a golf course, an area without a golf course, and an area with septic tanks (since sucralose can also be found in septic tanks effluent).  Marcy added that while these studies are ongoing, the Department is encouraging local governments to include information on fertilizing in areas with reclaimed water as part of their public education and outreach efforts.  Chris noted that the cities of Kissimmee and St. Cloud practice reclaimed water conservation.  They only allow irrigation one or two days per week and the usage is metered so that people do not over-irrigate.  Charles responded that the utilities should treat reclaimed water with greater conservatism.

Rick stated that the last time he saw a list of BMP efficiencies was with a Section 319 application.  He asked if the BMAP approved efficiencies are posted on the FDEP website.  Beth responded that she would post the efficiencies to the Lake Okeechobee BMAP FTP site.  Marcy added that this information would be provided as part of project collection to help the stakeholders plan projects.

Marcy stated that FDACS has also been working on signing up producers in these sub-watersheds for appropriate agricultural BMPs.  In the Upper Kissimmee sub-watershed, approximately 98,193 of the 328,452 agricultural acres have been signed up for BMPs.  FDACS will continue to sign up producers in this sub-watershed.  In the Lower Kissimmee sub-watershed, FDACS has signed up most of the agricultural acres for BMPs.  A total of 261,938 of the 269,962 acres have been enrolled in BMPs.

Marcy stated that another project option is dispersed water management, which is defined as “shallow water distributed across parcel landscapes using relatively simple structures.”  This project type stores water on parcels of land during wet periods and makes this water available for different uses during dry periods.  The components of dispersed water management include water storage, cost-share cooperative projects, easements, and PES.  PES is the practice of offering incentives to landowners in exchange for managing their land to provide an ecological service.  Projects were solicited from interested and eligible landowners to retain water and nutrients above and beyond permitted requirements to benefit not only Lake Okeechobee but also the Caloosahatchee and St. Lucie Estuaries.  The projects from the first PES solicitation have been constructed, and the projects received in the second solicitation are currently being evaluated.  Brent Setchell asked how PES is funded.  Frank responded that PES uses SFWMD funding, and projects are solicited through a request for proposals process.

Charles provided the Department with a letter and DVD from Audubon Florida about dispersed water management.  He stated that Audubon believes that this program is the “silver bullet” for the BMAP.  These are cooperative projects that benefit and provide incentives to the landowners, in addition to providing water quality benefits.  This program has a lot of promise and it is time to take it to the next level.  Charles stated that SFWMD should conduct an evaluation of the watershed to identify potential locations for PES projects and determine the additional funding needed.  Marcy responded that the agencies are already looking for opportunities for additional projects on state lands, as will be discussed further later in the meeting.  As part of the BMAP, some modeling of the watershed is planned to help identify project locations so the process is moving in this direction.  Frank added that he agrees with Charles that dispersed water management is important and, as part of the BMAP, an evaluation of the amount of water that should be stored and funding needed will be made.  Tiffany noted that the Department would post Audubon’s letter and DVD information to the FTP site for the other stakeholders.

Beth stated that none of these projects would happen without funding.  The Department has started to hold meetings with BMAP, total maximum daily load (TMDL), and funding staff to plan funding for significant projects that will result in significant reductions.  There are several funding options, and most people are familiar with Section 319 and TMDL grants.  These grants use a points system and the more points a project has, the more likely it is to receive funding.  Points are assigned if the project is located in an impaired waterbody basin, if there is an adopted TMDL, and if the project is in a BMAP.  Another option for funding is the State Revolving Fund (SRF) load.  The SRF managers noted that most of the projects funded recently are for wastewater but stormwater projects can also receive loans.  The Department is willing to work with stakeholders to help look for funding sources.

Beth noted that cooperative projects also receive more points in the funding scoring, and are a good option for addressing load reductions.  In other areas of the state, the MS4 co-permittees meet regularly and these meetings provide a forum to discuss projects.  Beth stated that she was unsure if the MS4s in the watershed meet regularly but, if they do, the Department can participate in a meeting to discuss funding options for projects.  The Department’s MS4 program holds quarterly teleconferences and a topic at a future meeting could be funding sources and identifying cooperative projects.

Beth stated that the agencies are evaluating the state-owned lands using Geographic Information Systems (GIS) coverages of Department and water management district lands to determine how these lands could be better used for water quality benefits.  Beth noted that the state lands map could be shared at the next BMAP meeting to obtain input from stakeholders on options.  The Department met a few weeks ago with Kimberly Lawrence to discuss project options in Osceola County and to review the county’s monitoring to tie back to Frank’s analyses.

Beth stated that the Department frequently hears about new methodologies to reduce nutrients to waterbodies or remove nutrients from within the waterbody.  To help evaluate this information, Frank led an effort to create an innovative technologies review process.  There is a link on the Department’s website to the application and instructions for submitting new technologies for review.

Beth stated that for the BMAP, a lot of data are available and these data have been discussed for years.  Now, projects are needed to achieve reductions to meet the TMDL target.  While it is important to assess data and identify data gaps, it is more important to start identifying projects, where they should be located, how large they need to be, and which stakeholders will be cooperating in the projects, so that funding can be secured.  Dispersed water management is one facet of the types of projects that can be implemented to achieve the TMDL.  In the short term, the Department would like to focus on collecting projects from the stakeholders and more information will be provided about project collection in the next few weeks.   The Department would like information on the projects that have been completed and are planned.  There may be discussions about allocations, but this is secondary to actually implementing projects.  Chris asked if there is a timeframe for how far back completed projects can be submitted.  Beth responded that the Department has not decided this yet, but the initial thought is to start when the TMDL was adopted, which was 2001.  The projects discussed during the meeting were implemented starting about 2008 or 2009.   A start date for projects still needs to be identified for the BMAP.

Charles stated that the cooperative projects slide notes identifying “hotspots.”  A landowner might be offended if their land was identified as a hotspot, so it may be better to identify opportunities, such as historical flow-ways.  While it is appropriate to reach out to property owners that might have ideas for projects on their lands, this is not comprehensive enough.  SFWMD and the Department need to systematically analyze the watershed to identify optimal locations to sequester water.  Charles noted that this evaluation could be conducted by an agency employee or a contractor who has the ability to analyze the watershed and create a roadmap.  These would not be hotspots, but areas where there is the ability to capture the most water and do something with it.  Beth responded that this is something the Department is working towards, and they are trying to identify a model to help determine locations.  They are trying to identify whom within the Department, SFWMD, or a contractor could do this evaluation.

Beth stated that in the near future, the stakeholders should start thinking about the projects that are completed and planned so that the Department has an idea of reductions that are already at hand.  In addition, if the stakeholders have tools that they utilized to identify areas where projects are needed, they should let the Department know.  Beth stated that she would send the project collection spreadsheet that has been used in other areas, and she can meet with stakeholders one-on-one, as needed.  Kimberly asked what the timeframe is for submitting projects to the Department.  Beth responded that the timeline needs to be discussed and the Department knows it takes time and effort to put the project information together.

Beth noted that a handout was provided with a more comprehensive list of funding options.

Wrap Up

Tiffany stated that the next meeting is planned for August.  Beth added that the next meeting would be held in conjunction with the Northern Everglades update meeting, so the meeting would be in Okeechobee.  The date for the next meeting should be known within the next few weeks, and a notice will be sent to the distribution list once the date and location have been set.

Paul asked what the status is of the Lake Okeechobee Protection Plan update.  Lesley responded that the update will follow the same outline as the South Florida Environmental Report and will include highlighted programs and projects, such as the BMAP.

Susan Martin noted that the Department is adopting the new ERP rule on Thursday, April 13th, and it will have an effective date of August 1st.

Adjourn

The meeting was adjourned at 11:55 AM.

Action Items

- Beth Alvi is working with the three Department district offices in the watershed to compile Class AA biosolids information that she will provide information to the stakeholders, once completed.

- The stakeholders should provide the Department with information on other water quality data available for the watershed.

- The Department will work with the stakeholders to identify an appropriate dataset for the BMAP evaluations.

- Frank Nearhoof will determine if there were any WWTFs on the upstream portion of Boggy Creek that were removed, which could correlate to reductions in TP.

- As part of the BMAP considerations, the stakeholders and agencies will determine if any of the historical monitoring stations should be added back or if stations in new locations are needed.

- There are appears to be a phosphorus source in the southern part Lake Toho that should be further explored as part of the BMAP process.

- As part of the BMAP process, potential locations to restore natural connections between the lakes should be examined while keeping flood control requirements in mind.

- Sources in the southeastern part of Lake Hatchineha should be identified as part of the BMAP process.

- The source of the TP high concentrations near S-65 should be identified and remediated as part of the BMAP process.

- Charles Lee will send Audubon’s ditch information to Beth Alvi. – Completed.

- Frank will determine if the Department has a timeline for revisiting the statewide stormwater rule.

- Beth will post Audubon’s letter and DVD information to the FTP site for the other stakeholders. – Completed.

- Beth may present the state-owned lands map at the next meeting to obtain input on options for these lands from the stakeholders.

- Beth will send information about project collection to the stakeholders within the next few weeks, including the start time for providing completed projects, project collection spreadsheet, and due date for project submittals.

- A notice will be sent once a date and location for the next BMAP meeting has been determined.