## Slide 1: 2017 Source ID Pilot Study Maps
Florida Department of Environmental Protection
Division of Environmental Assessment and Restoration
Draft Version December 18, 2017
Contact Anita Nash for more information 850.245.8545

## Slide 2: Symbology
“SiteSnpshtScore” is the score assigned to a single site, for a single sampling event, considering all the results from the full suite:
  e.coli
  Acetaminophen
  Sucralose (used in Miller because records do not show reuse water or OSTDS)
  MST human marker HF-183
  Propidium Monoazide (PMA) was added to human marker HF183 during round 4 for differentiating live fraction of the Bacteroides out of the total Bacteroides detected in the sample
ArcGIS Online Map Log In
Next
Spartman
Branch, Miller, Jackson, Wagner, Hopkins, Butcher Pen, Summary.
Remaining trails to follow.

## Slide 3: Butcher Pen Creek

## Slide 4: Butcher Pen Round 1 3/9/2017
First and last sampling event during the 2017 Pilot Study.

## Slide 5: Spartman Branch WBID
Flows north west to Pemberton Creek, Baker Creek, then into Lake Thonotosassa
Rural Hillsborough County
Plant City
Next

## Slide 6: Spartman Branch
Sample Event 1 March 21
Next

## Slide 7: Spartman Branch
Sample Event 2 April 10
The south west tributary was dry.
Shortly after, the creek went dry.
Next

## Slide 8: Spartman Branch
Sample Event 3 July 18
This event was after the creek began flowing again.
Next

## Slide 9: Spartman Branch
Sample Event 4 August 16
The last sampling event was to confirm hot spots before the conclusion of the pilot study.
Next

## Slide 10: Spartman Branch
All 4 pilot sampling events on one map.
Next

## Slide 11: Spartman Branch
Click
All 4 pilot sampling events on one map.
Next

## Slide 12: Example of hit in area serviced by OSTDS.
Estimated Watershed Boundary
WBID Line

## Slide 13: Miller Creek

## Slide 14: Miller Round 1
Next

## Slide 15: Miller Round 2-C
Next

## Slide 16: Miller Round 3-C2
Next

## Slide 17: Miller Round 4-C2
This was the last sampling event under the 2017 Pilot study.
Next

## Slide 18: Miller All 4 rounds of monitoring.

## Slide 19: Jackson Creek

## Slide 20: Jackson Creek WBID Flow Direction
Next

## Slide 21: Jackson Round 1
No Sample. No Water on mainstem.
No Sample of this trib. Too shallow for grab.
Hit at C and Duplicate. D/S of convergence of north south tributary
Hit at A.
Next

## Slide 22: Jackson Round 1
No Sample. No Water on mainstem.
Hit at C and C-Duplicate D/S of convergence of north-south tributary
Next

## Slide 23: Jackson Round 2 - C
Next
The main creek was flowing.
This tributary was not flowing. Samples taken from stagnate pools at road intersections.

## Slide 24: Jackson C5 contributing area recon
Sample
GPS wet locations and outfalls
Next

## Slide 25: Jackson Creek Where in the WBID are we?
C5
Eaton Rd. Stormwater Pond
Bayou Chico
Next

## Slide 26: Jackson Round 3 – C5
Next

## Slide 27: Jackson Round 3 – C5
Next
(2 areas of interest)

## Slide 28: Jackson Round 4 – C5D and C5F
This was the last sampling event under the 2017 Pilot study.
Everything contributing to here is stormwater. Let’s zoom in here.
Next

## Slide 29: Jackson Rounds 3 and 4 – C5F close-up
Next
Further investigations recommended:
  N 50th Ave. & Lillian Hwy. outfalls
  Elsa Ave. outfall

## Slide 30: Review of all stations Pilot Study 2017 Jackson Creek

## Slide 31: Hopkins Creek

## Slide 32: Hopkins Creek Watershed
Event | Round | Date
1 | 1 | 3/9/2017
2 | 2-B and 2-A | 3/23/2017
3 | Post Elimination | 4/10/2017
4 | 3-B9 | 4/18/2017
5 | 3-B5 | 4/19/2017
6 | 4-B9C | 6/20/2017
7 | 5 - Persistence Check Sampling Event | 8/28/2017

## Slide 33: Hopkins Round 1 Sampling Event 1
Event | Round | Date
1 | 1 | 3/9/2017
2 | 2-B and 2-A | 3/23/2017
3 | Post Elimination | 4/10/2017
4 | 3-B9 | 4/18/2017
5 | 3-B5 | 4/19/2017
6 | 4-B9C | 6/20/2017
7 | 5 - Persistence Check Sampling Event | 8/28/2017

## Slide 34: Hopkins Round 2–A and 2-B Sampling Event 2
Event | Round | Date
1 | 1 | 3/9/2017
2 | 2-B and 2-A | 3/23/2017
3 | Post Elimination | 4/10/2017
4 | 3-B9 | 4/18/2017
5 | 3-B5 | 4/19/2017
6 | 4-B9C | 6/20/2017
7 | 5 - Persistence Check Sampling Event | 8/28/2017

## Slide 35: Hopkins Round 2-A Sampling Event 2
Source identified and eliminated.

## Slide 36: Hopkins Sampling Event 2 (Closer look at Round 2-B)
Event | Round | Date
1 | 1 | 3/9/2017
2 | 2-B and 2-A | 3/23/2017
3 | Post Elimination | 4/10/2017
4 | 3-B9 | 4/18/2017
5 | 3-B5 | 4/19/2017
6 | 4-B9C | 6/20/2017
7 | 5 - Persistence Check Sampling Event | 8/28/2017

## Slide 37: Hopkins Sampling Event 3
Sampled too soon after removal of source. Need to let the system flush with rain to remove remnants.
Later in 2017, the city’s sanitary sewer utility replaced or lined all the sewer pipes in this region.
Event | Round | Date
1 | 1 | 3/9/2017
2 | 2-B and 2-A | 3/23/2017
3 | Post Elimination | 4/10/2017
4 | 3-B9 | 4/18/2017
5 | 3-B5 | 4/19/2017
6 | 4-B9C | 6/20/2017
7 | 5 - Persistence Check Sampling Event | 8/28/2017

## Slide 38: Hopkins Sample Event 4
Event | Round | Date
1 | 1 | 3/9/2017
2 | 2-B and 2-A | 3/23/2017
3 | Post Elimination | 4/10/2017
4 | 3-B9 | 4/18/2017
5 | 3-B5 | 4/19/2017
6 | 4-B9C | 6/20/2017
7 | 5 - Persistence Check Sampling Event | 8/28/2017

## Slide 39: Hopkins Sample Event 5
Tidal multi directional flow along the main ditch.
Sucralose is the only indicator of sewage during this event, could be remnants of the source to the north deposited by the tides.
Event | Round | Date
1 | 1 | 3/9/2017
2 | 2-B and 2-A | 3/23/201
3 | Post Elimination | 4/10/2017
4 | 3-B9 | 4/18/2017
5 | 3-B5 | 4/19/2017
6 | 4-B9C | 6/20/2017
7 | 5 - Persistence Check Sampling Event | 8/28/2017

## Slide 40: Hopkins Sampling Event 6
Event | Round | Date
1 | 1 | 3/9/2017
2 | 2-B and 2-A | 3/23/2017
3 | Post Elimination | 4/10/2017
4 | 3-B9 | 4/18/2017
5 | 3-B5 | 4/19/2017
6 | 4-B9C | 6/20/2017
7 | 5 - Persistence Check Sampling Event | 8/28/2017

## Slide 41: Hopkins Sample Event 7
Last sampling event for the Pilot Study 2017
Event | Round | Date
1 | 1 | 3/9/2017
2 | 2-B and 2-A | 3/23/2017
3 | Post Elimination | 4/10/2017
4 | 3-B9 | 4/18/2017
5 | 3-B5 | 4/19/2017
6 | 4-B9C | 6/20/2017
7 | 5 - Persistence Check Sampling Event | 8/28/2017

## Slide 42: Wagner Creek

## Slide 43: Wagner Creek
Event | Round | Date Sampled
1 | 1 | 3/23/2017
2 | 2-D | 4/10/2017
3 | 2-B | 6/20/2017
4 | 2-B check and 3-B | 8/30/2017

## Slide 44: Wagner Creek Sampling event 1 - 3/23/2017
Indication of untreated sewage in Wagner Creek

## Slide 45: Wagner Creek Sampling event 2 –4/10/2017
Attempt to trace the most upstream hits, round 2–D.
No sample here, access denied because of road construction safety issues
No sample here, access denied because of road construction safety issues

## Slide 46: Wagner Creek Sampling event 3 –4/10/2017
These navy blue lines represent underground stormwater conveyances.
2 underground storm conveyances which contribute downstream of site B.

## Slide 47: Wagner Creek Sampling event 3 –4/10/2017
B- in creek, B1- storm manhole, B4- storm manhole, B3- no stormwater in manhole.

## Slide 48: Wagner Creek Sampling event 3 –4/10/2017
B- id creek, B1- storm manhole, B4- storm manhole, B3- no stormwater in manhole.

## Slide 49: Wagner Creek Sampling event 3 –4/10/2017
B5- storm manhole

## Slide 50: Wagner Creek Sampling event 3 –4/10/2017
B6 & B7 near outfall in creek.
C and Duplicate in creek at bridge

## Slide 51: Wagner Creek Sampling event 4 – 8/30/2017
B in creek. B4 in storm manhole. B0A in creek near outfall.

## Slide 52: Wagner Creek Sampling event 4 – 8/30/2017
B0B & B0C in creek near bridges. B5 in storm manhole. B0E at outfall.

## Slide 53: Wagner Creek Sampling event 4 – 8/30/2017
B6, Duplicate, & B7 outfalls. C in creek at bridge. B7A &B6A in storm manholes.
Dry
Dry
Dry
Dry

## Slide 54
Progress Summary
Butcher Pen
Jackson
Miller
Followed 1 source trail for 4 rounds of monitoring.
2 hot tributaries identified during first round of monitoring.
Spartman Branch
Wagner
All low hits on rounds 1 and 2. Creek dried up; delayed progress.
All 4 sites hot on first sampling event. Site B was hottest.
Sampled after rain returned, identified 2 hot spots serviced by OSTDS.
No Hits during Round 1.
Hopkins
7 sampling events.
Followed 2 trails upstream to the
farthest extent of
city owned conveyances.
Source ID Pilot Study 2017
1 source eliminated after 2nd sampling event.
7 more hot spots identified.
Signal traced into 6 potentially separate hot spots.
2
Flow stopped; hits in remaining pools at road crossings. 2 hot spots identified.
2
Delays related to retirement of city staff and incomplete GIS inventory of stormwater conveyances incomplete.
4 hot spots identified.
4
6
21 hots pots remain
1 source identified & eliminated

## Slide 55: Pilot 2017 Summary Stats

## Slide 56: Appendix A: Lab Data

## Slide 57: Confidence of Presence of Raw Sewage in a Sample (per analyte) Version 2017

## Slide 58: Scoring results

## Slide 59: Butcher Pen Lab Results Pilot 2017

## Slide 60: Wagner Creek Lab Results Pilot 2017
* Wagner was sampled during rising tide on 6-20-17. This confounds interpretation of the results.

## Slide 61: Miller Creek Lab Results Pilot 2017

## Slide 62: Hopkins Creek Lab Results Pilot 2017

## Slide 63: Spartman Branch Lab Results Pilot 2017

## Slide 64: Jackson Creek Lab Results Pilot 2017

## Slide 65: End.

## Slide 66: Symbol Sizes
VERY HIGH Break Point: 80 (80 pt) (4th purple) (black)
HIGH 39 (68 pt) (3rd red) (black)
MEDIUM 20 (56pt) (3rd light orange) (black)
LOW 5 (44 pt) (2nd Yellow)(black)
VERY LOW 1 (32pt) (3rd yellow-green)(black)
NO indication of raw sewage (20 pt) (3rd green) (dark green 2px)
Next