Meeting Summary

Lake Jesup BMAP Basin Working Group Meeting

July 19, 2012

1:30 PM – 3:30 PM

Sylvan Lake Park, Sanford, Florida

Attendees

| Basin Working Group Members Present Troy Attaway, Winter Park Julie Bortles, Orange County Kelly Brock, Casselberry Bruce Doig, Altamonte Springs Brian Fields, Winter Springs Casey Fitzgerald, SJRWMD Carol Johnson, FDACS Robert King, Friends of Lake Jesup Nabil Muhaisen, Orlando Kim Ornberg, Seminole County Bruce Paster, Lake Mary Jacob Shall, Longwood # BWG Members Not Present Abu Canady, Eatonville Dennis David, FWC Tom George, Sanford Rick Lemke, Maitland Jeremiah Marek, Turnpike Enterprise Patrick Muench, FDOT Unknown, Oviedo # Other Attendees Natalie Ayala, FDEP Mary Brabham, SJRWMD Sherry Brandt-Williams, SJRWMD | Brian Catanzaro, Orange County Nancy Christman, SJRWMD Bill Daniel, Citizen Marie Duffy, Sanford Bill Eggers, Aquafiber Ann Esterson, Citizen Eric Esterson, Citizen Chris Ferraro, FDEP Samantha Fillmore, FDEP Mark Flomerfelt, Seminole County Rod Ghioto, Ardaman & Associates Mark Gisclar, Casselberry Danielle Honour, CDM Lisa Lotti, Orlando Emily McCabe, Sanford Danielle McKee, Lake Mary Ryan Mitchell, E Sciences Robert Morrell, Brown and Caldwell Sabrina O’Bryan, Seminole County Jeremiah Owens, CPH Zynka Perez, Winter Springs Marcy Policastro, Wildwood Consulting Greg Teague, Pegasus Engineering Shannon Wetzel, Seminole County Marissa Williams, Maitland Kelly Young, Volusia County |
| --- | --- |

Opening Remarks

Chris Ferraro welcomed everyone to the Lake Jesup Basin Management Action Plan (BMAP) annual meeting.  She noted that the stakeholders continued to make good progress towards the total maximum daily loads (TMDLs) for the lake.  Chris stated that the Florida Department of Environmental Protection (FDEP) Central District has a new director, Jeff Prather, who was unable to attend the meeting.  The participants introduced themselves and the entity they represent.

Accomplishments in Project Implementation

City of Casselberry

Kelly Brock stated that the City of Casselberry completed several baffle box projects within the Gee Creek basin in north Casselberry and in the Howell Creek basin on Lake Howell.  Kelly noted that a baffle box is a type of retrofit that is placed in the ground, in line with the existing storm sewer system.  The purpose of the baffle box is to slow down the water flow for treatment before the runoff reaches a receiving waterbody.  The 2nd generation baffle box includes a debris screen to pull off larger material and this material is kept out of the water.  There are chambers in the box, which allow water to slow down to settle out sediments.  The city’s boxes also include a media filter, which filters the water before it leaves the box.  The purpose of the media filter is to bind additional total phosphorus (TP) and pollutants from the stormwater.  For small areas that do not require a baffle box, the city installed curb inlet baskets to capture leaf litter, sediments, and oils from the stormwater.

In the Gee Creek basin, one baffle box retrofit project occurred on Lake Hodge and another project was completed on Gee Creek.  In the Lake Howell basin, three baffle boxes and four inlet filters were added in the Sausalito neighborhood.  The entire treatment area of these projects is about 155 acres, which is mostly residential with some commercial and park space.  Most of this area did not receive stormwater treatment prior to these projects.  The baffle boxes are very large and manholes are added to provide access to the baffle boxes for maintenance.  The baffle boxes are a high maintenance best management practice (BMP) because the leaf litter and sediments must be frequently removed.  In the case of the city’s baffle boxes, they also need to replace the media filters regularly.

The city is currently conducting an efficiency evaluation for the baffle boxes because there has not been a good study in Florida on the media filter.  The evaluation will include four baffle boxes (three new boxes and one existing without a filter), one continuous deflective separation (CDS) unit, and two inlet baskets.  Sherry Brandt-Williams asked what the media was made of.  Kelly responded that he believes the media is an aluminum oxide base; it is not something like Bold and Gold.  The City of Casselberry submitted the monitoring plan for the evaluation to FDEP and they hope to begin monitoring in early August.  The sampling equipment has already been installed and it will automatically sample during rain events.  The goal is to complete the evaluation by mid-2013.

The total cost of the projects and efficiency evaluation is $755,000 ($100,000 for the evaluation).  The projects were assigned 8.6 lbs/yr of TP credit in the BMAP and the city’s model estimated that the projects achieve 51.7 lbs/yr of TP.  Kelly did not calculate the lifecycle cost of the project; however, based on the upfront capital costs, the projects cost $13,000-$76,000 per pound of TP removed.  These projects are not very cost efficient, which shows the importance of providing educational material to prevent TP loading.  The estimated reductions do not include the added removal of the media filters so the costs will possibly look better after the efficiency evaluation.  The city is waiting on additional baffle box installation until the results of the efficiency evaluation are available.

Kim Ornberg asked what time period would be used to determine the costs in a lifecycle analysis, because this type of cost evaluation should look better.  Kelly responded that he is thinking 20 to 30 years but the operation and maintenance costs would also be included.  Chris asked how often the media filters need to be replaced.  Kelly responded that the manufacturer recommended annual replacement.  A pump was also included to prevent the water in the box from going anoxic and the pump needs to be checked quarterly.  A participant asked how the TP removal estimates were calculated.  Kelly responded that the BMAP credit was calculated by Atkins for FDEP; however, the city has not determined the actual efficiency yet.  Bruce Doig asked if there were public perception issues related to these projects.  Kelly responded that for the most part, the public opinion of the projects was pretty good although there was one issue.  The city engaged the public early in the process to explain the projects.

City of Orlando

Nabil Muhaisen stated that the City of Orlando completed two projects during the last year.  The city received 154.6 lbs/yr of TP credit for projects that were completed before 2005.  For the period of 2006 – 2011, the city completed six projects at a total cost of $1 million that resulted in 113.2 lbs/yr of TP credit.  During this reporting period, the city completed the Guernsey Park wet detention pond expansion and the Lake Concord/Don Dudley Park 2nd generation baffle boxes installation.

The Guernsey Park pond expansion included removing 8,500 cubic feet of soil and liner installation to expand the treatment area.  The existing pond was too small for the drainage area and had bad side slopes.  The slopes were fixed as part of the project and plants were added to stabilize the banks.  The Lake Concord baffle box project is located in the historic area of College Park.  This area receives a lot of runoff from west of Colonial Drive, which is an older neighborhood with no previous treatment.  The baffle boxes were installed on a ¼-acre property, which had two different owners so coordinating with the landowners took awhile.  The project started about three years ago but only took three months to construct.  The expanded pond treats 80 acres with a total cost of $232,641 for construction.  The Lake Concord baffle boxes treat the area between State Road 50 and Edgewater Drive and had a total construction cost of $206,000.  The city currently has the Lake Ivanhoe Plaza Park exfiltration trench under construction.

Sherry asked if the Lake Concord baffle boxes include the media filters.  Nabil responded that the boxes do not include the filters but the city may add the filters later depending on the efficiency results.  Chris asked if the boxes could be retrofitted to include the filters.  Nabil responded that the boxes could be retrofitted to add the filters, if needed.

City of Winter Park

Troy Attaway stated that the City of Winter Park completed retrofit projects on Cortland Avenue, Morse Boulevard, and Alabama Drive.  The city added two maintenance staff during the last year, which helps with the operation and maintenance of the baffle boxes.  The city also continued their street sweeping and public education activities.  In 1993/1994, the city had an alum injection system that treated a lot of the downtown area that mainly flows into Lake Osceola.  Alum treatment is good for TP and total nitrogen (TN) removal but it does not remove leaves and sediment, which is a major issue in the residential areas.  To address this issue, the city added two baffle boxes on Cortland Avenue.  Carol Johnson asked how much alum does the city use.  Troy responded that he does not know the exact amount but the alum is used in a flow-proportioned dose.  The total alum budget is about $100,000 per year.

Troy noted that there were similar problems on Morse Boulevard.  There were two stormwater pipes in this area (48 inch and 15 inch) so the city installed two baffle boxes in the same hole. This project was constructed in house because the city wanted to ensure the baffle boxes were installed during the dry season.  The Alabama Drive project is located on Lake Maitland.  The road is at a low elevation so the drainage is not good and there are issues with sedimentation from the yards and park near the lake.  The city updated the drainage system along this road, added curbing to help with sediment, and added two smaller retention ponds on city-owned property.

The city is also working with Orange County to acquire a pond on Howell Branch Road.  The county owns the pond but the city has not been happy with the pond maintenance.  In addition, the pond always has a high water level so there is minimal treatment.  The city has a study underway to determine the best way to improve the pond and add water quality treatment.  The city is also looking to update their alum stations.  There are four stations throughout the city and the newest station is ten years old.  The city would like to upgrade the stations to include better technology that would also be less maintenance intensive.  The city will also be constructing a treatment pond in the Lake Forest area as a retrofit project.

Sherry asked if any of the alum would be offline so that the flocculent can be collected.  Troy responded that they do not have the ability to construct offline systems to collect the flocculent.  Bill Daniel asked if the 100 pounds of TP removal is the same as the TP in fertilizer.  If it is, all it takes is one person to over fertilize and the benefits of the project have been cancelled out.  Troy responded that the focus of the BMAP is to remove dissolved TP.  There is some correlation between the TP in the fertilizer and what is removed but there are other processes involved.  Bill asked if it would be more efficient to remove the material from Lake Jesup instead.  Troy responded that the city removes 20 – 50 tons of material each year just from the baffle boxes so the amount of material in the lake would be great.  It would be a lot of work to remove this material from the lake so it is better to remove the material before it reaches the lake.

Seminole County Lake Jesup Eelgrass Planting Event

Kim stated that Seminole County partnered with the Florida Fish and Wildlife Conservation Commission (FWC) on projects to reestablish vegetation in and around Lake Jesup.  The shoreline restoration project occurred along the northern shore of the lake, which is adjacent to St. Johns River Water Management District (SJRWMD) and county lands.  The project occurred on over 14,000 linear feet of shoreline.  Phragmites was the primary nuisance species that was removed, and it was replaced with 21 native species of plants, which have survived really well.  Phase 2 of the shoreline restoration started in June 2012 near Sanford Avenue on county natural lands.  This area was also predominately Phragmites, and the county is using herbicide removal of the invasive species.  The material will be removed from the lake with mechanical harvesters and the area will be replanted with native species.  This phase of the project is scheduled to be completed by the end of September 2012.

The county is also working with SJRWMD and FWC on a submerged aquatic vegetation (SAV) project along north side of lake.  The county and FWC installed cages in the lake for the planting; smaller cages were used for testing and the larger cages are part of the project.  The county initially purchased eelgrass and planted it in June 2011, but these plants had a 0% survival rate.  FWC then used Coco-mats with Suwannee narrow leaf plants, which had an 80% survival rate.  Phase 2 of the project, the restoration phase, started in April 2012.  The Suwannee biotypes were planted in nursery tubs to grow and then were transplanted into the lake using volunteers.  The planting was originally scheduled for November 2011; however, the event had to be cancelled due to high water conditions, which were unsafe for the volunteers.  The rescheduled event took place on April 14, 2012, and more than 110 volunteers planted over 30,000 plants in a one-acre area.  These plants are not only surviving but also are thriving in the lake.  The next planting event is scheduled for Saturday, October 13, 2012 from 9:00 AM – 12:00 PM.  The county has also continued their quarterly macrophytes monitoring, SAV mapping, and bioassessments.

Sherry stated that Gloria Eby (Seminole County) sent the results of the lake vegetation index (LVI) about a month ago, which showed that the lake is not impaired.  Sherry asked if the county will continue to conduct the LVI or if they will add other parameters for better evaluation of the lake.  Shannon Wetzel responded that they cannot change the LVI parameters so they will continue to conduct the LVI and the SAV mapping every three years.  The county also evaluates the health of the bugs and takes water quality samples.  Bill asked if the county has removed hydrilla from the lake.  Kim responded that FWC is responsible for hydrilla removal and the county is focusing on planting native vegetation.

Solary Canal Cooperative Project

Brian Fields stated that Solary Canal is an example of a regional project.  The project was a partnership between the City of Winter Springs, City of Oviedo, Seminole County, and SJRWMD.  The original completion date was December 2010 but the project was actually completed in December 2011.  Solary Canal is located in the Black Hammock area, and the SJRWMD purchased property for the project.  SJRWMD conducted the project design and then deeded the property to Winter Springs once construction started.  The project is a two-basin system that treats water from the canal and discharges cleaner water back to the canal, which then goes to Lake Jesup.  When construction on the project started, the contractor hit springs, which were a major issue for the project.  The project partners stopped the project to redesign the basins, which had to be made shallower than originally planned.  The redesign did result in some loss of the treatment capacity so the new estimated reductions are 565 lbs/yr of TP.  Monitoring of the inflow and outflow from the project will be conducted to determine the true efficiency.  Brian noted that if anyone wanted a tour of the project, they should let him know.  He also thanked the SJRWMD because the project ran into difficulties during a period when the SJRWMD was going through major changes.  However, the SJRWMD remained committed to seeing the project to completion.

Carol asked where in the Black Hammock the project is located.  Brian responded that the project is near Deleon Street, and it treats water from the Solary Canal that is mainly from Oviedo.  Sherry asked if the project would be open to the public.  Brian responded that they have not really considered this yet but it would be good for passive recreation.  There are concerns, though, with people damaging the project.

Review of New Approach for Calculating Street Sweeping Credit

Marcy Policastro stated that credit for street sweeping was assigned in the BMAP using data from a U.S. Geological Survey (USGS) study in Massachusetts.  This study found that the average TP concentration was 14 g/mi/day.  For the Lake Jesup BMAP, this value was cut in half due to uncertainties in the data because of aggregating various conditions.  The value was then cut in half again due to differences between Florida and Massachusetts.  Therefore, the value used in the BMAP was 3.5 g/mi/day.  The removal efficiencies for different frequencies of sweeping were determined from studies by the Center for Watershed Protection, Orange County, and Florida Department of Transportation.  These efficiencies range from 7% for daily sweeping to 1% for annual sweeping.  The stakeholders had concerns with these efficiencies because there are certain areas with more material or times of the year with more leaf litter, and this additional nutrient removal was not accounted for in the original calculations.  However, there is now a new method that addresses these concerns.

The Florida Stormwater Association (FSA) completed a study in May 2011 on the nutrient removal associated with source control and maintenance practices.  The report provides concentrations of TN and TP per kilogram of dry material collected, and these concentrations were determined using data collected by 14 municipal separate storm sewer systems (MS4s) across the state of Florida.  As part of this study, FSA developed a spreadsheet that calculates TN and TP reductions using either the dry weight or volume of material collected annually.  The spreadsheet also includes nutrient removals associated with catch basin clean out and other BMP maintenance practices, so the stakeholders that mentioned baffle box clean outs can also receive credit for that maintenance.  The spreadsheet includes default values for percent water content and bulk density of a cubic foot of material.  However, these default values can be changed if a stakeholder has data for their material.

Marcy presented an example project where 10 miles of roadway are swept monthly in which 15 cubic yards of dry material are collected.  Under the previous method, this project would result in 0.7 lbs/yr of TP credit.  However, under the FSA method, this project would receive 149 lbs/yr of TP credit.  Therefore, street sweeping credit for the Lake Jesup BMAP will be updated as part of the 2013 annual progress report.  The stakeholders should gather information about the weight or volume of material collected annually from street sweeping and from other BMP maintenance practices.  The FSA spreadsheet will be sent with the other BMAP information for the next annual report, and that annual report will include revised BMAP credit for these practices.  Troy asked if the new street sweeping calculation approach is described in the current progress report.  Marcy responded that it is not included but it will be described in the next annual progress report to explain the updated credits.

BMAP Annual Progress Report

Samantha Fillmore stated that this is the second annual progress report on the Lake Jesup BMAP, which describes activities that occurred from June 1, 2011 through May 31, 2012.  The report includes the major accomplishments, major issues, and upcoming year activities.  The first section provides background information on the history of the BMAP and the TMDLs.  The focus of the BMAP is on achieving TP reductions over a 15-year period.  Only one-third of the reductions are required in first the five-year iteration.  The second section outlines the accomplishments for the past year, many of which were just presented by the stakeholders.  The total reductions from new completed projects are 946.5 lbs/yr of TP, and the agricultural BMPs achieve an additional 37.1 lbs/yr of TP.  The total project reductions, including those shown as completed in the BMAP and the first annual report, are 9,171 lbs/yr of TP, which is greater than the reductions required for this iteration.

All of the responsible stakeholders participated in the monitoring plan during the past year.  The City of Casselberry completed a study on two lakes to understand loading sources.  The study found that nutrient cycling contributes 21% - 32% of the TP load, and groundwater seepage contributes 1% - 8% of the TP load.   The City of Oviedo completed a study to determine the loading from the North Corporate Oviedo basin to Lake Jesup.  Seminole County began the second phase of the seepage study to quantify loading from sediments and groundwater in Lake Jesup, and this phase should be completed in 2013.  SJRWMD completed its sediment nutrient flux research study, which found high rates of sediment resuspension and deposition in Lake Jesup.  The TP flux between the sediments and water column was estimated at 23 metric tons per year.  SJRWMD also estimated reuse contributions in the watershed using a model.  The model estimated the TP load to be five metric tons per year.

The annual progress report also includes an update on the Lake Jesup Interagency Restoration Strategy.  The strategy was developed by FDEP, SJRWMD, and FWC, and was endorsed by these agencies in January 2008.  The plan includes two phases: (1) development of the BMAP, reduce external loading to the lake, and reduce nutrients in the water column; and (2) implemented as needed based on results of Phase 1.  Due to changes in the basin since the strategy was finalized, an addendum to the strategy was completed to address the BMAP reductions spread over 15 years, improved reuse management and elimination of sludge disposal at Site 10, the U.S. Army Corps of Engineers (USACE) 1135 project determination, construction of the new State Road 46 high-span bridge, updated list of regional projects, and new timeline with parallel efforts to replace previous sequential timeline.  The addendum was not signed by the Executive Directors at each agency because staff determined that the modifications were not significant and were consistent with the goals in the original strategy.  The activities in the strategy are underway and updates are included in the annual progress report.  The SJRWMD has completed feasibility studies for several regional projects as part of the strategy.

The annual report also includes major issues with BMAP implementation.  Several stakeholders have encountered delays with their project implementation.  However, these delays are not causing an issue with BMAP compliance because the stakeholders have either already achieved their BMAP required reductions or have adequate planned projects during the first BMAP iteration.  The stakeholders also noted that obtaining funding for the projects and research studies has been an issue.  Data were not collected from a few of the monitoring stations due to low flow conditions from lack of rainfall.  The locations of these stations may need to be modified in the future if low flow continues to be an issue.

Public Comments

Robert King stated that he was glad to see the Lake Jesup Interagency Strategy on the agenda.  The purpose of the strategy is to be the framework for restoration of Lake Jesup.  The strategy is supposed to shape legislation and is intended to lead the BMAP in the direction it needs to go for restoration.  However, when the BMAP timeline changed, the addendum to the strategy was created in reaction to the BMAP, which is not what is supposed to occur.  The statement that the changes in the addendum are minor and do not warrant agency sign off is not accurate.  Robert noted that he spoke with the legislator who caused the strategy to created and these changes are not what he intended for the document.  In the future, it should be clarified whether the strategy defines Lake Jesup restoration and guides the BMAP or if it the other way around.  If the strategy is just a document that can be easily changed, it does not mean anything.  While the strategy was a compromise when it was drafted, it did provide a date for completion of the restoration and it does not do that now.  The agency directors who signed off on the original document and stated that the strategy would not change are now gone.  The purpose of the strategy should be revisited, and a determination of which agency is responsible for the strategy must be made.

Bill stated that he worked for 15 years to get something done to restore the lake.  The agencies have said that the lake is not navigable but it was in the past.  Funding was provided to dredge the lake but the project was denied because they were told that removing the muck would cause flooding problems.  There are different standards being used to determine what is allowed to occur to restore the lake than what were used to ruin it.  All of the data presented in the BMAP annual report is focused on what is going into the lake but the muck in the lake is not being considered.  Kim stated that the county conducted a seepage study that found about 30% of the loading in the lake is coming from groundwater.  Phase 2 of the study is ongoing to determine what portion of this load is actually from groundwater as opposed to the muck.  The first TMDL did not account for in lake loading but the next TMDL iteration should include this information based on the studies that have been completed.

A participant noted that he read a report stating that a high efficiency dewatering system is being evaluated with the channel realignment, and he asked why this was not done before.  Chris responded that this is in regards to the USACE project and she does not have the details.  Robert noted that the USACE is responsible for the channels.  When the contractor who built the new bridge was out on the lake, they were willing to the work but they were told not to because the USACE would come in once the bridge was done.  However, due to an internal USACE decision, the project was not completed.  Since the USACE is not part of the Lake Jesup Interagency Restoration Strategy, they were able to walk away.

Marcy requested that any edits on the annual report be sent to her by Friday, July 27, and then the final report would be provided.  Chris thanked the participants for attending and noted that a lot of progress has been made.  Robert asked when the next TMDL evaluation would be because there is a lot of work that needs to be done.  Samantha responded that this evaluation would occur in year 4 of the BMAP, which is two years from now.  Marcy added that FDEP hopes to have an update on the new model for the next annual meeting.

Adjourn

The meeting was adjourned at 3:24 PM.