## Slide 1: Fixed Crest Weir at Hwy 301
FWC Engineer’s Report – March 2012

## Slide 2: Alachua County Recreation and Water Conservation and Control Authority
Notes: This agency has never been decommissioned.

## Slide 3: October 2004 – 1.5 Foot Head Over Notch in Weir

## Slide 4: Reinforcing Sheet Pile Completely Eroded Away

## Slide 5: Corners Separating – Never Reinforced With Rebar During Construction

## Slide 6: Repair or Temporary Stabilization of Structure not Feasible
Notes: Notice water leaking from corner of structure.

## Slide 7: Engineer Conclusion – Imminent Failure of Structure Likely

## Slide 8: Water Three Inches From Notch In Weir – February 3, 2014
Notes: Orange Creek Restoration Area water level only ~ 1.5 feet lower than Orange L (1-31-14).

## Slide 9: DOT Concerns With Structure?
Scour Study Contracted out in 2012 – some risk to integrity of bridge with high volume water flows
DOT Engineer has not Reviewed Report to Date (February 2014)