## Contact Information
First Name | Last Name | Agency Name | Street Address | Street Address 2 | City | State | Zipcode | Phone # | Cell # | Email
Rusella | Bowes-Johnson | City of Ocala | 1805 NE 30th Ave | Bldg#600 | Ocala | FL | 34470 | 352-351-6772 |  | rjohnson@ocalafl.org
Scott | Hersey | City of Ocala | 1808 NE 36th Ave |  | Ocala | FL | 34470 | 352-401-6941 |  | shersey@ocalafl.org

## Utility Project Data Collection
Year Added | Spring | Project Number | Agency | Contact | Project, Phase or Milestone | Project Type | Project Description | Start Date | Status | Completion Date | Associated Permit #, if applicable | Permited Effluent Nitrate Concentration (mg/L) | Permit Reporting Requirement for TN | Reported Effluent Nitrate Concentration (mg/L) | Reported Effluent TN Concentration (mg/L) | Permitted Capacity (MGD) | Operating Capacity (MGD) | For System Upgrades, Reduction in Effluent TN Concentration (mg/L) | For Service Area Expansions, Number of On-Site Treatment and Package Plants Closed | For Collection System Maintenance, Number of Leaks Detected and Repaired | For Reuse Projects, Elluent Used for Reuse (MGD) | Area Treated by Reuse | Project Cost | Annual Operation and Maintenance Cost | Funding Source(s) | Project Partner(s) | Description of Additional Treatment Provided Beyond Permit Requirements, If Applicable | Estimated Load Reduction (lbs/yr) (TN) - Land Surface
Adoption | Silver | S035 | City of Ocala | Jeff Halcomb/Darryl Muse/Renee O'Donnell Darryl Muse/Rusella Bowes-Johnson | Citywide Septic Tank and Well Elimination Program | Wastewater Service Area Expansion (OSTDS) | This project includes the connection of the remaining septic tanks within the City of Ocala at no cost to the homeowners. It is estimated that septic tanks provide between 26 and 40 percent of the pollutant load to the groundwater in the springshed. Elimination of the septic tanks in this project is estimated to provide a reduction in nitrogen loading to Silver Springs by approximately 20,321 pounds of nitrogen per year. | 2015 | In Progress | 2017 2018 | n/a | n/a | No | n/a | n/a | n/a | n/a | n/a | 850 | n/a | n/a | n/a | 10500000 | n/a | City of Ocala; FDEP ($5,000,000), SJRWMD ($5,000,000), Legislative ($500,000) | n/a | n/a | 20321.12
Adoption | Silver | S036 | City of Ocala | Jeff Halcomb/Darryl Muse/Renee O'Donnell Darryl Muse/Rusella Bowes-Johnson | Package Plant Abatement | Wastewater Service Area Expansion (Package Plant) | Connection of White Oak MHP, Magnolia Gardens, and 301 Plaza to central sewer. | 2015 | Completed Project | 2015 2016 | FLA012677; FLA012668; FLA10683 | n/a | No | n/a | 8.97 | 0.0445 | 0.03 | 5.97 | 3 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 545.5513
Adoption | Silver | S042 | City of Ocala | Jeff Halcomb/Darryl Muse/Renee O'Donnell Darryl Muse/Rusella Bowes-Johnson | Reuse Projects | Reuse Project | Reuse projects to three golf courses and City parks and recreation sites. Courses may be served by any of the sewer facilities due to infrastructure configuration. | 2014 | Completed Project | 2015 2016 | n/a | n/a | No | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Adoption | Silver | S055 | City of Ocala | Darryl Muse/Rusella Bowes-Johnson | Collection System Maintenance Program | Wastewater Collection System Maintenance | Maintenance program has used TV inspection on entire collection system. Slip lining of 175,000 feet of clay pipe is complete and 40,000 feet per year scheduled through 2020. Lift stations are upgraded at about 3 per year. System and plants are SCADA controlled and flows can be rerouted. | 2000 | Ongoing Project | 2020 | n/a | n/a | No | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Adoption | Silver | S091 | City of Ocala | Darryl Muse/Rusella Bowes-Johnson | City of Ocala Nitrogen Reduction Project | Wastewater System Upgrade | Upgrade of WRF #2 to AWT treatment standard for TN and decommissioning of WRF #1. WRF #1 was constructed in 1949, is a trickling filter facility and is not designed for the removal of nitrate. WRF #2 and #3 have sufficient capacity to handle the flows from WRF #1 and all of the plants will be interconnected to allow for routing of flows as needed. WRF #1 will remain operational as a relay and to process stormwater for reuse. | 2017 2016 | Completed Project | 2019 2016 | FLA010677 | 12 | Yes | 5.68 | 20.9 | 2.46 | 0.776 | 17.9 | n/a | n/a | n/a | n/a | 16000000 | n/a | City of Ocala ($9,600,000) | FDEP (potentially) | n/a | 42311.1446
Adoption | Silver | S092 | City of Ocala | Darryl Muse/Rusella Bowes-Johnson | City of Ocala Water Reclamation Facility 2 Nutrient Reduction Plan | Wastewater System Upgrade | Upgrade an existing wastewater plant to allow for advanced treatment and expand the availability of reclaimed water for irrigation use. The project consists of construction of two (2) 3.25 mgd Carrousels equipped with three (3), 100-HP mechanical surface aerators with variable-frequency drives (VFDs) and lower impeller and anaerobic and anoxic zone submersible mixers. This will allow the City of Ocala to reduce effluent TN to 3 mg/L or less. An estimated 500,000 gallons of day of public access reclaimed water is expected to be made available from this project, reducing draws on the aquifer and increasing flows to the springs. | 2014 | Completed Project | 2016 | FLA010680 | n/a | Yes | 2.88 | 6.93 | 6.5 | 2.305 | 3.93 | n/a | n/a | 0.5 | n/a | 12144000 | n/a | City of Ocala ($8,304,000); SJRWMD ($1,920,000); Legislative Funding ($1,275,620) | Legislature; SJRWMD | n/a | 27593.2911
Adoption | Silver | S115 | City of Ocala | Darryl Muse/Rusella Bowes-Johnson | Miscellaneous Water and Sewer | Wastewater Service Area Expansion (OSTDS) | Miscellaneous extension of exisitng water, sewer, and reuse facilities to provide services. | 2015 | In Progress | 2020 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 500000 | n/a | City of Ocala | n/a | n/a | n/a
Adoption | Silver | S116 | City of Ocala | Darryl Muse/Rusella Bowes-Johnson | Sanitary sewer smoke testing, tving, and lining program | Wastewater Collection System Maintenance | Smoke testing and inspection of existing sanitary sewer system | 2015 | In Progress | 2020 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 3000000 | n/a | City of Ocala | n/a | n/a | n/a
2016 | Silver | S135 | City of Ocala | Darryl Muse, Barry Ginn, Rusella Bowes-Johnson, Oscar Tovar | Wetland Recharge Park | Reuse Project | The creation of a wetland park which will primarliy utilize treated wastewater, along with some stormwater. The wetland area will be over 30 acres in size, and will receive 3-5 million gallons of treated waste/storm water a day. This water will then recharge the Upper Floridan Aquifer. The plants in the wetland area will naturally uptake a large portion of the excess nutrients. This will potentially reduce nitrogen levels to near zero, along with a notable reduction of all TN as well. | 2016 | In Progress | 2019 | pending 0358251-001 | n/a | n/a | 2 | 3 | Between the two WRF's 10 MGD | 5.1 MGD | n/a | n/a | n/a | up to 5 mgd | 34 AC | 10000000 | TBD | currently sourcing SJWRMD Cost Share, FDEP Springs Funding, City of Ocala | n/a | See Project Description | 29000
2017 | Both | B049 | City of Ocala | Rusella Bowes-Johnson | Fox Meadow Sewer Expansion Project | Wastewater Service Area Expansion (OSTDS) | The objective of the project s to design and construct a sanitary sewer system which will remove from service approximately 275 septic tanks from the associated single family residential lots. The septic tanks contribute to the total nitrogen (TN) and total phosphorus (TP) impairment of Rainbow Springs and the Rainbow River. | 2018 | Unfunded Planned Project | 2020 | n/a | n/a | No | n/a | n/a | n/a | n/a | n/a | 275 | n/a | n/a | n/a | 3500000 4705000 | n/a | currently sourcing | n/a | n/a | 6800 2918
2017 | Both | B050 | City of Ocala | Rusella Bowes-Johnson | Fairfield Village Sewer Expansion Project | Wastewater Service Area Expansion (Package Plant) | The objective of this project is to design and construct a sanitary sewer system which will remove from service a package plant which serves approximately 350 mixed use residential lots and 1 community center. The package plant contributes to the total nitrogen (TN) and total phosphorus (TP) impairment of Rainbow Springs and the Rainbow River. | 2018 | Unfunded Planned Project | 2020 | n/a | n/a | No | n/a | n/a | n/a | n/a | n/a | 1 | n/a | n/a | n/a | 950000 875000 | n/a | currently sourcing | n/a | n/a | 900 600
2017 | Both | B051 | City of Ocala | Rusella Bowes-Johnson | Timberwood Sewer Expansion Project | Wastewater Service Area Expansion (OSTDS) | The objective of this project is to design and construct a sanitary sewer system which will remove from service approximately 180 septic tanks from the associated single family residential lots. The septic tanks contribute to the total nitrogen (TN) and total phosphorus (TP) impairment of Rainbow Springs and the Rainbow River. | 2018 | Unfunded Planned Project | 2020 | n/a | n/a | No | n/a | n/a | n/a | n/a | n/a | 180 | n/a | n/a | n/a | 3000000 3316000 | n/a | currently sourcing | n/a | n/a | 4462 1910
2017 | Silver | S136 | City of Ocala | Rusella Bowes-Johnson | Southwood Villas and Lake Weir Sewer Expansion Project | Wastewater Service Area Expansion (OSTDS) | The objective of this project is to design and consturct a sanitary sewer system which will remove from service approximately 100 septic tanks from the associated single family residential lots. | 2019 | Unfunded Planned Project | 2021 | n/a | n/a | No | n/a | n/a | n/a | n/a | n/a | 100 | n/a | n/a | n/a | 1500000 | n/a | currently sourcing | n/a | n/a | 1434

## Stormwater Project Data
Year Added | Spring | Project Number | Project, Phase or Milestone | Agency | Contact | Project Type | Project Description | Start Date | Status | Completion Date | Associated Permit #, if applicable | Treated Acres | Estimated TN Load Reduction (lbs/yr) | Estimated NOx Load Reduction (lbs/yr) | Estimated TP Load Reduction (lbs/yr) | Back UP Calculations Available (Yes/No) | Construction Cost | Annual Operation and Maintenance Cost | Funding Source(s) | Project Partner(s) | Project Area Map | Name of Project Map File (if providing electronically)
Adoption | Silver | S014 | City of Ocala Silver Spring/River Pollution Reduction Project | City of Ocala | Payal Pandya | Urban Structural BMP | Addresses surface water discharge. Project provided water quality treatment for four drainage basins in the City of Ocala. These basins historically discharged untreated stormwater runoff to Half-Mile Creek via the SR 40/Silver Springs Blvd. Storm sewer system. | 2009 | Completed Project | 2010 2018 | n/a 111331-4 | 738.27 | n/a 617 | n/a | n/a 207 | No Yes | 1339057 3,501,034 | n/a | St. Johns River Water Management District, FDOT, FDEP, CBIR and City of Ocala Stormwater Utility Fees | City of Ocala, FDOT | No
Adoption | Silver | S085 | SkimBoss Filtration System - Tuscawilla Pond | City of Ocala | Payal Pandya | Urban Structural BMP | Addresses drainage well discharge. Retrofit Installation of SkimBoss Filtration System with Bold & Gold Media -Tuscawilla Pond | TBD 2016 | In Progress | TBD 2017 2019 | n/a | 336 | 1320 | n/a | 309 | Yes | 236397 | 5000 | Section 319(h)Grant and City of Ocala Stormwater Utility Fees | FDEP & City of Ocala (Potentially) | Yes | Tuscawilla location.pdf
Adoption | Silver | S086 | SkimBoss Filtration System - Chazal Park Pond | City of Ocala | Payal Pandya | Urban Structural BMP | Addresses drainage well discharge. Retrofit Installation of SkimBoss Filtration Systme with Bold & Gold Media -Chazal Park Pond | 2015 2016 | In Progress | TBD 2017 2019 | n/a | 73 | 104 | n/a | n/a | Yes | 236397 | 5000 | Section 319(h)Grant and City of Ocala Stormwater Utility Fees | FDEP & City of Ocala (Potentially) | Yes | Chazal Park.pdf
Adoption | Silver | S087 | Silver Springs Protection/Stormwater Nutrient Reduction Project (Cameo Pond) | City of Ocala | Payal Pandya | Urban Structural BMP | Addresses surface water discharge. Silver Springs Protection/Stormwater Nutrient Reduction Project | 2015 | In Progress | 2016 2018 | n/a | 91 | 460 | n/a | n/a | Yes | 3000000 | 10000 | TMDL, FDOT and City of Ocala Stormwater Utility Fees | TMDL, FDOT & City of Ocala | Yes | Cameo pond location.pdf
Adoption | Silver | S088 | Bold and Gold Stormwater Retrofits in Silver Springs BMAP Area | Marion County Office of the County Engineer | Gail Mowry | Urban Structural BMP | This project proposes $1,400,000 through Fiscal Year 2019 for the retrofit of County owned drainage retention areas in the Silver Springs BMAP area. The number and location of DRAs retrofited will depend on several factors including potential load reductions, land availability and location in priority focus areas identified in the BMAP. This project is currently in the preliminary scoping stages and is identified in the adopted 2014 Stormwater Implementation Plan. | 2015 | In Progress | 2019 | n/a | n/a | n/a | n/a | n/a | No | 1400000 | n/a | Marion County Stormwater Assessment | n/a | No
Adoption | Silver | S089 | Silver Springs State Park Management Plan Amendment - Runoff | FDEP - Division of Recreation and Parks | Fred Hand | Urban Structural BMP | The management plan for Silver Springs State Park was formally amended in May 2014 to account for the inclusion of the former Silver Springs attraction into the Silver River state Park. In addition to a change in park name, management goals were developed to improve water quality, specifically nitrate, from surface discharges. The removal of the animals and animal enclosures on Ross Allen Island will reduce nitrate imputs to the Silver River and allow for an existing water retention berm to be breached to reconnect wetlands to the river. An evaluation of the stormwater management system of the park and the amount of impervious area, particularly in parking lots, will also be undertaken. Impervious areas in parking lots and buildings will be removed and restored to natural communities. Sheet flow will be restored and the stormwater system improved and maintained. | 2014 | Unfunded Planned Project | TBD | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | No
Adoption | Silver | S094 | Sports Field Maintenance Equipment Wash Down Area | Marion County Parks | Jim Couillard | Urban Structural BMP | The FDEP has developed Best Management Practices (BMP) for the Enhancement of Environmental Quality on Florida Golf Courses manual which highlights a series of BMPs that can be implemented to offset the impacts that golf courses have on our environment. Active sports complexes can have the same impacts. One commonly used BMP is the construction of a “closed system equipment wash down area.” Similar facilities would allow Parks staff to wash down mowers and other equipment which have been used while maintaining the sports fields. Four sites (Brick City Adventure Park, Rotary Sportsplex, Shocker Park and Ralph Russell Memorial Park) are all within 10 miles of Silver Springs and therefore should receive a higher priority of scheduling the construction of the wash down facilities. | TBD | Conceptual Project | TBD | n/a | n/a | n/a | n/a | n/a | No | n/a | n/a | Marion County General Fund | n/a | No
Adoption | Silver | S095 | Parks Retention Pond Retrofits | Marion County Parks | Jim Couillard | Urban Structural BMP | This project is an inventory of stormwater facilities in Marion County Parks to identify and prioritize them for potential retrofits to enhance nitrogen removal. The retrofits would involve the removal of a layer of soil from the bottom of the basins and then the constructing an engineered soil matrix. The goal of this project is to retrofit specific stormwater basins to reduce groundwater pollution. The inventory be conducted using GIS asset management tools. | TBD | Conceptual Project | TBD | n/a | n/a | n/a | n/a | n/a | No | n/a | n/a | Marion County General Fund | n/a | No
Adoption | Silver | S124 | City of Ocala -Retrofit Installation of SkimBoss Filtration System with Bold & Gold | City of Ocala | Payal Pandya | Urban Structural BMP | The installation of the SkimBoss Filtration Systems using Bold & Gold Media to treat water leaving ponds and flowing into recharge wells at 613 SE 13th Ave, NE 10th St @ 1200 Block, NE 14th St and 12th ct | 2016 | In Progress | 2016 2019 | n/a | 140 | 610 | n/a | n/a | Yes | 485650 | 15000 | TMDL, FY16 Legislative Appropriation and City of Ocala Stormwater Utility Fees | TMDL, State of Florida, City of Ocala | Yes | DW.pdf
2017 | Silver |  | SkimBoss Filtration System - Chazal Park Pond | City of Ocala | Payal Pandya | Urban Structural BMP | Retrofit Installation of SkimBossTM Filtration System with Bold & GoldTMMedia for Lake Anderson, Yum Yum Ponda and Heritage Pond | 2017 | Ongoing Project | 2019 | n/a | 167 | 727 | n/a | 231 | Yes | 660000 | Unknown | FDEP($328,000), FY Legislative Appropriation ($250,000) & City Ocala ($82,000) | FDEP, State | No
Note on R3: Williams, Evan: 50% of combined cost of S085 and S086
Note on R4: Williams, Evan: 50% of combined cost of S085 and S086

## Sheet1
Agriculture BMP | Completed Project | Silver | Wastewater System Upgrade | Adoption
Planning | In Progress | Rainbow | Wastewater Service Area Expansion (OSTDS) | 2016
Conservation Land Acquisition | Ongoing Project | Both | Wastewater Service Area Expansion (Package Plant) | 2017
Data Collection | Funded Planned Project |  | Wastewater Collection System Maintenance
Studies | Unfunded Planned Project |  | Reuse Project
Regulation or Ordinance | Conceptual Project |  | Wastewater Level of Service Planning
Urban Structural BMP | Cancelled Project
Street Sweeping
Education and Outreach
Stormwater Operation and Maintenance