Final

Weeki Wachee

Basin Management Action Plan

Division of Environmental Assessment and Restoration

Water Quality Restoration Program

Florida Department of Environmental Protection

with participation from the

Weeki Wachee Stakeholders

May 2018

2600 Blair Stone Rd.

Tallahassee, FL 32399

floridadep.gov

# Acknowledgments

The Florida Department of Environmental Protection adopted the Weeki Wachee Basin Management Action Plan by Secretarial Order as part of its statewide watershed management approach to restore and protect Florida's water quality. The plan was developed in coordination with stakeholders, identified below, with participation from affected local, regional, and state governmental interests; elected officials and citizens; and private interests.

Florida Department of Environmental Protection

Noah Valenstein, Secretary

Table A-1. Weeki Wachee stakeholders

| Type of Entity | Name |
| --- | --- |
| Responsible Stakeholders | City of Brooksville Hernando County Pasco County Agricultural producers Golf courses |
| Responsible Agencies | Florida Department of Agriculture and Consumer Services Florida Department of Environmental Protection Florida Department of Health Southwest Florida Water Management District |
| Other Interested Stakeholders | Citizens City of Weeki Wachee Florida Farm Bureau Florida Onsite Wastewater Association Florida Springs Institute Hernando Beach Government Affairs Committee Hernando County Task Force Hernando Environmental Land Protectors (HELP) Save the Manatee Club |

See Appendix A for links to important sources referenced in this document. For additional information on the watershed management approach in the Weeki Wachee Basin, contact:

Terry Hansen, P.G., Basin Coordinator

Florida Department of Environmental Protection

Water Quality Restoration Program, Watershed Planning and Coordination Section

2600 Blair Stone Road, Mail Station 3565

Tallahassee, FL 32399-2400

Email: terry.hansen@dep.state.fl.us

Phone: (850) 245–8561

Fax: (850) 245–8434

Table of Contents

Acknowledgments	2

Table of Contents	3

List of Figures	5

List of Tables	6

List of Acronyms and Abbreviations	7

Executive Summary	10

Section 1 : Background	14

1.1	Legislation	14

1.2	Water Quality Standards and Total Maximum Daily Loads (TMDLs)	14

1.3	BMAP Requirements	15

1.4	PFA	15

1.5	Other Scientific and Historical Information	18

1.6	Stakeholder Involvement	18

1.7	Description of BMPs Adopted by Rule	19

Section 2 : Implementation to Achieve TMDLs	20

2.1	Allocation of Pollutant Loads	20

2.2	Prioritization of Management Strategies	25

2.3	Load Reduction Strategy	26

2.4	OSTDS Management Strategies	27

2.5	UTF Management Strategies	28

2.6	STF Management Strategies	30

2.7	Agricultural Sources Management Strategies	31

2.8	WWTF Management Strategies	34

2.9	Atmospheric Deposition Management Strategies	36

2.10	Future Growth Management Strategies	37

2.11	Protection of Surface Water and Groundwater Resources through Land Conservation	37

2.12	Commitment to Implementation	38

Section 3 : Monitoring and Reporting	39

3.1	Methods for Evaluating Progress	39

3.2	Adaptive Management Measures	39

3.3	Water Quality and Biological Monitoring	40

Appendices	44

Appendix A. Important Links	44

Appendix B. Projects to Reduce Nitrogen Sources	45

Appendix C. Weeki Wachee PFA Report	55

Appendix D.  OSTDS Remediation Plan	56

Appendix E. Technical Support Information	64

Appendix F. Educational Activities to Implement the UTF Management Strategies	69

Appendix G. FDACS BMPs	73

Appendix H. Future Growth Strategies of Local Jurisdictions	84

List of Figures

Figure ES-1. Weeki Wachee BMAP and PFA boundaries	11

Figure 1. Weeki Wachee BMAP, springshed, and PFA boundaries	16

Figure 2. Loading to groundwater by source in the Weeki Wachee Springshed	24

Figure 3. Locations of OSTDS in the Weeki Wachee BMAP area	27

Figure 4. Locations of WWTFs in the Weeki Wachee BMAP Area	35

Figure 5. Groundwater and surface water stations sampled in the Weeki Wachee Basin	42

Figure D-1. Locations of OSTDS in the PFA in the Weeki Wachee BMAP	61

Figure G-1. Agricultural lands in the BMAP area	76

Figure G-2. BMP enrollment in the BMAP area as of December 31, 2017	80

List of Tables

Table A-1. Weeki Wachee stakeholders	2

Table ES-1. WWTF effluent standards	13

Table 1. Restoration targets for Weeki Wachee Spring Group, Magnolia-Aripeka Springs Group, Wilderness-Mud-Salt Springs Group, and Jenkins Creek Spring	15

Table 2. BMPs and BMP manuals adopted by rule as of June 2017	19

Table 3. Estimated nitrogen load to groundwater by source in the BMAP area	21

Table 4. Total reduction required to meet the TMDLs	25

Table 5. Nitrogen reduction schedule (lb-N/yr)	25

Table 6. Summary of potential credits for the Weeki Wachee BMAP to meet the TMDLs	26

Table 7. Estimated individual OSTDS improvements to groundwater	28

Table 8. Current project credits to reduce UTF loading to groundwater	29

Table 9. Maximum UTF load reductions based on existing public education credit policies	30

Table 10. Maximum load reductions from STF improvements based on existing credit policies	31

Table 11. Estimated reductions for additional agricultural projects or practices	33

Table 12. Calculations for additional load reductions to groundwater	33

Table 13. Wastewater effluent standards for the BMAP area	36

Table 14. Stakeholder conservation land purchases	38

Table 15. Core water quality indicators and field parameters	41

Table 16. Supplemental water quality indicators and field parameters	41

Table 17. Anticipated resource responses from BMAP implementation	42

Table B-1. Stakeholder projects to reduce nitrogen sources	46

Table D-1. Estimated reduction credits for additional OSTDS enhancement or sewer *	60

Table D-2. Prioritized target audiences, messaging, and materials/resources	62

Table D-3. Stakeholder educational activities to implement the OSTDS remediation plan	62

Table E-1. Range of environmental attenuation of nitrogen from a detailed literature review	67

Table F-1.  Stakeholder educational activities to implement UTF management strategies	70

Table G-1. Agricultural land use within the BMAP area	73

Table G-2. Fertilized crop lands within the BMAP area	74

Table G-3. Livestock lands within the BMAP area	74

Table G-4. Key management and structural BMPs adopted by FDACS OAWP	78

Table G-5. Agricultural acreage and BMP enrollment in the BMAP area as of	81

Table G-6. Beyond BMP implementation	83

Table H-1. Future growth strategies of local jurisdictions	84

List of Acronyms and Abbreviations

ac		Acre

AWT		Advanced Wastewater Treatment

ATU		Aerobic Treatment Unit

BAF		Biochemical Attenuation Factor

BMAP		Basin Management Action Plan

BMPs		Best Management Practices

CASTNET	Clean Air Status and Trends Network

cfs		Cubic Feet Per Second

CMAQ	Community Multiscale Air Quality

C.R.		County Road

CRF		Controlled Release Fertilizer

DEP		Florida Department of Environmental Protection

DMR		Discharge Monthly Report

DO		Dissolved Oxygen

F.A.C.		Florida Administrative Code

F.A.R.		Florida Administrative Register

FARMS	Facilitating Agricultural Resource Management Systems

FDACS	Florida Department of Agriculture and Consumer Services

FDOH		Florida Department of Health

FF		Farm Fertilizer

FGS		Florida Geological Survey

FLUCCS	Florida Land Use Cover and Forms Classification System

FOWA		Florida Onsite Wastewater Association

F.S.		Florida Statutes

FSAID		Florida Statewide Agriculture Irrigation Database

FY		Fiscal Year

FYN		Florida Yards and Neighborhoods

GIS		Geographic Information System

gpd		Gallons Per Day

HA		Habitat Assessment

IA		Implementation Assurance

IV		Implementation Verification

in/yr		Inch Per Year

lb		Pound

lb-N/yr		Pounds of Nitrogen Per Year

LF		Linear Feet

LID		Low Impact Development

LVS		Linear Vegetation Survey

LW		Livestock Waste

MFLs		Minimum Flows and Levels

mgd		Million Gallons Per Day

mg/L		Milligrams Per Liter

MIL		Mobile Irrigation Lab

N		Nitrogen

NADP		National Atmospheric Deposition Program

NELAC	National Environmental Accreditation Conference

NELAP	National Environmental Accreditation Program

NNC		Numeric Nutrient Criteria

NOI		Notice of Intent

NSF		NSF International (formerly National Sanitation Foundation)

NSILT		Nitrogen Source Inventory Loading Tool

NTN		National Trends Network

OAWP		Office of Agricultural Water Policy

OFS		Outstanding Florida Spring

OFW		Outstanding Florida Water

OSTDS	Onsite Sewage Treatment and Disposal System

PBTS		Performance-based Treatment System

PFA		Priority Focus Area

PSA		Public Service Announcement or Planned Service Area

QA/QC	Quality Assurance/Quality Control

RIB		Rapid Infiltration Basin

RPS		Rapid Periphyton Survey

SBIO		DEP Statewide Biological Database

SCI		Stream Condition Index

SOP		Standard Operating Procedure

STF		Sports Turf Fertilizer

STORET	Florida Storage and Retrieval Database

SWFWMD	Southwest Florida Water Management District

SWIM		Surface Water Improvement and Management

TDEP		Total Atmospheric Deposition Model

TMDL		Total Maximum Daily Load

TN		Total Nitrogen

TP		Total Phosphorus

TSS		Total Suspended Solids

UFA		Upper Floridan Aquifer

UF–IFAS	University of Florida Institute of Food and Agricultural Sciences

USDA		U.S. Department of Agriculture

USGS		U.S. Geological Survey

UTF		Urban Turfgrass Fertilizer

WAFR		Wastewater Facility Regulation (Database)

WBID		Waterbody Identification (Number)

WIN		Florida Watershed Information Network Database

WMD		Water Management District

WWTF	Wastewater Treatment Facility

WWTP	Wastewater Treatment Plant

yr		Year

Executive Summary

Weeki Wachee Basin

The Florida Springs and Aquifer Protection Act (Chapter 373, Part VIII, Florida Statutes [F.S.]), provides for the protection and restoration of Outstanding Florida Springs (OFS), which comprise 24 first magnitude springs, 6 additional named springs, and their associated spring runs. The Florida Department of Environmental Protection (DEP) has assessed water quality in each OFS, and has determined that 24 of the 30 OFS are impaired for the nitrate form of nitrogen. The Weeki Wachee Spring Group is one of the impaired first magnitude OFS.

The Weeki Wachee Basin Management Action Plan (BMAP) area (Figure ES-1) consists of 200,474 acres located in southern Hernando County, including a portion of the City of Brooksville, and northern Pasco County. The BMAP area contains the Weeki Wachee Spring Group which is composed of a single, large main spring and numerous smaller springs spread over an area of nearly five square miles. Weeki Wachee Spring is the primary source of the Weeki Wachee River and the largest spring (by discharge) in the group. The BMAP area also contains Magnolia-Aripeka Springs Group; Mud Spring, Salt Spring, Wilderness Spring (collectively referred to as the "Wilderness-Mud-Salt Springs Group"); and Jenkins Creek Spring which are located within the Weeki Wachee riverine system Outstanding Florida Water (OFW) boundaries.

Weeki Wachee Priority Focus Area (PFA)

The PFA (see Appendix C) comprises 90,415 acres and includes a region in the western part of the springshed for Weeki Wachee Spring. The PFA represents the area in the basin where the aquifer is most vulnerable to inputs and where there are the most connections between groundwater and the springs.

Figure ES-1. Weeki Wachee BMAP and PFA boundaries

Nitrogen Source Identification, Required Reductions, and Options to Achieve Reductions

DEP adopted nutrient total maximum daily loads (TMDLs) for Weeki Wachee Spring and Weeki Wachee River in 2014. The TMDLs established monthly average nitrate targets of 0.28 milligrams per liter (mg/L) for Weeki Wachee Spring and 0.20 mg/L for Weeki Wachee River. DEP adopted nitrate targets of 0.23 mg/L for Magnolia-Aripeka Springs Group; Wilderness-Mud-Salt Springs Group; and Jenkins Creek Spring through adoption of TMDLs in 2016.

Onsite sewage treatment and disposal systems (OSTDS) represent 30 % of the nitrogen loading to groundwater, agriculture (including farm fertilizer [FF] and livestock waste [LW]) 27 %, and urban turfgrass fertilizer (UTF) 22 % of the total loading to groundwater based on the DEP analysis conducted using the Nitrogen Source Inventory Loading Tool (NSILT).

The total load reduction required to meet the TMDLs at the vents is 195,200 pounds of nitrogen per year (lb-N/yr). To measure progress towards achieving the necessary load reduction, DEP is establishing the following milestones:

- 58,560 lb-N/yr (30 %) within 5 years.

- 97,600 lb-N/yr (50 %) within 10 years.

- 39,040 lb-N/yr (20 %) within 15 years.

- Total of 195,200 lb-N/yr within 20 years.

The policies and submitted projects included within this BMAP are estimated to achieve a reduction of 384,857 to 498,088 lb-N/yr. The BMAP is designed to achieve 80 % of the effort within 10 years of adoption and 100 % within 15 years. Projects and strategies are designed to achieve nitrogen reductions at Weeki Wachee, but are expected to provide benefits to all springs vents within the springshed/contributing area. DEP will evaluate progress towards these milestones and will report to the Governor and Florida Legislature. DEP will adjust management strategies to ensure the target concentrations are achieved. This may include expanding the area to which the OSTDS remediation policies apply; any such change, however, would be incorporated into an updated BMAP through a formal adoption process.

There are currently 58 projects to improve water quality (see Appendix B), of which 27 projects have estimated load reductions. Included are owner-implemented best management practices (BMPs) for FF, LW, sports turfgrass (STF); wastewater treatment facility (WWTF) upgrades; projects to reduce UTF application; and OSTDS conversions to sewer.

Restoration Approaches

New OSTDS – Upon BMAP adoption, the OSTDS remediation plan prohibits new systems on lots of less than 1 acre within the PFAs, unless the system includes enhanced treatment of nitrogen as defined by the OSTDS remediation plan, or unless the OSTDS permit applicant demonstrates that sewer connections will be available within 5 years. Local governments and utilities are encouraged to develop master wastewater treatment feasibility plans to identify specific areas to be sewered within 20 years of BMAP adoption. The OSTDS remediation plan is incorporated as Appendix D.

Existing OSTDS – Upon completion of the feasibility plan, rulemaking, and funding milestones included in the OSTDS remediation plan, but no later than five years after BMAP adoption, modification or repair permits issued by FDOH for all OSTDS within the PFA on all lot sizes will require enhanced treatment of nitrogen, unless sewer connections will be available based on a BMAP-listed project. All OSTDS subject to the policy must include enhanced treatment of nitrogen no later than 20 years after BMAP adoption.

WWTFs − The effluent standards listed in Table ES-1 will apply to all new and existing WWTFs in the BMAP area (inside and outside the PFA).

Table ES-1. WWTF effluent standards

gpd = Gallons per day

| 95% of the Permitted Capacity (gpd) | Nitrogen Concentration Limits for Rapid Infiltration Basins (RIBs) and Absorption Fields (mg/L) | Nitrogen Concentration Limits for All Other Land Disposal Methods, Including Reuse (mg/L) |
| --- | --- | --- |
| Greater than 100,000 | 3 | 3 |
| 20,000 to 100,000 | 3 | 6 |
| Less than 20,000 | 6 | 6 |

- UTF – UTF sources can receive up to 6 % credit for the DEP-approved suite of public education and source control ordinances. Entities have the option to collect and provide monitoring data to quantify reduction credits for additional measures.

- STF – STF sources include golf courses and other sporting facilities. Golf courses can receive up to 10 % credit for implementing the Golf Course BMP Manual. Other sports fields can receive up to 6 % credit for managing their fertilizer applications to minimize transport to groundwater.

- FF – All FF sources are required to implement best management practices (BMPs) or perform monitoring to demonstrate compliance with the TMDL. A 15 % reduction to groundwater is estimated for owner-implemented BMPs. Additional credits could be achieved through better documentation of reductions achieved through BMP implementation or implementation of additional agricultural projects or practices, such as precision irrigation, soil moisture probes, controlled release fertilizer, and cover crops.

- LW – All LW sources are required to implement BMPs or perform monitoring. A 10 % reduction to groundwater is estimated for owner-implemented BMPs. Additional credits could be achieved through additional projects and practices if data are available.

# : Background

## Legislation

Chapter 373, Part VIII, Florida Statutes (F.S.), created the Florida Springs and Aquifer Protection Act to provide for the protection and restoration of Outstanding Florida Springs (OFS), which comprise 24 first magnitude springs, 6 additional named springs, and their associated spring runs. The Florida Department of Environmental Protection (DEP) has assessed water quality in each OFS, and has determined that 24 of the 30 OFS are impaired for the nitrate form of nitrogen. The Weeki Wachee Spring Group is one of the impaired first magnitude OFS.

Development of the basin management action plan (BMAP) to meet the new requirements of the Florida Springs and Aquifer Protection Act for the Weeki Wachee Basin was initiated in 2016.

## Water Quality Standards and Total Maximum Daily Loads (TMDLs)

A TMDL represents the maximum amount of a given pollutant that a waterbody can assimilate and still meet water quality criteria. The waters of the Weeki Wachee Spring Group, Magnolia-Aripeka Springs Group, Wilderness-Mud-Salt Springs Group, and Jenkins Creek Spring that are addressed in this BMAP are Class III waterbodies with a designated use of recreation, propagation, and the maintenance of a healthy, well-balanced population of fish and wildlife. These waters are impaired by nitrate nitrogen, which in excess has been demonstrated to adversely affect flora or fauna through the excessive growth of algae. Excessive algal growth results in ecological imbalances in springs and rivers and can produce human health problems, foul beaches, inhibit navigation, and reduce the aesthetic value of the resources.

DEP adopted nutrient TMDLs for the Weeki Wachee Spring Group in 2014 (see Table 1). The TMDLs established a target of an annual average of 0.28 milligrams per liter (mg/L) of nitrate for Weeki Wachee Spring and 0.20 mg/L for Weeki Wachee River. The period of record for water quality data for the TMDLs was January 2004 through December 2012. DEP adopted nutrient TMDLs for the Magnolia-Aripeka Springs Group, Wilderness-Mud-Salt Springs Group, and Jenkins Creek Spring in 2016 (see Table 1). The TMDLs established a target of an annual average of 0.23 mg/L of nitrate. The period of record for the water quality data for the TMDLs was January 2004 through December 2014.

Table 1. Restoration targets for Weeki Wachee Spring Group, Magnolia-Aripeka Springs Group, Wilderness-Mud-Salt Springs Group, and Jenkins Creek Spring

| Waterbody or Spring Name | Waterbody Identification (WBID) Number | Parameter | TMDL (mg/L) |
| --- | --- | --- | --- |
| Weeki Wachee Spring | 1382B | Nitrate, annual average | 0.28 |
| Weeki Wachee River | 1382F | Nitrate, annual average | 0.20 |
| Magnolia-Aripeka Springs Group | 1391B | Nitrate, annual average | 0.23 |
| Wilderness-Mud-Salt Springs Group | 1382G | Nitrate, annual average | 0.23 |
| Jenkins Creek Spring | 1389 | Nitrate, annual average | 0.23 |

## BMAP Requirements

Section 403.067(7), F.S., provides DEP with the statutory authority for the BMAP Program. A BMAP is a comprehensive set of strategies to achieve the required pollutant load reductions. In addition to this authority, the Florida Springs and Aquifer Protection Act (Part VIII of Chapter 373, F.S.) describes additional requirements for 30 springs. BMAP Area

The BMAP area (Figure 1) comprises 200,474 acres located in southern Hernando County, including a portion of the City of Brooksville, and northern Pasco County. The BMAP area contains the Weeki Wachee Spring Group which is composed of a single, large main spring and numerous smaller springs spread over an area of nearly five square miles. Weeki Wachee Spring is the primary source of the Weeki Wachee River and the largest spring (by discharge) in the group. The BMAP area also contains Magnolia-Aripeka Springs Group; Mud Spring, Salt Spring, Wilderness Spring (collectively referred to as the "Wilderness-Mud-Salt Springs Group"); and Jenkins Creek Spring which are located within the Weeki Wachee riverine system Outstanding Florida Water (OFW) boundaries.

This area includes the surface water basin as well as the groundwater contributing areas for the springs (or springsheds). Springsheds for the OFS were delineated or reviewed by Southwest Florida Water Management District (SWFWMD) with input from the Florida Geological Survey (FGS). A springshed is the area of land that contributes water to a spring or group of springs, mainly via groundwater flow.

## PFA

In compliance with the Florida Springs and Aquifer Protection Act, this BMAP delineates a PFA, defined as the area(s) of a basin where the Floridan aquifer is generally most vulnerable to pollutant inputs and where there is a known connectivity between groundwater pathways and an OFS. The PFA provides a guide for focusing restoration strategies where science suggests these efforts will most benefit the springs. The document describing the delineation process for the PFA is on the DEP website. The link to the PFA document is provided in Appendix C.

### Description

Nitrogen sources are more likely to influence groundwater quality under certain conditions. For example, where soils are sandy and well drained, less nitrogen is converted to gas and released into the atmosphere or taken up by plants, compared with other soil types. Therefore, local soil types play a role in how much nitrogen travels from the land surface to groundwater in a specific springshed. Also, the underlying geologic material influences the vulnerability of the underlying aquifers and the rate of lateral movement within the Floridan aquifer toward the springs. These conditions, and others, were considered in the delineation of the PFA (see Appendix C).

Following BMAP adoption, DEP will ensure that the GIS files associated with the PFA boundary are available to the public on the DEP Map Direct webpage.

Figure 1. Weeki Wachee BMAP, springshed, and PFA boundaries

### Additional Requirements

In accordance with Section 373.811, F.S., the following activities are prohibited in the PFA:

- New domestic wastewater disposal facilities, including rapid infiltration basins (RIBs), with permitted capacities of 100,000 gpd or more, except for those facilities that meet an advanced wastewater treatment (AWT) standard of no more than 3 mg/L total nitrogen (TN) on an annual permitted basis.

- New OSTDS on lots of less than one acre inside the PFAs unless additional nitrogen treatment is provided, as specified in the OSTDS remediation plan (see Appendix D for details).

- New facilities for the disposal of hazardous waste.

- The land application of Class A or Class B domestic wastewater biosolids not in accordance with a DEP-approved nutrient management plan establishing the rate at which all biosolids, soil amendments, and sources of nutrients at the land application site can be applied to the land for crop production, while minimizing the amount of pollutants and nutrients discharged to groundwater or waters of the state.

- New agricultural operations that do not implement BMPs, measures necessary to achieve pollution reduction levels established by DEP, or groundwater monitoring plans approved by a WMD, or DEP.

#### Biosolids and Septage Application Practices

In the PFA, the aquifer contributing to the springs is highly vulnerable to contamination by nitrogen sources and soils have a high to moderate tendency to leach applied nitrogen. DEP previously documented elevated nitrate concentrations in groundwater beneath septage application zones in spring areas. To assure that nitrogen losses to groundwater are minimized from permitted application of biosolids and septage in the PFA, the following requirements apply to newly-permitted application sites and existing application sites upon permit renewal.

- All permitted biosolids application sites that are agricultural operations must be enrolled in the Florida Department of Agriculture and Consumer Services (FDACS) BMP Program or be within an agricultural operation enrolled in the FDACS BMP Program for the applicable crop type.  Implementation of applicable BMPs will be verified by FDACS in accordance with Chapter 5M-1, Florida Administrative Code (F.A.C.). Permitted biosolids application sites that are new agricultural operations must also comply with Subsection 373.811(5), F.S.  Biosolids application sites must be certified as viable agricultural operations by an acknowledged agricultural professional such as an agricultural consultant or agricultural extension agent. Effective nutrient management practices must be ongoing at the application zones in the permit. Plant uptake and harvesting are vital components of the nutrient management plan to remove nitrogen and prevent it from leaching to groundwater. If DEP determines that the site is not a viable agricultural site implementing a nutrient management plan, corrective action will be required.

- Groundwater monitoring for nitrate is required for all biosolids and septage land application sites in the PFA to assure compliance with nutrient management objectives in this BMAP. However, groundwater monitoring is not required if the site nutrient management plan limits biosolids application rates to TN with no adjustment for available nitrogen normally allowed by subsections 62-640.500(5) and (6), F.A.C. (e.g. for a recommended fertilizer rate of 160 pounds of nitrogen per acre, only 160 pounds of TN per acre shall be applied).  For septage application, groundwater monitoring is not required if the site nutrient management plan limits application rates to 30,000 gallons per acre for sites accepting mixtures of septage and grease (food establishment sludge) or to 40,000 gallons per acre for sites accepting septage without grease. The permit renewal application will include a trend analysis for nitrate in groundwater monitoring wells during the previous permit cycle, and an evaluation of the potential for the facility to cause or contribute to exceedance of the TMDL.

- Changes are proposed to the upcoming FDACS Cattle BMP Manual revision that will likely impact biosolid application. This will necessitate coordination between FDACS and DEP permitting staff.

## Other Scientific and Historical Information

In preparing this BMAP, DEP collected and evaluated credible scientific information on the effect of nutrients, particularly forms of nitrogen, on springs and springs systems. Some of the information collected is specific to the Weeki Wachee Basin, while other references provide information on related knowledge for restoring springs, such as nitrogen-reducing technologies, the treatment performance of OSTDS, and runoff following fertilizer applications.

## Stakeholder Involvement

Stakeholder involvement is critical to develop, gain support for, and secure commitments in a BMAP. The BMAP process engages stakeholders and promotes coordination and collaboration to address the pollutant load reductions necessary to achieve the TMDLs. DEP invites stakeholders to participate in the BMAP development process and encourages public participation and consensus to the greatest practicable extent. Table A-1 identifies the stakeholders who participated in the development of this BMAP.

During the development of the Weeki Wachee BMAP, DEP held a series of meetings involving stakeholders and the general public. The purpose of these meetings was to consult with stakeholders to gather information, evaluate the best available science, develop an OSTDS remediation plan (including a public education plan), define management strategies and milestones, and establish monitoring requirements. All of the meetings were open to the public and noticed in the Florida Administrative Register (F.A.R.). Additionally, a public meeting on the current draft BMAP was held on January 17, 2018, and was noticed in the F.A.R. and in local newspapers.

Upon BMAP adoption, DEP intends to facilitate annual meetings with stakeholders to review progress towards achieving the TMDLs.

## Description of BMPs Adopted by Rule

Table 2 identifies the adopted BMPs and BMP manuals relevant to this BMAP.

Table 2. BMPs and BMP manuals adopted by rule as of June 2017

| Agency | F.A.C. Chapter | Chapter Title |
| --- | --- | --- |
| FDACS Office of Agricultural Water Policy (OAWP) | 5M-6 | Florida Container Nursery BMP Guide |
| FDACS OAWP | 5M-8 | BMPs for Florida Vegetable and Agronomic Crops |
| FDACS OAWP | 5M-9 | BMPs for Florida Sod |
| FDACS OAWP | 5M-11 | BMPs for Florida Cow/Calf Operations |
| FDACS OAWP | 5M-12 | Conservation Plans for Specified Agricultural Operations |
| FDACS OAWP | 5M-13 | BMPs for Florida Specialty Fruit and Nut Crop Operations |
| FDACS OAWP | 5M-14 | BMPs for Florida Equine Operations |
| FDACS OAWP | 5M-16 | BMPs for Florida Citrus |
| FDACS OAWP | 5M-17 | BMPs for Florida Dairies |
| FDACS OAWP | 5M-18 | Florida Agriculture Wildlife BMPs |
| FDACS OAWP | 5M-19 | BMPs for Florida Poultry |
| FDACS Division of Agricultural Environmental Services | 5E-1 | Fertilizer |
| FDACS Division of Aquaculture | 5L-3 | Aquaculture BMPs |
| FDACS Florida Forest Service | 5I-6 | BMPs for Silviculture |
| FDACS Florida Forest Service | 5I-8 | Florida Forestry Wildlife BMPs for State Imperiled Species |
| SWFWMD | 40D-26 | Facilitating Agricultural Resource Management Systems (FARMS) Program |
| DEP | 62-330 | Environmental Resource Permitting |

# : Implementation to Achieve TMDLs

## Allocation of Pollutant Loads

DEP collected and evaluated credible scientific information on the effect of nutrients, particularly forms of nitrogen, on Weeki Wachee Spring.

### Nutrients in the Springs and Spring Systems

DEP developed the Nitrogen Source Inventory Loading Tool (NSILT) to provide information on the major sources of nitrogen in the groundwater contributing area and spring contributing area for the OFS. In addition, this tool is used to estimate nitrogen loads to groundwater from these sources in the spring contributing area. The NSILT is a GIS- and spreadsheet-based tool that provides spatial estimates of the relative contribution of nitrogen from major nitrogen sources and accounts for the transport pathways and processes affecting the various forms of nitrogen as they move from the land surface through the soil and geologic strata.

The first major factor to be considered in estimating the loading to groundwater in the NSILT is the attenuation of nitrogen as it moves from its source through the environment, before it reaches the Upper Floridan aquifer (UFA). Biological and chemical processes that occur as part of the nitrogen cycle, as well as hydrogeological processes, control the movement of nitrogen from the land surface to groundwater. Many of these processes attenuate (impede or remove) the amount of nitrogen transported to groundwater. An understanding of how water moves through the subsurface and the processes that transform the different forms of nitrogen is essential for estimating nitrogen loading to groundwater from various sources.

A second major factor to consider in estimating the loading to groundwater is the geological features in the springshed and the related recharge rate to the aquifer. Water movement between the shallow groundwater (surficial aquifer, where present) and the deeper aquifer (UFA) is slowed by a low permeability layer of clay, silt, and fine sand that retards the vertical movement of infiltrating water from the surface. The UFA occurs in limestone that can be prone to dissolving and, over geologic time, the development of numerous karst features (sinkholes, caves, and conduits). These features allow water from the land surface to move directly and relatively rapidly into the aquifer and in some areas for groundwater in the aquifer to move rapidly to the springs.

Potential recharge rates from the surface to the UFA are affected by variations in the geologic materials and the presence of karst features. DEP estimated the recharge rate ranges and grouped them into three rate categories, which were applied to the NSILT:

- Low recharge (Less than 3 inches per year [in/yr]).

- Medium recharge (3 to 10 in/yr).

- High recharge (10 in/yr or greater).

In the NSILT, DEP applies different attenuation factors to different types of sources, so that various biological, chemical, and hydrogeological effects can be estimated. The attenuation that is applied means that the amount of nitrogen leaving a source (such as a livestock operation or a just-fertilized yard), reduces the amount of nitrogen predicted to reach the aquifer. In the NSILT, the average attenuation rates range from 90 % (for atmospheric deposition) to 25 % (for wastewater disposal in a RIB). Using these examples, only 10 % of nitrogen from atmospheric deposition is expected to reach the aquifer, while 75 % of nitrogen from a RIB is expected to reach groundwater, because the remainder is attenuated by various chemical and biological processes.

Phosphorus is naturally abundant in the geologic material underlying much of Florida and is often present in high concentrations in surface water and groundwater. Monitoring and evaluation of phosphorus and influences on the springs continues as the nitrate TMDLs are implemented.

### Estimated Nitrogen Loads

Table 3 lists the estimated nitrogen loads to groundwater by source. Note that urban stormwater loads are included in UTF estimates, while agricultural stormwater loads are included in FF and LW loading estimates. Nitrogen loading to surface water will be reduced through the activities and strategies for the sources identified in this chapter for groundwater loading.

Table 3. Estimated nitrogen load to groundwater by source in the BMAP area

| Nitrogen Source | Total Nitrogen Load to Groundwater (lb-N/yr) | % Contribution |
| --- | --- | --- |
| OSTDS | 282,875 | 30 |
| UTF | 209,833 | 22 |
| Atmospheric Deposition | 93,208 | 10 |
| FF | 163,935 | 17 |
| STF | 53,841 | 6 |
| LW | 91,347 | 10 |
| WWTF | 45,105 | 5 |
| Total | 940,144 | 100 |

### Assumptions and Considerations

The NSILT estimates are based on the following assumptions and considerations:

NSILT Nitrogen Inputs – The methods used to calculate nitrogen inputs for each pollutant source were based on a detailed synthesis of information, including direct water quality measurements, census data, surveys, WWTF permits, published scientific studies and reports, and information obtained in meetings with agricultural producers. For some pollutant source categories, the nitrogen inputs were calculated using assumptions and extrapolations. As a result, these estimated inputs could be subject to further refinement if more detailed information becomes available.

OSTDS Load Contribution – A per capita contribution to an OSTDS of 9.012 lb-N/year was used to calculate loading from OSTDS. The average household contribution was estimated based on 2010 U.S. Census Bureau data on average number of people per household by county (2.41 in Hernando County and 2.45 in Pasco County) within the area and additional information on the amount of time spent away from home by the school-age population and labor force (adjusted to an effective persons per household rate of 2.08 in Hernando County and 2.07 in Pasco County).

Nitrogen Attenuation Factors – To estimate the amount of nitrogen loading to the aquifer, DEP applied two nitrogen attenuation factors. Biological and chemical processes that occur as part of the nitrogen cycle, as well as hydrogeological processes, control the movement of nitrogen from the land surface to groundwater. Biochemical attenuation accounts for biochemical processes that convert or transform the different forms of nitrogen, while hydrogeological attenuation accounts for spatial variations that affect the rate of water infiltrating through geological media to recharge the UFA. Given the relatively large range of literature-reported values of biochemical nitrogen attenuation for each source category, DEP used an average biochemical attenuation factor for each source based on land use practices and hydrogeological conditions in the contributing areas.

Other assumptions and considerations for BMAP implementation include the following:

  - Unquantified Project Benefits – Nitrogen reductions for some of the projects and activities listed in this BMAP cannot currently be quantified. However, because of their positive impact, it is assumed that these actions will help reduce pollutant loads, and estimated loading reductions may be determined at a later date and assigned to these activities.

  - Atmospheric Deposition – Atmospheric sources of nitrogen are local, national, and international.  Atmospheric sources are generally of low nitrogen concentration compared with other sources and are further diminished through additional biological and chemical processes before they reach groundwater. Atmospheric deposition sources and trends will be reevaluated periodically.

OSTDS Inventory and Loading Calculations – The total number of OSTDS in the basin is estimated based on local information and Florida Department of Health (FDOH) data. Future BMAPs and the associated OSTDS loading calculations may be adjusted based on improved data on the number and location of existing septic systems, and may include additional OSTDS installed since BMAP adoption.

PFA – The PFA provides a guide for focusing strategies where science suggests efforts will best benefit the springs. The PFA boundary may be adjusted in the future if additional relevant information becomes available.

Project Collection Period – The BMAP project collection period is limited to projects after a certain date, based on the data used to calculate the reductions needed. Reductions from older projects are already accounted for in the baseline loading. Projects completed in the springshed after January 1, 2013, were considered for inclusion in this BMAP.

Legacy Sources – Historical land uses or management practices in the basin may still be affecting the nitrate concentration of the springs. The movement of water from the land surface through the soil column to the UFA and through the UFA to the spring system varies both spatially and temporally and is influenced by local soil and aquifer conditions. As a result, there may be a lag between when nitrogen input to the UFA occurs and ultimately when that load arrives at the Weeki Wachee Spring Group. The impact of this delay is not fully known.

Implementation Schedule – BMAP implementation is intended to be a 20-year process. This plan defines nitrogen reduction milestones for 5-year (30 %), 10-year (50 %), and 15-year (20 %) implementation, so that the TMDLs will be met no later than the 20-year goal (see Section 2.1.6 for further details). Further, the total reductions and the project credits may be adjusted under the adaptive management approach used for the BMAP. This approach requires regular follow-up to ensure that management strategies are carried out and that their incremental effects are assessed. The process acknowledges that there is some uncertainty associated with the outcomes of proposed management strategies and the estimated response in nitrogen concentration at the springs. As more information is gathered and progress towards each 5-year milestone is reviewed, additional management strategies to achieve the TMDLs will be developed or existing strategies refined to better address the sources of nitrogen loading.

Changes in Spring Flows – The role of this BMAP is specifically to promote the implementation of projects that reduce nitrogen load to groundwater while the minimum flows and levels (MFLs) established for specific springs address water flows and levels. To maximize efforts between the two programs, spring protection projects should provide both water quality and quantity benefits.

### Loading by Source

Based on the NSILT results, the pie chart in Figure 2 depicts the estimated percentage of nitrogen loading to groundwater by source in the springshed. Septic systems represent 30 % of the total nitrogen loading to groundwater, agriculture 27 %, and UTF 22 % of the total loading. Stormwater loading to groundwater is incorporated into the various source categories.

Figure 2. Loading to groundwater by source in the Weeki Wachee Springshed

### Loading Allocation

The nitrogen source reductions are based on the measured nitrate concentrations and flows at the vent, along with the TMDL target nitrate concentration. Table 4 lists the measured nitrate (as nitrogen) loads at the spring vents compared with the TMDL loading based on a target nitrate concentration of 0.28 mg/L. The difference between the spring vent loading and the TMDL loading calculations is the required reduction to meet the TMDLs. The total load that is required to be reduced in the basin is being allocated to the entire basin.

Table 4. Total reduction required to meet the TMDLs

| Description | Nitrogen Loads (lb-N/yr) | Notes Regarding Data Used |
| --- | --- | --- |
| Total Load at Spring Vents | 289,000 | Upper 95% confidence interval - nitrate data and flow data from 2000 to 2017 (170 cubic feet per second [cfs]) |
| TMDL Load | 93,800 | TMDL target is 0.28 mg/L and using the same flow data from 2000 to 2017 |
| Required Reduction | 195,200 |  |

### Description of 5-, 10-, and 15-year Milestones/Reduction Schedule

The overall load reduction targets are 30 % of the total within 5 years; 80 % of the total within 10 years; and 100 % of the total within 15 years. DEP will evaluate progress towards these milestones and will report to the Governor and Florida Legislature. DEP will adjust management strategies to ensure the target concentrations are achieved. This may include expanding the area to which the OSTDS remediation policies apply; any such change, however, would be incorporated into an updated BMAP through a formal adoption process.

Table 5 identifies the estimated nitrogen reductions needed, by milestone. Progress will be tracked yearly and adjustments made as needed. At the five-year milestone, progress will be assessed and load reductions adjusted as necessary. Entities have flexibility in the types and locations of projects as long as they achieve the overall required load reductions. The monitoring of existing groundwater and springs sampling locations is essential. Section 2.3 describes detailed source reduction strategies.

Table 5. Nitrogen reduction schedule (lb-N/yr)

| 5-Year Milestone (30% of Total) | 10-Year Milestone (50% of Total) | 15-Year Milestone (20% of Total) | Total Nitrogen Reduction (100%) |
| --- | --- | --- | --- |
| 58,560 | 97,600 | 39,040 | 195,200 |

## Prioritization of Management Strategies

The management strategies listed in Appendix B, Appendix E, and Appendix F are ranked with a priority of high, medium, or low. In 2016, the Florida Legislature amended the Watershed Restoration Act (Section 403.067, F.S.), creating additional requirements for all new or revised BMAPs. BMAPs must now include planning-level details for each listed project, along with their priority ranking.

Project status was selected as the most appropriate indicator of a project’s priority ranking. Projects with a "completed" status were assigned a low priority. Projects classified as "underway" were assigned a medium priority because some resources have been allocated to these projects, but some work still needs to be completed. High priority was assigned to projects listed as "planned" as well as certain "completed" projects that are ongoing each year (any project with one of these project types: "street sweeping," "catch basin inserts/inlet filter cleanout,"  "public education efforts," "fertilizer cessation," "fertilizer reduction," or "aquatic vegetation harvesting"), and select projects that are elevated because substantial, subsequent project(s) are reliant on their completion.

## Load Reduction Strategy

The total load reduction to groundwater needed to meet the TMDL is 195,200 lb-N/yr. Based on the totals of all the credits from BMAP actions and policies, the range of total reductions to groundwater is between 384,857 - 498,088 lb-N/yr (see Table 6).

To achieve reductions outside the scope of the policies listed, additional project options are available to local entities but have not been planned. Other efforts could be pursued to further reduce the nitrogen load to groundwater in the basin.

Table 6. Summary of potential credits for the Weeki Wachee BMAP to meet the TMDLs

Note: No reductions are estimated for atmospheric deposition sources

| Nitrogen Source | Credits to Load to Groundwater (lb-N/yr) | Description |
| --- | --- | --- |
| OSTDS | 195,668 - 285,977 | Credits are based on lots of all sizes inside the PFA being remediated by either enhancing onsite system or connecting to sewer. An estimated 27,538 lb-N/yr have been provided as OSTDS remediation projects which may be on these lots or in the larger BMAP area. Any projects outside the PFA would add additional reductions to the estimates listed. |
| UTF | 12,590 | DEP approved credits (6%) for public education activities as well as credits identified for stakeholder stormwater projects. |
| STF | 5,342 | 6% BMP credit for sports fields and 10% BMP credit for golf courses on STF load to groundwater, assuming 100% BMP implementation on golf courses and sports fields. |
| FF | 24,590 | 15% BMP credit on FF load to groundwater, assuming 100% owner-implemented BMPs on all fertilized lands. |
| LW | 9,135 | 10% BMP credit on LW load to groundwater, assuming 100% owner-implemented BMPs at all livestock facilities. |
| WWTF | 33,058 | Achieved by BMAP WWTF policy if BMAP-wide (achieving 3 or 6 mg/L). |
| WWTF - Decommission | 46,171 | Hernando County Spring Hill WRF Decommissioning Project (Project HC-20). |
| WWTF – Biological Application | 53,272 | Pasco County Crews Lake Restoration Project (Project PC-02). |
| Total Credits from BMAP Policies and Submitted Projects | 379,826 - 470,134 |  |
| Advanced Ag BMPs | 5,032 – 27,954 | Pursue additional practices over next 20 years. |
| Total Credits | 384,857 - 498,088 | Estimated load reduction to meet TMDL is 195,200 lb-N/yr. |

## OSTDS Management Strategies

Overall there are currently around 35,000 OSTDS in the PFA, based on FDOH estimates. This BMAP lists 5 specific projects (Appendix B) that reduce nitrogen loading from existing OSTDS on variably sized parcels by a total of 27,538 lb-N/yr. Figure 3 shows the locations of all OSTDS in the BMAP area.

In addition to the 5 listed projects, DEP assessed the overall OSTDS loading compared with other nitrogen sources in the PFA, as well as the relative loading in the wide BMAP area. Based on these assessments, DEP has determined that for the Weeki Wachee BMAP area, OSTDS contribute 30 % pollutant loading in the springshed area and approximately 44 % of the nitrogen loading in the PFA. Cumulatively, nitrogen loading from OSTDS within this springshed result in the significant degradation of groundwater that impacts the Weeki Wachee BMAP area. Therefore, the comprehensive remediation of OSTDS, consistent with the requirements of this BMAP, is necessary to prevent associated groundwater and surface water contamination so that the TMDLs can ultimately be achieved and so that increases in nitrogen loads from future growth are limited. The OSTDS remediation plan is incorporated as Appendix D.

Figure 3. Locations of OSTDS in the Weeki Wachee BMAP area

In addition to the actions outlined in the OSTDS remediation plan (incorporated into this BMAP as Appendix D), remedial efforts on existing conventional OSTDS could achieve nitrogen reductions. Table 7 summarizes the nitrogen inputs, attenuation and recharge factors, and loads to groundwater for a conventional OSTDS. The conventional OSTDS nitrogen input is based on a per capita contribution of 9.012 lb-N/yr. This value is multiplied by the estimated number of people using the system and additional information on the amount of time spent away from home by the school-age population and labor force (2.08 effective persons per household on average in counties within the BMAP). Percent reductions for enhanced or replaced systems are applied to the conventional OSTDS nitrogen groundwater loads to valuate possible improvements to groundwater. Enhanced OSTDS can achieve an estimated 65 % improvement in the load to groundwater compared to a conventional system. OSTDS replaced by sewer reduce the conventional nitrogen inputs by an estimated 95 %, assuming a sewer connection to a WWTF meeting AWT levels.

The results show an estimated nitrogen reduction (i.e., credit) of 5.5 in high recharge areas, 3.0 in medium recharge areas, and 0.6 in low recharge areas for each enhanced OSTDS and an estimated nitrogen reduction of 8.0 in high recharge areas, 4.5 in medium recharge areas, and 0.9 in low recharge areas for each replaced OSTDS. Estimated costs for retrofitting (onsite treatment improvements) or removing (sewering) OSTDS range from $10,000 to $20,000 per system, which would be anticipated to be offset somewhat by cost-share from state funds. These costs can be refined as projects are completed and detailed cost data are available.

Table 7. Estimated individual OSTDS improvements to groundwater

| Recharge Category | Conventional OSTDS Load To Groundwater (lb-N/yr/OSTDS) | Reduction To Groundwater (lb-N/yr/OSTDS) |  |
| --- | --- | --- | --- |
|  |  | Enhanced OSTDS | Replaced OSTDS |
| Nitrogen Input | 19 | ‒ | ‒ |
| Attenuation (0.5) | 9.4 | ‒ | ‒ |
| Low Recharge (0.1) | 0.9 | 0.6 | 0.9 |
| Medium Recharge (0.5) | 4.7 | 3.0 | 4.5 |
| High Recharge (0.9) | 8.4 | 5.5 | 8.0 |

## UTF Management Strategies

UTF consists of fertilizers applied to the turfgrass typically found in residential and urban areas (including residential lawns and public green spaces). It is applied by either the homeowner or a lawn service company on residential properties, while on nonresidential properties they may be applied by contractors or maintenance staff.

### Fertilizer Ordinance Adoption

As required by the Florida Legislature, as described in Subsection 373.807(2), F.S., local governments with jurisdictional boundaries that include an OFS or any part of a springshed or delineated PFA of an OFS, are required to develop, enact, and implement a fertilizer ordinance by July 1, 2017. The statutes require any ordinance to be based, at a minimum, on the DEP model ordinance for Florida-friendly fertilizer use on urban landscapes.

### Prioritized Management Strategies and Milestones

Based on the fertilizer ordinances and public education activities in place at the time of BMAP adoption, the associated credits for UTF reductions to groundwater are 4,090 lb-N/yr (see Table 8). Additional environmental benefits could be credited if the counties and municipalities implement other public education efforts and source control ordinances, as described below.

Local stormwater projects that treat urban runoff, including nitrogen from urban fertilizer are also in place (see Appendix B) for a total estimated reduction to groundwater of 1,140 lb-N/yr.

Table 8. Current project credits to reduce UTF loading to groundwater

| Project Category | Project Credits (lb-N/yr) Based on Management Actions in Appendix B |
| --- | --- |
| Fertilizer Ordinances and Public Education Activities | 4,090 |
| Stormwater Improvements | 1,140 |
| Total Project Credits | 5,230 |

Since there is uncertainty about the data used in the NSILT to calculate the UTF loading to groundwater, DEP will work toward collecting better data by documenting reductions with the stakeholders. Also, DEP will work with stakeholders to develop additional measures to reduce fertilizer application.

The anticipated reduction from UTF sources is currently limited to 6 % of the estimated load to groundwater. This reduction can be achieved through a 6 % total credit if each local government has an applicable fertilizer ordinance, landscape ordinance, irrigation ordinance, and pet waste ordinance; carries out public education activities; and implements the Florida Yards and Neighborhood (FYN) Program (see Table 9).

If all the local governments implement the full suite of public education measures, a 12,590 lb-N/yr reduction can be achieved. Currently, local government public education credits total 4,090 lb-N/yr. Thus, an additional 8,500 lb-N/yr reduction could be achieved through public education and source control efforts.

Table 9. Maximum UTF load reductions based on existing public education credit policies

| Urban Turfgrass Source Control Measures | Credit Based on Estimated Load to Groundwater (%) | Possible Nitrogen Credits (lb-N/yr) |
| --- | --- | --- |
| Fertilizer Ordinance | 0.5 | 1,049 |
| Pet Waste Ordinance | 0.5 | 1,049 |
| Landscape Ordinance | 0.5 | 1,049 |
| Irrigation Ordinance | 0.5 | 1,049 |
| FYN Program | 3.0 | 6,295 |
| Public Education Program | 1.0 | 2,098 |
| Total Possible Credits | 6.00 | 12,590 |

## STF Management Strategies

Sports turfgrass areas fall into two main categories that are evaluated separately: golf courses and sporting facilities (such as baseball, football, soccer, and other fields). There are 14 golf courses covering 1,723 acres in the BMAP area that are the main source of the load to groundwater in this source category. The majority of the golf course acreage is located in high recharge areas (1,703 acres. Sporting facilities account for 88 acres in the BMAP area and are all located in high recharge areas.

### Prioritized Management Strategies and Milestones

DEP will work with sports field managers and golf course superintendents to ensure relevant BMP implementation and to estimate reductions associated with these efforts. To improve the golf course loading estimate over a literature-based approach, DEP will also confer with golf course superintendents to identify the actual rate of fertilizer application to update the estimate of the golf course load to groundwater. Golf courses are expected to implement the BMPs described in the DEP BMP manual, Best Management Practices for the Enhancement of Environmental Quality on Florida Golf Courses for an estimated 10 % reduction in loads to groundwater.

Managers of sports fields can assist by reducing fertilizer use, using products that reduce leaching, and more efficiently irrigating sports turf. The estimated credit for better management of nongolf sports turfgrass is 6 % of the starting load to groundwater. Based on these approaches, the initial estimates of reductions from STF sources is 5,342 lb-N/yr, as listed in Table 10.

Table 10. Maximum load reductions from STF improvements based on existing credit policies

| STF Source Control Measures | Credit Based on Estimated Load to Groundwater (%) | Possible Nitrogen Credits (lb-N/yr) |
| --- | --- | --- |
| Golf Course BMP Implementation | 10 | 5,280 |
| Sports Fields BMPs | 6 | 62 |
| Total Possible Credits |  | 5,342 |

## Agricultural Sources Management Strategies

Based on the data provided by FDACS, there are 45,701 acres of agricultural land in the BMAP area:  4,738 acres are identified as crop fertilizer lands, 9,391 acres as livestock lands, and 31,572 acres are identified as both crop fertilizer lands and livestock lands.

### FF Loading

Nitrogen in agricultural fertilizer is applied at varying rates, depending on the crop and individual farm practices. The NSILT estimated total nitrogen load to groundwater from FF is 163,935 lb-N/year, or 17 % of the total nitrogen load to groundwater in the BMAP area.

### LW

Agricultural practices specific to this livestock management were obtained through meetings with University of Florida Institute of Food and Agricultural Sciences (UF-IFAS) extension staff, FDACS field representatives, agricultural producers, and stakeholders. The NSILT estimated total nitrogen load to groundwater from LW is 91,347 lb-N/year, or 10 % of the total nitrogen load to groundwater in the BMAP area.

### Prioritized Management Strategies and Milestones

Subsection 403.067, F.S., requires agricultural nonpoint sources in a BMAP either to implement the applicable FDACS-adopted BMPs, which provides a presumption of compliance with water quality standards, or conduct water quality monitoring prescribed by DEP or SWFWMD that demonstrates compliance with water quality standards.

Within BMAP areas, the Florida Springs and Aquifer Protection Act, Subsection 373.811(5), F.S., requires that any new agricultural operations must implement one of the following: applicable BMPs, measures necessary to achieve pollution reduction levels established by DEP, or a WMD- or DEP-approved groundwater monitoring plan. Failure to do so may result in enforcement action by DEP.

FDACS will work with applicable producers within the BMAP area to ensure enrollment and, within the first five-year period, verify implementation of BMPs.  In addition, FDACS will undertake projects such as precision irrigation, soil moisture probes, and cover crop planting, contingent on the availability of funds for cost-share. As of December 31, 2017, there are Notices of Intent (NOIs) to implement BMPs covering 15,349 acres in the Weeki Wachee BMAP area. No producers are conducting water quality monitoring in lieu of implementing BMPs at this time. Appendix B lists project information. Appendix G provides detailed information on BMPs and agricultural practices in the BMAP area.

With crop-specific BMP enrollment or monitoring for FF areas, an estimated 24,590 lb-N/yr reduction to groundwater can be achieved by owner-implemented crop-specific BMPs, based on an average reduction of 15 % in the nitrogen load to groundwater. While DEP has listed larger percentage reductions in nitrogen from agricultural BMPs in estimating benefits to surface waters, the best data available indicate a 15 % reduction in the load to groundwater, where owner-implemented BMPs are in place. This number could increase as more data are collected on the impact of BMPs to groundwater.

For livestock operations, owner-implemented BMPs are expected to achieve a reduction of 9,135 lb-N/yr, using an estimated 10 % reduction in the load to groundwater from owner-implemented BMPs at livestock operations.

Summarizing the reductions discussed above, the total reduction from BMP implementation of all agricultural sources is 33,725 lb-N/yr.

### Additional Agricultural Reduction Options

Further reductions can be achieved through implementing additional agricultural projects or practices, including land acquisition and conservation easements. SWFWMD is implementing projects to encourage low input agriculture and water quality improvement technologies. Examples of these projects include providing incentives for producers to transition to less intensive cropping systems, changing land use to fallow or native landscape, or changing the type of cropping system. Other reductions associated with the implementation and modification of BMPs may be realized through ongoing studies and data collection. Basin-specific studies are underway to evaluate and demonstrate the effectiveness of BMPs on a site-specific basis.

Additional reductions may also be achieved through implementing additional agricultural projects and practices. Table 11 lists these projects and practices with their estimated load reductions, based on existing crop types. FDACS supplied the acreages, load reductions associated with applicable practices, and estimated the costs of implementation.

Table 11. Estimated reductions for additional agricultural projects or practices

| Action | Acreage | Reduction Credit for High Recharge Area (lb-N/yr) |  | Reduction Credit for Medium Recharge Area (lb-N/yr) | Cost |
| --- | --- | --- | --- | --- | --- |
| Controlled Release Fertilizer | 1,382 | 373 | 2,073 |  | $24,870 |
| Cover Crops | 1,021 | 827 | 4,595 |  | $45,953 |
| Precision Fertilization | 2,617 | 1,697 | 9,427 |  | $306,148 |
| Precision Irrigation | 1,882 | 120 | 667 |  | $839,555 |
| Soil Moisture Probes | 3,006 | 2,015 | 11,192 |  | $210,000 |
| Total | 9,908 |  |  |  | $1,426,526 |

The projects and practices listed in Table 11 are a component of the reductions to groundwater that could be achieved through changes in practices (Table 12). For example, a 75 % reduction of fertilizer loss to groundwater on 25 % of the fertilized lands would result in an estimated reduction of 30,738 lb-N/yr. Note that these estimates are averaged over the entire basin, and the recharge characteristics of a specific site and the fertilization practices for specific crops may change the estimated reduction for specific acres with a conservation easement or change in fertilization.

Table 12. Calculations for additional load reductions to groundwater

| % of Fertilized Acres with a Change in Practice | Amount of Fertilized Acres with a Change in Practice | 100% Reduction in Load to Ground-water (lb-N/yr reduced) | 75% Reduction in Load to Ground-water (lb-N/yr reduced) | 50% Reduction in Load to Ground-water (lb-N/yr reduced) | 25% Reduction in Load to Ground-water (lb-N/yr reduced) | 10% Reduction in Load to Ground-water (lb-N/yr reduced) |
| --- | --- | --- | --- | --- | --- | --- |
| 100 | 36,111 | 163,935 | 122,951 | 81,968 | 40,984 | 16,394 |
| 75 | 27,083 | 122,951 | 92,213 | 61,476 | 30,738 | 12,295 |
| 50 | 18,056 | 81,968 | 61,476 | 40,984 | 20,492 | 8,197 |
| 25 | 9,028 | 40,984 | 30,738 | 20,492 | 10,246 | 4,098 |
| 10 | 3,611 | 16,394 | 12,295 | 8,197 | 4,098 | 1,639 |

Additional reductions in agricultural loading may be achievable based on the results of ongoing research. Current research areas include increased reductions associated with BMP implementation, up to a 30 % reduction for fertilized crops, the installation of nitrate recovery wells and bioreactors, and increased reductions associated with widespread rotational production and cover crop planting.

Beyond enrolling producers in the FDACS BMP Program and verifying implementation, FDACS will work with DEP to improve the data used to estimate agricultural land uses in the springshed. FDACS will also work with producers to implement a suite of agricultural projects and research agricultural technologies on properties where they are deemed technically feasible and if funding is made available. The acreages provided by FDACS are preliminary estimates of the maximum acreages and will be evaluated and refined over time. As presented here, these projects are based on planning-level information. Actual implementation would require funding as well as more detailed designs based on specific information, such as actual applicable acreages and willing landowners.

## WWTF Management Strategies

WWTFs receive and treat domestic wastewater. In the Weeki Wachee BMAP area, treated effluent containing nitrogen is discharged to sprayfields, RIBs, and percolation ponds, and is reused for irrigation water. The estimated nitrogen load from WWTFs is 45,105 lb-N/year. The discharge location (such as proximity to the spring, highly permeable soils, etc.) and level of wastewater treatment are important factors to consider when calculating loadings to groundwater. Additionally, addressing the nitrogen loading from OSTDS could increase the volume of effluent treated and disposed of by WWTFs.

### Summary of Facilities

There are 23 domestic WWTFs located in the Weeki Wachee BMAP area, including 7 WWTFs permitted to discharge more than 100,000 gallons of treated effluent per day (or 0.1 million gallons per day [mgd]). Figure 4 shows the locations of WWTFs in the Weeki Wachee Basin with discharges greater than 0.1 mgd and those with discharges less than 0.1 mgd.

Figure 4. Locations of WWTFs in the Weeki Wachee BMAP Area

### Wastewater Management Standards and Reuse Management

The Florida Springs and Aquifer Protection Act prohibits new domestic wastewater disposal facilities in the PFA, including RIBs, with permitted capacities of 100,000 gpd or more, except for facilities that provide AWT that reduces total nitrogen in the effluent to 3 mg/L or lower, on an annual permitted basis.

To provide regulatory consistency in the BMAP area and to further improve wastewater management to protect the Weeki Wachee Basin, DEP requires the nitrogen effluent limits listed below in any new or existing wastewater permit, unless the utility/entity can demonstrate reasonable assurance that the reuse or land application of effluent would not cause or contribute to an exceedance of the nitrate concentrations established by the Weeki Wachee Spring Group, Magnolia-Aripeka Springs Group, Wilderness-Mud-Salt Springs Group, and Jenkins Creek Spring TMDLs. To demonstrate reasonable assurance, the utility/entity shall provide relevant water quality data, physical circumstances, or other site-specific credible information needed to show their facility would not cause a nitrate concentration that would be greater than 0.28 mg/L at the Weeki Wachee spring vents and 0.23 mg/L at the Magnolia-Aripeka spring vents. This demonstration may include factors such as dilution, site-specific geological conditions, research/studies, including dye tracer tests, and groundwater transport modeling. Should DEP concur with the reasonable assurance demonstration request, the TN effluent requirements established here may be modified for the applicant or waived.

The nitrogen effluent limits set forth in Table 13 will be applied as an annual average to all new and existing WWTFs with a DEP-permitted discharge. New effluent standards will take effect at the time of permit renewal or no later than five years after BMAP adoption, whichever is sooner.

Table 13. Wastewater effluent standards for the BMAP area

| 95% of the Permitted Capacity (gpd) | TN Concentration Limits for RIBs and Absorption Fields (mg/L) | TN Concentration Limits for All Other Land Disposal Methods, Including Reuse (mg/L) |
| --- | --- | --- |
| Greater than 100,000 | 3 | 3 |
| 20,000 to 100,000 | 3 | 6 |
| Less than 20,000 | 6 | 6 |

Additionally, new or existing wastewater permits in the BMAP area must require at least quarterly sampling of the effluent discharge for TN and must report these sampling results in the discharge monitoring reports (DMRs) submitted to DEP.

DEP encourages the reuse of treated wastewater for irrigation as a water conservation measure. The expansion of reuse water for irrigation can reduce reliance on the Floridan aquifer for water supply. The nitrogen load to groundwater from reuse water is expected to be reduced through these WWTF policies, as improvements in reuse water quality will both reduce loads from this source and limit future increases in loading from reuse because of higher treatment levels.

### Prioritized Management Strategies and Milestones

Based on the current volumes of discharge and effluent concentrations, the estimated reductions to be achieved through the implementation of these revised wastewater standards are 33,058 lb-N/yr. Appendix B contains detailed information on projects that have been completed, are underway, or are planned to reduce nitrogen loading from WWTFs.

Two WWTF projects identified in Appendix B, Hernando County's Decommissioning of the Spring Hill Water Reclamation Facility (WRF) (Project HC-20) and Pasco County's Crews Lake Natural Systems Restoration Project (Project PC-02), are estimated to achieve reductions of 46,171 lb-N/yr and 53,272 lb-N/yr, respectively.

## Atmospheric Deposition Management Strategies

### Summary of Loading

Atmospheric deposition is largely a diffuse, albeit continual, source of nitrogen. Nitrogen species and other chemical constituents are measured in wet and dry deposition at discrete locations around the U.S. In 2014, Schwede and Lear developed a hybrid model for estimating the total atmospheric deposition of nitrogen and sulfur for the entire U.S., referred to as "TDEP." Deposition data from several monitoring networks—including the Clean Air Status and Trends Network (CASTNET), the National Atmospheric Deposition Program (NADP) Ammonia Monitoring Network, the Southeastern Aerosol Research and Characterization Network, and modeled data from the Community Multiscale Air Quality (CMAQ) Modeling System—are combined in a multistep process with National Trends Network (NTN) wet deposition values to model total deposition. The TDEP model run used for the NSILT included data from 2011 to 2013.

### Description of Approach

Atmospheric sources of nitrogen are local, national, and international. Atmospheric sources are generally of low nitrogen concentration compared with other sources and are further diminished through additional biological and chemical processes before they reach groundwater. Atmospheric deposition sources and trends will be re-evaluated periodically.

## Future Growth Management Strategies

Local land development regulations, comprehensive plans, ordinances, incentives, BMPs, environmental resource permit requirements, and consumptive use permit limits provide mechanisms for protecting water resources and reducing the impact of new development and other land use changes as they occur. They are the primary mechanisms available to address additional nitrogen loadings from urban and agricultural growth. Future agricultural operations will be subject to the same requirements as existing operations with regard to the implementation of FDACS-adopted BMPs (Section 2.7).

The associated increased load from OSTDS to groundwater must also be addressed in addition to the current loads. Future development on lots less than one acre in the PFA must connect to central sewer, if available, or include nitrogen-reducing OSTDS as described in Appendix D. This BMAP recognizes local protections described in Appendix H as important components of the BMAP and encourages local governments to further strengthen local watershed protection frameworks.

## Protection of Surface Water and Groundwater Resources through Land Conservation

Maintaining land at lower intensity uses through land purchases or easements for conservation and recreational use is one strategy that can help reduce water quality impacts in the Weeki Wachee Basin. Table 14 identifies land conservation purchases in the BMAP area since 2012, which is the last year of the period of record used for developing the Weeki Wachee TMDLs.

Table 14. Stakeholder conservation land purchases

TBD = To be determined

| Lead Entity | Name of Conservation Purchase | Description | Purchase Status | Cost | Acreage Acquired | Year Acquired |
| --- | --- | --- | --- | --- | --- | --- |
| Pasco County | Jumping Gully/Crews Lake Phase I | Protect identified ecological corridor between Starkey Wilderness Park and Cross Bar Ranch. | Completed | $6,600,000 | 1,600 | 2015 |
| Pasco County | Aripeka Heights | Coastal Ecological Planning Unit | Completed | $2,400,000 | 210 | 2012 |
| Pasco County | Jumping Gully/Crews Lake Phase II | Protect identified ecological corridor between Starkey Wilderness Park and Cross Bar Ranch. | Planned | $1,100,000 | 100 | 2017 |
| Pasco County | Connerton to Cross Bar | Protect identified ecological corridor between Connerton and Cross Bar. | Planned | TBD | 800 | TBD |
| Pasco County | Coastal Ecological Planning Unit | Conservation program to acquire land identified along the coast. | Planned | TBD | TBD | TBD |
| Hernando County | Norfleet Property | Provide a greenway corridor connection from Hernando County to Pasco County that conserves habitat and listed species, buffers a spring run and coastal spring, minimizes flood hazards, and maintains natural stormwater treatment for Hammock Creek. | Planned | $250,000 | 60 | TBD |
| SWFWMD | Boat Spring | Protect the water resources of the Hammock Creek system, link existing SWFWMD ownerships, and enhance the natural systems of the Weeki Wachee Preserve | Completed | $1,370,000 | 81 | 2015 |

## Commitment to Implementation

Successful BMAP implementation requires commitment, dedicated state funding, and follow-up. Stakeholders have expressed their intention to carry out the plan, monitor its effects, and continue to coordinate within and across jurisdictions to achieve nutrient reduction goals. As the TMDLs must be achieved within 20 years, DEP, FDACS, and SWFWMD will implement management actions with a portion of the annual $50 million state appropriations to reduce nitrogen in the Weeki Wachee Basin.

# : Monitoring and Reporting

## Methods for Evaluating Progress

DEP will work with stakeholders to track project implementation and organize the monitoring data collected each year. The project and monitoring information will be presented in an annual update. Stakeholders have agreed to meet annually after the adoption of the BMAP to follow up on plan implementation, share new information, and continue to coordinate on TMDL restoration related issues. The following activities may occur at annual meetings:

- Implementation data and reporting:

Collect project implementation information from stakeholders, including FDACS agricultural BMP enrollment and FDOH-issued permits, and compare with the BMAP schedule.

Discuss the data collection process, including any concerns and possible improvements to the process.

Review the monitoring plan implementation, as detailed in Section 3.3.

- Sharing new information:

Report on results from water quality monitoring and trend information.

Provide updates on new management strategies in the basin that will help reduce nutrient loading.

Identify and review new scientific developments on addressing nutrient loads and incorporate any new information into annual progress reports.

- Coordinating on TMDL restoration-related issues:

Provide updates from DEP on the basin assessment cycle and activities related to any impairments, TMDLs, and BMAP.

Obtain reports from other basins where tools or other information may be applicable to the Weeki Wachee Spring Group, Magnolia-Aripeka Springs Group, Wilderness-Mud-Salt Springs Group, and Jenkins Creek Spring TMDLs.

## Adaptive Management Measures

Adaptive management involves making adjustments in the BMAP when circumstances change or monitoring indicates the need for additional or more effective restoration strategies. Adaptive management measures may include the following:

Implementing procedures to determine whether additional cooperative strategies are needed.

Using criteria/processes for determining whether and when plan components need revision because of changes in costs, project effectiveness, social effects, watershed conditions, or other factors.

Revising descriptions of stakeholders' roles during BMAP implementation and after BMAP completion.

Updating information on corrective actions (and any supporting documentation) being implemented as data are gathered to refine project implementation schedules and performance expectations.

Key components of adaptive management to share information and expertise are tracking plan implementation, monitoring water quality and pollutant loads, and holding periodic meetings.

## Water Quality and Biological Monitoring

### Objectives

Focused objectives are critical for a monitoring strategy to provide the information needed to evaluate implementation success. Since the BMAP implementation involves an iterative process, the monitoring efforts are related to primary and secondary objectives. The primary objectives focus on achieving water quality targets, while the secondary objectives focus on water quality parameters that can be used to provide information for future refinements of the BMAP. The monitoring strategy may be updated as necessary.

Primary objectives:

Measure the water quality and biological response in the impaired springs, river, and/or groundwater at the beginning of the BMAP period and during implementation.

Document nutrient trends in the Weeki Wachee Basin and associated springs and groundwater.

Focus BMP efforts by using water quality results combined with appropriate project information and land use in conjunction with statistical and spatial analysis tools.

Secondary objectives:

Identify areas where groundwater data and modeling might help in understanding the hydrodynamics of the system.

Confirm and refine nutrient removal efficiencies of agricultural and/or urban BMPs.

Identify and implement more effective nutrient reduction strategies.

Use nitrogen isotope and tracer sampling for evaluating nitrogen contributions from organic and inorganic sources.

### Water Quality Parameters, Frequency, and Network

To achieve the objectives listed above, the monitoring strategy focuses on two types of indicators to track improvements in water quality: core and supplemental (Tables 15 and 16, respectively). The core indicators are directly related to the parameters causing impairment in the river or associated springs. Supplemental indicators are monitored primarily to support the interpretation of core water quality parameters. The monitoring network is established for a variety of purposes.

For this BMAP, nitrate is considered to be the key core parameter measured, to track progress in decreasing nitrogen concentrations in groundwater and the water flowing from the spring vent. The other parameters are considered supplementary parameters for the BMAP, as they build information about groundwater and the spring but are not direct measurements of impairment.

At a minimum, the core parameters will be tracked to determine the progress made towards meeting the TMDLs and/or achieving the numeric nutrient criteria (NNC). Resource responses to BMAP implementation may also be tracked. A significant amount of time may be needed to observe changes in water chemistry.

Table 15. Core water quality indicators and field parameters

Core Parameters

Chloride

Sulfate

Potassium

Ammonia as Nitrogen

Total Kjeldahl Nitrogen

Nitrate/Nitrite as Nitrogen

Table 16. Supplemental water quality indicators and field parameters

Supplemental Parameters

Specific Conductance

Dissolved Oxygen (DO)

pH

Temperature

Total Suspended Solids (TSS)

Nitrate and Oxygen Isotopes

Initially, data from the ongoing sampling effort being conducted by SWFWMD will be used to meet the primary objectives. Surface water and groundwater monitoring network locations were selected to track changes in water quality and allow the annual evaluation of progress toward achieving the TMDL. Figure 5 shows the location of the river and spring stations currently being sampled that will be used for the BMAP monitoring in the Weeki Wachee Basin.

Figure 5. Groundwater and surface water stations sampled in the Weeki Wachee Basin

### Biological Monitoring

Biological resource responses represent improvements in the overall ecological health of the Weeki Wachee Basin (see Table 17).

Table 17. Anticipated resource responses from BMAP implementation

Resource Responses

Increase in Stream Condition Index (SCI) score

Increase in Linear Vegetation Survey (LVS) score

Increase in Rapid Periphyton Survey (RPS) score

Increase in key fish populations

An RPS will be conducted to assess the abundance and variety of algae in the river. An LVS will be conducted to assess the types and density of vegetation present in the river and to identify the native versus non-native species. An SCI will be conducted to measure the number of different organisms present in the river. In addition, habitat assessments (HAs) will be conducted to assess the river conditions and habitat present to support the SCI evaluation. Water quality samples will also be collected with the biological monitoring.

### Data Management and Assessment

As of June 30, 2017, water quality data in Florida are entered by the entity collecting the data into the Florida Watershed Information Network (WIN) Database, which has replaced the Florida Storage and Retrieval System (STORET). DEP pulls water quality data directly from WIN for impaired waters evaluations and TMDL development. Data providers are required to upload their data regularly, so the information can be used as part of the water quality assessment process and for annual reporting. Data providers should upload their data to WIN, upon completion of the appropriate quality assurance/quality control (QA/QC) checks. All data collected in the last quarter of the calendar year should be uploaded no later than April 1 of the following year.

Biological data are stored in the DEP Statewide Biological (SBIO) Database. Biological data collected by data providers should also be uploaded regularly, after the appropriate QA/QC checks. All biological data collected in the last quarter of the calendar year should be uploaded no later than April 1 of the following year.

The water quality will be analyzed during BMAP implementation to determine trends in water quality and the health of the biological community. A wide variety of statistical methods are available for the water quality trend analyses. The selection of an appropriate data analysis method depends on the frequency, spatial distribution, and period of record available from existing data. Specific statistical analyses were not identified during BMAP development.

### QA/QC

Stakeholders participating in the monitoring plan must collect water quality data in a manner consistent with Chapter 62-160, F.A.C., and the DEP standard operating procedures (SOPs) for QA/QC required by rule. The most current version of these procedures is available on the DEP website. For BMAP-related data analyses, entities should use National Environmental Laboratory Accreditation Conference (NELAC) National Environmental Laboratory Accreditation Program (NELAP)–certified laboratories or other labs that meet the certification and other requirements outlined in the SOPs.

# Appendices

Appendix A. Important Links

The links below were correct at the time of document preparation. Over time, the locations may change and the links may no longer be accurate. None of these linked materials are adopted into this BMAP.

- DEP Website: http://www.floridadep.gov

- DEP Map Direct Webpage: https://ca.dep.state.fl.us/mapdirect/

- Searchable online version of PFA maps: https://www.floridadep.gov/pfamap

- Florida Statutes: http://www.leg.state.fl.us/statutes

  - Florida Watershed Recovery Act (Section 403.067, F.S.)

  - Florida Springs and Aquifer Protection Act (Part VIII of Chapter 373, F.S.)

- DEP Model Ordinances: http://fyn.ifas.ufl.edu/fert_ordinances.html

- DEP Standard Operating Procedures for Water Quality Samples: https://floridadep.gov/dear/quality-assurance/content/dep-sops

- NELAC NELAP: https://fldeploc.dep.state.fl.us/aams/index.asp

- FDACS BMPs: https://www.freshfromflorida.com/Business-Services/Best-Management-Practices-BMPs/Agricultural-Best-Management-Practices

- FDACS BMP and Field Staff Contacts: http://www.freshfromflorida.com/Divisions-Offices/Agricultural-Water-Policy

- Florida Administrative Code (Florida Rules): https://www.flrules.org/

- SWFWMD 2017 Weeki Wachee River Surface Water Improvement and Management SWIM Plan: http://www.swfwmd.state.fl.us/files/database/calendar/Weeki_Wachee_GB_FINAL_SWIM_Plan_v2.pdf

- SWFWMD Springs: http://www.swfwmd.state.fl.us/springs/

- SWFWMD Social Research: http://www.swfwmd.state.fl.us/projects/social_research/

- UF-IFAS Research: http://research.ifas.ufl.edu/

Appendix B. Projects to Reduce Nitrogen Sources

Prioritization of Management Strategies

The management strategies in Table B-1 are ranked with a priority of high, medium, or low. In 2016, the Florida Legislature amended the Watershed Restoration Act (Section 403.067, F.S.), creating additional requirements for all new or revised BMAPs. BMAPs must now include planning-level details for each listed project, along with their priority ranking.

Project status was selected as the most appropriate indicator of a project’s priority ranking based primarily on need for funding. Projects with a "completed" status were assigned a low priority. Projects classified as "underway" were assigned a medium priority because some resources have been allocated to these projects, but additional assistance may be needed for the project to be completed. High priority was assigned to projects listed with the project status "planned" as well as certain "completed" projects that are ongoing each year (any project with one of these project types: "street sweeping," "catch basin inserts/inlet filter cleanout,"  "public education efforts," "fertilizer cessation," "fertilizer reduction," or "aquatic vegetation harvesting"), and select projects that are elevated because substantial, subsequent project(s) are reliant on their completion.

Description of the Management Strategies

Responsible entities submitted these management strategies to the department with the understanding that the strategies would be included in the BMAP, thus requiring each entity to implement the proposed strategies in a timely way and achieve the assigned load reduction estimates.  However, this list of strategies is meant to be flexible enough to allow for changes that may occur over time. Any change in listed management strategies, or the deadline to complete these actions, must first be approved by the department. Substituted strategies must result in equivalent or greater nutrient reductions than expected from the original strategies.

While the 20-year planning period for this BMAP is 2018 to 2038, projects completed since January 1, 2013, count toward the overall nitrogen reduction goals.

Estimated nitrogen reductions are subject to refinement based on DEP verification and/or on adjustment to calculations based on loading to groundwater rather than surface water. Agriculture load reductions (FDACS-01 and FDACS-02) assume 100 % enrollment and verification. Projects with a designation of TBD (to be determined) denotes information is not currently available, but will be provided by the stakeholder when it is available. Projects with a designation of N/A (not applicable) indicates the information for that category is not relevant to that project. Projects with a designation of "Not Provided" denotes that information was requested by DEP but was not provided by the lead entity.

Table B-1. Stakeholder projects to reduce nitrogen sources

*Denotes project that is applicable in another Springs Coast BMAP. The dollar amount is the total project amount (not split among the BMAPs).

| Lead Entity | Project Number | Project Name | Project Description | Project Type | Project Status | Start Date | Estimated Completion Date | Nitrogen Source Addressed by Project | Estimated Nitrogen Load Reduction (lb-N/yr) | Cost Estimate | Funding Source | Funding Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| City of Brooksville | COB-01 | Public Education Activities | Adopt fertilizer ordinance in 2017; website, public service announcements, brochures, etc. | Public Education | Underway | 2017 | 2018 | UTF | 22 | TBD | County | TBD |
| City of Brooksville | COB-02 | Septic to Sewer Conversion | Connect approximately 75 septic systems to central sewer system. | Wastewater Service Area Expansion | Planned | 2019 | 2021 | OSTDS | TBD | $1,400,000 | City/DEP | TBD |
| City of Brooksville | COB-03 | Septic to Sewer Conversion | Connect approximately 300 septic systems to central sewer system. | Wastewater Service Area Expansion | Planned | 2027 | 2030 | OSTDS | TBD | $6,000,000 | City/DEP/Other | TBD |
| City of Brooksville | COB-04 | Reuse Water to Hernando Oaks Golf Course | Connect Brooksville reclaim transmission line to Hernando Oaks Golf Course for irrigation purposes. | Reuse Project | Planned | 2018 | 2019 | STF | TBD | $490,000 | DEP | DEP: $490,000 |
| Hernando County | HC-01 | Package Plant Connection Project | Connect several private wastewater package plants to the county's central wastewater collection system. | Wastewater System Upgrade | Underway | 2016 | 2019 | WWTF | Not Provided | $3,689,270 | County/ DEP | DEP: $3,432,970 County: $256,300 |
| Hernando County | HC-02 | Oakley Island Sewer Infrastruc-ture | Design, permit, and construct a municipal sewer system to eliminate 15 septic systems and connect the county park to the sewer system. | Wastewater Service Area Expansion | Underway | 2016 | 2019 | OSTDS | 338 | $578,760 | County/ DEP | DEP: $491,160 County: $87,600 |
| Hernando County | HC-03 | Septic to Sewer Conversion Study | Quantified and studied the feasibility of converting approximately 30,000 septic systems within 19 districts to central sewer in the Spring Hill area. | Study | Completed | 2016 | 2017 | OSTDS | N/A | $240,000 | Fish & Wildlife Foundation/County | Foundation$138,000 County: $102,000 |
| Hernando County | HC-04 | District A - Phase I Septic to Sewer Conversion | Convert 450 septic systems to central sewer. | Wastewater Service Area Expansion | Planned | 2019 | 2021 | OSTDS | 5,500 | $10,000,000 | County/ DEP | TBD |
| Hernando County | HC-05 | District A - Phase II Septic to Sewer Conversion | Convert 450 septic systems to central sewer. | Wastewater Service Area Expansion | Planned | 2021 | 2023 | OSTDS | 5,500 | $10,000,000 | County/ DEP | TBD |
| Hernando County | HC-06 | District B - Phase I Septic to Sewer Conversion | Convert 650 septic systems to central sewer. | Wastewater Service Area Expansion | Planned | 2023 | 2026 | OSTDS | 8,100 | $14,000,000 | County/ DEP | TBD |
| Hernando County | HC-07 | District B - Phase II Septic to Sewer Conversion | Convert 660 septic systems to central sewer. | Wastewater Service Area Expansion | Planned | 2025 | 2027 | OSTDS | 8,100 | $14,000,000 | County/ DEP | TBD |
| Hernando County | HC-08 | Pine Island Park Septic to Sewer Conversion | Convert 90 septic systems to central sewer. | Wastewater Service Area Expansion | Planned | 2018 | 2020 | OSTDS | TBD | $2,135,960 | County/ DEP | TBD |
| Hernando County | HC-09 | Mary's Fish Camp Septic to Sewer Conversion | Convert 25 recreation vehicle lot septic systems to central sewer. | Wastewater Service Area Expansion | Planned | 2020 | 2021 | OSTDS | TBD | $717,800 | County/ DEP | TBD |
| Hernando County | HC-10 | U.S. 19 Reclaimed Water Transmission - Phase I | This is the first phase of a reclaimed water main loop around western Hernando County. The project will initially provide 1.7 MGD of reclaimed water to the Timber Pines Subdivision and Golf Course, with future utilization up to 4.5 MGD. | Wastewater System Upgrade | Underway | 2016 | 2018 | WWTF | Reduction included in HC-20 | $12,000,000 | DEP/ SWFWMD/ County | DEP: $6,000,000 County: $3,000,000 SWFWMD $3,000,000 |
| Hernando County | HC-11* | Reclaimed Water Master Plan Revision | Revision to current reclaimed water plan to identify future growth and needed interconnections. The increased use of reclaimed water will reduce fertilizer application. | Study | Underway | 2016 | 2018 | UTF | N/A | $150,000 | County/ SWFWMD | SWFWMD $75,000 County: $75,000 |
| Hernando County | HC-12 | Public Education Activities | Adopted fertilizer ordinance; pet waste ordinance; website, brochures, public service announcements, etc. | Public Education | Completed | 2013 | 2013 | UTF | 3,772 | Not Provided | County | County: $20,000 |
| Hernando County | HC-13 | Drainage Retention Area Retrofits | Conceptual planning for the retrofitting of 10 drainage retention areas within two miles of the Weeki Wachee Spring using biosorption activated media. Construction should occur in 2020 depending on funding. | Wet Detention Pond | Planned | 2017 | 2021 | UTF | 200 | $750,000 | County/ DEP/ SWFWMD | Not Provided |
| Hernando County | HC-14 | BMAP Manager | Proposed position to be filled by a high-level staff person to lead all aspects of BMAP implementation for Hernando County. This position will be responsible for intergovernmental coordination with agencies to fulfill BMAP requirements. | Other | Planned | 2017 | 2031 | Other | N/A | $150,000 | TBD | TBD |
| Hernando County | HC-15 | South Brooksville BMP 5 Dauson Stormwater Project | Construction of a stormwater pond providing water quality treatment and flood storage for runoff from untreated existing urban area. | Wet Detention Pond | Completed | 2012 | 2014 | UTF | 179 | $498,625 | County/ SWFWMD | SWFWMD$175,000 County: $323,625 |
| Hernando County | HC-16 | South Brooksville BMP 6 Josephine Street Stormwater Project | Construction of a stormwater pond providing water quality treatment and flood storage for runoff from untreated existing urban area. | Wet Detention Pond | Underway | 2015 | 2018 | UTF | 36 | $612,000 | County/ SWFWMD | SWFWMD$175,000 County: $437,000 |
| Hernando County | HC-17 | South Brooksville BMP 7 Russell Street Stormwater Project | Construction of a stormwater pond providing water quality treatment and flood storage for runoff from untreated existing urban area. | Wet Detention Pond | Underway | 2015 | 2017 | UTF | 80 | $1,115,612 | County/ SWFWMD | SWFWMD $475,000 County: $640,612 |
| Hernando County | HC-18 | Peck Sink Preserve Stormwater Management Facility | Construction of stormwater treatment train providing water quality pretreatment of surface discharges to Peck Sink. | BMP Treatment Train | Completed | 2010 | 2014 | UTF | Not Provided | $3,200,000 | County/ SWFWMD/ DEP/ USDA | Not Provided |
| Hernando County | HC-19 | Decommis-sioning of the Berkeley Manor WTF | Diverting wastewater flow to Airport WWTP that achieves better nitrogen removal and demolishing the Berkeley Manor WTF. | Wastewater Treatment Facility Upgrade | Underway | 2012 | 2017 | WWTF | Not Provided | $1,100,000 | County | County: $1,100,000 |
| Hernando County | HC-20 | Decommis-sioning of the Spring Hill Water Reclamation Facility (WRF) | Diverting wastewater flow to other county treatment facilities that achieve better nitrogen removal and demolishing the Spring Hill WRF. | Wastewater Treatment Facility Upgrade | Planned | 2019 | 2020 | WWTF | 46,171 | $11,277,000 | County | County: 11,277,000 |
| Hernando County | HC-21 | Airport WWTP Upgrade | Add filtration and expand capacity; allow public access reuse. | Wastewater Treatment Facility Upgrade | Planned | 2020 | 2022 | WWTF | TBD | $35,000,000 | County/ DEP | TBD |
| Hernando County | HC-22 | Rogers Park Low Impact Development (LID) Improve-ments | Design, permit, and construct stormwater improvements at Rogers Park to reduce sediment, nutrient, and other contaminant loads to the Weeki Wachee River. | Low Impact Develop-ment | Underway | 2014 | 2018 | UTF | 12 | $525,000 | SWFWMD/Hernando Co | SWFWMD$225,000 Hernando Co.: $300,000 |
| Hernando County | HC-23 | Street Sweeping | Street sweeping of 46 miles of urban roadways | Street Sweeping | Underway | Not Pro-vided | Not Provided | UTF | 320 | $8,000 | County | County: $8,000/yr |
| Hernando County | HC-24 | Septic Drain Field Enhancement Rulemaking | Coordinate with the Florida Department of Health (FDOH) on rulemaking and permitting process for septic system enhancements. | Other | Planned | 2017 | 2020 | OSTDS | N/A | TBD | TBD | TBD |
| Hernando County | HC-25 | Weeki Wachee Prairie Watershed Management Plan | Completion of watershed management plan that included a stormwater level of service analysis, surface water resource assessment, and BMP alternative analysis. | Studies | Underway | 2015 | 2017 | Other | N/A | $227,500 | County/ SWFWMD | SWFWMD$165,000 County: $62,500 |
| Hernando County | HC-26 | Peck Sink Watershed Master Plan | Comprehensive watershed master plan to remedy water quality issues associated with stormwater runoff entering the Floridan aquifer via the Peck Sink complex in Hernando County. | Studies | Completed | 2002 | 2017 | Other | N/A | $297,410 | SWFWMD/Hernando Co | SWFWMD$242,410 Hernando Co.: $55,000 |
| Hernando County | HC-27 | Powell Sink Watershed Master Plan | Comprehensive engineering analysis, water quality assessment, watershed model development, and conceptual BMP designs. | Studies | Completed | 2014 | 2016 | Other | N/A | $150,000 | SWFWMD/Hernando Co | SWFWMD $75,000 Hernando Co.: $75,000 |
| Hernando County | HC-28 | Spring Hill Lakes Resource Assessment and BMP Plan | Comprehensive engineering analysis, water quality assessment, watershed model development, and conceptual BMP designs. | Studies | Underway | 2015 | 2017 | Other | N/A | $200,000 | SWFWMD/Hernando Co | SWFWMD $100,000 Hernando Co.: $100,000 |
| Hernando County | HC-29 | Squirrel Prairie Resource Assessment and BMP Plan | Comprehensive engineering analysis, water quality assessment, watershed model development, and conceptual BMP designs. | Studies | Underway | 2015 | 2017 | Other | N/A | $200,000 | SWFWMD/Hernando Co | SWFWMD$100,000 Hernando Co.: $100,000 |
| Hernando County | HC-30 | Oman/Indian Creek Resource Assessment and BMP Plan | Comprehensive engineering analysis, water quality assessment, watershed model development, and conceptual BMP designs. | Studies | Completed | 2013 | 2015 | Other | N/A | $100,000 | SWFWMD/Hernando Co | SWFWMD$50,000 Hernando Co.: $50,000 |
| Hernando County | HC-31 | Willow Sink Watershed Master Plan | Comprehensive engineering analysis, water quality assessment, watershed model development, and conceptual BMP designs. | Studies | Completed | 2013 | 2015 | Other | N/A | $150,000 | SWFWMD/Hernando Co | SWFWMD$75,000 Hernando Co.: $75,000 |
| Hernando County | HC-32 | Wiscon Watershed Master Plan | Comprehensive engineering analysis, water quality assessment, watershed model development, and conceptual BMP designs. | Studies | Completed | 2014 | 2016 | Other | N/A | $150,000 | SWFWMD/Hernando Co | SWFWMD$75,000 Hernando Co.: $75,000 |
| Hernando County | HC-33 | High Point Stormwater Improvement | Construction of a stormwater pond providing water quality treatment and flood storage for runoff from untreated existing residential area. | Wet Detention Pond | Completed | 2013 | 2014 | UTF | 20 | $175,000 | County | County: $175,000 |
| Hernando County | HC-34 | Coastal Way Shopping District Parking Lot Water Quality Retrofit | Retrofit a water quality system with enhanced nitrogen removal technology that serves an existing commercial district discharging into Weeki Wachee springshed. | Wet Detention Pond | Planned | TBD | 2021 | UTF | 73 | $350,000 | TBD | TBD |
| Hernando County | HC-35 | Brentlawn Street Enhanced Treatment Stormwater Improve-ments | Construction of treatment train with enhanced nitrogen removal technology to provide water quality pretreatment of groundwater discharges to Weeki Wachee springshed. | BMP Treatment Train | Planned | TBD | 2022 | UTF | 19 | $160,000 | TBD | TBD |
| Hernando County | HC-36 | Harper Street Enhanced Treatment Stormwater Improve-ments | Construction of treatment train with enhanced nitrogen removal technology to provide water quality pretreatment of groundwater discharges to Weeki Wachee springshed. | BMP Treatment Train | Planned | TBD | 2022 | UTF | 89 | $80,000 | TBD | TBD |
| Pasco County | PC-01 | Central Pasco County Beneficial Water Reuse Project | Design, permit, and construct a wetland infiltration system that uses excess reclaimed water quality polishing and groundwater recharge. Up to 5 MGD of surplus reclaimed water will be delivered to the site with up to 1.6 MGD expected to infiltrate into the Upper Floridan aquifer. | Reuse Project | Underway | 2015 | 2021 | Other | Not Provided | $13,224,955 | SWFWMD/County | Not Provided |
| Pasco County | PC-02 | Crews Lake Natural Systems Restoration Project | Construction of infrastructure providing reclaimed water and restoring approximately 200 acres of wetlands in and adjacent to Crews Lake. Nutrient flows that are currently delivered to the RIB complex will be diverted to the Crews Lake site where biological process will remove nitrogen to background levels. | Other | Underway | 2017 | 2021 | WWTF | 53,272 | $8,497,770 | DEP/ SWFWMD/ County | DEP: $4,248,885 SWFWMD $2,124,442 County: $2,124,443 |
| Pasco County | PC-03 | Street Sweeping | This project includes street sweeping in 500,000 square feet in collector roads, located within the springsheds. Six sweeping events a year. | Street Sweeping | Planned | 2019 | 2021 | UTF | 100 | $10,000 | Pasco County | County: $10,000 |
| Pasco County | PC-04 | Public Education Activities | Adopted fertilizer ordinance; website, brochures, public service announcements, etc. | Public Education | Completed | 2013 | 2014 | UTF | 296 | Not Provided | Pasco County | Not Provided |
| Pasco County | PC-05 | Pet Waste Ordinance | Pasco County staff intend to present the Board of County Commissioners a pet waste ordinance for adoption. | Public Education | Planned | 2019 | 2021 | UTF | TBD | TBD | Pasco County | TBD |
| Pasco County | PC-06 | Heritage Pines Reclaimed Water Service | Provide reclaimed water to 1,300 homes for residential irrigation. | Reuse Project | Completed | 2013 | 2016 | UTF | Not Provided | $1,266,600 | DEP/ SWFWMD/ County | DEP: $300,000 SWFWMD $333,300 County: $633,300 |
| FDACS | FDACS-01 | Agricultural BMPs - Farm Fertilizer | Implementation of existing BMPs on applicable acreage. Up to 15 % reduction in load to groundwater. | BMPs | Underway | Underway | TBD | FF | 24,590 | TBD | TBD | TBD |
| FDACS | FDACS-02 | Agricultural BMPs - Livestock Waste | Implementation of existing BMPs on applicable acreage. Up to 10 % reduction in load to groundwater. | BMPs | Underway | Underway | TBD | LW | 9,135 | TBD | TBD | TBD |
| SWFWMD | SWF-01 | Weeki Wachee SWIM Plan | Implementation and periodic review and update of the Weeki Wachee SWIM Plan. | Study | Completed | 2015 | 2017 | Other | N/A | $200,000 | SWFWMD | SWFWMD $200,000 |
| SWFWMD | SWF-02 | Weeki Wachee River Canoe Launch and Parking Area | Stabilization of soils at the ramp entrance and improvements to the parking area near the launch to reduce stormwater pollutants entering the Weeki Wachee River. | Shoreline Stabili-zation | Completed | 2012 | 2017 | UTF | 12 | $350,000 | SWFWMD | SWFWMD $350,000 |
| SWFWMD | SWF-03* | Facilitating Agricultural Resource Management Systems (FARMS) Program | The FARMS Program is an agricultural BMP cost-share program to promote improved water quality in spring systems through approved precision nutrient application technologies. | BMPs | Underway | Prior to 2012 | 2021 | FF | Not Provided | $6,000,000 | SWFWMD | SWFWMD $6,000,000 |
| SWFWMD | SWF-04* | Evaluation of Nitrogen Leaching from Reclaimed Water | This project will determine typical nitrogen leaching rates from reclaimed water application to lawns, spray fields, and rapid infiltration basins. This information can be used to refine estimates of nitrogen loading to the aquifer and springs, and identify the best reclaimed water disposal methods to minimize nitrogen loading to groundwater. | Studies | Underway | 2014 | 2018 | UTF | N/A | $294,000 | SWFWMD | SWFWMD $294,000 |
| SWFWMD | SWF-05* | Springs Coast Wastewater Disposal Treatment Wetlands | This project will assess areas to determine sites appropriate for construction of wetlands to treat WWTF effluent. | Studies | Underway | 2014 | 2017 | WWTF | N/A | $400,000 | SWFWMD | SWFWMD $400,000 |
| UF-IFAS | IFAS-01* | Development of Landscape Fertilizer BMPs | The objective of this project is to verify the accuracy of the Florida Yards and Neighborhoods (FYN) and Florida Green Industries BMPs fertilizer recommendations. | Studies | Underway | 2012 | 2018 | UTF | N/A | $274,429 | SWFWMD | SWFWMD $274,429 |
| UF-IFAS | IFAS-02* | Composting at Animal Stock Facilities | Evaluate the nutrient removal efficiency from composting animal waste. The project will compare nutrient leaching efficiency for manure stockpiling and composting facilities | Studies | Underway | 2016 | 2018 | LW | N/A | $175,000 | SWFWMD | SWFWMD $175,000 |
| Golf Courses | GC-01 | Golf Course Reduction Credits | 6% BMP credit on golf course load to groundwater, assuming 100% BMP implementation by golf course owners. | BMPs | Planned | TBD | TBD | STF | 5,280 | TBD | TBD | TBD |
| Sports Fields | SF-01 | Sports Field Reduction Credits | 10% BMP credit on sports field load to groundwater, assuming 100% BMP implementation by sports field owners. | BMPs | Planned | TBD | TBD | STF | 62 | TBD | TBD | TBD |
| Wastewater Utilities | WU-01 | Wastewater Treatment Facility Reduction Credits | Achieved by WWTF policy if implemented BMAP-wide, achieving 3 or 6 mg/L. | Wastewater Treatment Facility Upgrade | Planned | TBD | TBD | WWTF | 33,058 | TBD | TBD | TBD |

Appendix C. Weeki Wachee PFA Report

A PFA (Weeki Wachee Spring, October 2016) is defined as the area(s) of a basin where the Floridan aquifer is generally most vulnerable to pollutant inputs and where there is a known connectivity between groundwater pathways and an OFS. As required by the Florida Springs and Aquifer Protection Act, DEP delineated a PFA for the Weeki Wachee Spring Group. This PFA is adopted and incorporated by reference into this BMAP. Information on this and other springshed PFAs is available in report format at the following link:

http://publicfiles.dep.state.fl.us/DEAR/BMAP/Adopted%20BMAPs/Weeki%20Wachee/PFA%20and%20GIS%20Files/

Appendix D.  OSTDS Remediation Plan

The Florida Aquifer and Springs Protection Act specifies that if during the development of a BMAP for an OFS, DEP identifies OSTDS as contributors of at least 20 % of nonpoint source nitrogen pollution in a PFA or if DEP determines remediation is necessary to achieve the TMDLs, the BMAP shall include an OSTDS remediation plan. Based on the Weeki Wachee NSILT and GIS coverages, OSTDS contribute approximately 44 % pollutant loading in the PFA. Irrespective of the percent contribution from OSTDS, DEP has determined that an OSTDS remediation plan is necessary to achieve the TMDLs and to limit the increase in nitrogen loads from future growth.

D.1	Plan Elements

D.1.1 Permits for Installation of New OSTDS

Per statute, new OSTDS on lots of less than one acre are prohibited within PFAs, if the addition of the specific systems conflicts with an OSTDS remediation plan incorporated into an OFS BMAP (see Section 373.811(2), F.S.). This OSTDS remediation plan prohibits installation of new conventional systems on lots of less than one acre within the PFA, unless the OSTDS includes enhanced treatment of nitrogen or unless the OSTDS permit applicant demonstrates that sewer connections will be available within 5 years. Local governments and utilities are encouraged to develop master wastewater treatment feasibility plans to identify specific areas to be sewered within 20 years of BMAP adoption. To aid in implementation, the DEP Map Direct webpage includes a detailed downloadable springs PFA boundary shapefile. DEP also maintains on its website an interactive map of the PFA and BMAP boundaries; the map can be easily searched for specific street address locations.

FDOH permits the installation of new OSTDS pursuant to Chapter 64E-6, F.A.C., which includes not only systems installed on a property where one has not previously been installed, but also systems installed to replace illegal systems, systems installed in addition to existing systems, and other new systems. FDOH permitting requirements with respect to the definition of "new" or "less than one acre" will be followed for this remediation plan. For FDOH to issue a permit for a new OSTDS on a lot of less than one acre within a PFA, the system must include at least one of the following nitrogen reducing enhancements:

- Features allowed pursuant to FDOH rule, such as in-ground nitrogen-reducing biofilters (media layer systems).

- Features consistent with and identified in the FDOH Florida Onsite System Nitrogen Removal Strategy Studies report, such as in-tank nitrogen-reducing biofilters.

- Other FDOH-approved treatment systems capable of meeting or exceeding the NSF Standard 245 nitrogen removal rate before disposing the wastewater in the drain field, such as aerobic treatment units (ATU) and performance-based treatment systems (PBTS). For FDOH-approved treatment systems that meet NSF 245, but do not meet or exceed the minimum treatment level expected from the in-ground nitrogen-reducing biofilters, the drain fields, at minimum, shall be installed with a 24-inch separation between the bottom of the drain field and the seasonal high-water table.

D.1.2 Permits for Modification or Repair of Existing OSTDS

- Per statute, the OSTDS remediation plan must provide loading reductions consistent with achieving the TMDL within 20 years of plan adoption (see Section 373.807(1)(b)8., F.S.). This plan therefore establishes the following remediation policy for existing systems, based on (a) the potential for reducing nitrogen loads by converting existing OSTDS to enhanced nitrogen removing systems or by connecting homes to central sewer, (b) the total amount of nitrogen load that must be reduced to achieve the TMDL, and (c) the relative contribution of nitrogen load from existing OSTDS.

- Where does the remediation policy for existing systems apply? It applies to all existing OSTDS within the PFA on lots of all sizes.

- What is required by the remediation policy for existing systems? For FDOH to issue a modification or repair permit to an existing OSTDS in the area subject to the policy, the system must include at least one of the following nitrogen reduction enhancements, unless the OSTDS permit applicant demonstrates that sewer connections will be available within 5 years.

  - Enhanced treatment of nitrogen means inclusion of features allowed pursuant to FDOH rules, such as in-ground nitrogen-reducing biofilters (media layer systems); features consistent with and identified in the FDOH Florida Onsite System Nitrogen Removal Strategy Studies report, such as in-tank nitrogen-reducing biofilters; or other FDOH-approved treatment systems capable of meeting or exceeding the NSF Standard 245 nitrogen removal rate before disposing the wastewater in the drain field, such as ATUs and PBTSs. For FDOH-approved treatment systems that meet NSF 245, but do not meet or exceed the minimum treatment level expected from the in-ground nitrogen-reducing biofilters, the drain fields, at minimum, shall be installed with a 24-inch separation between the bottom of the drain field and the seasonal high-water table.

  - FDOH permitting requirements with respect to defining "modification," "repair," and lot size (i.e., acreage) will be followed for this remediation plan

- When is the remediation policy for existing systems effective? It begins following completion of the master wastewater treatment feasibility plans, rulemaking, and funding milestones included in Sections D.3 and D.4, but no later than five years after BMAP adoption.

D.1.3 Achieving Necessary Load Reductions

All conventional OSTDS in areas subject to the remediation policy for existing systems are required to adopt enhanced treatment of nitrogen no later than 20 years after BMAP adoption.

D.1.4 Other Plan Elements

Statutes also require that OSTDS remediation plans contain the following elements.

An evaluation of credible scientific information on the effect of nutrients, particularly forms of nitrogen, on springs and spring systems. (See Section D.2.)

Options for repair, upgrade, replacement, drain field modification, the addition of effective nitrogen-reducing features, connection to a central sewer system, or other action. (See Section D.3.)

A public education plan to provide area residents with reliable, understandable information about OSTDS and springs. (See Section D.4.)

Cost-effective and financially feasible projects necessary to reduce the nutrient impacts from OSTDS. (See Section 2 and Appendix B.)

A priority ranking for each project for funding contingent on appropriations in the General Appropriations Act. (See Section 2 and Appendix B.)

The Florida Springs and Aquifer Protection Act defines an OSTDS as a system that contains a standard subsurface, filled, or mound drain field system; an aerobic treatment unit; a graywater system tank; a laundry wastewater system tank; a septic tank; a grease interceptor; a pump tank; a solids or effluent pump; a waterless, incinerating, or organic waste–composting toilet; or a sanitary pit privy that is installed or proposed to be installed beyond the building sewer on land of the owner or on other land on which the owner has the legal right to install such a system. The term includes any item placed within, or intended to be used as a part of or in conjunction with, the system. The term does not include package sewage treatment facilities and other treatment works regulated under Chapter 403, F.S.

D.2	Collection and Evaluation of Credible Scientific Information

As discussed in Section 2, DEP developed the Weeki Wachee NSILT, a planning tool that provides estimates of nitrogen loading to groundwater based on best available scientific data at the time the tool is used for a particular geographic area. The NSILT results were peer-reviewed by SWFWMD, FDOH, and FDACS. Additional technical support information concerning the NSILT can be found in Appendix E.

DEP also consulted the Weeki Wachee River SWIM Plan adopted by SWFWMD in March 2017 for science-related OSTDS actions and projects. At a public meeting on August 23, 2016, DEP presented and obtained concurrence from stakeholders for actions and projects that include the following (lead entities are listed in parentheses):

Monitoring and research:

Improve understanding of the ecological responses to nutrient enrichment and reductions (DEP/SWFWMD/universities).

Maintain and expand water quality monitoring programs (SWFWMD/DEP).

Report annual status and trends (SWFWMD).

Evaluate new and emerging technologies (SWFWMD).

Research and develop advanced septic systems (FDOH/DEP/UF-IFAS).

- Completed project:

Florida Onsite Sewage Nitrogen Reduction Strategies Study (FDOH).

Ongoing projects:

Quarterly springs water quality monitoring (SWFWMD).

Stream water quality monitoring (SWFWMD).

UFA nutrient modeling (SWFWMD).

Springs Initiative modeling (SWFWMD).

Project COAST (collect and analyze monthly surface water quality data at 50 fixed stations along the coasts of Hernando, Citrus, and Levy Counties) (SWFWMD/University of Florida).

U.S. Geological Survey (USGS) Groundwater Data Collection (USGS/SWFWMD).

USGS Surface Water Data Collection (USGS/SWFWMD).

Proposed projects:

Nutrient hot-spot loading identification (DEP/SWFWMD).

Groundwater quality monitoring for BMAP assessment (DEP/SWFWMD).

DEP developed calculation methods to estimate nitrogen reductions associated with septic system enhancement and replacement projects, WWTF projects, golf course BMPs, other sports turfgrass BMPs, and urban turfgrass BMPs.

D.3	Remediation Options

The NSILT estimates that OSTDS contribute approximately 44 % of the pollutant loading to groundwater in the PFA. Table D-1 lists the number of existing OSTDS in the PFA and the estimated nitrogen reductions associated with enhancement or connection to sewer. Figure D-1 shows the areas where OSTDS are located.

Table D-1. Estimated reduction credits for additional OSTDS enhancement or sewer *

*Estimated reductions are for either enhancement or sewer per parcel classification. Reductions cannot be combined for the same parcel classification, but can be combined between the different classifications. For example, the sewer credit associated with parcels less than one acre in size can be combined with the sewer credit associated with parcels one acre or greater in size.

| Recharge Area | OSTDS Parcels Less Than One Acre in PFAs | Credit for Enhancement (lb-N/yr) | Credit for Sewer (lb-N/yr) | OSTDS Parcels One Acre and Greater in PFAs | Credit for Enhancement (lb-N/yr)) | Credit for Sewer (lb-N/yr) |
| --- | --- | --- | --- | --- | --- | --- |
| High | 29,840 | 158,152 | 229,768 | 5,847 | 30,989 | 45,022 |
| Medium | 0 | 0 | 0 | 0 | 0 | 0 |
| Total | 29,840 | 158,152 | 229,768 | 5,847 | 30,989 | 45,022 |

As required by statute, this OSTDS remediation plan identifies remediation options for existing OSTDS, including repair, upgrade, replacement, drain field modification, the addition of effective nitrogen-reducing features, connection to a central sewer system, or other action. More simply, remediation options can be classified as enhancement or replacement. Enhancement options consist of systems identified in either existing FDOH rules or existing and ongoing FDOH studies, or systems not otherwise prohibited by FDOH. Examples of enhancements include in-ground nitrogen-reducing biofilters (media layer systems); in-tank nitrogen-reducing biofilters; and ATU or PBTS capable of meeting or exceeding the NSF Standard 245 nitrogen removal rate before disposing wastewater in the drain field.

- Nitrogen impacts from new development could also be reduced through prohibiting new conventional OSTDS on all lot sizes, throughout the BMAP area.

DEP, FDOH, and local governments will develop programs to provide funding to homeowners and individuals to upgrade existing OSTDS by adding nutrient reducing features. The funding program will be designed to prioritize OSTDS where it is most economical and efficient to add nutrient reducing features (i.e., systems needing a permit for a repair or modification, within the PFA, and on lots of less than one acre).

To facilitate incorporation of nitrogen reducing features at the time of a permit to repair or modify an existing OSTDS, FDOH will pursue regulatory solutions to accomplish the following objectives:

- Update OSTDS rule language regarding permits, variances, and waivers to include consideration of DEP-adopted OSTDS remediation plans.

- Update OSTDS rules to allow installation of passive remediation systems, including systems featuring liners, nitrogen reducing material, or both underneath the drain field.

Figure D-1. Locations of OSTDS in the PFA in the Weeki Wachee BMAP

D.4	Public Education Plan

DEP and FDOH will develop and disseminate educational material focused on homeowners and guidance for builders and septic system contractors. The materials will identify the need for advanced, nitrogen reducing OSTDS along with the requirements for installing nitrogen reducing technologies under this OSTDS remediation plan. DEP will coordinate with industry groups such as Florida Home Builders Association and FOWA.

DEP hosted a brainstorming session on July 19, 2016 to gather local input on the primary facets of a public education plan, including key audiences, the identification of major themes for communication/education, and the identification of misconceptions about septic systems.

Based on this discussion and one-on-one coordination with local governments and other stakeholders with interest in public education, prioritized target audiences, messaging, and materials/resources (see Table D-2) were presented at a public meeting.

Step 1 – Understand the data and issues associated with OSTDS.

Step 2 – Identify existing and short-term activities to address the issues.

Step 3 – Undertake a pilot project outreach and social marketing campaign

Step 4 – Identify future actions for basin-wide implementation.

Table D-2. Prioritized target audiences, messaging, and materials/resources

| Audience | Messaging | Materials/Resources |
| --- | --- | --- |
| Schools | Convey cost of doing nothing | PSAs |
| Residents | Preserving our waterways | SWFWMD springs education webpage |
| Builders/realtors/developers/ community | Conventional septic systems provide minimal nitrogen treatment; septic system enhancement is needed | Social media |

Table D-3. Stakeholder educational activities to implement the OSTDS remediation plan

*Denotes activity that is applicable in all Springs Coast BMAPs. The dollar amount is the total project amount (not split among the BMAPs).

| Lead Entity | Activity Number | Activity Name | Description of Activity | Activity Status | Partners | Estimated Start Date | Estimated Completion Date | Cost Estimate | Funding Source | Funding Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| City of Brooksville | COB-E-1 | Public Service Announcements (PSAs) | Include FDOH PSAs in septic system utility bills twice per year. | Planned | N/A | 2018 | 2018 | $5,000 | City | $5,000 |
| City of Brooksville | COB-E-2 | Think About Personal Pollution (TAPP) Program | Transfer or deploy City of Tallahassee TAPP Program in Brooksville. | Planned | N/A | 2018 | 2020 | $5,000 | City | $5,000 |
| City of Brooksville | COB-E-3 | City Website | Post springs-related and OSTDS-related information on city website. | Planned | N/A | 2018 | 2018 | $5,000 | City | $5,000 |
| Hernando County | HC-E-1 | OSTDS Enhancement Education Campaign | Develop education campaign in conjunction with identified partners on OSTDS enhancement options. | Planned | Not Provided | 2018 | 2021 | $50,000 | Not Provided | Not Provided |
| Hernando County | HC-E-8 | Drain Field Enhancement Demonstration Project | Implement drain field enhancement demonstration project on public property. | Planned | N/A | 2022 | 2025 | $250,000 | Not Provided | Not Provided |
| Hernando County | HC-E-10 | Training on Septic Drain Field Enhancements | Conduct training for local government permitting staff on the availability and permitting process for septic system drain field enhancements. | Planned | N/A | 2022 | 2022 | $1,000 | County | $1,000 |
| UF-IFAS | IFAS-E-1* | OFS OSTDS Campaign, Phase 1 | Implement social marketing campaign that links septic systems to springs. | Planned | N/A | 2018 | 2020 | $30,000 | TBD | TBD |
| UF-IFAS | IFAS-E-2* | OFS OSTDS Campaign, Phase 2 | Create on-line clearinghouse of fact sheets, videos, public service announcements, etc. | Planned | N/A | 2018 | 2018 | $7,000 | TBD | TBD |
| UF-IFAS | IFAS-E-3* | OFS OSTDS Campaign, Phase 3 | Presentations to realtors and distribution of information kits for home buyers. | Planned | N/A | 2018 | 2018 | $10,000 | TBD | TBD |
| UF-IFAS | IFAS-E-4* | OFS OSTDS Campaign, Phase 4 | Six to eight septic system workshops for elected officials. | Planned | N/A | 2018 | 2019 | $5,000 | TBD | TBD |
| UF-IFAS | IFAS-E-5* | OFS OSTDS Campaign, Phase 5 | Homeowner workshops with field demonstrations. | Planned | N/A | 2018 | 2020 | $25,000 | TBD | TBD |

Appendix E. Technical Support Information

E.1	NSILT Data

An NSILT was completed on the Weeki Wachee Spring and River Contributing Area for the Weeki Wachee BMAP. This technical support information identifies the data sources relied upon during NSILT development and documents all the major assumptions used by DEP when applying the NSILT approach to the Weeki Wachee BMAP.

The general NSILT approach involves estimating the nitrogen load to the surface for various source categories based on land use. The NSILT subjects the surface loading to recharge and attenuation to derive the estimated load to groundwater at the top of the aquifer. The estimated load to groundwater determines the scope of reduction strategies needed in the BMAP for each source category. For additional information about the general NSILT approach, see any of the NSILT reports posted online at http://publicfiles.dep.state.fl.us/DEAR/NSILT.

E.1.1	Source Category General Data Inputs

Hydrogeology and Aquifer Recharge

Information on recharge to the UFA is from a groundwater flow model that was developed in 2002 by the United States Geological Survey (USGS) based on well data from 1993-94. The raster-based model was smoothed and classified into three recharge categories, discharge, medium recharge, and high recharge.

Land Use

Land use information is from SWFWMD based on the 2011 Florida Land Use Cover and Forms Classification System (FLUCCS) and 2014 Hernando County and Pasco County property appraiser data.

E.1.2	Estimating Nitrogen Inputs to the Land Surface (NSILT Section 2.0)

Atmospheric Deposition

Atmospheric deposition information is derived from the TDEP hybrid model that inputs wet and dry monitoring network data for the U.S. and calculates an estimated TN deposition load (Schwede and Lear 2014). The data set is comprised of data from 2011 to 2013.

WWTFs

The average annual input of nitrogen to the land surface was estimated for each effluent land application site in the BMAP area using TN concentration and discharge volume data available in the DEP Wastewater Facility Regulation (WAFR) database. Smaller WWTFs are not always required to monitor and report TN effluent concentrations, and therefore may not have data available in the WAFR database. For these, DEP estimated TN concentrations based on nitrate-N (NO3-N) data (assuming the NO3-N concentration was 38.5 % of the TN, based on a 2009 cooperative study with the Water Reuse Foundation of 40 domestic WWTFs across the state). The range of years for which data were available varied with the individual WWTFs; however, the majority of the data were from 2013 to 2014.

OSTDS

The number of OSTDS was initially estimated from the 2009 FDOH model which was correlated with current property appraiser land use information (Hall and Clancy 2009). The results were corrected for parcels identified with more than one OSTDS and the proximity of sewer lines. After the NSILT was produced, FDOH released an updated OSTDS inventory for Hernando and Pasco Counties; the data sets were compared and minimal differences identified.

The population served by the OSTDS was estimated using the 2010 U.S. Census Bureau data for Hernando and Pasco Counties. Data were used to estimate the effective population and OSTDS usage. The 2010 persons per household (adjusted for time spent away from home) for Hernando and Pasco Counties were 2.08 and 2.07, respectively.  Several literature sources have reported a per capita contribution of 9.012 lb-N/yr, and this value was multiplied by the number of people using septic tanks within the different regions of the BMAP area (U.S. Environmental Protection Agency [EPA] 2002; Toor et al. 2011; Viers et al. 2012).

UTF

The UTF application rate is estimated based on the results of a 2008 SWFWMD study (Martin 2008). The results provide input data on percent of the population that fertilize, the applicator (i.e., landscape professional versus homeowner), and application rates.

The type of property where fertilizer is applied is estimated for nonresidential and residential parcels. The acreage receiving fertilizer is estimated the same for both parcel types by using county property appraiser data and zoning data. Impervious and pervious land areas are determined for each parcel.

Fertilizer application on commercial and public green spaces was assumed to be performed by lawn service professionals or trained staff using application rates and frequencies similar to those recommended in the Green Industries BMP Manual (DEP 2010). Nonresidential parcels are assumed to be fertilized by a commercial service provider at a rate of 21.78 lb-N/acre (ac). Residential parcels are evaluated by estimating the percentage of the property fertilized and the probability of fertilization. For residential parcels, these factors are determined by utilizing property values (higher valued properties fertilize more often and in greater amounts) and parcel type (single-family residences fertilize more frequently than other residence types).

STF

Sports turfgrass areas include golf courses and sporting facilities. DEP sent golf course mangers surveys to provide basic information on fertilizer application. Responses were received from 46 % of the managers and an input of 43 lb-N/ac/yr was used by DEP. The remaining 54 % was estimated using the statewide application rate of 141.1 lb-N/ac/yr (assuming 72 % of the course area is fertilized) (Sartain 2002; DEP 2007).

Sporting facilities were assessed based on property appraiser data and contacting the responsible entity to determine application rates. The fertilizer application rate for nonresidential parcels was used (21.78 lb-N/ac).

LW

Livestock operation practices are obtained through meetings with producers. For cow-calf operations, a stocking rate of 1 cow per 6 to 8 acres is used and the estimated quantity of pasture acreage is based on property appraiser data. For other livestock animals, populations are estimated from the U.S. Department of Agriculture (USDA) census of agriculture and SWFWMD land use coverage adjusted by percent of land use type in the BMAP area. The nitrogen waste factor for each animal type is based on published literature values (listed in NSILT) and subdivided into locations and recharge area.

FF

Agricultural fertilizer is applied at varying rates depending on crop type and farm practices. Estimated application rates are based on UF-IFAS recommendations, and types of crops likely grown are estimated from the county property appraiser database.

Estimated Nitrogen Inputs to Land Surface

The estimated input from each source category above is summed and a relative percent calculated.

E.1.3	Attenuation and Groundwater Loading

The two types of attenuation that are evaluated are biochemical attenuation factors (BAFs) and hydrogeological attenuation (i.e., recharge).

BAFs and Uncertainty Factors

The BAFs used to account for the processes affecting the movement of nitrogen from each source category in the subsurface are based on literature review of studies in Florida and similar areas. The BAFs in Table E-1 are the result of this evaluation. The BAF is used to estimate what percent of the surface input could infiltrate to groundwater. For example, if 70 % of urban fertilizer is biologically attenuated, then the remaining 30 % could infiltrate to the groundwater.

The environmental attenuation of nitrogen from specific sources within the categories can vary substantially, both spatially and with depth in the subsurface, and will affect the amount of nitrogen leaching to groundwater and the relative contribution of nitrogen from each source category. The range in nitrogen attenuation can result from variability in soil properties, crop types, agricultural practices, nitrogen storage, volatilization of ammonia to the atmosphere, uptake by vegetation, denitrification, and other removal processes.

The potential range in nitrogen attenuation for each source is shown in Table E-1.

Table E-1. Range of environmental attenuation of nitrogen from a detailed literature review

| N Source Category | Low-Level Attenuation (%) | Attenuation Used for This Analysis (%) | High-Level Attenuation (%) |
| --- | --- | --- | --- |
| Atmospheric Deposition | 85 | 90 | 95 |
| WWTFs-RIBs | 10 | 25 | 40 |
| WWTFs-Sprayfields | 50 | 60 | 75 |
| WWTF-Reuse | 50 | 75 | 85 |
| Septic Systems | 40 | 50 | 75 |
| Livestock Operations | 80 | 90 | 95 |
| Farm Fertilizer | 50 | 70 | 85 |
| Urban Fertilizer | 50 | 70 | 85 |

Hydrogeological Attenuation (i.e., Recharge)

The recharge rate for the area where the surface input is calculated is based on the composite recharge map previously described. To account for variations in recharge rates to the UFA, non-attenuated nitrogen inputs in high rate recharge areas are multiplied by a weighting factor of 0.9, while nitrogen inputs are multiplied by a weighting factor of 0.5 for medium rate recharge areas and 0.1 for low. Groundwater discharge areas were not included in the calculations of nitrogen loads to the groundwater contributing area, as these areas do not contribute nitrogen to the aquifer.

Estimated Nitrogen Loads to Groundwater

The surface inputs by source category are adjusted by applying the BAFs for the appropriate source category and location-based recharge factors to estimate the load to groundwater by source category.

It is important to note that this load is estimated for the top of the aquifer. As the load interacts with the aquifer, additional factors likely modify it prior to discharge at the spring vents.

E.2	References

Florida Department of Environmental Protection. 2007. Best management practices for the enhancement of environmental water quality on Florida golf courses. Tallahassee, FL.

Florida Department of Environmental Protection. 2010. Florida friendly best management practices for protection of water resources by the green industries. Tallahassee, FL.

Hall, P., and S.J. Clancy. 2009. The Florida statewide inventory of onsite sewage treatment and disposal systems (OSTDS): A report on the status of knowledge of the number and locations of OSTDS in each county and best management practices for improving this knowledge. Prepared for the Florida Department of Health, Bureau of Onsite Sewage Programs, by EarthSTEPS and GlobalMind.

Martin, T. 2008. Lawn care behavior, Crystal River/Weeki Wachee Spring and Rainbow River survey. Final report prepared for the Southwest Florida Water Management District.

Sartain, J.B. 2002. Recommendations for N, P, K and Mg for golf course and athletic field fertilization based on Mehlich III extractant. Document SL191. Gainesville, FL: University of Florida Institute of Food and Agricultural Sciences.

Schwede, D.B., and G.G. Lear. 2014. A novel hybrid approach for estimating total deposition in the United States. Atmospheric Environment 92: 207–220.

Toor, G.S., M. Lusk, and T. Obreza. 2011. Onsite sewage treatment and disposal systems: Nitrogen. SL 348. Gainesville, FL: University of Florida Institute of Food and Agricultural Sciences.

U.S. Department of Agriculture Census of Agriculture website: https://www.agcensus.usda.gov

U.S. Environmental Protection Agency. 2002. Onsite wastewater treatment systems manual. EPA/625/R-00/008. Washington, DC: Office of Water.

Viers, J.H, D. Liptzin, T.S. Rosenstock, W.B. Jensen, and A.D. Hollander et al. 2012. Nitrogen sources and loading to groundwater. Technical Report 2. California State Water Resources Control Board.

Water Reuse Foundation, 2009. A Reconnaissance-Level Quantitative Comparison of Reclaimed Water, Surface Water and Groundwater. Alexandria, Virginia.

Appendix F. Educational Activities to Implement the UTF Management Strategies

Prioritization of Management Strategies

The management strategies in Table F-1 are ranked with a priority of high, medium, or low. In 2016, the Florida Legislature amended the Watershed Restoration Act (Section 403.067, F.S.), creating additional requirements for all new or revised BMAPs. BMAPs must now include planning-level details for each listed project, along with their priority ranking.

Project status was selected as the most appropriate indicator of a project’s priority ranking based primarily on need for funding. Projects with a "completed" status were assigned a low priority. Projects classified as "underway" were assigned a medium priority because some resources have been allocated to these projects, but additional assistance may be needed for the project to be completed. High priority was assigned to projects listed with the project status "planned" as well as certain "completed" projects that are ongoing each year (any project with one of these project types: "street sweeping," "catch basin inserts/inlet filter cleanout,"  "public education efforts," "fertilizer cessation," "fertilizer reduction," or "aquatic vegetation harvesting"), and select projects that are elevated because substantial, subsequent project(s) are reliant on their completion.

Table F-1.  Stakeholder educational activities to implement UTF management strategies

*Denotes activity that is applicable in all Springs Coast BMAPs. The dollar amount is the total project amount (not split among the BMAPs).

| Lead Entity | Activity Number | Activity Name | Description of Activity | Activity Status | Partners | Estimated Start Date | Estimated Completion Date | Cost Estimate | Funding Source | Funding Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| City of Brooksville | COB-E-4 | PSAs | Include PSAs on fertilizer use on utility bills twice per year. | Planned | N/A | 2018 | 2018 | $5,000 | City | $5,000 |
| City of Brooksville | COB-E-5 | City Website | Post springs-related and fertilizer-related information on city website. | Planned | N/A | 2018 | 2017 | $5,000 | City | $5,000 |
| Hernando County | HC-E-2 | Fertilizer Survey | Mass mailing to single family residences with request to take on-line survey regarding fertilizer ordinance and activities. | Completed | N/A | 2016 | 2017 | $16,844 | Fish & Wildlife Foundation/County | Foundation: $14,511 County: $2,333 |
| Hernando County | HC-E-3 | Water's Journey: Kass Circle to Weeki Wachee Springs | Educate residents and business owners of the Kass Circle community on how stormwater runoff affects Weeki Wachee Springs. | Underway | N/A | 2018 | 2018 | $2,250 | Not Provided | Not Provided |
| Hernando County | HC-E-4 | Stormwater Nutrient Reduction Education | Stormwater education per NPDES permit requirements. | Underway | N/A | Prior to 2012 | 2031 | $15,000/yr | FDOT/County | $15,000/yr |
| Hernando County | HC-E-5 | Hernando County Groundwater Guardians | Annual public workshop on water quality and water resources. | Planned | N/A | 2018 | 2021 | $2,000/yr | County | $2,000/yr |
| Hernando County | HC-E-6 | Fertilizer Ordinance Education | Public education campaign on existing fertilizer ordinance. | Underway | UF-IFAS | 2012 | 2021 | $30,000 | Not Provided | Not Provided |
| Hernando County | HC-E-7 | Public Outreach on Fertilizer Use | Outreach by county extension staff on the Florida-Friendly Landscaping Program. | Planned | UF-IFAS | 2018 | 2021 | Not Provided | Not Provided | Not Provided |
| Hernando County | HC-E-9 | Update "Water's Journey" Public Education Campaign | Potential multi-partner and multi-jurisdiction effort to update the existing "Water's Journey" campaign. | Planned | Not Provided | 2022 | 2026 | $100,000 | Not Provided | Not Provided |
| Hernando County | HC-E-11 | Training on Green Industries Best Management Practices | Train professionals and master gardener volunteers on exemptions from the fertilizer ordinance. | Underway | UF-IFAS | 2013 | 2021 | Not Provided | Not Provided | Not Provided |
| Hernando County | HC-E-12 | Expert Lawn Care and Landscaping Course | Conduct classes to homeowners on a variety of topics including irrigation and fertilization. | Underway | UF-IFAS | 2016 | 2021 | Not Provided | Not Provided | Not Provided |
| Hernando County | HC-E-13 | Social Media Awareness Campaign | Education for residents on urban turfgrass fertilizer through a variety of social media platforms. | Planned | UF-IFAS | 2018 | 2018 | $5,000 | Not Provided | Not Provided |
| Hernando County | HC-E-14 | Hernando County Water Watch | Citizen-science water quality program that would be part of a statewide coastal water watch program to complement LAKEWATCH. | Planned | Florida Sea Grant Program/UF-IFAS | 2018 | 2031 | Not Provided | Not Provided | Not Provided |
| Hernando County | HC-E-15 | Florida Master Naturalist Program (FMNP) in Hernando County | The mission of the FMNP is to promote awareness, understanding, and respect of Florida's natural world among Florida's citizens and visitors. | Underway | Florida Sea Grant Program/UF-IFAS | 2017 | 2031 | $5,000 | Not Provided | Not Provided |
| Hernando County | HC-E-16 | Florida-Friendly Landscaping Annual Workshop | Conduct annual workshop for residents. | Underway | UF-IFAS | 2017 | 2030 | $3,000 | County/DEP/SWFWMD | $3,000 |
| Hernando County | HC-E-17 | Community Event Education Booth | Sponsor education booth at various community events that focus on fertilizer BMPs. | Underway | UF-IFAS | 2017 | 2031 | $3,000 | County/DEP/SWFWMD | $3,000 |
| Hernando County | HC-E-18 | Springs Workshop | Biannual workshop for local government leaders on springs protection and BMPs | Underway | UF-IFAS | Prior to 2012 | 2031 | $5,000 | County/DEP/SWFWMD | $5,000 |
| Hernando County | HC-E-19 | Direct Mail Fertilizer Education Brochures | Insert in Hernando County Utility Department customer bill three times per year. | Underway | N/A | Prior to 2012 | 2031 | $9,500 | County/WRWSA | $9,500 |
| Hernando County | HC-E-20 | Presentations to Homeowner Associations (HOAs) | On-site presentations to HOAs on BMPs. | Underway | UF-IFAS | Prior to 2012 | 2031 | $2,000 | County/WRWSA | $2,000 |
| Pasco County | PC-E-1 | Public Outreach | Brochures and pamphlets | Planned | N/A | 2018 | 2021 | $2,000 | County stormwater utility fund | $2,000 |
| Pasco County | PC-E-2 | Public Outreach | PSAs on radio and TV | Planned | N/A | 2018 | 2021 | $2,000 | County stormwater utility fund | $2,000 |
| Pasco County | PC-E-3 | Public Outreach | Utility bill inserts | Planned | N/A | 2018 | 2021 | $5,000 | County stormwater utility fund | $5,000 |
| Pasco County | PC-E-4 | Landscape Professionals | Educate landscape industry professionals (i.e., Pasco Co. employees, Pasco Co. School Board employees) on athletic field and park turfgrass fertilization. | Completed | UF-IFAS | 2012 | Not Provided | Not Provided | University of Florida | Not Provided |
| Pasco County | PC-E-5 | Florida-Friendly Training for Code Compliance Officers | Train Pasco Co. code compliance officers in Florida-Friendly landscape principles, including proper fertilization. | Planned | UF-IFAS | 2018 | 2021 | Not Provided | Not Provided | Not Provided |
| SWFWMD | SWF-E-2* | Fertilizer Campaign | Fertilizer campaign is in place with existing communication products produced by the District's Public Affairs Bureau. | Underway | Not Provided | Not Provided | Not Provided | $10,000 | SWFWMD | $10,000 (annual) |
| UF-IFAS | IFAS-E-6* | Social Marketing Campaign | Implement social marketing campaign to increase awareness of local fertilizer ordinances and to encourage good fertilizer practices. | Planned | Not Provided | 2018 | 2020 | $30,000 | Not Provided | Not Provided |

Appendix G. FDACS BMPs

G.1	Implementation of Agricultural BMPs

Agricultural nonpoint sources in a BMAP area are required by state law (Subsection 403.067[7], F.S.) either to implement FDACS-adopted BMPs, which provides a presumption of compliance with water quality standards, or to conduct water quality monitoring prescribed by DEP or SWFWMD. Failure either to implement BMPs or conduct monitoring may result in enforcement action by DEP.

Growers who implement BMPs may be eligible for cost-share funding from FDACS, SWFWMD, or others to partially defray the costs of implementation. Through OAWP, the Florida Forest Service, and the Division of Aquaculture, FDACS develops, adopts, and assists producers in implementing agricultural BMPs to improve water quality and water conservation.

FDACS identified potential land for enrollment in the FDACS BMP Program within the Weeki Wachee BMAP area using the Florida Statewide Agriculture Irrigation Demand (FSAID) IV geodatabase.

Table G-1 summarizes the agricultural land use data in the Weeki Wachee BMAP area. Based on the FSAID IV geodatabase, the total agricultural lands within the BMAP area is 45,701 acres. Table G-2 summarizes the agricultural land by crop type that was estimated to be fertilized and the corresponding acreages. The primary fertilized agricultural land use in the BMAP area is Cropland and Pastureland which comprises 87 % of the fertilized land use. Table G-3 summarizes the agricultural lands with livestock. It is important to note that some of the agricultural lands include more than one agricultural practice.

Figure G-1 shows the approximate location of the agricultural lands based on the FSAID IV geodatabase within the BMAP area.

Table G-1. Agricultural land use within the BMAP area

| Agricultural Nitrogen Loading Category | Acres |
| --- | --- |
| Crop Fertilizer Lands only | 4,738 |
| Livestock Lands only | 9,391 |
| Crop Fertilizer and Livestock Lands | 31,572 |
| Total | 45,701 |

Table G-2. Fertilized crop lands within the BMAP area

| Crop Type | Application Rate (lbs/acre) | Acres |
| --- | --- | --- |
| Blueberries | 100 | 352 |
| Citrus | 600 | 1,030 |
| Container Nursery | 90 | 190 |
| Cropland and Pastureland | 30 | 31,572 |
| Field Nursery | 90 | 30 |
| Grains | 100 | 174 |
| Grass/Pasture | 60 | 8 |
| Hay | 480 | 429 |
| Other Groves | 150 | 2 |
| Pasture | 160 | 123 |
| Peanuts | 0 | 60 |
| Peppers Fall | 240 | 44 |
| PeppersSpring_PeppersFall | 240 | 83 |
| Small Veg | 150 | 85 |
| Small Veg Spring | 150 | 7 |
| SmallVegFall_SmallVegSpring | 150 | 74 |
| Tomatoes Spring | 480 | 661 |
| TomatoesFall_TomatoesSpring | 240 | 7 |
| Tree Crops | 150 | 1,318 |
| Tree Plantations | 0 | 60 |
| Total | - | 36,311 |

Table G-3. Livestock lands within the BMAP area

| Livestock Category | Acres |
| --- | --- |
| Cropland and Pastureland | 31,572 |
| Feeding Operations | 773 |
| Other Open Lands (Rural) | 5,632 |
| Specialty Farms | 2,986 |
| Total | 40,963 |

Agricultural land use data are critical for determining agricultural nonpoint source loads and developing strategies to reduce those loads in a BMAP area, but there are inherent limitations in the available data. The time of year when land use data are collected (through aerial photography) affects the accuracy of photo interpretation. Flights are often scheduled during the winter months due to weather conditions and reduced leaf canopies, and while these are favorable conditions for capturing aerial imagery, they make photo interpretation for determining agricultural land use more difficult (e.g., more agricultural lands are fallow in the winter months) and can result in inappropriate analysis of the photo imagery. There is also a significant variation in the frequency with which various sources of data are collected and compiled, and older data are less likely to capture the frequent changes that often typify agricultural land use. In addition, agricultural activity being conducted on the land is not always apparent. For example, acreage classified as improved pasture may be used for a cow-calf operation, consist of forage grass that is periodically harvested for hay, or simply be a fallow vegetable field awaiting planting. Finally, the classification method itself may be an issue. For example, property appraiser data assigns an agricultural land use designation to an entire parcel, although agricultural production may only be conducted on a portion of the parcel. Because of error in the collection and characterization of land use data and changes in land use over time, agricultural land use acreage estimates are subject to adjustment.

Figure G-1. Agricultural lands in the BMAP area

G.2	Agricultural BMPs

BMPs are individual or combined practices determined through research, field-testing, and expert review to be effective and practicable means for improving water quality, considering economic and technological feasibility. FDACS has authority for establishing agricultural BMPs through the Florida Forest Service (Silviculture BMP Program), Division of Aquaculture (Aquaculture Certification Program), and OAWP (all other agricultural BMP programs).  As of February 2018, OAWP has adopted manuals for cow-calf, statewide citrus, vegetable and agronomic crops, nurseries, equine operations, specialty fruit and nut, sod, dairy, and poultry operations. Development is underway for a small farms manual, and adoption is expected in 2018. The sod and cow-calf manuals are currently under review and revision.

The OAWP BMPs fall into two categories: structural and management. Structural BMPs, e.g., water-control structures and fencing, involve the installation of structures or changes to the land and are usually costlier than management BMPs. Management BMPs, such as nutrient and irrigation management, comprise the majority of the practices and often are not readily observable. Nutrient management addresses fertilizer type, amount, placement, and application timing, and it includes practices such as soil and tissue testing, application methods, correct fertilizer formulations, and setbacks from water resources. Irrigation management consists of maintenance, scheduling, and other measures that improve the overall efficiency of irrigation systems. FDACS-funded mobile irrigation labs (MILs) are available to evaluate irrigation system efficiency and provide recommendations to producers to improve efficiency. The implementation of these recommendations results in billions of gallons of water saved throughout the state and helps reduce nutrient runoff and leaching.

Table G-4 identifies key management and structural BMPs applicable to agricultural operations in the BMAP area. By definition, BMPs are developed to be technically and economically feasible. However, FDACS BMP manuals do contain some BMPs that may be affordable only with financial assistance through cost-share programs. The BMP checklists allow producers to indicate whether implementing a BMP requires financial assistance.

Information on the BMP manuals and field staff contact information can be obtained here:  http://www.freshfromflorida.com/Divisions-Offices/Agricultural-Water-Policy. Printed BMP manuals can be obtained by contacting OAWP field staff.

Table G-4. Key management and structural BMPs adopted by FDACS OAWP

| BMP Category | BMP | Description |
| --- | --- | --- |
| Nutrient Management (Right Source) | Use of Correct Formulations | Use of fertilizer formulations that are appropriate for the environmental conditions. Includes enhanced efficiency fertilizers, as warranted. |
| Nutrient Management (Right Rate) | Soil and Tissue Testing Nutrient Budgeting | Used to base fertilizer applications on plant needs and available nutrients in the soil; helps prevent the over application of fertilizer. Consideration of all nutrient sources, such as commercial fertilizers, biosolids, legumes, manure, and nutrient-laden irrigation water to ensure that fertilization meets crop nutrient requirements. |
| Nutrient Management (Right Placement) | Precision Application of Nutrients | Use of specialized equipment for precise placement of nutrients on targeted areas at specified rates; reduces total amount used and prevents stray applications. |
| Nutrient Management (Right Timing) | Split Fertilizer Applications | Multiple applications timed with optimal growth stages; allows plants to assimilate nutrients more efficiently; reduces nutrient loss in leaching and runoff. |
| Nutrient Management (Special Fertilization Practices) | Special Fertilization Practices | Commodity specific fertilization practices to address nuances on a case-by-case basis. |
| Nutrient Management (Fertilizer Storage and Handling) | Fertilizer Storage and Handling | Proper location/storage of bulk fertilizer products to prevent nutrient loadings. Use of appropriate dedicated or temporary mix/load areas located away from waterbodies to prevent nutrient loading. |
| Irrigation and Water Table Management | Irrigation Scheduling | Planning when to irrigate to reduce water and nutrient losses, based on available soil moisture content, evapotranspiration levels, recent rainfall, and time of day. |
| Irrigation and Water Table Management | Irrigation System Maintenance | Use of MILs to identify efficiency issues, maintenance, and incorporation of potential upgrades to irrigation system. |
| Irrigation and Water Table Management | Wellhead Protection | Establishing safe practices around irrigation and drinking water wells. |
| Water Resource Protection | Buffers and Setbacks | Fertilizer application setbacks from waterbodies (e.g., wetlands, watercourses, sinks, springs, etc.) and use of appropriate buffers around water resource features. |
| Water Resource Protection | Ditch Maintenance and Water Control Structures | Use of rip rap, sediment traps, staging structures, and permanent vegetative bank cover to minimize erosion and transport of nutrient-laden sediments. |
| Water Resource Protection | Erosion Control | Vegetated strips of land designed to reduce nutrients and sediments in surface water runoff from fields, pastures, and livestock high-intensity areas before it reaches downstream waterbodies. |
| Livestock Management | Manure Management | Appropriate storage and disposal of animal waste. |
| Livestock Management | Water Requirements and Sources | Use of upland livestock watering ponds and/or water troughs; minimizes manure deposition in waterbodies. |
| Livestock Management | Forage, Pasture and Grazing Management | Movement of cattle to different grazing areas on a planned basis; prevents concentrated waste accumulations and denuding of pasture areas. May involve fencing. Also involves siting of cowpens, supplemental feed areas, etc., away from waterbodies to minimize nutrient loadings. |
| Livestock Management | Use Exclusion | Used when stream banks have significant rill or gully erosion because of cattle trampling. |
| Operations Management | Fertilizer Storage | Proper location/storage of bulk fertilizer products to prevent nutrient loadings. |

G.3	BMP Enrollment

Figure G-2 shows the acres enrolled in the FDACS BMP Program in the Weeki Wachee BMAP area as of December 31, 2017. Table G-5 lists the acres enrolled in the FDACS BMP Program by manual and the number of NOIs associated with those acres. Given that the enrolled acres where BMPs are implemented can contain nonproduction acres (such as buildings, parking lots, and fallow acres), only the enrollment for the land classified as agriculture based on the FSAID IV geodatabase is included in the tables.

As of December 31, 2017, NOIs cover 15,349 acres in the BMAP area. No producers are conducting water quality monitoring in lieu of implementing BMPs at this time.

Figure G-2. BMP enrollment in the BMAP area as of December 31, 2017

Table G-5. Agricultural acreage and BMP enrollment in the BMAP area as of

December 31, 2017

N/A = Not applicable.

| Related FDACS BMP Programs | NOI Acreage Enrolled | Agricultural Land Use Acres within NOIs |
| --- | --- | --- |
| Cow/Calf Operations | 543 | 502 |
| Nurseries | 13,307 | 12,414 |
| Specialty Fruit and Nut | 205 | 172 |
| Citrus | 210 | 133 |
| Vegetable and Agronomic Crops | 1,065 | 833 |
| Total | 15,349 | 14,073 |

G.4	FDACS OAWP Role in BMP Implementation and Follow-Up

OAWP works with producers to submit NOIs to implement the BMPs applicable to their operations, provides technical assistance to growers, and distributes cost-share funding, as available, to eligible producers for selected practices. OAWP follows up with growers through site visits to evaluate the level of BMP implementation and record keeping, identify areas for improvement, if any, and discuss cost-share opportunities.

When DEP adopts a BMAP that includes agriculture, it is the agricultural producer’s responsibility to implement BMPs adopted by FDACS to help achieve load reductions. If land use acreage corrections and BMP implementation do not fully account for the current agricultural load reduction allocation, it may be necessary to develop and implement additional projects and practices that reduce nutrients from agricultural nonpoint sources. In that case, FDACS will work with DEP and SWFWMD to identify appropriate options for achieving further agricultural load reductions.

Section 403.067, F.S. requires that, where water quality problems are demonstrated despite the proper implementation of adopted agricultural BMPs, FDACS must re-evaluate the practices, in consultation with DEP, and modify them if necessary. Continuing water quality problems will be detected through the BMAP monitoring component and other DEP and SWFWMD activities. If a reevaluation of the BMPs is needed, FDACS will also include SWFWMD and other partners in the process.

G.5	OAWP Implementation Assurance Program

OAWP formally established its Implementation Assurance (IA) Program in 2005 in the Suwannee River Basin as part of the multi-agency/local stakeholder Suwannee River Partnership. In 2007, OAWP initiated the IA Program in the Lake Okeechobee Watershed and launched a standardized follow-up program for the remaining areas of the state in 2013, beginning with the Ridge Citrus and Indian River Citrus BMPs. Because of program-specific needs, the follow up process for each of these three components was different. In early 2014, OAWP began to streamline the IA Program to ensure consistency statewide and across commodities and BMP manuals. This effort resulted in a single IA site-visit form, which is currently used by OAWP staff.

The current IA Program is based on interactions with producers during a site visit by OAWP staff. Site visits are conducted by OAWP field staff and technicians as workload allows. For the visits, field staff and technicians use a standard form (not BMP specific) developed in 2014. This form focuses on nutrient management, irrigation management, and water resource protection BMPs common to all of the BMPs that have been adopted by rule. The paper forms are submitted to OAWP staff and compiled into a spreadsheet, and the data are reported annually. From 2007 to 2015, OAWP conducted 1,936 site visits. However, it is difficult to compare data collected prior to the implementation of the recently developed single IA site visit form because of regional differences (e.g., different forms and information requested) in the administration of the IA Program.

Additional emphasis was given to verifying the implementation of BMPs by enrolled producers with the enactment of Chapter 2016-1, Laws of Florida. That legislation directed OAWP to formalize the Implementation Verification (IV) Program into rules. In December 2016, OAWP published a notice of rule development. In July 2017, draft rule language was distributed and presented at a public workshop. This draft language provided the structure for a statewide uniform implementation verification system, including assessments of the status of implementation, compliance assistance to aid producers in achieving full implementation, and referral to DEP for producers who are not implementing BMPs. The IV rule was final as of November 1, 2017, (Chapter 5M-1, F.A.C.).

G.6	Beyond BMPs

Beyond enrolling producers in the FDACS BMP Program and verifying implementation, FDACS will work with DEP to improve the data used to estimate agricultural land uses in the springshed. FDACS will also work with producers to implement a suite of agricultural projects and research agricultural technologies on properties where they are deemed technically feasible and if funding is made available. Acreages provided by FDACS are preliminary estimates that are the maximum acreages that will be evaluated and refined over time.

As presented here, these projects are based on planning-level information. Actual implementation would require funding as well as more detailed design based on specific information, such as actual applicable acreages and willing landowners. Table G-6 summarizes these efforts. It is important to note that the research projects listed in the table are being conducted in the Suwannee River Basin. At some future point, the findings of these studies may be applicable to the Weeki Wachee BMAP.

Table G-6. Beyond BMP implementation

| Category | Name | Description |
| --- | --- | --- |
| Practices | Precision Irrigation | Deployment of equipment, procedures, and training to improve location, volume, and timing of irrigation to match crop needs more precisely. |
| Practices | Soil Moisture Probes | Deployment, training, technical support, and use of soil moisture probes to manage irrigation systems. |
| Practices | Cover Crops | Planting of cover crops between production cycles to increase soil organic content, improve nutrient retention, and reduce erosion. |
| Research | Bioreactors | Bioreactors/denitrification walls and onsite capture and reuse of high-N water. |
| Research | Rotational Production | Conversion of conventional production operations to planned rotational production incorporating grass and cover crops. May include cattle. |
| Research | Soil Moisture Sensor Deployment and Calibration | Installation, training, monitoring, and research on use of electronic soil moisture sensors, including correlations to nutrient movement through the root zone. |
| Research | Controlled Release Fertilizer | Application of new and developing fertilizer products that become available to crops via dissolution over longer periods in the growing season. |
| Research | Reuse of High Nutrient Value Water Sources | Study of potential sources of high nutrient value water, potential beneficial reuse sites, legal and regulatory obstacles, and costs. |

Appendix H. Future Growth Strategies of Local Jurisdictions

Table H-1. Future growth strategies of local jurisdictions

| Local Jurisdiction | Strategy Name | Description | Strategy Type | Status |  |
| --- | --- | --- | --- | --- | --- |
| Pasco County | Ecological Corridors Ordinance | Ordinance 16-13 was adopted on June 21, 2016, which amended the land development code to designate seven ecological corridors to maintain a contiguous network of wildlife habitat between existing public lands. | Ordinance |  | Completed |
| Pasco County | Conservation Element Policy 1.6.1 | Pasco County shall continue to require mandatory setbacks around the Anclote, Hillsborough, Pithlachascotee, and Withlacoochee Rivers; Outstanding Florida Waters; Classified Shellfish Harvesting Areas; and post development wetlands; i.e., wetland mitigation and natural wetlands. | Comprehensive Plan |  | Completed |
| Pasco County | Conservation Element Policy 1.6.16 | Pasco County shall require, during the site plan review process, where feasible, consideration of the maintenance of groundwater infiltration through the use of site Best Management Practices. | Comprehensive Plan |  | Completed |
| Pasco County | Public Facilities Element Policy SEW 3.1.4 | Pasco County shall require connection to a central sanitary sewer system for all proposed projects within Pasco County, when available, as set forth in the guidelines of the Availability Determination Matrix, Table 10-1A. | Comprehensive Plan |  | Completed |
| Pasco County | Public Facilities Element Policy SEW 3.1.11 | Pasco County shall require connection of all central sewer facilities to regional systems. | Comprehensive Plan |  | Completed |
| Pasco County | Public Facilities Element Policy SEW 3.2.1 | Pasco County shall replace smaller package plants with regional sewage treatment plants (or enlarge existing plants) by 2025. | Comprehensive Plan |  | Completed |
| Pasco County | Public Facilities Element Policy SEW 3.3.1 | Pasco County shall require use of reclaimed water for landscape irrigation and nonpotable use where available and permitted by the Florida Department of Environmental Protection and required by the County Code of Ordinances, with a priority for use of reclaimed water to new residential users or other users determined to provide an adequate offset of potable-water usage. | Comprehensive Plan |  | Completed |
| Pasco County | Public Facilities Element Policy SEW 3.3.4 | Pasco County shall develop a reclaimed water system for irrigation of parks; golf courses; cemeteries; large agricultural, commercial, or governmental complexes; and other potential reclaimed water customers. | Comprehensive Plan |  | Completed |
| Pasco County | Public Facilities Element Policy SEW 3.5.4 | Pasco County will evaluate extending wastewater treatment facilities to areas within close proximity of existing County utilities. Special attention shall be paid to areas that are determined to have a high concentration of septic systems. Connection to the County system will be based upon the County Health Department's evaluation of septic system problems for those areas that are related to siting, inspection, and maintenance considerations and based upon available funding provided by the individual applicant. | Comprehensive Plan |  | Completed |
| Pasco County | Public Facilities Element Objective DGR 6.1 | Provide protections for high aquifer-recharge areas. | Comprehensive Plan |  | Completed |
| Pasco County | Public Facilities Element Objective DGR 6.2 | Develop and adopt, by 2007, a comprehensive stormwater management ordinance, including Best Management Practices. | Comprehensive Plan |  | Completed |
| City of Brooksville | Stormwater Management Ordinance | The City will establish and implement BMPs for all activities, operations, and/or facilities within the city which may cause or contribute to pollution or contamination of storm water, the storm drainage system, or waters of the U.S. | Ordinance |  | Completed |
| City of Brooksville | Conservation Element Policy 2-2 | The City shall consider entering into agreement with Hernando County to establish BMPs for the protection of surface and groundwater quality of water basins within Peck Sink, Blue Sink, and Byster Lake. | Comprehensive Plan |  | Planned |
| City of Brooksville | Conservation Element Policy 3-1 | Require all development in the city connect to city sewer service, where and when available. | Comprehensive Plan |  | Completed |
| City of Brooksville | Future Land Use Element Policy 2-4 | High density and intensity growth shall not be permitted in conservation areas, or those areas best suited for continued low density and intensity development. | Comprehensive Plan |  | Completed |
| City of Brooksville | Future Land Use Element Policy 2-9 | Require central sewer and sewer systems for new urban developments, which are designed to be compatible with future public utility systems. | Comprehensive Plan |  | Completed |
| Hernando County | Riverine Buffer Ordinance | Regulates land use within 75 feet of rivers, streams, and wetlands. Addresses septic systems, wastewater treatment systems, petroleum products, solid waste, and agricultural waste | Ordinance |  | Completed |
| Hernando County | Low Impact Drainage | New strategies for low impact drainage standards and initiatives. | Comprehensive Plan |  | Planned |
| Hernando County | Ecological Linkages | New strategies for prioritizing ecological linkage conservation as one means of recharge and groundwater conservation. | Comprehensive Plan |  | Planned |
| Hernando County | Aquifer Recharge | Update strategies to protect high recharge areas and karst areas. | Comprehensive Plan |  | Planned |
| Hernando County | Aquifer Protection | Update strategies to protect groundwater through appropriate design of stormwater, sewage treatment, golf course facilities, and landscaping. | Comprehensive Plan |  | Planned |
| Hernando County | Aquifer Protection | New strategies for coordination on minimum flows and levels for springs and surface waters. | Comprehensive Plan |  | Planned |
| Hernando County | Surface Water Protection | Update strategies to continue the County's riverine ordinance. | Comprehensive Plan |  | Planned |
| Hernando County | Erosion Control | Update strategies for erosion control and minimization of sedimentation. | Comprehensive Plan |  | Planned |
| Hernando County | Habitat Mitigation | New strategies that require mitigation of loss of large natural communities. | Comprehensive Plan |  | Planned |
| Hernando County | Future Land Use Element Policy 1.01T(6) | Water and sewer planning conducted by the County will utilize a public participation process. | Comprehensive Plan |  | Completed |
| Hernando County | Sanitary Sewer Element Policy 4.01A(6) | Wastewater service plans developed and updated hereunder, along with the adopted Capital Improvement Plan, shall be utilized to guide the location and timing of land development requiring wastewater service. | Comprehensive Plan |  | Completed |
| Hernando County | Sanitary Sewer Element Policy 4.01A(7) | Wastewater facility and service planning conducted by the County will utilize a public participation process. | Comprehensive Plan |  | Completed |
| Hernando County | Sanitary Sewer Element Policy 4.01B(2) | As part of the Wastewater Service Plan, establish standards to determine when commercial and industrial septic tanks will be required to connect to central services. | Comprehensive Plan |  | Completed |
| Hernando County | Sanitary Sewer Element Policy 4.03A(4) | Advanced secondary and tertiary treatment should be considered for future permanent sewage treatment plants, particularly those which are located near water bodies or in soils which do not have a defined impermeable clay lens or significantly thick sand layers between the surface and the Floridan aquifer. | Comprehensive Plan |  | Completed |
| Hernando County | Sanitary Sewer Element Policy 4.03B(3) | Where possible, provide flexibility in public or private facility design to allow for development of reuse systems. | Comprehensive Plan |  | Completed |
| Hernando County | Drainage & Natural Groundwater Aquifer Recharge Element Policy 4.10A(1) | Develop an aquifer protection program including public education, coordination with appropriate agencies, provision of adequate collection, and disposal facilities in order to limit the amount of contaminants reaching the surficial or Floridan aquifers. | Comprehensive Plan |  | Completed |
| Hernando County | Potable Water Element Policy 4.15B(1) | Implement a strategy to encourage replacement of potable water use with reclaimed water for irrigation purposes of at least 4.3 MGD by the year 2019. | Comprehensive Plan |  | Completed |
| Hernando County | Coastal Management Element Objective 5.01E | To protect the water quality and the riverine and native bottom communities of the entire seven-mile length of the Weeki Wachee River and its estuary. | Comprehensive Plan |  | Completed |
| Hernando County | Coastal Management Element Objective 5.01F | Participate in, or otherwise encourage the purchase of additional lands along the Weeki Wachee River and the associated riverine habitats, the coastal lands through SWFWMD's Save our Rivers Program. | Comprehensive Plan |  | Completed |
| Hernando County | Conservation Element Policy 6.01D(6) | For those areas located within the Weeki Wachee and Withlacoochee River Protection Areas as mapped in the Future Land Use Element, Land Development Regulations shall be developed which include but are not limited to the following concepts: a. Preservation of on-site natural vegetation adjacent to the Weeki Wachee or Withlacoochee Rivers b. Minimum building setbacks from the banks of the Weeki Wachee or Withlacoochee Rivers c. On-site drainage design to prevent the flow of untreated stormwater runoff from entering the Weeki Wachee or Withlacoochee Rivers. | Comprehensive Plan |  | Completed |
| Hernando County | Conservation Element Policy 6.01E(3) | Continue to coordinate with Pasco County on the protection and use of Aripeka Bay. | Comprehensive Plan |  | Completed |
| Hernando County | Conservation Element Policy 6.01E(4) | Continue to coordinate with the City of Weeki Wachee for the purpose of reviewing and revising agreement on the management, protection and use of the Weeki Wachee River and estuary. | Comprehensive Plan |  | Completed |
| Hernando County | Conservation Element Policy 6.02A(9) | The County shall require all new golf courses be designed and maintained using the principles developed by the Institute of Food and Agricultural Sciences (IFAS) for Best Management Practices for Florida Golf Courses. | Comprehensive Plan |  | Completed |
| Hernando County | Conservation Element Policy 6.02A(10) | The County shall establish guidelines for managing existing and future turf and landscapes at all County owned facilities utilizing the educational guidelines of the University of Florida Extension’s Florida Yards & Neighborhoods Program and Best Management Practices. It is the intent of this policy that the County reduce nutrient/pollutant infiltration into ground and surface waters and to encourage best management practices through public education | Comprehensive Plan |  | Completed |
| Hernando County | Conservation Element Policy 6.02C(2) | Evaluate any development proposal for its effect on the quantity and quality of surface waters which flow into the Gulf of Mexico, including stormwater runoff, erosion and sedimentation, and septic tank discharge. | Comprehensive Plan |  | Completed |
| Hernando County | Conservation Element Policy 6.08A(1) | Minimum lot sizes for septic fields may be further restricted from the minimum ½ acre in prime aquifer recharge areas, sinkhole areas, areas adjacent to lakes or rivers or areas where soils have severe limitations. | Comprehensive Plan |  | Completed |
| Hernando County | Conservation Element Policy 6.08A(11) | Development of property shall adhere to green industries Best Management Practices (BMPs), including Integrated Pest Management (IPM) (FDEP & FDEO, 2002. Protecting Florida Springs - Land Use Planning Strategies & Best Management Practices). Florida Yards & Neighborhoods (FYN) education shall be provided for individual lot owners. | Comprehensive Plan |  | Completed |