SLC-02: Indian River Estates Stormwater Improvements (Phase I and II)

Project Summary

This project was a retrofit of an existing residential subdivision with a stormwater management system that uses a pump station to transfer excess stormwater to a reservoir for treatment and attenuation. The reservoir is multi-cell and includes wet retention and wet detention. It is designed to treat 1.5 inches over the 1,273-acre development. The first inch of treatment is provided by dry roadside swales and the primary wet retention cell of the reservoir. The secondary wet detention cell provides an additional ½-inch of water quality treatment prior to discharge.

Documents Included

- 110517-2_Permit (SFWMD permit)

  - All information typical of a SFWMD Environmental Resource Standard General Permit (general conditions, special conditions, notice of rights, project evaluation, related concerns)

  - Operational information can be found on pages 11 and 12 of the permit PDF.

- St. Lucie County MS4 112912_Distribution (Excel spreadsheet)

  - Reduction credit calculations for all St. Lucie County MS4 projects

  - Each project has its own tab with data and calculations.

  - Wet detention pond residence time, runoff, TN efficiency, TP efficiency, and ppv prov are included.

- 020610-12_StaffRpt_12821 (Construction Request)

  - Operational information can be found on pages 3 through 5 of the permit PDF.