## TOTALS
Draft Wakulla Nitrogen Reduction Schedule
* July 2014 NSILT
Table 1. Load to Groundwater (GW) by Source
Source | GW Load (kg-N/yr) (*NSILT- Table 13) | GW Load (lbs-N/yr) | Notes
OSTDS | 175297 | 385653.4
Urban Turfgrass Fertilizer (UTF) | 15622 | 34368.4
Atmospheric Deposition (AD) | 44657 | 98245.4
Farm Fertilizer (FF) | 26693 | 58724.6
Sports Turfgrass Fertilizer (STF) | 0 | 0 | Included in STF
Livestock | 24546 | 54001.2
Wastewater Treatment Facility (WWTF) | 21812 | 47986.4
Sinking streams | 33221 | 73086.2
Total | 341848 | 752065.6
Table 2. Total Required Reduction to Meet the TMDL
| Nitrogen Loads (lbs-N/yr) | Calculation Method | Notes |  | Figure 10. 2014 Wakulla NSILT
Current Load at Springhead Based on Recent Concentration and Flow | 655203 | Calculated based on recent 3 yrs data, concentration, and flow | Concentration and flow data from April 2014 - March 2017
TMDL Load | 531523 | Calculated based on 0.35 mg/L target and recent 3 years of flow | Flow data from April 2014 - March 2017
Required Load Reduction | 123680 | Current load minus TMDL load
Required Percent Reduction | 18.88% | Based on the difference between the current load and the TMDL
Table 3. Required Reduction by Source
Source | Reductions by Source (lbs-N/yr) | Percent Contribution to GW (*NSILT- Figure 10) | Adjusted Source Assignments (Applying WWTF Policy)
OSTDS | 67196.38 | 51% | 54.33%
UTF | 5988.3617 | 5% | 4.842%
AD | 17118.312 | 13% | 13.84%
FF | 10232.1943 | 8% | 8.273%
STF | 0 | 0% | 0%
Livestock | 9409.1875 | 7% | 7.608%
WWTF* | 1001 | 6% | 0.8093%
Sinking streams | 12734.5644 | 10% | 10.3%
Total | 123680 | 100% | 100%
* Reductions for WWTFs are being set by the BMAP concentration/volume policies in PFA1.
Table 4a. Reduction Milestones by Source (lbs-N/yr)
| Five Years | Ten Years | Fifteen Years | Twenty Years
Source/Milestone | 30% | 50% | 20% | Total
OSTDS | 20158.914 | 33598.19 | 13439.276 | 67196.38
UTF | 1796.5085 | 2994.1809 | 1197.6723 | 5988.3617
AD | * | * | * | 17118.312
FF | 3069.6583 | 5116.0972 | 2046.4389 | 10232.1943
STF | 0 | 0 | 0 | 0
Livestock | 2822.7563 | 4704.5938 | 1881.8375 | 9409.1875
WWTF*** | 1001 | 0 | 0 | 1001
Sinking streams | ** | ** | ** | 12734.5644
Total | 28848.8371 | 46413.0618 | 18565.2247 | 123680
* No reductions for atmospheric deposition are being assigned at this time.
** No reductions for sinking streams are being assigned at this time.
*** Reductions for WWTFs are being set by the BMAP concentration/volume policies in PFA1.
Table 4b. Reduction Milestones by Source (lbs-N/yr)
| Five Years | Ten Years | Twenty Years
Source/Milestone | 50% | 50% | Total
OSTDS | 33598.19 | 33598.19 | 67196.38
UTF | 2994.1809 | 2994.1809 | 5988.3617
AD | * | * | 17118.312
FF | 5116.0972 | 5116.0972 | 10232.1943
STF | 0 | 0 | 0
Livestock | 4704.5938 | 4704.5938 | 9409.1875
WWTF*** | 500.5 | 500.5 | 1001
Sinking streams | ** | ** | 12734.5644
Total | 46913.5618 | 46913.5618 | 123680
* No reductions for atmospheric deposition are being assigned at this time.
** No reductions for sinking streams are being assigned at this time.
*** Reductions for WWTFs are being set by the BMAP concentration/volume policies in PFA1.

## OSTDS
Draft Wakulla Reduction Milestones for OSTDS
Note: Table 4 is from the TOTALS sheet.
Table 4. Milestone Required Reductions for OSTDS (lbs-N/yr)
Five Years | Ten Years | Fifteen Years | Twenty Years
30% | 50% | 20% | Total
20158.914 | 33598.19 | 13439.276 | 67196.38
Calculations
Existing loading from OSTDS is 24.3 lbs-N/year (source: NSILT; ~9 lbs/person [EPA #] with 2.7 persons/septic system)
Calculation 1: Load times attenuation times recharge
Existing OSTDS
Table 5. Existing OSTDS - Initial Load to GW (lbs-N/yr/tank)
Existing OSTDS Load | Attenuation (.4) | Confined (0.1) | Semi-confined (.4) | Unconfined (.9)
24.3324 | 14.5994 | 1.4599 | 5.8398 | 13.1395
Enhanced OSTDS
Calculation 2: Load times enhancement times attenuation times recharge
(Enhanced systems result in 65% reduction or 35% of load reaching groundwater) | [6 empty] | Figure 6 in NSILT, p. 15
Table 6. Enhanced OSTDS - Load to GW (lbs-N/yr/tank)
Existing OSTDS Load | Enhancement (.35) | Attenuation (.4) | Confined (0.1) | Semi-confined (.4) | Unconfined (.9) |  | Number of Persons Per Household (NSILT, page 16; U.S. Census 2010)
24.3324 | 8.5163 | 5.1098 | 0.51098 | 2.0439 | 4.5988 |  | Leon | 2.48
[7 empty] | Wakulla | 2.93
Calculation 3: Existing Load to GW minus Enhanced Load to GW | [6 empty] | Gadsden | 2.74
Table 7. Improvement to GW Due to Enhanced OSTDS (lbs-N/yr/tank) | [6 empty] | Jefferson | 2.61
Existing Load-Confined | Existing Load-Semi-confined | Existing Load-Unconfined | Reduction in Confined Area | Reduction in Semi-confined Area | Reduction in Unconfined Area |  | Average= | 2.69
1.4599 | 5.8398 | 13.1395 | 0.94896 | 3.7959 | 8.5407 |  | Median= | 2.675
Replaced OSTDS (septic to sewer conversion)
(Replaced systems result in 95% reduction or 5% of load reaching groundwater; assumes AWT)
Calculation 4: Initial load from existing septic system times 95% reduction
Table 8. Improvement to GW due to Replaced OSTDS (lbs-N/yr/tank)
Existing Load-Confined | Existing Load-Semi-confined | Existing Load-Unconfined | Reduction in Confined Area | Reduction in Semi-confined Area | Reduction in Unconfined Area
1.4599 | 5.8398 | 13.1395 | 1.3869 | 5.5478 | 12.4825
Calculation 5: Milestone Reduction (Table 4) divided by the Enhancement or Replacement Reduction (Table 7 or 8)
Table 9. Number and Type of OSTDS Conversions Needed to Meet Load Reduction Milestones
OSTDS/ Milestone | 5 Years | 10 Years | 15 Years | 20 Years
Enhancement-Semi-confined | 5310.7711 | 8851.2852 | 3540.5141 | 17702.5705
Enhancement-Unconfined | 2360.3427 | 3933.9045 | 1573.5618 | 7867.8091
Replacement-Semi-confined | 3633.6855 | 6056.1425 | 2422.457 | 12112.2851
Replacement-Unconfined | 1614.9713 | 2691.6189 | 1076.6476 | 5383.2378
Source- NSILT Table 5
Recharge Area | # of OSTDS
Unconfined | 16173
Semi-confined | 22005
Confined | 14268
Discharge | -
Total No. of OSTDS in the Wakulla Spring BMAP Area | 52446
Calculation 6: | Source- NSILT Table 5
Septic Systems (# of tanks) | Unconfined | Semi-confined | Confined | Discharge (does not apply in Wakulla) | Total | Revised Total (If Discharge Area Is Removed)
Leon County | 8524 | 20910 | 2112 | 0 | 31546 | 31546
City of Tallahassee | 54 | 349 | 0 | 0 | 403 | 403
Wakulla County | 7595 | 0 | 0 | 0 | 7595 | 7595
Gadsden County | 0 | 654 | 11719 | 0 | 12373 | 12373
Jefferson County | 0 | 92 | 437 | 0 | 529 | 529
NA | 0 | 0 | 0 | 0 | 0 | 0
NA | 0 | 0 | 0 | 0 | 0 | 0
Totals | 16173 | 22005 | 14268 | 0 | 52446 | 52446
Comparison to Septic Systems in PFAs Only | From FDEP GIS Section
Septic Systems In PFA1 and PFA2 | Unconfined | Semi-confined | Confined | Discharge (does not apply in Wakulla) | Total | Revised Total of Septic Systems in PFA1 and PFA2 (If Discharge Area Is Removed)
City of Tallahassee | 80 | 0 | 0 | 0 | 80 | 80
Leon County | 6778 | 0 | 0 | 0 | 6778 | 6778
Wakulla County | 7119 | 0 | 0 | 0 | 7119 | 7119
Totals | 13977 | 0 | 0 | 0 | 13977 | 13977
Calculation 7:
Recharge | OSTDS Load to Groundwater (lbs-N/yr) | % of load
Unconfined | 118925.608 | 30.84%
Semi-confined | 161810.3014 | 41.96%
Confined | 104917.4906 | 27.21%
Total | 385653.4 | 100%
Required Reduction OSTDS |  | 67196.38
Discharge Area Load | 0

## OSTDS in PFA
Draft Wakulla Reduction Milestones for OSTDS
Note: Table 4a is from the TOTALS sheet.
Table 4a. Milestone Required Reductions for OSTDS (lbs-N/yr)
Five Years | Ten Years | Fifteen Years | Twenty Years
30% | 50% | 20% | Total
20158.914 | 33598.19 | 13439.276 | 67196.38
Calculations
Existing loading from OSTDS is 24.3 lbs-N/year (source: NSILT; ~9 lbs/person [EPA #] with 2.7 persons/septic system)
Calculation 1: Load times attenuation times recharge
Existing OSTDS
Table 5. Existing OSTDS - Initial Load to Groundwater (GW) (lbs-N/yr/tank)
Existing OSTDS Load | Attenuation (.4) | Confined (0.1) | Semi-confined (.4) | Unconfined (.9)
24.3324 | 14.5994 | 1.4599 | 5.8398 | 13.1395 |  | Figure 6 in NSILT, p. 15
Enhanced OSTDS
Calculation 2: Load times enhancement times attenuation times recharge
(Enhanced systems result in 65% reduction or 35% of load reaching groundwater)
Table 6. Enhanced OSTDS - Load to GW (lbs-N/yr/tank)
Existing OSTDS Load | Enhancement (.35) | Attenuation (.4) | Confined (0.1) | Semi-confined (.4) | Unconfined (.9) |  | Number of Persons Per Household (NSILT, page 16; US Census 2010)
24.3324 | 8.5163 | 5.1098 | 0.51098 | 2.0439 | 4.5988 |  | Leon | 2.48
[7 empty] | Wakulla | 2.93
Calculation 3: Existing Load to GW minus Enhanced Load to GW | [6 empty] | Gadsden | 2.74
Table 7. Improvement to GW due to Enhanced OSTDS (lbs-N/yr/tank) | [6 empty] | Jefferson | 2.61
Existing Load-Confined | Existing Load-Semi-confined | Existing Load-Unconfined | Reduction in Confined Area | Reduction in Semi-confined Area | Reduction in Unconfined Area |  | Average= | 2.69
1.4599 | 5.8398 | 13.1395 | 0.94896 | 3.7959 | 8.5407 |  | Median= | 2.675
Replaced OSTDS (septic to sewer conversion)
(Replaced systems result in 95% reduction or 5% of load reaching groundwater; assumes AWT)
Calculation 4: Initial load from existing septic system times 95% reduction
Table 8. Improvement to GW due to Replaced OSTDS (lbs-N/yr/tank)
Existing Load-Confined | Existing Load-Semi-confined | Existing Load-Unconfined | Reduction in Confined Area | Reduction in Semi-confined Area | Reduction in Unconfined Area
1.4599 | 5.8398 | 13.1395 | 1.3869 | 5.5478 | 12.4825
Calculation 5: Milestone Reduction (Table 4a) divided by the Enhancement or Replacement Reduction (Table 7 or 8)
Table 9. Number and Type of OSTDS Conversions Needed to Meet Load Reduction Milestones
OSTDS/ Milestone | 5 Years | 10 Years | 15 Years | 20 Years
Enhancement-Semi-confined | 5310.7711 | 8851.2852 | 3540.5141 | 17702.5705
Enhancement-Unconfined | 2360.3427 | 3933.9045 | 1573.5618 | 7867.8091
Replacement-Semi-confined | 3633.6855 | 6056.1425 | 2422.457 | 12112.2851
Replacement-Unconfined | 1614.9713 | 2691.6189 | 1076.6476 | 5383.2378
From FDEP GIS Section
Recharge Area | # of OSTDS in the PFAs
Unconfined | 13977
Semi-confined | 0
Confined | 0
Discharge | -
Total No. of OSTDS in the Wakulla Spring PFA | 13977
Calculation 6 | From FDEP GIS Section
Septic Systems In PFA1 and PFA2 | Unconfined | Semi-confined | Confined | Discharge (does not apply in Wakulla) | Total | Revised Total of Septic Systems in PFA1 and PFA2 (If Discharge Area Is Removed)
City of Tallahassee | 80 | 0 | 0 | 0 | 80 | 80
Leon County | 6778 | 0 | 0 | 0 | 6778 | 6778
Wakulla County | 7119 | 0 | 0 | 0 | 7119 | 7119
Totals | 13977 | 0 | 0 | 0 | 13977 | 13977
Calculation 7:
Recharge Area | Estimated Total OSTDS Load to Groundwater in PFA1 and PFA2 (lbs-N/yr)
Unconfined | 102777.6679
Semi-confined | 0
Confined | 0
Total | 102777.6679
Required Reduction OSTDS | 67196.38
* Reduction accounts for load leaving septic field, recharge rate, and attenuation.
OSTDS PFA Reductions, By Entity | # of Septic Systems | Maximum Reduction From System Enhancement (lbs-N/yr)* | Maximum Reduction from Sewer (lbs-N/yr)*
Tallahassee
Unconfined | 80 | 683.2538 | 998.6017
Semi-confined | 0 | 0 | 0
Confined | 0 | 0 | 0
Tallahassee Total | 80 | 683.2538 | 998.6017
Leon
Unconfined | 6778 | 57888.6775 | 84606.5287
Semi-confined | 0 | 0 | 0
Confined | 0 | 0 | 0
Leon Total | 6778 | 57888.6775 | 84606.5287
Wakulla
Unconfined | 7119 | 60801.0468 | 88863.0684
Semi-confined | 0 | 0 | 0
Confined | 0 | 0 | 0
Wakulla Total | 7119 | 60801.0468 | 88863.0684
Grand Total | 13977 | 119372.9781 | 174468.1988

## OSTDS in PFA_50%50%
Draft Wakulla Reduction Milestones for OSTDS
Note: Table 4b is from the TOTALS sheet.
Table 4b. Milestone Required Reductions for OSTDS (lbs-N/yr)
Five Years | Ten Years | Twenty Years
50% | 50% | Total
33598.19 | 33598.19 | 67196.38
Calculations
Existing loading from OSTDS is 24.3 lbs-N/year (source: NSILT; ~9 lbs/person [EPA #] with 2.7 persons/septic system)
Calculation 1: Load times attenuation times recharge
Existing OSTDS
Table 5. Existing OSTDS - Initial Load to Groundwater (GW) (lbs-N/yr/tank)
Existing OSTDS Load | Attenuation (.4) | Confined (0.1) | Semi-confined (.4) | Unconfined (.9)
24.3324 | 14.5994 | 1.4599 | 5.8398 | 13.1395 |  | Figure 6 in NSILT, p. 15
Enhanced OSTDS
Calculation 2: Load times enhancement times attenuation times recharge
(Enhanced systems result in 65% reduction or 35% of load reaching groundwater)
Table 6. Enhanced OSTDS - Load to GW (lbs-N/yr/tank)
Existing OSTDS Load | Enhancement (.35) | Attenuation (.4) | Confined (0.1) | Semi-confined (.4) | Unconfined (.9) |  | Number of Persons Per Household (NSILT, page 16; US Census 2010)
24.3324 | 8.5163 | 5.1098 | 0.51098 | 2.0439 | 4.5988 |  | Leon | 2.48
[7 empty] | Wakulla | 2.93
Calculation 3: Existing Load to GW minus Enhanced Load to GW | [6 empty] | Gadsden | 2.74
Table 7. Improvement to GW due to Enhanced OSTDS (lbs-N/yr/tank) | [6 empty] | Jefferson | 2.61
Existing Load-Confined | Existing Load-Semi-confined | Existing Load-Unconfined | Reduction in Confined Area | Reduction in Semi-confined Area | Reduction in Unconfined Area |  | Average= | 2.69
1.4599 | 5.8398 | 13.1395 | 0.94896 | 3.7959 | 8.5407 |  | Median= | 2.675
Replaced OSTDS (septic to sewer conversion)
(Replaced systems result in 95% reduction or 5% of load reaching groundwater; assumes AWT)
Calculation 4: Initial load from existing septic system times 95% reduction
Table 8. Improvement to GW due to Replaced OSTDS (lbs-N/yr/tank)
Existing Load-Confined | Existing Load-Semi-confined | Existing Load-Unconfined | Reduction in Confined Area | Reduction in Semi-confined Area | Reduction in Unconfined Area
1.4599 | 5.8398 | 13.1395 | 1.3869 | 5.5478 | 12.4825
Calculation 5: Milestone Reduction (Table 4b) divided by the Enhancement or Replacement Reduction (Table 7 or 8)
Table 9. Number and Type of OSTDS Conversions Needed to Meet Load Reduction Milestones
OSTDS/ Milestone | 5 Years | 10 Years | 20 Years
Enhancement-Semi-confined | 8851.2852 | 8851.2852 | 17702.5705
Enhancement-Unconfined | 3933.9045 | 3933.9045 | 7867.8091
Replacement-Semi-confined | 6056.1425 | 6056.1425 | 12112.2851
Replacement-Unconfined | 2691.6189 | 2691.6189 | 5383.2378
From FDEP GIS Section
Recharge Area | # of OSTDS in the PFAs
Unconfined | 13977
Semi-confined | 0
Confined | 0
Discharge | -
Total No. of OSTDS in the Wakulla Spring PFA | 13977
Calculation 6 | From FDEP GIS Section
Septic Systems In PFA1 and PFA2 | Unconfined | Semi-confined | Confined | Discharge (does not apply in Wakulla) | Total | Revised Total of Septic Systems in PFA1 and PFA2 (If Discharge Area Is Removed)
City of Tallahassee | 80 | 0 | 0 | 0 | 80 | 80
Leon County | 6778 | 0 | 0 | 0 | 6778 | 6778
Wakulla County | 7119 | 0 | 0 | 0 | 7119 | 7119
Totals | 13977 | 0 | 0 | 0 | 13977 | 13977
Calculation 7:
Recharge Area | Estimated Total OSTDS Load to Groundwater in PFA1 and PFA2 (lbs-N/yr)
Unconfined | 102777.6679
Semi-confined | 0
Confined | 0
Total | 102777.6679
Required Reduction OSTDS | 67196.38
* Reduction accounts for load leaving septic field, recharge rate, and attenuation.
OSTDS PFA Reductions, By Entity | # of Septic Systems | Maximum Reduction From System Enhancement (lbs-N/yr)* | Maximum Reduction from Sewer (lbs-N/yr)*
Tallahassee
Unconfined | 80 | 683.2538 | 998.6017
Semi-confined | 0 | 0 | 0
Confined | 0 | 0 | 0
Tallahassee Total | 80 | 683.2538 | 998.6017
Leon
Unconfined | 6778 | 57888.6775 | 84606.5287
Semi-confined | 0 | 0 | 0
Confined | 0 | 0 | 0
Leon Total | 6778 | 57888.6775 | 84606.5287
Wakulla
Unconfined | 7119 | 60801.0468 | 88863.0684
Semi-confined | 0 | 0 | 0
Confined | 0 | 0 | 0
Wakulla Total | 7119 | 60801.0468 | 88863.0684
Grand Total | 13977 | 119372.9781 | 174468.1988