The purpose of the Department’s QA effort is to ensure water quality data submitted to the Department’s wastewater and drinking water programs meets the rigorous requirements of sampling, testing, data collection and reporting. Each calendar year, every District will perform QA checks on a certain number of regulated facilities using facilities due for an inspection. For the 2021 calendar year, each District will be performing QA checks on the following number of facilities:

| Drinking Water Levels of Service |  |  |  |  |  |  | 5% of LOS # 2019-2020 (Calculated) | QA Rounded |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| District | Facility Type | Total Sys | Calc. LoS | LoS # * | # Complete | % Complete |  |  |
| CD | C | 441 | 147 | 147 | 100 | 68% | 7.35 | 7 |
|  | P | 156 | 52 | 56 | 29 | 52% | 2.8 | 3 |
|  | N | 634 | 127 | 127 | 70 | 55% | 6.35 | 6 |
|  | Tot | 1231 | 326 | 330 | 199 | 60% |  | 16 |
| NWD | C | 171 | 57 | 57 | 25 | 44% | 2.85 | 3 |
|  | P | 48 | 16 | 16 | 11 | 69% | 0.8 | 1 |
|  | N | 157 | 32 | 32 | 24 | 75% | 1.6 | 2 |
|  | Tot | 376 | 105 | 105 | 60 | 57% |  | 6 |
| NED | C | 203 | 68 | 68 | 42 | 62% | 3.4 | 3 |
|  | P | 122 | 41 | 41 | 19 | 46% | 2.05 | 2 |
|  | N | 518 | 104 | 112 | 68 | 61% | 5.6 | 6 |
|  | Tot | 843 | 213 | 221 | 129 | 58% |  | 11 |
| SD | C | 75 | 25 | 25 | 13 | 52% | 1.25 | 1 |
|  | P | 45 | 15 | 15 | 3 | 20% | 0.75 | 1 |
|  | N | 131 | 27 | 27 | 11 | 41% | 1.35 | 1 |
|  | Tot | 251 | 67 | 67 | 27 | 40% |  | 3 |
| SED | C | 86 | 29 | 29 | 14 | 48% | 1.45 | 1 |
|  | P | 22 | 8 | 8 | 6 | 75% | 0.4 | 1 |
|  | N | 111 | 23 | 23 | 20 | 87% | 1.15 | 1 |
|  | Tot | 219 | 60 | 60 | 40 | 67% |  | 3 |
| SWD | C | 180 | 60 | 60 | 42 | 70% | 3 | 3 |
|  | P | 104 | 35 | 35 | 20 | 57% | 1.75 | 2 |
|  | N | 331 | 67 | 67 | 47 | 70% | 3.35 | 3 |
|  | Tot | 615 | 162 | 162 | 109 | 67% |  | 8 |

| NPDES Wastewater Facilities QA component: 5% of Universe Includes DW & IW Facility Types Only CAFOs, GPs, and PETs were not considered for this universe. Each District should select at least one facility where a PAI will be done for a QA audit. 5th years inspection will not be audited as part of QA. |  |  |  |  |
| --- | --- | --- | --- | --- |
| District | Facility Type | Universe | QA (5%) | QA (rounded) |
| CD | Major DW | 12 | 0.6 | 1 |
|  | Minor DW | 14 | 0.7 | 1 |
|  | Major IW | 4 | 0.2 | 0 |
|  | Minor IW | 14 | 0.7 | 1 |
|  | Total | 44 | 2.2 | 2 |
| NED | Major DW | 26 | 1.3 | 1 |
|  | Minor DW | 32 | 1.6 | 2 |
|  | Major IW | 16 | 0.8 | 1 |
|  | Minor IW | 18 | 0.9 | 1 |
|  | Total | 92 | 4.6 | 5 |
| NWD | Major DW | 14 | 0.7 | 1 |
|  | Minor DW | 9 | 0.45 | 0 |
|  | Major IW | 10 | 0.5 | 1 |
|  | Minor IW | 9 | 0.45 | 0 |
|  | Total | 42 | 2.1 | 2 |
| SD | Major DW | 9 | 0.45 | 0 |
|  | Minor DW | 3 | 0.15 | 0 |
|  | Major IW | 2 | 0.1 | 0 |
|  | Minor IW | 10 | 0.5 | 1 |
|  | Total | 24 | 1.2 | 1 |
| SED | Major DW | 12 | 0.6 | 1 |
|  | Minor DW | 6 | 0.3 | 0 |
|  | Major IW | 7 | 0.35 | 0 |
|  | Minor IW | 45 | 2.25 | 2 |
|  | Total | 70 | 3.5 | 4 |
| SWD | Major DW | 18 | 0.9 | 1 |
|  | Minor DW | 9 | 0.45 | 0 |
|  | Major IW | 16 | 0.8 | 1 |
|  | Minor IW | 31 | 1.55 | 2 |
|  | Total | 74 | 3.7 | 4 |
| SWDPM | Major IW | 26 | 1.3 | 1 |
|  | Minor IW | 4 | 0.2 | 0 |
|  | Total | 30 | 1.5 | 2 |
| State Totals | Major DW | 91 | 4.55 | 5 |
|  | Minor DW | 73 | 3.65 | 4 |
|  | Major IW | 81 | 4.05 | 4 |
|  | Minor IW | 131 | 6.55 | 7 |
|  | Total | 376 | 18.8 | 19 |

| Non-NPDES Wastewater Facilities QA component: 5% of Universe Some Facility Types may not be appropriate for the QA Component AFOs/CAFOs not considered for this Universe |  |  |  |  |
| --- | --- | --- | --- | --- |
| District | Facility Type | Universe | QA (5%) | QA (rounded) |
| CD | DW/REU | 450 | 22.5 | 23 |
|  | IW | 96 | 4.8 | 5 |
|  | RAF | 25 | 1.25 | 1 |
|  | RES | 16 | 0.8 | 1 |
|  | Total | 587 | 29.35 | 29 |
| NED | DW/REU | 147 | 7.35 | 7 |
|  | IW | 36 | 1.8 | 2 |
|  | RAF | 45 | 2.25 | 2 |
|  | RES | 22 | 1.1 | 1 |
|  | Total | 250 | 12.5 | 13 |
| NWD | DW/REU | 85 | 4.25 | 4 |
|  | IW | 38 | 1.9 | 2 |
|  | RAF | 8 | 0.4 | 0 |
|  | RES | 0 | 0 | 0 |
|  | Total | 131 | 6.55 | 7 |
| SD | DW/REU | 318 | 15.9 | 16 |
|  | IW | 54 | 2.7 | 3 |
|  | RAF | 6 | 0.3 | 0 |
|  | RES | 3 | 0.15 | 0 |
|  | Total | 381 | 19.05 | 19 |
| SED | DW/REU | 105 | 5.25 | 5 |
|  | IW | 38 | 1.9 | 2 |
|  | RAF | 4 | 0.2 | 0 |
|  | RES | 6 | 0.3 | 0 |
|  | Total | 153 | 7.65 | 8 |
| SWD | DW/REU | 297 | 14.85 | 15 |
|  | IW | 53 | 2.65 | 3 |
|  | RAF | 36 | 1.8 | 2 |
|  | RES | 24 | 1.2 | 1 |
|  | Total | 410 | 20.5 | 21 |
| State Totals | DW/REU | 1402 | 70.1 | 70 |
|  | IW | 315 | 15.75 | 16 |
|  | RAF | 124 | 6.2 | 6 |
|  | RES | 71 | 3.55 | 4 |
|  | Total | 1912 | 95.6 | 96 |

While the QA program is based on a calendar year, the number of QAs to be performed will be done on facilities being inspected in a federal fiscal year, which means that in order to meet the QA for the calendar year, facilities on the LOS lists from two federal fiscal years may be used. For the current calendar year, the facilities selected for a QA may be done using facilities remaining to be inspected on the 2020-21 LOS list and those to be inspected during the first three months (October 2021 – December 2021) of the 2021-22 Federal Fiscal Year.

Checklists

QAs will be performed using the checklists designed by the DWRM for each program:

- For the Drinking Water program, you may find them located here:

  - CCR QA Checklist

  - MOR QA Checklist

  - Bacts_BWN and Clearances QA Checklist

  - Bacts_GWR QA Checklist

  - Bacts_RTCR QA Checklist

  - Bacts_Well Survey QA Checklist

  - Chems_QA Checklist

  - PW Data Entry QA Checklist

- For the Wastewater program, you may find them located here:

  - DMR Part A QA Checklist

  - DMR Part B QA Checklist

  - Groundwater DMR Part D QA Checklist

  - Field Sheets and Chain of Custody QA Checklist

  - Lab Report QA Checklist

  - Sampling Calibration Verification Logs QA Checklist

Range of Data to be Reviewed

- Drinking Water

| Bacteriological Reporting |  |
| --- | --- |
| Well Survey | Typically, just for NEW systems |
| Groundwater (GWR) | GWR & RTCR samples come in on the same reporting form - for QA review previous 12 months |
| Revised Total Coliform Rule (RTCR) |  |
| Special (PBWNs & Clearances) | Review previous 12 months |
| Chemical Reporting |  |
| N/N | Review last sample |
| Primary Inorganics (Full Set) | Review last sample |
| Asbestos-Samples/Certification Forms | Review last submittal of samples or plan |
| Volatile Organic Contaminants | Review last sample |
| Synthetic Organic Contaminants | Review last sample |
| Radionuclides | Review last sample |
| Disinfection Byproducts | Review previous 12 months |
| Lead and Copper Rule Analysis | Review last set of samples |
| Water Quality Parameters | Review latest available - not all samples conduct WQP monitoring |
| Consumer Confidence Reporting | *CWS ONLY |
| Consumer Confidence Checklist | Review last submitted CCR & submittal of COD's |
| Monthly Operation Reports | *CWS, NTNC, & TNCs with food service |
| Monthly Operation Reports | For GW systems, review previous 12 months |
| Surface Water MORs | Where available, select surface water systems for QA purposes |

Notes: 1) External lab data should be requested for review as part of the QA checks, where applicable. For example, chain of custody documents. 2) If facility didn’t sample in the previous year due to its allotted schedule, go back up to 3 years to review the most recent result for that particular contaminant group.

- Wastewater

  - Out of the previous 12 months of DMRs being evaluated for an inspection, select 1.

  - For items to be reviewed onsite during an inspection, i.e. logbooks, look at amount of data that is typically reviewed during an inspection.

  - External lab data should be requested for review as part of the QA checks, where applicable. For example, chain of custody documents.

Training

Training on how to perform these audits can be found at the following links:

- Drinking Water

  - PQ QA Guidance Manual – this is a living document that provides step by step guidance on how to perform a drinking water QA using each checklist. As the need for improvement in efficiency is identified, the manual will eb updated.

  - Drinking Water QA Checklist Training

- Wastewater

  - QA Guidance Document – provides step by step explanation of how to perform QA using each checklist

  - QA Webinar

  - QA Webinar - short course

Deficiencies

Resolution of deficiencies will be handled through the Department’s compliance/enforcement process.

Drinking Water – Pre-compliance reviews are being done on incoming reports and identified violations are typically addressed at the time of receipt in order to meet the compliance period for violations to generate, however, there may be deficiencies identified during the LOS QA checks, such as hold times not checked, a site issue, items that may have been missed, etc. Staff should record such deficiencies under the “Monitoring”, “Management” or “Deficiencies” sections of the inspection report, as applicable. If the facility has already addressed the issue, mark the item as “in-compliance”, however, if the deficiency is still outstanding, mark it out of compliance. The mechanism for addressing deficiencies will be on a case by case basis, with compliance assistance as an initial means of correcting the identified deficiency. Escalation to a WL or formal enforcement will be determined by the District.

If the deficiency is a recurring lab issue, it should be addressed with the lab.

- Wastewater - There are sections within the Wastewater Inspection Report under which each of the QA checklists should be evaluated. If staff identify deficiencies during the QA, such deficiencies should be recorded in the inspection report for the facility. Following are a couple of examples of how to record deficiencies in the inspection report:

  - If deficiencies are related to improper or lack of documentation in the onsite logbooks for items such as the person conducting the sampling, sampling locations, collection times, meter calibrations, temperature, pH, DO and any other information that should be written and/or recorded, include comments of such deficiencies under the Records and Reports section of the inspection report.

  - If deficiencies are related to improper handling and sampling procedures, improper preservation, improper bottle types, holding times, meter use, etc., such deficiencies should be identified in the Sampling section of the inspection report.

If the facility has already addressed the issue, record it in the inspection report and mark the item as “in-compliance”, however, if the deficiency is still outstanding, mark it out of compliance. The mechanism for addressing deficiencies will be on a case by case basis, with compliance assistance as an initial means of correcting the identified deficiency. Escalation to a WL or formal enforcement will be determined by the District.

Note: If a WW or PW facility has already received two CAOs during the current rolling 5-year period, continue to follow the process established in the Department’s Limitations on Use of CAOs Memo, which states that a Warning Letter should follow unless a memo justifying another CAO is sent to the Deputy Secretary for approval. This also applies even if the only deficiency identified during the inspection is QA related.

Tracking

In order to keep better track of facilities that have had a QA done in the year, Access has been enhanced by adding a QA checkbox to each line item of the wastewater and drinking water inspection lists.

Additionally, the wastewater program database has been enhanced to include a field for tracking time spent on the QA for each facility. This in turn will allow for tracking of facilities that have had a QA performed throughout the year.    The drinking water program database has also added a QA field that should be updated upon a facility’s QA completion.

Monitoring and Maintenance

QA officers have been identified for each District to ensure QAs are being done in accordance with the program’s specifications.

QA Officers’ Responsibilities

- Be familiar with and coordinate the maintenance of the quality documents (QA Plan, Guidance Manual and checklists) and quality assurance requirements of the program.

- Coordinate and participate in the quality checks of program data and provide oversight to ensure that staff perform their QA functions adequately.

- Coordinate and/or perform audits of external data generators (lab and field).

- Ensure that staff address deficiencies identified during QA checks and corrective actions are implemented.

- Assist in developing the logistical aspects of the QA program’s implementation, such as coordinating associated training needs.

- Track QA activities, including training, completion of audits and compliance status with the program’s data requirements to ensure the Districts have met their responsibilities, and be able to provide this information when requested for the program’s annual QA report(s) to the DEP Aquatic Ecology and Quality Assurance Section which in turn will be used in the annual Quality Assurance Report to the Secretary.

End of Year Report

Every year, the Department’s Aquatic Ecology and Quality Assurance Section (AEQAS) puts together a Department-wide QA Report for the Secretary. The objective of the report is to update the Secretary’s office on the status of success in meeting the Department’s QA goals. Each year, AEQAS will reach out to the regulatory district’s QA Officers to collect information related to the QA process in that year. The information will typically be due to DEAR by mid-February following the end of the previous QA calendar year. AEQAS will be requesting the following information from each District:

Training:

  - Number of staff that needed training vs. number of staff that received training in WW & PW

QA Checks:

  - % completion of required number of QA checks for WW and PW

Options for Assistance with the Increase in Workload

There are a variety of options Districts may choose from to help them with conducting their QAs, from hiring unpaid interns or paid OPS (when available) to having other Districts that may not have as many QAs to do assist with the workload (the number of QAs to be done comes from a statewide universe and is not specific to each District allowing for this to be done). Please reach out to your management to consider any of these options.