Guidance for the Selection of Analytical Methods and for the

Evaluation of MDLs and PQLs

List Referenced in Chapter 62-4.246(4), F.A.C.

Prepared by

Division of Environmental Assessment and Restoration

April 1, 2020

Guidance for the Selection of Analytical Methods and for the Evaluation of MDLs and PQLs

For the List of Analytical Methods Referenced in Chapter 62-4.246(4), F.A.C.

# Intended Use of This Document

This guidance is published to assist DEP staff and other data reviewers with the evaluation of appropriate analytical methodologies used to generate data.  Subsection 62-4.246(4), Florida Administrative Code (F.A.C.), requires DEP to establish and publish a list of target Method Detection Limits (MDLs) and Practical Quantitation Limits (PQLs) for published analytical methods that may be used for the analysis of wastewater, surface water and groundwater.  Data reviewers can use the listed MDLs and PQLs as guidelines to ensure that adequately sensitive analytical techniques were utilized to meet permit requirements or other data quality objectives.

The target MDLs and PQLs in the 62-4.246(4) list may not be applicable to all samples.

# Sources of Listed Target MDLs

The listed target MDLs are obtained from the following sources:

- MDLs published in approved methods. The EPA and the APHA (“Standard Methods”) are the primary sources used.

- MDLs published in the Environmental Monitoring Methods Index (historical); and, the National Environmental Monitoring Index (NEMI).

MDLs from the sources above may differ for the same analyte-technique combination. In these cases, the MDL included in the 62-4.246(4) list was judged to be the most appropriate target value for the listed method.

# Calculation of Target PQLs

- Except as noted below, many of the listed PQLs were calculated as 4 X MDL, per the default calculation of the PQL indicated at subsection 62-160.120(23), F.A.C. For some listings, the PQL is taken from the information in the method about minimum levels applicable to quantitation.

- PQLs are listed as equivalent to the MDL or as some other factor of the MDL for certain analytes, where the detection or quantitation value is affected by practical considerations associated with the analytical technique or where the concept of a statistically derived MDL may not be appropriate. The analytical techniques for these analytes are specifically designated in the MDL/PQL list as described in the next section. Examples of these analytes include:

Biochemical Oxygen Demand (BOD)

Carbonaceous Biochemical Oxygen Demand (CBOD)

Chlorine, Total

Chlorophyll

Coliforms, Fecal and Total Color

Dissolved Oxygen (DO)

E. Coli

Enterococci

Hardness (by calculation)

Hydrogen ion (pH)

Hydrogen sulfide

Nitrate (by calculation)

Nitrogen, Total (by calculation)

Odor

Radiochemistry analytes

Residues (TDS, TSS)

Specific conductance

Temperature

Titrimetric methods

Turbidity

Un-ionized ammonia

# MDL/PQL Listings Where MDL May Not Be Applicable

A new column was added and titled “MDL Not Required” where an “X” in the column indicates an analytical technique for which the EPA procedure for MDL determination may not be appropriate (see 40 CFR, Part 136, Appendix B). The laboratory may instead indicate the PQL or laboratory Reporting Limit as an equivalent detection level for a specified analyte, as determined by alternative procedures. Field organizations may report field test results as a minimum increment based on the field sensor specifications. Per paragraph 62-160.340(3)(c), F.A.C., analytical results below the laboratory reporting limit shall be indicated as the reporting limit value followed by the data qualifier code "U" (see Table 1, rule 62-160.700, F.A.C.).

# Reported Versus Target MDLs and PQLs

The listed MDLs and PQLs are targets that should be achievable under optimal conditions of quality control by most environmental laboratories. However, the laboratory cannot always be expected to meet the MDLs or PQLs listed in the table. Often, environmental samples may contain constituents that cause analytical interferences or other quality control problems that can prevent achieving the target limits. Even sample collection anomalies (e.g., the collection of less than ideal sample volumes) can affect the MDL or PQL reported by the laboratory. Laboratory representatives should be able to explain the rationale behind the MDLs and PQLs reported with the analytical results, especially if the reported MDLs and PQLs are above the required compliance limits. If necessary, data reviewers should request documentation that demonstrates how the reported MDLs and PQLs were derived or adjusted. In general, laboratories are required to calculate or determine MDLs and PQLs using established procedures that are required by rules (e.g. 40 CFR, Part 136, Appendix B), certification standards (e.g. TNI, 2016), and the laboratories’ internal Standard Operating Procedures. Note that some laboratories may use allowable modifications or optimizations of approved analytical methods or use improved instrumentation that provide MDLs and PQLs lower than those found in the 62-4.246(4) list.

# Reporting Data Below the MDL or PQL

Chapter 62-160, F.A.C., addresses reporting requirements for data submitted to the FDEP programs. Laboratory analytical reports should present the sample data in accordance with these requirements. Additionally, data reporting instructions specific to DEP-required forms must be followed for regulatory compliance.

“Non-detect” results

Whenever an analyte is not detected at or above the MDL, the MDL for the measurement must be reported along with the qualifier code “U” indicating that the analyte was not detected at the reported detection limit.

Results reported below the MDL

Alternately, laboratories have the option of reporting the analytical value from the sample analysis followed by the qualifier code “T” indicating the reported value was below the MDL.

Results between the MDL and PQL

If an analyte was detected at or above the MDL but was below the PQL, the result may be reported in one of two ways:

  - the value from the sample analysis can be reported with the qualifier code “I,” indicating that the analyte was detected but could not be quantified with certainty.

  - the PQL associated with the sample analysis can be reported followed by the qualifier code “M,” indicating that the analyte was detected but was below the reported PQL.

Refer to Table 1 in Rule 62-160.700, F.A.C., for a complete list of appropriate data qualifier codes.

If the analyte is not detected at or above the MDL or is detected at a level below the PQL, the reviewer should compare the reported MDL and PQL with the 62-4.246(4) list to determine if an appropriately sensitive method was utilized for the permit or other project objective. If the target MDL or PQL was not achieved, there may be valid reasons why this occurred, and the reviewer should refer to justification provided by the laboratory.

# MDLs and PQLs for “Calculated” Quantities

Some analytes are not tested by direct analysis but are calculated from the results of other analyses; for example:

Hardness (by calculation)

Hydrogen sulfide

Nitrate (by calculation)

Total nitrogen (by calculation)

Un-ionized ammonia

MDLs and PQLs for calculated results are therefore not directly determinable. Limits reported for these analytical quantities are dependent on the limits for the component analyses and the number of significant figures carried in the calculations. The “MDLs” and “PQLs” in the 62-4.246(4) list for these calculated analytes were selected based on the above considerations.

# Laboratory Certification Requirements

Laboratories must be certified by the DOH Environmental Laboratory Certification Program (ELCP) for all reported matrix-analyte-method combinations. Per Rule 62-160.300, F.A.C., DEP may temporarily waive this requirement while the laboratory pursues certification with the DOH ELCP. Regardless of certification status, the laboratory shall operate under the effective TNI 2016 standards.

# Revisions to Analytical Methods

All citations of analytical methods in the 62-4.246(4) list refer to the edition of the method listed in 40 CFR Part 136.3. If the method is not listed in this federal rule, the most current, published edition of the method should be used.

Letter suffixes associated with EPA SW-846 method revisions have been omitted from the applicable entries in the 62-4.246(4) method list. The most current published edition of the SW- 846 method should be used.

# Use of Additional Methods in 40 CFR Part 136.3 Not Found in the 62-4.246(4) Method List

Laboratories may use additional analytical methods that are approved at 40 CFR part 136.3 but which are not found in the 62-4.246(4) list.  The MDL and PQL for the alternative method must be at least as sensitive as the MDL and PQL for the equivalent analytical technique listed in the 62-4.246(4) list, if applicable.

# Use of Methods Not Found in 40 CFR Part 136.3

If no analytical method is listed in 40 CFR Part 136.3 for the analyte, the laboratory may use any method specified for the analyte in the 62-4.246 list, in any applicable DEP rule, or as approved by the applicable DEP regulatory program.  In some instances, approval for use of these alternative methods may be required by EPA, and approval must be obtained prior to analyzing samples for NPDES permits.  The MDL and PQL for the alternative method must be at least as sensitive as the MDL and PQL for the equivalent analytical technique listed in the 62-4.246(4) list, if applicable.

# Analysis of Samples for Gross Alpha Activity with High Total Dissolved Solids (TDS)

The co-precipitation methods for gross alpha analysis found in the 62-4.246 list may be used instead of 40 CFR Part 136.3 methods for high-TDS samples where the sample matrix is otherwise expected to raise the MDL. For compliance with NPDES permits, the laboratory should contact DEP with a request for approval of co-precipitation methods before analyzing compliance samples. The Department will forward the request to the EPA Regional coordinator for review as an alternative test procedure or method modification, per 40 CFR, Sections 136.4 and 136.6.

# Reporting Total Chlorinated Phenols

For purposes of compliance with Rule 62-302.530, F.A.C., total chlorinated phenols comprise the following:

| 4- | Chloro-2-methylphenol |
| --- | --- |
| 4- | Chloro-3-methylphenol (4-chloro-m-cresol) |
| 2- | Chloro-5-methylphenol |
| 3- | Chlorophenol |
| 4- | Chlorophenol |
| 2,3- | Dichlorophenol |
| 2,5- | Dichlorophenol |
| 2,6- | Dichlorophenol |
| 3,4- | Dichlorophenol |
| 3,5- | Dichlorophenol |
| 2,3,4,5- | Tetrachlorophenol |
| 2,3,4,6- | Tetrachlorophenol |
| 2,3,5,6- | Tetrachlorophenol |
| 2,3,4- | Trichlorophenol |
| 2,3,5- | Trichlorophenol |
| 2,3,6- | Trichlorophenol |
| 2,4,5- | Trichlorophenol |

# Reporting Total Nitrogen

Total nitrogen is defined as the sum of the results of the sample analysis for total Kjeldahl nitrogen (TKN), nitrate (NO3) and nitrite (NO2), using approved testing methods to perform the calculation.

Direct-measurement techniques for the analysis of Total Nitrogen are described in some published methods and may be approved for specific uses of data by DEP programs, such as for the assessment of surface waters. The laboratory should contact DEP for approval prior to using direct-measurement methods for Total Nitrogen analysis. Approval by EPA of a direct-measurement test method for Total Nitrogen may be required for compliance monitoring for NPDES permits.

All concentrations for Total Nitrogen should be reported as nitrogen (N) in mg/L.

Achieving Lower MDLs for Polycyclic Aromatic Hydrocarbon (PAH) Methods

Some methods for PAHs have an alternative prep method known as the SIM (Selected [Single] Ion Monitoring) method with which lower MDLs can be reached. Laboratories may use the improved prep method if DEP requires MDLs and PQLs lower than those found in this list for permit compliance or other objectives. Methods with the SIM option include: EPA 1625B, SM 6440 B, EPA 8270E, EPA 8260D, EPA 624.1, and EPA 625.1.

# List Of Acronyms And Abbreviations For Analytical Techniques

The following definitions apply to the analytical technique descriptions found in the 62-4.246(4) list.

| A-GPC | Gas Flow Proportional Counter |
| --- | --- |
| AMP | Amperometric |
| A-SCINT | Scintillation Counter |
| Auto | Automated Analyzer |
| BAC-MF | Membrane Filter Technique |
| BAC-MPN | Most Probable Number (Multiple Tube/Multiple Well Plate) |
| CALC | Calculated by Indirect Analysis |
| Chelation-FLAAS | Flame Atomic Absorption Spectroscopy with Sample Chelation Preparation |
| CIE-UV | Capillary Electrophoresis-Ultraviolet Detector |
| COLOR | Colorimetric |
| COND | Conductivity |
| CO-PRECIP | Co-precipitation Sample Preparation |
| COUL | Coulometric Titration |
| CVAF CVAAS | Cold Vapor Atomic Fluorescence Cold Vapor Atomic Absorption Spectrophotometry |
| DCP-ES DIFFUSION-Auto | Direct Current Plasma-Emission Spectrophotometry Gas Diffusion – Automated Analyzer |
| FID | Flame Ionization Detector |
| FLAAS | Flame Atomic Absorption Spectroscopy |
| FLAAS-HYDRIDE | Flame Atomic Absorption Spectroscopy with Sample Hydride Preparation |
| FLUOR | Flourescence Spectrophotometry |
| GAS-FLOW-P | Gas Flow Proportional Counter |
| GC | Gas Chromatography |
| GC-ECD | Gas Chromatography - Electron Capture Detector |
| GC-ELCD | Gas Chromatography - Electrolytic Conductivity Detector |
| GC-ELCD-MCTD | Gas Chromatography- Electrolytic Conductivity or Microcoulometric Detector |
| GC-ELCD-PID | Electrolytic Conductivity and Photoionization Detector |
| GC-FID | Gas Chromatography-Flame Ionization Detector |
| GC-FPD GC-MS | Gas Chromatography-Flame Photometric Detector Gas Chromatography-Mass Spectrometry |
| GC-NPD | Gas Chromatography-Nitrogen-Phosphorus Detector |
| GC-PID | Gas Chromatography-Photoionization Detector |
| GC-TBD GFAAS | Gas Chromatography-Thermionic Bead Detector Graphite Furnace - Atomic Absorption Spectrophotometry |
| GM | General Chemistry Method |
| GRAV | Gravimetry |
| HPLC | High Performance Liquid Chromatography |
| HPLC-UV | High Performance Liquid Chromatography-Ultraviolet Detector |
| HPLC-UV-FLUOR | High Performance Liquid Chromatography-Ultraviolet or Fluorescence Detector |
| Hydride | Flame Atomic Absorption Spectroscopy with Sample Hydride Preparation |
| IC | Ion Chromatography |
| ICP-ES | Inductively Coupled Argon Plasma Emission Spectrophotometry |
| ICP-MS | Inductively Coupled Argon Plasma Mass Spectrometry |
| IMS-FA | Immunomagnetic Separation-Immunofluorescent Assay |
| IR | Infrared Detector |
| IR-COUL | Infrared Detector or Coulometric Titration |
| IR-COUL-COND | Infrared Detector or Coulometric Titration or Conductivity Detector |
| IR-FID | Infrared Detector or Flame Ionization Detector |
| ISE | Ion-specific Electrode |
| ISE-Auto | Ion-specific Electrode-Automated |
| LC-ION | Ion Chromatography |
| LDO | Luminescence-Based Dissolved Oxygen Sensor |
| NESSLER | Nesslerization |
| POT | Potentiometry |
| SPEC | Spectrophotometry |
| SPEC-Auto | Spectrophotometry-Automated Analyzer |
| ST-GFAAS | Stabilized Temperature-Graphite Furnace Atomic Absorption Spectrophotometry |
| TEMP | Temperature |
| TITR | Titration |
| TITR-Auto | Titration-Automated Analyzer |
| TSGF | Thermally Stabilized Platform Graphite Furnace |
| TURBID | Turbidity/Turbidimetric |
| UV-VIS | Ultraviolet-Visible Detector |
| UV-VIS-Auto | Ultraviolet-Visible Detector-Automated Analyzer |
| Voltammetry | Pulse Anodic Stripping Voltammetry |

List of Acronyms For Organizations and Sources of Methods

The following definitions apply to the acronyms for organizations cited in the 62-4.246(4) list.

| ANSI | American National Standard Institute |
| --- | --- |
| AOAC | AOAC International |
| ASTM | American Society for Testing and Materials |
| Bran Luebbe | Bran & Luebbe Analyzing Technologies, Inc. (Industrial Methods) |
| Brooks-Blanchard | “A Procedure for the Determination of 228Ra,” I.B. Brooks & R.L. Blanchard |
| CFR | Code of Federal Regulations (U.S.) |
| DEP | Florida Department of Environmental Protection |
| DOE | U.S. Dept. of Energy, Environmental Measurements Laboratory Procedures Manual |
| DOH | Florida Department of Health |
| EPA | United States Environmental Protection Agency |
| EPA, 1978 | EPA Reference Method* |
| HACH | “Hach Handbook of Water Analysis,” Hach Chemical Company |
| NCASI | National Council for Air and Stream Improvement, Inc. |
| OIA ALPKEM | OI Analytical/ALPKEM Corporation |
| OIC | Oceanography International Corporation |
| ORION | Orion Research, Inc. (Instruction Manual for 97-70 electrode) |
| SM | “Standard Methods for the Examination of Water and Wastewater” (APHA) |
| USGS | “Techniques of Water-Resources Investigation of the U.S. Geological Survey” |

*Methods for Benzidine: Chlorinated Organic Compounds, Pentachlorophenol and Pesticides in Water and Wastewater. September 1978.

# List Of Acronyms And Abbreviations For Analytes, Units and Miscellaneous Terms

The following definitions apply to the acronyms and abbreviations for miscellaneous terms found in the 62-4.246(4) list.

| ADMI | American Dye Manufacturers’ Institute Color Value |
| --- | --- |
| BHC | Hexachlorocyclohexanes |
| COD | Chemical Oxygen Demand |
| Col/100 mL | Colonies per 100 mL of sample |
| D (2,4-) | 2,4-Dichlorophenoxyacetic acid |
| DDE | 1,1-Dichloro-2,2-di(p-chlorophenyl)ethylene |
| DDT | 4,4'-Dichlorodiphenyltrichloroethane |
| degree C | Degrees Celsius |
| DEP-SOP | DEP Standard Operating Procedures for Field Activities (DEP-SOP-001/01, January 2017) |
| DEP-SOP (NH3) | “Calculation of Un-Ionized Ammonia in Fresh Water” (DEP Chemistry Laboratory, 2/12/01) |
| FAC | Florida Administrative Code |
| mg/L | milligrams per liter |
| mL | milliliter(s) |
| MPN/100 mL | Most Probable Number per 100 mL |
| NTU | Nephelometric Turbidity Units |
| PCB | Polychlorinated biphenyl |
| pci/L | picocuries per liter |

| PCU | Platinum Cobalt Unit |
| --- | --- |
| pg/L | picograms per liter |
| SU | Standard Units (pH) |
| TCDD | Tetrachloro-dibenzo-p-dioxin |
| TDS | Total Dissolved Solids |
| TON | Threshold Odor Number |
| TP(2,4,5-) | 2-(2,4,5-Trichlorophenoxy)propionic acid (Silvex) |
| TSS | Total Suspended Solids |
| μg/L | micrograms per liter |
| μmhos/cm | micromhos per centimeter; equivalent to microsiemens per centimeter (μS/cm) |