## Alafia_POCIS_Pivot022818
COMPOUND | LAB_FLAG | CONC_FOUND | UNIT | COMPOUND | LAB_FLAG | CONC_FOUND | UNIT
13C2-PFDA | (blank) | 81.7 | % Recovery | 13C2-PFDA | (blank) | 81.7 | % Recovery
13C2-PFDoA | (blank) | 92.3 | % Recovery | 13C2-PFDoA | (blank) | 92.3 | % Recovery
13C2-PFHxA | (blank) | 53.9 | % Recovery | 13C2-PFHxA | (blank) | 53.9 | % Recovery
13C2-PFOA | (blank) | 114 | % Recovery | 13C2-PFOA | (blank) | 114 | % Recovery
13C4-PFBA | (blank) | 49.9 | % Recovery | 13C4-PFBA | (blank) | 49.9 | % Recovery
13C4-PFOS | (blank) | 81.4 | % Recovery | 13C4-PFOS | (blank) | 81.4 | % Recovery
13C5-PFNA | (blank) | 84.9 | % Recovery | 13C5-PFNA | (blank) | 84.9 | % Recovery
13C8-PFOSA | (blank) | 89.7 | % Recovery | 13C8-PFOSA | (blank) | 89.7 | % Recovery
18O2-PFHxS | (blank) | 74 | % Recovery | 18O2-PFHxS | (blank) | 74 | % Recovery
PFBA | U | (blank) | ng/disk | PFBA | U | (blank) | ng/disk
PFBS | (blank) | 6.95 | ng/disk | PFBS | (blank) | 6.95 | ng/disk
PFDA | U | (blank) | ng/disk | PFDA | U | (blank) | ng/disk
PFDoA | U | (blank) | ng/disk | PFDoA | U | (blank) | ng/disk
PFHpA | (blank) | 11.4 | ng/disk | PFHpA | (blank) | 11.4 | ng/disk
PFHxA | K | 3.22 | ng/disk | PFHxA | K | 3.22 | ng/disk
PFHxS | (blank) | 19 | ng/disk | PFHxS | (blank) | 19 | ng/disk
PFNA | (blank) | 11.9 | ng/disk | PFNA | (blank) | 11.9 | ng/disk
PFOA | (blank) | 28.6 | ng/disk | PFOA | (blank) | 28.6 | ng/disk
PFOS | (blank) | 50.8 | ng/disk | PFOS | (blank) | 50.8 | ng/disk
PFOSA | U | (blank) | ng/disk | PFOSA | U | (blank) | ng/disk
PFPeA | U | (blank) | ng/disk | PFPeA | U | (blank) | ng/disk
PFUnA | U | (blank) | ng/disk | PFUnA | U | (blank) | ng/disk
(blank) | (blank) | (blank) | (blank) | (blank) | (blank) | (blank) | (blank)

## POCIS_Accessed_022818
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFBA | 45048-62-2 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 10
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFPeA | 45167-47-3 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 20
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFHxA | 92612-52-7 |  |  | K | 3.22 | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 30
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFHpA | 120885-29-2 |  |  |  | 11.4 | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 40
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFOA | 45285-51-6 |  |  |  | 28.6 | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 50.1
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFNA | 72007-68-2 |  |  |  | 11.9 | 1.11 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 60
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 70
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 80
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 90
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFBS | 45187-15-3 |  |  |  | 6.95 | 2 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 110.3
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFHxS | 108427-53-8 |  |  |  | 19 | 2 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 120.3
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFOS | 45298-90-6 |  |  |  | 50.8 | 2 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 130.3
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 150
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | 13C4-PFBA |  |  |  |  | 49.9 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1000
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | 13C2-PFHxA |  |  |  |  | 53.9 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1010
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | 13C2-PFOA |  |  |  |  | 114 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1020
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | 13C5-PFNA |  |  |  |  | 84.9 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1030
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | 13C2-PFDA |  |  |  |  | 81.7 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1040
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | 13C2-PFDoA |  |  |  |  | 92.3 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1050
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | 13C4-PFOS |  |  |  |  | 81.4 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1070.3
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | 18O2-PFHxS |  |  |  |  | 74 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1080.1
SP-ALAFIA | L27159-3 | 2017-05-02 20:32 | FC_LC | 13C8-PFOSA |  |  |  |  | 89.7 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1100

## Alafia_WholeWaterAccessed022818
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFBA | 45048-62-2 |  |  |  | 1.72 | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 10
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFPeA | 45167-47-3 |  |  |  | 2.46 | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 20
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFHxA | 92612-52-7 |  |  |  | 3.04 | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 30
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFHpA | 120885-29-2 |  |  |  | 2.06 | 1.41 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 40
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFOA | 45285-51-6 |  |  |  | 4.1 | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 50.1
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFNA | 72007-68-2 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 60
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 70
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 80
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 90
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFBS | 45187-15-3 |  |  |  | 4.32 | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 110.3
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFHxS | 108427-53-8 |  |  | U |  | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 120.3
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFOS | 45298-90-6 |  |  |  | 5.62 | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 130.3
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 150
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C4-PFBA |  |  |  |  | 61.2 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1000
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C2-PFHxA |  |  |  |  | 91 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1010
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C2-PFOA |  |  |  |  | 122 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1020
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C5-PFNA |  |  |  |  | 101 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1030
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C2-PFDA |  |  |  |  | 81.3 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1040
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C2-PFDoA |  |  |  |  | 79.6 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1050
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C4-PFOS |  |  |  |  | 90.5 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1070.3
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 18O2-PFHxS |  |  |  |  | 92.4 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1080.1
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C8-PFOSA |  |  |  |  | 98.8 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1100

## Alafia_WholeWater_Pivot022818
COMPOUND | LAB_FLAG | CONC_FOUND | UNIT | COMPOUND | LAB_FLAG | CONC_FOUND | UNIT
13C2-PFDA | (blank) | 81.3 | % Recovery | 13C2-PFDA | (blank) | 81.3 | % Recovery
13C2-PFDoA | (blank) | 79.6 | % Recovery | 13C2-PFDoA | (blank) | 79.6 | % Recovery
13C2-PFHxA | (blank) | 91 | % Recovery | 13C2-PFHxA | (blank) | 91 | % Recovery
13C2-PFOA | (blank) | 122 | % Recovery | 13C2-PFOA | (blank) | 122 | % Recovery
13C4-PFBA | (blank) | 61.2 | % Recovery | 13C4-PFBA | (blank) | 61.2 | % Recovery
13C4-PFOS | (blank) | 90.5 | % Recovery | 13C4-PFOS | (blank) | 90.5 | % Recovery
13C5-PFNA | (blank) | 101 | % Recovery | 13C5-PFNA | (blank) | 101 | % Recovery
13C8-PFOSA | (blank) | 98.8 | % Recovery | 13C8-PFOSA | (blank) | 98.8 | % Recovery
18O2-PFHxS | (blank) | 92.4 | % Recovery | 18O2-PFHxS | (blank) | 92.4 | % Recovery
PFBA | (blank) | 1.72 | ng/L | PFBA | (blank) | 1.72 | ng/L
PFBS | (blank) | 4.32 | ng/L | PFBS | (blank) | 4.32 | ng/L
PFDA | U | (blank) | ng/L | PFDA | U | (blank) | ng/L
PFDoA | U | (blank) | ng/L | PFDoA | U | (blank) | ng/L
PFHpA | (blank) | 2.06 | ng/L | PFHpA | (blank) | 2.06 | ng/L
PFHxA | (blank) | 3.04 | ng/L | PFHxA | (blank) | 3.04 | ng/L
PFHxS | U | (blank) | ng/L | PFHxS | U | (blank) | ng/L
PFNA | U | (blank) | ng/L | PFNA | U | (blank) | ng/L
PFOA | (blank) | 4.1 | ng/L | PFOA | (blank) | 4.1 | ng/L
PFOS | (blank) | 5.62 | ng/L | PFOS | (blank) | 5.62 | ng/L
PFOSA | U | (blank) | ng/L | PFOSA | U | (blank) | ng/L
PFPeA | (blank) | 2.46 | ng/L | PFPeA | (blank) | 2.46 | ng/L
PFUnA | U | (blank) | ng/L | PFUnA | U | (blank) | ng/L
(blank) | (blank) | (blank) | (blank) | (blank) | (blank) | (blank) | (blank)

## Alafia_PFC_Charts
Results | [6 empty] | Number of PFCs Detected by Sample Type
Compound | POCIS |  |  | Whole Water |  |  | Alafia | POCIS and Whole Water | POCIS Only | Whole Water Only
| Lab Flag | Concentration | Units | Lab Flag | Concentration | Units | Number of Detections | 5 | 2 | 2
PFBA | U |  | ng/disk |  | 1.72 | ng/L
PFBS |  | 6.95 | ng/disk |  | 4.32 | ng/L
PFDA | U |  | ng/disk | U |  | ng/L
PFDoA | U |  | ng/disk | U |  | ng/L | PFCs Detected by Sample Type
PFHpA |  | 11.4 | ng/disk |  | 2.06 | ng/L
PFHxA | K | 3.22 | ng/disk |  | 3.04 | ng/L | POCIS and Whole Water | POCIS Only | Whole Water Only
PFHxS |  | 19 | ng/disk | U |  | ng/L | PFBS | PFHxS | PFBA
PFNA |  | 11.9 | ng/disk | U |  | ng/L | PFHpA | PFNA | PFPeA
PFOA |  | 28.6 | ng/disk |  | 4.1 | ng/L | PFHxA
PFOS |  | 50.8 | ng/disk |  | 5.62 | ng/L | PFOA
PFOSA | U |  | ng/disk | U |  | ng/L | PFOS
PFPeA | U |  | ng/disk |  | 2.46 | ng/L
PFUnA | U |  | ng/disk | U |  | ng/L