## PFC POCIS
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFBA | 45048-62-2 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 10
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFPeA | 45167-47-3 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 20
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFHxA | 92612-52-7 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 30
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFHpA | 120885-29-2 |  |  | K | 4.26 | 1.11 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 40
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFOA | 45285-51-6 |  |  |  | 5.14 | 1.38 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 50.1
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFNA | 72007-68-2 |  |  | U |  | 1.47 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 60
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 70
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 80
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 90
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFBS | 45187-15-3 |  |  | U |  | 2 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 110.3
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFHxS | 108427-53-8 |  |  | U |  | 2 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 120.3
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFOS | 45298-90-6 |  |  |  | 15.7 | 2 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 130.3
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 1 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | REG | 150
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | 13C4-PFBA |  |  |  |  | 56.6 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1000
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | 13C2-PFHxA |  |  |  |  | 46.1 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1010
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | 13C2-PFOA |  |  |  |  | 150 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1020
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | 13C5-PFNA |  |  |  |  | 93.6 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1030
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | 13C2-PFDA |  |  |  |  | 100 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1040
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | 13C2-PFDoA |  |  |  |  | 114 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1050
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | 13C4-PFOS |  |  |  |  | 97 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1070.3
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | 18O2-PFHxS |  |  |  |  | 91.2 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1080.1
SP-OCHLCK | L27159-2 | 2017-05-02 20:10 | FC_LC | 13C8-PFOSA |  |  |  |  | 130 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-060 Rev 11 | WG59403 | SA | SURR | 1100

## PFC WholeWater
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFBA | 45048-62-2 |  |  |  | 2.03 | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 10
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFPeA | 45167-47-3 |  |  | U |  | 1.38 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 20
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFHxA | 92612-52-7 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 30
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFHpA | 120885-29-2 |  |  | U |  | 1.09 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 40
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFOA | 45285-51-6 |  |  | U |  | 1.5 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 50.1
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFNA | 72007-68-2 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 60
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 70
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 80
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 90
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFBS | 45187-15-3 |  |  | U |  | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 110.3
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFHxS | 108427-53-8 |  |  | U |  | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 120.3
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFOS | 45298-90-6 |  |  | U |  | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 130.3
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 150
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C4-PFBA |  |  |  |  | 40.9 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1000
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C2-PFHxA |  |  |  |  | 68.9 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1010
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C2-PFOA |  |  |  |  | 126 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1020
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C5-PFNA |  |  |  |  | 89.6 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1030
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C2-PFDA |  |  |  |  | 83.4 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1040
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C2-PFDoA |  |  |  |  | 75.9 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1050
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C4-PFOS |  |  |  |  | 88.7 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1070.3
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 18O2-PFHxS |  |  |  |  | 87.2 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1080.1
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C8-PFOSA |  |  |  |  | 92.6 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1100

## POCIS+WHOLEWATER
|  |  | POCIS |  |  |  | wholewater
ANALYTE_TYPE | COMPOUND | CAS_NO | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT
REG | PFBA | 45048-62-2 | U |  | 1 | ng/disk |  | 2.03 | 0.983 | ng/L
REG | PFPeA | 45167-47-3 | U |  | 1 | ng/disk | U |  | 1.38 | ng/L |  |  | POCIS |  | Whole Water
REG | PFHxA | 92612-52-7 | U |  | 1 | ng/disk | U |  | 0.983 | ng/L | Sample Id | COMPOUND | Lab Flag | Concentration | Lab Flag | Concentration
REG | PFHpA | 120885-29-2 | K | 4.26 | 1.11 | ng/disk | U |  | 1.09 | ng/L | SP-OCHLCK | PFBA | U |  |  | 2.03
REG | PFOA | 45285-51-6 |  | 5.14 | 1.38 | ng/disk | U |  | 1.5 | ng/L | SP-OCHLCK | PFPeA | U |  | U
REG | PFNA | 72007-68-2 | U |  | 1.47 | ng/disk | U |  | 0.983 | ng/L | SP-OCHLCK | PFHxA | U |  | U
REG | PFDA | 73829-36-4 | U |  | 1 | ng/disk | U |  | 0.983 | ng/L | SP-OCHLCK | PFHpA | K | 4.26 | U
REG | PFUnA | 196859-54-8 | U |  | 1 | ng/disk | U |  | 0.983 | ng/L | SP-OCHLCK | PFOA |  | 5.14 | U
REG | PFDoA | 171978-95-3 | U |  | 1 | ng/disk | U |  | 0.983 | ng/L | SP-OCHLCK | PFNA | U |  | U
REG | PFBS | 45187-15-3 | U |  | 2 | ng/disk | U |  | 1.97 | ng/L | SP-OCHLCK | PFDA | U |  | U
REG | PFHxS | 108427-53-8 | U |  | 2 | ng/disk | U |  | 1.97 | ng/L | SP-OCHLCK | PFUnA | U |  | U
REG | PFOS | 45298-90-6 |  | 15.7 | 2 | ng/disk | U |  | 1.97 | ng/L | SP-OCHLCK | PFDoA | U |  | U
REG | PFOSA | 754-91-6 | U |  | 1 | ng/disk | U |  | 0.983 | ng/L | SP-OCHLCK | PFBS | U |  | U
SURR | 13C4-PFBA |  |  | 56.6 |  | % Recovery |  | 40.9 |  | % Recovery | SP-OCHLCK | PFHxS | U |  | U
SURR | 13C2-PFHxA |  |  | 46.1 |  | % Recovery |  | 68.9 |  | % Recovery | SP-OCHLCK | PFOS |  | 15.7 | U
SURR | 13C2-PFOA |  |  | 150 |  | % Recovery |  | 126 |  | % Recovery | SP-OCHLCK | PFOSA | U |  | U
SURR | 13C5-PFNA |  |  | 93.6 |  | % Recovery |  | 89.6 |  | % Recovery
SURR | 13C2-PFDA |  |  | 100 |  | % Recovery |  | 83.4 |  | % Recovery
SURR | 13C2-PFDoA |  |  | 114 |  | % Recovery |  | 75.9 |  | % Recovery
SURR | 13C4-PFOS |  |  | 97 |  | % Recovery |  | 88.7 |  | % Recovery
SURR | 18O2-PFHxS |  |  | 91.2 |  | % Recovery |  | 87.2 |  | % Recovery
SURR | 13C8-PFOSA |  |  | 130 |  | % Recovery |  | 92.6 |  | % Recovery
[11 empty] | POCIS ONLY | WHOLE WATER ONLY | POCIS &WHOLE
[11 empty] | PFHpA | PFBA | NONE
PFOA
PFOS
[11 empty] | POCIS ONLY | WHOLE WATER ONLY | POCIS &WHOLE
[11 empty] | 3 | 1 | 0